Staff:	Baaba K. Halm

Counsel to the Committee

Laura Rogers

Legislative Attorney

Benjamin J. Goodman

Senior Legislative Policy Analyst

THE COUNCIL

REPORT OF THE INFRASTRUCTURE DIVISION

ROBERT NEWMAN, LEGISLATIVE DIRECTOR

COMMITTEE ON HOUSING AND BUILDINGS

Hon. Erik Martin Dilan, Chair

September 21, 2010

# INT. NO. 64:	By Council Members Dilan, Gonzalez and Koo (by request of the Mayor).

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to the electrical code.

ADMINISTRATIVE CODE:	Amends Title 27 by amending sections 27-3004, 27-3008, 27-3010, 27-3013, 27-3014, 27-3015, 27-3016, 27-3018, 27-3019, 27-3021.2 and 27-3024, repealing section 27-3025 and adding a new section in its place, and adding a new section 27-3013.1.

BACKGROUND:

On September 21, 2010, the Committee on Housing and Buildings, chaired by Council Member Erik Martin Dilan, will conduct a hearing on Int. No. 64, a Local Law to amend the administrative code of the city of New York, in relation to the Electrical Code.  Int. No. 64 would update the current Electrical Code as required by Local Law number 64 for the year 2001 by adopting the 2008 version of the National Electrical Code (NEC) and making several technical and administrative amendments to ensure that the Electrical Code remains up to date and focused on the needs of New York City.  Those expected to testify include representatives from the Department of Buildings (DOB), the New York Electrical Contractors, Inc., the National Fire Protection Association, the Plumbing Foundation City of New York, Inc., the Joint Industry Board of the Electrical Industry, Verizon, Inc. Time Warner, Inc., Cablevision, various unions, and industry associations and councils.

History of the Current Electrical Code

In late 2001, the City enacted Local Law 64 and set in motion a procedure whereby the City could implement a new Electrical Code based on a model code, specifically the NFPA 70, National Electrical Code (NEC).  The National Electric Code is a recognized document that is sponsored by the National Fire Protection Association (NFPA) and developed through a committee analysis process approved by the American National Standards Institute.  The NEC is usually published on a three-year cycle and, according to the NFPA, is developed in the interest of life and property protection.

The City first adopted the 1999 version of the NEC, along with amendments, to meet the unique circumstances found in New York City.  The 1999 NEC, as amended with the New York City amendments, constituted the new New York City Electrical Code.  In 2001, the City adopted the 2002 version of the NEC, along with the New York City modifications, which became effective as of January 1, 2003.  In 2006, the City adopted the 2005 version of the NEC, along with the New York City modifications, which became effective as of January 1, 2006. Now, the Council has been asked to adopt the most recent model NEC, namely the 2008 version, along with New York City specific amendments.

Passage of Int. No. 64 will continue the process begun with Local Law 64 for the year 2001, then followed by Local Law 41 for the year 2002, Local Law 81 for the year 2003, and Local Law 49 for the year 2006, which will help ensure that the City’s Electrical Code is updated regularly and incorporates appropriate advancements in technology.  Local Law 64 mandated that whenever the NEC publishes a new edition, usually once every three years, that the Code be reviewed in order to develop any amendments for submission to the Council so as to “upgrade” our Electrical Code on a regular basis.  Thus ensuring that future, continuous updating of the technical standards should occur.

In 1999, two panels were convened by DOB for the purpose of reviewing the 1999 version of the NEC, developing New York City specific-amendments to the NEC, and reviewing submissions in this regard, namely the Electrical Code Advisory Panel (ECAC) and Electrical Code Revision and Interpretation Committee (ECRIC), noted above.  The ECAC panel is composed of staff from DOB, industry leadership, and the ECRIC panel is composed of technical experts.  The panels include members from the Department of Buildings, New York City Fire Department, labor unions, the real estate industry, manufacturers, and the design community.

The two panels have continued to work and the current bill, Int. No. 64, is the result of recommendations reached by the ECAC and ECRIC through meetings initiated right after the enactment of the last updates to the Code in 2006.  The former panel focused on administrative changes to the Code and the latter on technical updates.

Int. No. 64

The proposed principal administrative amendments to the Code include: 1) outlining licensees’ business requirements; 2) authorizing the suspension of electrical permits without notice in cases of imminent peril to life or property; 3) adopting enforcement provisions of Title 28, including the authority to have the Environmental Control Board adjudicate violations for infractions of the Electrical Code; 4) authorizing the Commissioner of Buildings to impose certain disciplinary actions under certain conditions and 5) granting the Commissioner rule making authority.

The main technical amendments to the Electrical Code that are being proposed relate to the transmission of electricity for light, heat, power, signaling, communication, alarm and date transmission include: 1) defining the arrangement of circuit wiring (selective coordination) to prevent or minimize short circuiting and arc-faults; 2) adopting fire alarm system requirements for power and wiring as elements of the 2010 Electrical Code which were previously in the Building Code; 3) requiring that sidewalk shed lighting installations must comply with electrical requirements and take into account outdoor use and other relevant conditions and 4) requiring solar photovoltaic systems to be approved for use by a nationally recognized testing laboratory and requiring that a detailed diagram of the entire photovoltaic system must be available to the Department of Buildings.

Additionally, this bill would proposed that the 2008 NEC, together with these local amendments, are to be known as the Electrical Code Technical Standards (ECTS) and will apply to work performed on and after January 1, 2011; however, through December 31, 2010, electrical work may be performed either in accordance with the ECTS adopted pursuant to section 27-3024 of the Administrative Code of the City of New York (Ad. Code) or in accordance with the standards set forth in chapter 3 of title 27 of the Ad. Code as in effect prior to July 1, 2010 at the option of the licensed master or special electrician or other authorized person performing such work.

# Footnotes

Virtually unchanged since 1968, the Electrical Code of the City of New York (Administrative Code §27-3001 et seq., also known as the Electrical Code) was in need of significant revision.  Those who worked with the City’s old Electrical Code on a regular basis had complained that the Code was outdated, lacked proper indexing and had become difficult to work with, particularly in comparison to the National Fire Protection Association’s NFPA 70, National Electrical Code (NEC), the recognized standard in the industry.  Consequently, the Department of Buildings (DOB), began in 1991 to meet with electricians, real estate developers and others in the building and construction industry to develop a new Electrical Code that was easier to reference and use than the current Code at that time.