Int. No. 263

By Council Members Dickens, Brewer, Comrie, Foster, James, Lander, Williams, Mark-Viverito, Lappin, Garodnick, Arroyo, Rodriguez, Van Bramer and Gennaro

..Title

A Local Law to amend the New York city plumbing code, in relation to reducing the waste of drinking water for cooling.

..Body

Be it enacted by the Council as follows:

Section 1. Section PC 202 of the New York city plumbing code is amended by adding a certain definition to be placed in the appropriate alphabetical order to read as follows:

ONCE-THROUGH COOLING. The use of potable water to cool a condenser, or other process equipment or building equipment, and then discharging the water to a sanitation drain. Once-through cooling also includes the use of potable water to temper hot water or steam before discharging to a sanitation drain.

§2. Chapter 4 of the New York city plumbing code is amended by adding a new section PC 428 to read as follows:

SECTION PC 428

PROHIBITED WATER USES

428.1 Prohibited potable water uses. Potable water shall not be permitted for those uses prohibited by this section.

428.1.1 Potable water prohibited for once through cooling.  Potable water shall not be used for once-through cooling. Equipment such as ice-making machines, walk-in coolers, refrigerated walk-in boxes, or environmental air conditioning equipment shall be provided with air cooled condensers or recirculating condenser water systems, or supplied with non-potable water as permitted by Appendix C of this code.

Exception:

Once-through water-cooled ice makers producing less than 500 pounds of ice per day at Standard Rating Conditions as specified in ARI Standard 810-2006 shall be exempt.

§3. This local law shall take effect on January 1, 2011, except that the commissioner of buildings shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

JH

6-4-10  12 pm

LS# 992

WE 6