Int. No. 347

By Council Members Garodnick, Brewer, Chin, Comrie, Fidler, Gentile, Gonzalez, James, Koppell, Lander, Mark-Viverito, Nelson, Palma, Sanders Jr., Vann, Williams, Rodriguez, Gennaro, Van Bramer, Levin, Lappin, Recchia, Vallone and Koo

..Title

A Local Law to amend the New York city building code, in relation to requiring cool roof coating standards aligned with Leadership in Energy and Environmental Design standards.

..Body

Be it enacted by the Council as follows:

Section 1.  Legislative findings and intent. The Council finds that the use of cool roofs as a mitigation strategy for the “urban heat island effect”-- the tendency of urban areas to be hotter than their suburban surroundings because of dark absorbent surfaces and a lack of vegetation--can result in lower energy use, and reduced air pollution and greenhouse gas emissions while at the same time improving health and comfort in warm weather.  A cool roof transfers less heat to the building below so that the building stays cooler and more comfortable during the summer, resulting in the use of less energy for cooling.  At the same time local climate and site specific factors play a role in the amount of savings achieved.  Cool roofs result in energy savings when they are most needed, during very hot summer periods subject to peak electrical demand.  However, cool roofs reflect solar energy year round which may be a disadvantage in areas with long heating seasons when they reflect away desirable wintertime heat gain.

The Council further finds that studies show that North Atlantic states with relatively long heating seasons may nonetheless benefit and reap net savings from cool roofs because of high electricity costs in places like New York City.  On a citywide level, this law will help mitigate the “urban heat island effect” because. installing light roofs on a large percentage of the city’s buildings will collectively reflect enough heat to cool down not only the individual buildings but the city. On a global level, implementing the proposal will also help combat global warming.

Further, to the extent that energy demand is lessened, it can result in fewer air emissions and air quality related environmental diseases.  New York City began addressing these issues by incorporating a requirement for white roofs in its last code cycle. While the Building Code mandates white roof coatings, those standards are not aligned with LEED, which is used by many developers.

Therefore, the Council finds that it is in the best interests of New York City to require cool roof coating standards aligned with LEED.

§2. Section BC 1502.1 of the New York City building code, as added by local law number 33 for the year 2007, is amended by adding the following definitions to be placed in appropriate alphabetical order to read as follows:

EMITTANCE. A measure of the ability of a surface material to release absorbed heat, determined in accordance with the standards set forth in ASTM 408 or ASTM C 1371.

EMISSIVITY. The ratio of the radiation emitted by a surface to the radiation emitted by a blackbody at the same temperature.

INITIAL SOLAR REFLECTANCE. The solar reflectance of a material, measured when that material is first installed.

SOLAR REFLECTANCE. The measure of the ability of a surface material to reflect sunlight, including visible, infrared, and ultraviolet light, determined in accordance with the standards set forth in ASTM E 903, ASTM E 1918, or ASTM C1549.

SOLAR REFLECTANCE INDEX. A measure of the ability of a surface to reject solar heat that incorporates both solar reflectance and emittance, as determined by ASTM E 1980.

§3. Section BC 1504.8 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

1504.8 Reflectance. [Roof coverings on roofs or setbacks with slope less than three units vertical in 12 units horizontal (25 percent) shall be white in color or ENERGYSTAR rated as highly reflective for at least 75 percent of the area of the roof or setback surface.] At least 75 percent of the area of roofs and setbacks, exclusive of skylights, shall have a covering with a minimum solar reflectance index in accordance with Table 1504.8.

Table 1504.8

| Roof or Setback Type | Slope | Solar Reflectance Index |  |
| --- | --- | --- | --- |
| Low-sloped | <= 2:12 | 78 |  |
| Steep-sloped | > 2:12 | 29 |  |

Exceptions:

1. Any steep-sloped roof composed of copper, lead or shingles made of tile , wood or slate.

2. Terraces on setbacks comprising less than 25 percent of the area of the largest floor plate in the building.

[2]3. Green roofs in compliance with Section 1507.16 shall be permitted to comprise part or all of the 75 percent required area coverage.

[3]4. Roofs used as [outdoor] recreation space by the occupants of the building shall be permitted to be either landscaped or covered with a walking surface or other protective surface with an [albedo] initial solar reflectance of 30 percent or greater.

5. Ballasted roofs, provided that the ballast has an initial solar reflectance of 30 percent or greater.

6. Any portion of a roof that is under a planter, mechanical equipment, photovoltaic or solar thermal equipment or any other structure or equipment exempted by rule by the commissioner.

4. Section BC 1510.1 of the New York City building code, as added by local law number 33 for the year 2007, is amended to read as follows:

1510.1 General. Materials and methods of application used for recovering or replacing an existing roof covering shall comply with the requirements of Chapter 15.

Exception:

Re-roofing shall not be required to conform to Section 1504.8 if the re-roofing is less than 50 percent of the roof area and less than 500 square feet.

§ 5. This local law shall take effect immediately upon enactment.

LS# 672  /EF11 SS

9/23/10 2:50 p.m.