Int. No. 1086

By Council Members Fidler, Chin, Comrie, Dickens, Gonzalez, Koo, Lander, Mark-Viverito, Mendez, Rose and Van Bramer

..Title

A Local Law to amend the New York city plumbing code, in relation to requiring that toilets and faucets be capable of operating without an external supply of electrical power.

..Body

Be it enacted by the Council as follows:

Section 1. Section PC 424 of the New York city plumbing code is amended to add a new Section PC 424.7 as follows:

424.7 Lavatory operation without power. The valves of at least one lavatory faucet in each bathroom or washroom shall be able to continue normal operation without an external supply of electrical power for a period of at least two weeks.

Exception: Only one lavatory faucet per dwelling unit shall be required to comply with this section.

§2. Section PC 425 of the New York city plumbing code is amended to add a new Section PC 425.5 as follows:

425.5 Water closet flushing without power. The flushing devices of at least one water closet in each bathroom or toilet room shall be able to continue normal operation without an external supply of electrical power for a period of at least two weeks.

Exception: Only one water closet per dwelling unit shall be required to comply with this section.

§3. This local law shall take effect on January 1, 2014.

JCH

6/21/2013 1:00 PM