Int. No. 1102

By Council Members Van Bramer, Chin, Ferreras, James, Koo, Lander, Mendez, Palma, Rose, Mark-Viverito and Ulrich

..Title

A Local Law to amend the administrative code of the city of New York, in relation to improving hazardous materials storage pursuant to the New York city community right-to-know law.

..Body

Be it enacted by the Council as follows:

Section 1. Subdivision c of section 24-718 of the administrative code of the city of New York is amended to read as follows:

(c) [On or before July first, nineteen hundred ninety-four, the] The commissioner, in consultation with the emergency response agencies, shall by rule establish the contents of a risk management plan, which shall be designed to prevent the accidental release and to minimize the consequences of any such release of any extremely hazardous or regulated toxic substance. The plan shall include but need not be limited to: (1) a site plan; (2) a safety review of design for new and existing equipment and processes; (3) an emergency response program, including an emergency response plan, emergency response training, and emergency response exercises; (4) standard operating procedures; (5) a preventive maintenance program for equipment; (6) a training program for equipment operators, including duration and type of training, and retraining; (7) accident investigation procedures; and (8) a risk assessment program, including a hazard analysis and a consideration of the use of alternate equipment and alternate substances. For facilities any portion of which exists in a special flood hazard area, as established by section G102.2 of appendix G of the New York city building code, the risk management plan shall also include a plan to ensure that extremely hazardous and regulated toxic substances are located in areas that have been dry floodproofed in accordance with ASCE 24, or are located on a story that is entirely above the design flood elevation specified in ASCE 24, table 7-1, as modified by appendix G of the New York city building code.

§ 2. This local law shall take effect ninety days after enactment, except that the commissioner of environmental protection shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS # SS

6/14/13 1:16 p.m.