Staff:	Jennifer Wilcox, Counsel

Shijuade Kadree, Counsel

Guillermo Patino, Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Jeff Baker, Deputy Director, Infrastructure Division

COMMITTEE ON HOUSING AND BUILDINGS

Jumaane D. Williams, Chair

April 1, 2015

INT. NO. 433-A:	By Council Members Cohen, Arroyo, Barron, Constantinides, Dickens, Eugene, Koo, Mendez, Rodriguez, Rosenthal, Crowley and Dromm

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to the installation and maintenance of electrical outlet safety devices and tamper-resistant receptacles in certain public parts of multifamily dwellings

ADMINISTRATIVE CODE:	Adds a new section 27-2046.3. Amends section 27-3025.

Introduction

On April 1, 2015, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams, will hold a hearing to consider Proposed Int. No. 433-A.

The Committee previously considered Proposed Int. No. 433-A at a hearing on October 29, 2014. The Committee received testimony from representatives of the Department of Buildings (DOB), members of the real estate industry, legal advocates and other interested members of the public.

Proposed Int. 433-A

Annually, almost 2,400 children suffer severe burns or shocks from inserting objects into unprotected outlets.  Tamper-resistant outlets have proven to be effective in decreasing the risk of harm from exposed electrical outlets by making it more difficult to insert foreign objects into the outlet. Currently, the New York City Electrical Code (Electrical Code) requires tamper-resistant electrical outlets only within dwelling units.  This legislation would expand this requirement to new or replacement outlets in the public parts of multiple dwellings, as well as require that safety measures be taken in existing dwellings.

Section one of the bill would add a new section 27-2046.3 to the Administrative Code of the City of New York (the Code). Paragraph a of new section 27-2046.3 requires that owners of existing buildings who have not installed tamper-resistant outlets in accordance with the Electrical Code, as amended by bill section two, must install protective caps or other obstruction devices in the outlets of the public parts of the multiple dwelling (excluding public parts that are used are used solely for mechanical equipment or storage purposes).

Paragraph b of new section 27-2046.3 provides that any owner who fails to comply with this section will be subject to a class A violation.

The National Electrical Code (NEC) is an industry standard for the installation of wiring and other electrical equipment in cases of new construction, alterations or replacements.  New York City has adopted this standard and made several New York City specific amendments, most recently in 2008.  Section two of the bill amends section 406.11 of the Electrical Code to require that new or replacement outlets in the public parts of a multiple dwelling (except parts used solely for mechanical equipment or storage purposes) be tamper-resistant receptacles.

Changes to Int. No. 433

In addition to various technical edits, Proposed Int. No. 433-A has been substantively amended in the following manner:

- The bill now requires that new or replacement outlets in the public parts of multiple dwellings be tamper-resistant receptacles.

- Violating the provisions requiring caps or other protective devices for outlets in existing buildings is now a class A (rather than class B) violation.

- The agencies tasked with enforcement under the bill are now the Department of Housing Preservation and Development and DOB.

( THIS PAGE INTENTIONALLY LEFT BLANK )

Proposed Int. No. 433-A

By Council Members Cohen, Arroyo, Barron, Constantinides, Dickens, Eugene, Koo, Mendez, Rodriguez, Rosenthal, Crowley and Dromm

A Local Law to amend the administrative code of the city of New York, in relation to the installation and maintenance of electrical outlet safety devices and tamper-resistant receptacles in certain public parts of multifamily dwellings

Be it enacted by the Council as follows:

Section 1. Article 11 of subchapter 2 of chapter 2 of title 27 of the administrative code of the city of New York is amended by adding a new section 27-2046.3 to read as follows:

§ 27-2046.3 Safety devices for certain electrical outlets required. a. The owner of a multiple dwelling shall install and maintain protective caps, covers or other safety devices over electrical outlets in the public parts of such multiple dwelling, except that (1) such devices shall not be required in public parts used exclusively for mechanical equipment or storage purposes, and (2) such devices shall not be required for electrical outlets that are listed tamper-resistant receptacles in accordance with the New York city electrical code.

b. An owner who fails to install or maintain protective caps, covers or other safety devices in accordance with this section shall be liable for a class A violation.

§ 2. Section 27-3025 of the administrative code of the city of New York is amended by adding New York city amendments to article 406 of the 2008 National Electrical Code to read as follows:

ARTICLE 406
Receptacles, Cord Connectors, and Attachment Plugs (Caps)

SECTION 406.11

Section 406.11 – Revise to read as follows:

406.11 Tamper-Resistant Receptacles in Dwelling Units and Multifamily Dwellings. In all areas specified in 210.52, and in all public parts, as such term is defined in the New York City Housing Maintenance Code, of multifamily dwellings, all 125-volt, 15- and 20-ampere receptacles shall be listed tamper-resistant receptacles.

Exception: Public parts of multifamily dwellings that are used exclusively for mechanical equipment or storage purposes.

§ 3. This local law shall take effect 120 days after its enactment except that the commissioner of housing preservation and development and the commissioner of buildings may take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

Wcj/SAK

LS# 1225-2014

3/23/2015 3:25PM

# Footnotes

See, “Tamper resistant electrical receptacles,” National Fire Protection Association, available at, http://www.nfpa.org/safety-information/for-consumers/causes/electrical/tamper-resistant-electrical-receptacles.

Id.

See generally, National Electrical Code 2008, Article 406, § 406.11.