Int. No. 642

By Council Members Constantinides, Gibson, Kallos, Koo, Rose, Wills, Mendez, Rodriguez, Rosenthal, Johnson, Espinal, Levine, Koslowitz, Richards, Vacca, Williams, Garodnick, Dromm, Reynoso, Maisel, Crowley, Chin, Van Bramer, Lenin, Torres, Menchaca, Palma, Lancman, Cohen, Barron, Cornegy, Ferreras-Copeland and Treyger

..Title

A Local Law to amend the administrative code of the city of New York, in relation to the use of clean heating oil in New York City.

..Body

Be it enacted by the Council as follows:

Section 1.  Subdivision b of section 24-168.1 of subchapter 8 of chapter 1 of title 24 of the administrative code of the city of New York, as added by local law number 43 for the year 2010, is amended to read as follows:

(b) (1) [After October 1, 2012, no] No person shall cause or permit the use in any building in the city or deliver to any building in the city for use in such building, heating oil that is fuel oil grade no. 2, no. 4 or no. 6 containing:

(i) less than two percent biodiesel by volume, after October 1, 2012;

(ii) less than five percent biodiesel by volume, after October 1, 2016;

(iii) less than ten percent biodiesel by volume, after October 1, 2020;

(iv) less than fifteen percent biodiesel by volume after October 1, 2025; and

(v) less than twenty percent biodiesel by volume, after October 1, 2030.

(2) The provisions of this subdivision shall not apply to the use or delivery of heating oil for use in an emergency generator or for use in a boiler where heating oil from a dual-use tank supplies both such boiler and an emergency generator.

[(2)] (3) The commissioner may authorize the use of any renewable fuel in heating systems if he or she determines that such fuel meets an applicable American Society for Testing and Materials standard or other standard as determined by the commissioner, and the emissions from such fuel contain equal or lesser amounts of particulate matter, sulfur dioxide and nitrogen oxides than the emissions from fuel oil grade no. 2.

§3. This local law shall take effect ninety days after enactment, except that the commissioner of environmental protection shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS # 1973 SS

12/16/14 11:37AM