#### Staff:	Terzah N. Nasser

Counsel to the Committee

Kamilla Sjödin

Assistant Counsel to the Committee

Benjamin J. Goodman

Legislative Policy Analyst

Wayne Miller

Legislative Policy Analyst

Ralph P. Hernandez

Legislative Financial Analyst

THE COUNCIL

REPORT OF THE INFRASTRUCTURE DIVISION

ROBERT NEWMAN, LEGISLATIVE DIRECTOR

COMMITTEE ON HOUSING AND BUILDINGS

Erik Martin Dilan, Chairman

June 20, 2007

PROPOSED INT. NO. 578-A:	By: Council Members Dilan, Fidler, Gonzalez, James, Reyna and Oddo (by request of the Mayor).

TITLE:	A Local Law to amend the New York city charter and the administrative code of the city of New York, in relation to enacting the New York city construction codes and repealing chapter 1 of title 26 of the administrative code, sections 27-106, 27-118.1, 27-124, 27-125, 27-126, 27-127, 27-128, 27-129, 27-130, 27-131, 27-132, 27-133, 27-134, 27-135, 27-136 and 27-137 of the administrative code, articles 9, 10, 11, 12, 13, 14,15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25 and 27 of subchapter 1 of chapter 1 of title 27 of the administrative code, subchapter 19 of chapter 1 of title 27 of the administrative code and chapters 1, 2, 3, 5, 6, 7 and 8 of title 28 of the administrative code.

ADMINISTRATIVE CODE:	Repeals chapter 1 of title 26 of the administrative code and sections 27-106, 27-118.1, 27-124, 27-125, 27-126, 27-127, 27-128, 27-129, 27-130, 27-131, 27-132, 27-133, 27-134, 27-135, 27-136 and 27-137, and repeals articles 9, 10, 11, 12, 13, 14,15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25 and 27 of subchapter 1 of chapter 1 of title 27, subchapter 19 of chapter 1 of title 27 and repeals chapters 1, 2, 3, 5, 6, 7 and 8 of title 28 of the administrative code, renumbers chapter 4 as chapter 6 of title 28 and adds new chapters 1, 2, 3, 4, 5, 7, 8 and 9 to title 28, section 28-401.1 and 28-401.2 are renumbered as 28-601.1 and 28-601.2.

BACKGROUND AND INTENT:

On June 20, 2007, the Committee on Housing and Buildings, chaired by Council Member Erik Martin Dilan, will conduct a hearing on Proposed Int. No. 578-A, A Local Law to amend the New York city charter and the administrative code of the city of New York, in relation to enacting the New York city construction codes.

Proposed Int. No. 578-A would establish a new Building Code, Mechanical Code, and Fuel Gas Code for New York City and adopt certain administrative provisions relating to the operations of the Department of Buildings, including those for permitting, licensing, and the payment of various fees and fines.  Local Law 99 of 2005 adopted a new Plumbing Code and certain Administrative provisions and set in motion a process for the adoption of the 2003 editions of the International Building Code, the International Fuel Gas Code, the International Mechanical Code and the International Residential Code, with modifications for the City of New York, where appropriate, as the basis of a new Building Code applicable within the City.  It must be noted that Int. No. 578 eliminates consideration of the International Residential Code at this time as many provisions, that were deemed appropriate, were incorporated into the City’s Building Code proposal.

The effort of the Mayoral Administration to revise and update the City’s Building Code is known as the Model Code Program.  Building Codes provide for minimum standards for the construction of buildings in order to protect the health, safety and welfare of the public.  The Model Code Program is organized and managed by the Department of Buildings (the “Department” or “DOB”) and is comprised of over 400 volunteers who serve on various Building and Electrical Code committees.  The process to update and revise the Building Code parallels the process used to update the City’s Electrical Code.

The Model Code Program created 13 Technical Committees to be review, assess and provide expertise in the drafting of the new Code, and created Advisory Committees to offer policy advice in areas impacted by the Building Code.  The Technical Committees consist of the following: Accessibility, Administration/Enforcement, Construction Requirements, Construction Safety & Demolition, Egress, Elevators/Conveyors, Existing Buildings, Fire Protection, Materials, Mechanical/HVAC/Boilers, Plumbing, Residential, and Structural/Foundation.  The Advisory Committees include: Affordable Housing, Banking and Insurance, Economic Development, Labor, Risk and Security and Sustainability.  With regards to the Building Code, Technical Committees are involved in the assessment and drafting of the technical code language and the Advisory Committees function to provide recommendations in key public policy areas that would be impacted by the Building Code revisions.  The Managing Committee and key staff at the Department of Buildings spearheaded the efforts to amend the Building Code, and made recommendations to the Commissioner.  DOB staff has been responsible for the final review, assessment, compilation, implementation, and training relating to the Building Code.

The Committee previously conducted its first hearing on the original version of Int. No. 578 on June 13, 2007.  The Committee on Housing and Buildings considered testimony from Patricia Lancaster, Commissioner of Buildings, and representatives of model code organizations, architects, engineers, fire safety professionals, labor, and the real estate industry, and other persons interested in this issue during the previous hearing and anticipates hearing from additional witnesses.  The Committee wishes to thank all those individuals and organizations that have participated in the legislative process by offering their comments, criticisms, suggestions and testimony which have been relevant to the creation and drafting of this legislation.  The Committee hopes that this process will result in the adoption of a comprehensive and improved Building Code for New York City.  It is anticipated that the new Building Code, when adopted in its entirety, will represent the best of the current New York City Building Code, the International Building Code, and the national reference standards.

OVERVIEW:

New York City’s Building Code

In 1850, New York City was the first city in the United States to adopt a comprehensive Building Code.  However history reveals that rules for the types and locations of houses in New Amsterdam, now known as New York City, were first established in 1625 by the Dutch West India Company and applied to the colonists.  The current version of the Building Code was first enacted as Local Law 76 of 1968 and has been the subject of numerous amendments.  That Building Code became effective on December 6, 1968 and superseded the Building Code enacted in 1938.  The current Building Code applies to the construction, alteration, repair, demolition, removal, maintenance, occupancy and use of both new and existing buildings in the City.  The purpose of the Building Code is:

to provide reasonable minimum requirements and standards, based upon current scientific and engineering knowledge, experience and techniques, and the utilization of modern machinery, equipment, materials, and forms and methods of construction, for the regulation of building construction in the city of New York in the interest of public safety, health and welfare, and with due regard for building construction and maintenance costs.

Although the Building Code was based largely upon nationally accepted performance standards and specifications for materials and construction assemblies, there have been many modern advances and changes due, in part, to the advent of new technologies that have not been incorporated into the Building Code.  In November of 2002, Mayor Michael R. Bloomberg, in cooperation with Patricia Lancaster, the Commissioner of Buildings and Madeline Provenzano, the previous Chair of this Committee announced the formation of a Commission to formulate recommendations for the adoption of a model Building Code by the City to supplant the current antiquated Building Code.  The Commission reviewed the two national model building codes, the International Code Council’s International Building Code® and the NFPA 5000: Building Construction and Safety Code™, 2003 edition and compared them with the current New York City Building Code.

Model Codes

A model code is a document that a State or municipality could adopt in its entirety, or adopt with such modifications as it deems to be suitable.  Model codes are often viewed as being advantageous to jurisdictions as they offer legislative bodies contemporary and technical information from a reputable source and are kept current through review by the nationally recognized model code organization that issued the particular code.  Most model codes are updated on a regular basis by the code organization that issued the respective code and is usually developed through a review process that encourages sound practices and use of acceptable state-of-the-art technology.  Even when a model code has not been adopted in a jurisdiction, architects and engineers often utilize model code parameters in their building designs, so long as they do not conflict with the applicable local code.

Prior to 2002, the model code organizations in the United States were the Building Officials and Code Administrators (BOCA) International, Inc., which produced the BOCA National Building Code, the International Conference of Building Officials (ICBO), which produced the Uniform Building Code, and the Southern Building Code Conference International, Inc. (SBCCI), which produced the Standard Building Code.  The International Code Council (ICC) is an umbrella organization that was established as a nonprofit organization in 1994 by the aforementioned model code organizations and is dedicated to developing a single set of comprehensive and coordinated national model construction codes.  The International Code Council produces the International Building Code, first released as the 2000 edition and then updated by the 2003 edition.  In 2002, the National Fire Protection Association (NFPA) released the final publication of its own new model building code entitled the NFPA 5000: Building Construction and Safety Code™, 2003 edition.

In 2002, the State of New York significantly reformed the State’s Building Code by adopting several International Codes, which are model codes produced by the International Code Council, with amendments, as the new State Building Code.  The new State Building Code replaced New York State's Uniform Fire Prevention and Building Codes that had been in effect since 1984.  The application of these coordinated model codes with amendments, with the exception of the State’s Energy Code, do not apply within the jurisdiction of New York City as the City has historically been deemed exempt from the application of the State’s Building Code due to the more stringent nature of the City’s Building Code.

International Code Council (ICC)

The International Code Council (ICC) was formed to produce a single set of building codes so that code enforcement officials, architects, engineers, designers and contractors can work with a more consistent set of requirements throughout the United States.  The ICC’s website states that “The mission of the International Code Council is to provide the highest quality codes, standards, products, and services for all concerned with the safety and performance of the built environment.”  The ICC has developed an inventory of International Codes that includes the following:

- International Building Code®

- International Energy Conservation Code®

- ICC Electrical Code®

- International Existing Building Code®

- International Fire Code®

- International Fuel Gas Code®

- International Mechanical Code®

- ICC Performance Code™

- International Plumbing Code®

- International Private Sewage Disposal Code®

- International Property Maintenance Code®

- International Residential Code®

- International Urban-Wildland Interface Code™

- International Zoning Code®

The International Code Council offers technical, educational and informational products and services to the International Codes that it produces.

The provisions of Int. No. 578 were based on the ICC family of codes and incorporates provisions of the existing Building Code along with provisions from reference standards, including those produced by the NFPA.

National Fire Protection Association (NFPA)

The mission of the NFPA is “to reduce the worldwide burden of fire and other hazards on the quality of life by developing and advocating scientifically based consensus codes and standards, research, training, and education.”  The NFPA was founded in 1896 as the National Fire Protection Association. However, the NFPA is now an international nonprofit membership organization with over 75,000 members representing nearly 100 nations and 320 employees around the world.  The NFPA advocates for fire prevention and public safety and from this standpoint, develops, publishes, and disseminates more than 300 consensus codes and standards intended to minimize the possibility and effects of fire and other risks.  According to the NFPA, their code development process encourages the broadest possible participation whereby interested parties are encouraged to provide NFPA technical committees with input.  All NFPA members have the opportunity to vote on proposed and revised codes and standards.

The provisions of Int. No. 578 were based on the ICC family of codes and incorporate provisions of the existing Building Code along with provisions from reference standards including those produced by the NFPA.

Local Law 99 of 2005

In April of 2003, the Mayor’s Advisory Commission on the Adoption of the International Building Code (the Code Commission), recommended that the City of New York adopt a new building code based on the 2003 editions of the International Code Council’s national model codes.  Local Law 99 was developed based on the Code Commission’s recommendations that the adoption of such new building code should be accomplished by enacting the text of the International Code Council’s national model codes as a part of Title 27 of the Administrative Code, with appropriate modifications reflecting the unique character of the city.  In addition, the Code Commission recommended that the proposed new building code should incorporate the standards for safety and fire protection set forth in Local Laws 7 and 26 for the Year 2004.  After enactment, the new code will be periodically updated and amended by local law to reflect changes in the national model codes in so far as such changes are beneficial to the city.

Int. No. 578

●	Administrative and Model Codes

In brief, Int. No. 578 would have amended Local Law 99 of 2005 that created a new Title 28 of the Administrative Code of the City of New York known as the “NEW YORK CITY CONSTRUCTION CODES” by adding new chapters 1, 2, 3, 4, and 5 consisting of the administrative provisions of the:

The New York City Plumbing Code.

The New York City Building Code.

The New York City Mechanical Code.

The New York City Fuel Gas Code.

According to section 28-101.2, the “purpose of this code is to provide reasonable minimum requirements and standards, based upon current scientific and engineering knowledge, experience and techniques, and the utilization of modern machinery, equipment, materials, and forms and methods of construction, for the regulation of building construction in the city of New York in the interest of public safety, health and welfare, and with due regard for building construction and maintenance costs.”

Int. No. 578 provided for regular updating of the applicable referenced code, which would initially be based on the 2003 edition of the applicable referenced code published by the International Code Council, every third year after its enactment, to coincide with the anticipated new editions of the applicable model code and to otherwise modify the provisions thereof.  In addition, prior to the submission of such proposal to the City Council, such proposal shall be submitted to an Advisory Committee established by the Commissioner pursuant to this title for review and comment.

Significant Highlights and Provisions in Int. No. 578

●	Materials and Acceptance

New materials, equipment and devices that have been accepted and approved by a nationally recognized testing or evaluation service or laboratory may be used in the City without the need for a separate approval from the Commissioner of Buildings.  However, the Commissioner of Buildings retains the power to alter, amend or repeal the approval or acceptance of any material for use within the City.

●	Permit provisions

Work permits may be issued for up to two (2) years with the exception that sidewalk shed permits would still be limited to a maximum period of one (1) year before the permit must be renewed under the rules of the Department.

●	Fees and Classification of Violations

All fees required by the Department, except the fees required for a license, are organized and consolidated.  Additionally, the Department will establish rules for the rebates of fees paid by owners whose properties are certified to be in compliance with the United Stated Green Building Council’s Leadership in Energy and Environmental Design (LEED) rating system.

The Department will create a new system for classifying violations either as immediately hazardous, major violations, or a lesser violation. The Department will determine the classification of violations in cases where the Building Code requires a certain classification.

●	Recent Local Laws

This legislation is being considered with the understanding that the technical provisions of Local Laws that were adopted within the last three legislative sessions that address the Building Code will be retained in the provisions of the codes that are adopted pursuant to this legislation for the first cycle.

●	Building Code Provisions

This legislation contains the completed provisions of what will become the new Building Code for New York City.  The Building Code provisions predominantly covers the new construction of all building types.

This legislation requires residential buildings more than 125 feet in height to have an emergency generator to provide back-up power for egress lighting and for one elevator in case of an emergency.  Student dormitories are classified as occupancy group R-1 which will require fire protection features such as sprinklers and automatic and manual fire alarm systems.  The code introduces the concept of “approved agencies” that can test and certify materials and perform certain required inspections.  Contains enhancements to structural integrity requirements to improve load and distribution requirements.  Requires hard-wired interconnected smoke alarms in all new residential units.

●	Mechanical Code Provisions

This legislation contains the completed provisions of what will become the new Mechanical Code for New York City.  The Mechanical Code identifies the mechanical equipment, appliances and systems it covers.  The scope of the code is primarily focused on heating, ventilation and air-conditioning (HVAC) systems those items specifically addressed in the code and those building “service” items that make a building comfortable, functional and safe.

The Mechanical Code mostly regulates the equipment and systems that control the flow or movement of air through ventilation and exhaust systems in a building. The Air Distribution system is defined as “any system of Ducts plenums and air handling equipment that circulates air with a space or spaces and includes systems made up of one or more air handling units.”  This code shall regulate those mechanical systems, system components, equipment and appliances specifically addressed [in the Mechanical Code] herein. The installation of fuel gas distribution piping and equipment, fuel gas-fired appliances, as well as, fuel gas-fired appliance venting systems shall be regulated by the New York City Fuel Gas Code.  Construction documents must include a statement from an architect or professional engineer that the plans are in compliance with Energy Conservation Code of New York State.

●	Fuel Gas Code Provisions

This legislation contains the completed provisions of what will become the new Fuel Gas Code for New York City.  This section describes the types of fuel gas systems to which the code is intended to apply and specifically lists those systems to which the code does not apply.  The applicability of the code spans the initial design of fuel gas systems, through the installation and construction phases, and into the maintenance of operating systems.

A Fuel Gas Code, like any other code, is intended to be adopted as a legally enforceable document to safeguard health, safety, property and public welfare.  This code is intended to assist the enforcement official with “… the responsibility for establishing that the homes in which the citizens of the community reside and the buildings in which they work are designed and constructed to be reasonably free of hazards associated with the presence and use of fuel gas appliances, appurtenances, fixtures and systems.”  This code intends to establish a minimum acceptable level of safety.

The Fuel Gas Code relies heavily on the manufactures recommended installation of the equipment or appliance.  If the code is less restrictive than the manufacturers installation requirements, the more restrictive manufacturer’s installation recommendations are to be followed.

# Proposed Int. No. 578-A contains the following amendments to Int. No. 578

- Exterior Insulation Finish Systems (EIFS), - no restrictions on the use of the material, which is consistent with current code and practices.  Thus the 12-foot setback that was contained in the original bill in Building Code 1404.11was eliminated.

- Small Business Services – the last sentence of 28-103.1.2 “The commissioner of small business services may delegate one or more administrative or enforcement functions to the department of buildings ”was deleted to retain the Department of Small Business Services existing functions with respect to waterfront property.

- Façade - language that dealt with the schedule for façade inspections was eliminated from the Model Code at this time for separate treatment.  This language would have authorized DOB to stagger the inspections of facades pursuant to Local Law 11 of 1998, but was not mandatory.

- Illegal manufacturing conversions – the language that dealt with imposing penalties for illegally converting manufacturing and industrial buildings to residential use was eliminated from the Model Code at this time for separate treatment.

- Outdoor advertising - an amendment was made to Appendix H at H101.2 entitled “Signs exempt from permits” to eliminate a new requirement for an alteration permit for replacing “flexible vinyl display signs.”  The text that was deleted read “except that the replacing of flexible vinyl display signs shall be deemed such an alteration.”

# Footnotes

See bill section 2 of Local Law number 99 for the year 2005.  Int. No. 578 eliminates the International Residential Code from adoption.

See bill section 2 of Int. No. 578.

The International Residential Code is for one- and two-family dwellings and for townhouses three stories or less.

Local Law 49 of 2006 updated the City’s Electrical Code.

See http://www.nyc.gov/html/dob/html/model/advisory.shtml

Reducing the Cost of New Housing Construction in New York City, prepared by Jerry J. Salama, Michael H. Schill and Martha E. Starks, The New York University School of Law, Center for Real Estate and Urban Policy, at 93.  Building Code History, provided by the New York City Department of Buildings, at http://www.nyc.gov/html/dob/html/about/history.shtml.

New Amsterdam history at http://www.usahistory.info/colonies/New-Amsterdam.html.

Building Code History, provided by the New York City Department of Buildings, at http://www.nyc.gov/html/dob/html/about/history.shtml.

See the Department of Building’s website at

http://www.nyc.gov/html/dob/html/reference/code_internet.shtml

Administrative Code of the City of New York §27-103.

Administrative Code of the City of New York §27-102.

On November 1, 2002, Mayor Bloomberg announced that he would issue an executive order to study the feasibility of adopting the International Building Code (IBC). New York City's current Building Code is the largest and most complex in the country and takes up hundreds of pages in the City's Administrative Code.  http://www.nyc.gov/html/om/html/2002b/pr284-02.html

See International Code Council’s website at http://www.iccsafe.org/news/about.  The International Code Council was founded with the mission “to promulgate a comprehensive and compatible regulatory system for the built environment, through consistent performance-based regulations that are effective, efficient and meet government, industry and public needs.”  See International Code Council’s website at http://www.iccsafe.org/government/Toolkit/01-background.pdf and at http://www.iccsafe.org/news/annual/Forum2004/Blueprint.pdf.

The  NFPA 5000 Building Code™ was released in July 2002.  According to the NFPA, the NFPA 5000 is the first building code developed through an American National Standards Institute (ANSI)-accredited process. NFPA 5000 is an integral part of the Comprehensive Consensus Codes® (C3) set, the only full set of integrated consensus-based safety codes and standards, developed by NFPA and its partners, the International Association of Plumbing and Mechanical Officials (IAPMO), the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE), and the Western Fire Chiefs Association (WFCA).  http://www.nfpa.org/aboutthecodes/AboutTheCodes.asp?DocNum=5000.

On March 6, 2002 the Fire Prevention and Building Code Council of the State of New York adopted the 2000 International Building Code (IBC), the 2000 International Fire Code (IFC), the 2000 International Residential Code (IRC), the 2000 International Plumbing Code (IPC), the 2000 International Mechanical Code (IMC), the 2000 International Fuel Gas Code (IFGC) and the 2000 International Property Maintenance Code (IPMC).

See “Governor George E. Pataki Adopts New Fire Prevention and Building Codes” at http://www.edenny.org/buildny.html

New York City’s Building Code has historically been deemed more stringent than the State’s Building Code.  The statutory basis for this exemption is found in subdivision c of Executive Law §383.

International Code Council’s website at http://www.iccsafe.org/news/about/.

Id.

NFPA website information at

http://www.nfpa.org/itemDetail.asp?categoryID=495&itemID=17991&URL=About%20Us/Overview

NFPA website information at http://www.nfpa.org/categoryList.asp?categoryID=124

Examples of NFPA-developed codes include the following:

NFPA 1, Fire Prevention CodeTM

Provides the requirements necessary to establish a reasonable level of fire safety and property protection in new and existing buildings.

NFPA 54, National Fuel Gas Code

The safety benchmark for fuel gas installations.

NFPA 70, National Electrical Code®

The world's most widely used and accepted code for electrical installations.

NFPA 101®, Life Safety Code®

Establishes minimum requirements for new and existing buildings to protect building occupants from fire, smoke, and toxic fumes.

NFPA 5000®, Building Construction and Safety Code®

The first building code developed through an open, consensus-based process that is accredited by ANSI. NFPA 5000 is a cornerstone of the Comprehensive Consensus Codes™ (C3) set.

NFPA website information at

http://www.nfpa.org/itemDetail.asp?categoryID=495&itemID=17991&URL=About%20Us/Overview

The Code Commission was established by Executive Order No. 30 of 2002.

See The Mayor’s Advisory Commission, Report on the Adoption of a Model Building Code, at http://www.nyc.gov/html/dob/pdf/ibc.pdf.

Adopted under Local Law 99 of 2005.

See §§28-701.1, 28-801.1, 28-901.1, of the legislation.

Title 28 section 113.

Title 28 section 105.

Title 28 section 112.

See §28-112.6.3.7 of the legislation.

See §28-201.2 of the legislation

Title 28 Chapter 7.

Building Code (BC) 403.11.2.

See Id. at 301.1.

Title 28 Chapter 8.

International Code Council, Inc., International Mechanical Code Commentary, 2003, at 1-2.

Id. at 2-2.

New York City Mechanical Code Based on the IMC 2003, Sec. 101.2.

New York City Mechanical Code (MC)106.10.

Title 28 Chapter 9.

The Fuel Gas Code regulates the installation of fuel gas piping systems fuel gas utilization equipment and related accessories. Fuel Gases include a natural gas, manufactured gas liquefied petroleum gas hydrogen gas and mixtures of these gasses.  International Code Council, Inc., International Fuel Gas Code Commentary,2003 at. 3.

International Code Council, Inc. International Fuel Gas Code Commentary, 2003, at. 1.

Id.

Id.

Id.