Proposed Int. No. 687-A

By Council Members Mark-Viverito, Brewer, Fidler, James, Koppell, Martinez, Sanders Jr., Weprin, Mendez, Gerson, Liu, Sears, Jackson, Dickens, White Jr. and Gonzalez

..Title

A Local Law to amend the administrative code of the city of New York, in relation to requiring certain buildings or structures to undergo a structural inspection.

..Body

Be it enacted by the Council as follows:

Section 1.  Table 28-112.7.2 of section 28-112.7.2 of the administrative code of the city of New York, as added by local law number 33 for the year 2007, is amended to read as follows:

Table 28-112.7.2

| Inspection Type | Initial Fee | Renewal Fee | Comments |
| --- | --- | --- | --- |
| Filing fee for report of critical examination of exterior walls and appurtenances thereof. | As provided by rule. |  |  |
| Filing fee for inspection of potentially compromised buildings or structures. | As provided by rule. |  |  |
| 􀂉 Filing fee for periodic boiler inspection report. | $30 for each boiler. |  |  |
| Equipment inspection fee: 􀂉 High-pressure boiler periodically inspected as provided by section 28-116.4. 􀂉 Reinspection fee following a violation. | $65 for each inspection, for each boiler. As provided by rule. |  |  |
| 􀂉 Filing fee for report of periodic inspection of elevator and other devices. | $30 for each device. |  |  |
| 􀂉 Equipment inspection fee: Each elevator or other device regulated by this code. | $65 for each inspection, for each device. |  |  |

§2.  Section 28-112.9 of title 28 of the administrative code of the city of New York, as added by local law number 33 for the year 2007, is amended by adding a new section 28-112.9.9 to read as follows:

§28-112.9.9  Permits and certificates of occupancy.  The Department shall not issue any work permit or certificate of occupancy for any property that is the subject of an unpaid charge or lien pursuant to section 28-215.1.1 of this code.

§3.  Item 2 of section 28-201.2.2 of title 28 of the administrative code of the city of New York, as added by local law number 33 for the year 2007, is amended to read as follows:

2.  Failure to perform required façade, elevator and boiler inspections, structural inspections of buildings and structures that are potentially compromised as defined in section 28-216.12, and to file required reports within the applicable time period.

§4.   Article 216 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-216.12 to read as follows:

§28-216.12  Buildings and structures that are potentially compromised.  For purposes of this section 28-216.12, “potentially compromised” shall include a building or structure that has had an open roof for 60 days or longer, that has been shored and braced or repaired pursuant to an emergency declaration issued by the commissioner, that has been subject to a precept as a compromised structure under Article 216 of this code or that may have suffered structural damage by fire or other cause as determined by the commissioner.

§28-216.12.1 Structural inspections of potentially compromised buildings or structures.  When a building or structure has become potentially compromised, the owner shall cause a structural inspection of such building or structure to be performed. Such inspection shall be performed at the expiration of 60 days with an open roof, within 60 days of the shoring and bracing or repair work, or within 60 days of a determination by the commissioner that the building has suffered structural damage by fire or other cause. A report of such inspection shall be filed with the department within 30 days thereafter in such form and detail as the commissioner may require.

§28-216.12.2.  Structural inspections shall only be performed by a licensed professional engineer or registered architect in good standing with the New York state department of education.

§28-216.12.3.  If a violation of any applicable statute, law, rule or regulation or any unsafe condition that poses a threat to the structural integrity of the building or to the public is found during the course of such inspection, the professional engineer or registered architect performing the inspection shall immediately notify the department and the owner of such violation or unsafe condition by calling 311 and in writing.

§28-216.12.4.  An inspection of the buildings and structures subject to the inspection and filing requirements of section 28-216.12 shall be performed every two years or more frequently as required by the commissioner and shall continue until such time as the licensed professional engineer or registered architect documents and certifies that the building or structure is no longer potentially compromised and such certification is accepted by the commissioner.

§28-216.12.5. The owner shall hire a licensed professional engineer or a registered architect to perform a structural inspection of buildings and structures subject to section 28-216.12 prior to the issuance of a permit to alter, repair, demolish or enlarge such building or structure, except that the commissioner may waive such inspection if a structural inspection of the entire building or structure has been performed within the prior year.

§28-216.12.6.  Any owner of a building or structure shall notify the department in writing that such building or structure has become potentially compromised immediately after such owner knows or should have known of the condition.  Such notice shall contain the name and business address of the owner of record of such building or structure and shall identify the building or structure by street address and tax block and lot. The notices required by this subdivision shall be in such form and manner as established by the commissioner by rule.

§28-216.12.7.  If an owner subject to the inspection and filing requirements of this section fails to file such report, the owner shall be liable for a civil penalty in an amount not less than two thousand dollars.  In such a case, the department may cause a structural inspection to be conducted and a report filed.

§5.  This local law shall take effect one hundred eighty days after enactment except that the commissioner of buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

06.30.08