Staff:    Committee on Housing & Buildings

Meagan Chen, Counsel

Caitlin Fahey, Counsel

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Jeffrey Baker, Legislative Director

Committee on Housing and Buildings

Hon. Robert E. Cornegy, Jr., Chair

June 12, 2018

INT. NO. 465:	By Council Member Dromm

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of buildings to conduct education and outreach regarding single-occupant toilet room requirements..Body

ADMINISTRATIVE CODE:	Adds a new section 28-103.32

INT. NO. 644:	By Council Member Eugene

TITLE:	A Local Law to amend the New York city building code, in relation to requiring carbon monoxide detectors in commercial spaces

BUILDING CODE:	Amends section 908.7.3

INT. NO. 728:	By Council Member Espinal

TITLE:	A Local Law in relation to establishing a temporary program to resolve awning violations and provide an education campaign for awning violations

..Body

INT. NO. 836:	By Council Member Cornegy (by request of the Mayor)

TITLE:	A Local Law to amend the administrative code of the city of New York, the New York city building code, the New York city mechanical code and the New York city fire code, in relation to approval processes for alternative automatic fire extinguishing systems, fire alarm systems, emergency alarm systems, fire department in-building auxiliary radio communication systems and fire protection plans.

ADMINISTRATIVE CODE:	Amends sections 28-103.1, 28-103.1.1, 28-105.2, 28-105.4, 28-109.1, and 107.9.2

BUILDING CODE:	Amends sections 402.3, 903.1.1, 903.2.11.9, 903.3.1.1.1, 903.3.3, 904.2, 904.2.1, 907.1, 907.1.1, 907.1.1.1, 908, and 907.1.1

MECHANICAL CODE	Amends sections 106.8 and 1305.11.1.2

FIRE CODE	Amends sections 105.4.1, 105.4.3 and 105.4.4

Introduction

On June 12, 2018, the Committee on Housing and Buildings, chaired by Council Member Robert E. Cornegy, Jr. will hold a hearing on Int. No. 465, Int. No. 644, Int. No. 728, and Int. No. 836. The Committee expects to receive testimony from representatives of the Department of Buildings (DOB), the New York City Fire Department (FDNY), members of the real estate industry, business owners and other interested members of the public.

Legislation

Below is a brief summary of each of the pieces of legislation being heard by the Committees at this hearing. These summaries are intended for informational purposes only and do not substitute for legal counsel. For more detailed information, you should review the full text of each bill, which is attached below.

Int. No. 465

Int. No. 465 would amend the administrative code by requiring the DOB Commissioner to establish and implement an education and outreach program to increase awareness of the existing requirement that single-occupant toilet rooms be available for use by persons of any gender, as well as the related posting and signage requirements for such toilet rooms. Such program must include, at a minimum: (1) educational materials available to owners required to comply with the requirements and on DOB’s website in English and the six languages most commonly spoken by limited English proficient individuals in the City; and (2) linguistically and culturally competent outreach tailored to such owners. The DOB Commissioner must seek the cooperation of certain other City agencies. The Commissioner would also be required to submit to the Mayor and Speaker of the Council, and post on DOB’s website, an annual report on the implementation and efficacy of the program. The law would take effect 90 days after it becomes law.

Int. No. 644

Int. No. 644 would expand the Building Code’s carbon monoxide detector requirements to all business and mercantile spaces in the City.  The law would take effect 120 days after it becomes law.

Int. No. 728

Int. No. 728 would impose a program to (1) resolve awning judgments issued within the last two years immediately prior to enactment of this law for business owners who cure their violation; (2) repay moneys received for settled judgments to business owners who cured their awning violation within the last two years immediately prior to enactment of this law; and (3) institute a six-month moratorium on penalties for awnings in existence at the time of enactment that do not comply with the Building Code or Zoning Resolution, provided that no applicable awning creates an imminent threat to the public health or safety. DOB and the Department of Small Business Services (SBS) would be required to coordinate an educational program for businesses regarding awning regulations. Finally, a task force, including the Department of City Planning, DOB and the Landmarks Preservation Commission plus representatives of the Speaker and representatives of the Mayor, would be required to report to the Mayor and the Speaker on whether current legal parameters for awnings are still relevant and appropriate and to suggest changes if no longer relevant. The law would take effect 120 days after it becomes law.

Int. No. 836

Int. No. 836 would consolidate operations for the approval processes for alternative automatic fire extinguishing systems, fire alarm systems, emergency alarm systems, fire department in building auxiliary radio communication systems and fire protection plans. The law would take effect 180 days after it becomes law.

Int. No. 465

By Council Member Dromm

A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of buildings to conduct education and outreach regarding single-occupant toilet room requirements

Be it enacted by the Council as follows:

Section 1. Chapter 1 of title 28 of the administrative code of the city of New York is amended to add a new section 28-103.32 to read as follows:

§ 28-103.32 Education and outreach regarding single-occupant toilet room requirements. a. The commissioner shall establish and implement an education and outreach program to increase awareness of the single-occupant toilet room requirements, as set forth in section 403.2.1 of the New York city plumbing code, and the related posting and signage requirements, as set forth in section 403.4 of the New York city plumbing code. Such education and outreach program shall at a minimum include:

1. Educational materials concerning the single-occupant toilet room requirements and the related posting and signage requirements, including samples of acceptable signage, which shall be made available to owners required to comply with such requirements and on the department’s website in English and the six languages most commonly spoken by limited English proficient individuals in the city as determined by the department of city planning; and

2. Linguistically and culturally competent outreach tailored to owners required to comply with the single-occupant toilet room requirements and the related posting and signage requirements.

b. In establishing and implementing the education and outreach program required by subdivision a of this section, the commissioner shall seek the cooperation of the mayor’s office of immigrant affairs, the department of consumer affairs, the department of health and mental hygiene and the department of small business services.

c. No later than September 1, 2018, and no later than every September 1 thereafter, the commissioner shall submit to the mayor and the speaker of the council, and post on the department’s website, a report on the implementation and efficacy of the education and outreach program required by subdivision a of this section. The reports required pursuant to this section shall remain permanently accessible on the department’s website.

§ 2. This local law takes effect 90 days after it becomes law.

MHL

LS #10628/Int. 1660-2017

LS #1112

1/3/18

Int. No. 644

By Council Member Eugene

A Local Law to amend the New York city building code, in relation to requiring carbon monoxide detectors in commercial spaces

Be it enacted by the Council as follows:

Section 1. Section 908.7.3 of the New York city building code, as amended by local law number 10 for the year 2014, is amended to read as follows:

908.7.3 Buildings that are equipped with a fire alarm system and that contain Group A-1, A-2, A-3, [or certain] Group B or Group M occupancies. Listed carbon monoxide detectors shall be installed in buildings that are equipped with a fire alarm system and that contain Group A-1, A-2 or A-3, [occupancies or assembly spaces classified as] Group B or Group Moccupancies [in accordance with Section 303.1, Exception 1]. Such detectors shall have built-in sounder bases, shall transmit a signal to a central supervising station and shall be permitted to initiate an audible and visual supervisory alarm at a constantly attended location. The department shall adopt rules and/or reference standards governing the installation and location of carbon monoxide detectors provided that such detectors shall be required within rooms containing carbon-monoxide producing equipment.

Exception: Carbon monoxide detectors shall not be required in kitchens.

§2. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings may take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

MPC

LS 843/Int. No. 1771-2017

10/25/17 11:47am

LS 710

Int. No. 728 By Council Member Espinal A Local Law in relation to establishing a temporary program to resolve awning violations and provide an education campaign for awning violations Be it enacted by the Council as follows: Section 1. Temporary program to resolve judgments for awning violations. a. Definitions. For purposes of this local law, the following terms have the following meanings: Administrative tribunal. The term “administrative tribunal” means the Office of Administrative Trials and Hearings, or any other tribunal authorized to adjudicate applicable violations. Applicable violations. The term “applicable violations” means any violation of section BC 105 of the building code or of paragraph (a) of section 32-653 or paragraph (a) of section 42-542 of the zoning resolution alleged in a notice of violation issued within 2 years immediately prior to the enactment of this local law. Resolve. The term “resolve” means, with respect to an outstanding judgment of the administrative tribunal, to conclude all administrative proceedings in connection with a notice of violation. Respondent. The term “respondent” means a person or entity named as the subject of a notice of violation returnable to, or a judgment issued by, the administrative tribunal. b. Program parameters. The commissioner of finance shall establish a temporary program to resolve outstanding judgments imposed by the administrative tribunal for applicable violations. The temporary program shall be in operation for 180 days, during which time respondents who are subject to a judgement entered after an adjudication and finding of violation with respect to an applicable violation may resolve such judgments by curing the violation within 60 days rather than paying a penalty. c. Resolution of outstanding judgments. 1. A judgment may not be resolved under the temporary program to resolve outstanding judgments pursuant to subdivision b of this section if the judgment had been the subject of a settlement agreement with the department of finance or the department of law that was executed under the temporary program to resolve outstanding judgments established by the department of finance pursuant to local law number 45 for the year 2016. 2. A judgment may not be resolved under the temporary program to resolve outstanding judgments pursuant to subdivision b of this section unless the respondent: (a) Has received an applicable violation; (b) Admits liability for the applicable violation; (c) Demonstrates to the satisfaction of the department of buildings that the condition cited in the applicable violation has been corrected; and (d) Seeks resolution of all outstanding judgments against such respondent for applicable violations. 3. Where a respondent satisfies the conditions of paragraphs 1 and 2 of this subdivision, no penalty of any kind may be imposed and any penalty already imposed is voided. 4. If a violation that is the subject of a written agreement with the department of finance pursuant to paragraph 2 of this subdivision is not corrected to the satisfaction of the department of buildings within the required 60 day period, any monetary judgment imposed plus accrued interest shall have full legal effectiveness and enforceability. d. Program expiration. After the temporary program operated pursuant to this section has concluded, any judgment that remains outstanding and has not been resolved by this program shall have full legal effectiveness and enforceability regardless of whether it could have been resolved under this program. e. Exception. The provisions of the temporary program operated pursuant to this section shall not apply where the applicable awning creates an imminent threat to public health or safety. f. Notification of public. The commissioner of finance shall publicize the temporary program operated pursuant to this section to maximize public awareness of, and participation in, such program. g. Rules. The commissioner of finance may promulgate rules for the implementation of this section. h. Nothing in this section creates a new private right of action for any respondent. § 2. Subject to the requirements of subdivision c of section 1 of this local law, any respondent that has (a) settled a judgment for an applicable violation or (b) has otherwise admitted guilt and paid a fine to the department of buildings for an applicable violation, and has cured such violation to the satisfaction of the department of buildings, has 180 days from enactment of this law to apply to recover from the department of finance all moneys paid for imposed penalties. The commissioner of finance shall make publicly available on the department’s website an application to be used by respondents. § 3. Temporary program to resolve notices of violation for awning violations. a. Notwithstanding any other provision of law, where a notice of violation is issued on or after the effective date of this subdivision for an applicable violation, for an awning in existence on the effective date of this subdivision, no penalty may be imposed, nor may injunctive relief be sought to restrain such violation, for a period of 6 months commencing on the effective date of this subdivision. b. No penalty may be subsequently sought or imposed for any person or entity that receives a notice of violation pursuant to subdivision a of this section and cures such violation to the satisfaction of the department of buildings during such 6 month period. c. Exception. The provisions of subdivision a of this section shall not apply where the applicable awning creates an imminent threat to public health or safety. d. Notification of public. The commissioner of buildings shall publicize the temporary program pursuant to section two to maximize public awareness of, and participation in, such program. e. Rules. The commissioner of buildings may promulgate rules for the implementation of this section. § 4. The department of buildings, in consultation with the department of small business services, shall develop a program to educate the business community about the requirements of section BC 105 of the building code and sections 32-653 and 42-542 of the zoning resolution. The program shall be implemented as soon as practicable and continue until a period of time lasting no shorter than 7 months that is deemed sufficient by the commissioner of buildings to provide reasonable notice to the public. § 5. a. There shall be an interagency task force to explore issues related to awning regulations in the building code and zoning resolution. b. The task force shall consist of the following 7 members: 1. The commissioner of buildings, or their designee, who shall serve as co-director of the task force; 2. The chair of the city planning commissioner, or their designee, who shall serve as co-director of the task force; 3. The commissioner of the landmarks preservation commission, or their designee; 4. Two members appointed by the speaker of the council; and 5. Two members appointed by the mayor. c. The task force shall consult, on an ongoing basis, with businesses across the city to determine the common issues facing businesses that have or want to install awnings and to determine if these issues can be addressed by changing the current regulations in the zoning resolution or building code. d. The task force shall meet not less than quarterly, and such meetings shall be considered a meeting of a public body subject to article 7 of the public officers law. e. Within 12 months of the enactment of the local law that added this section, the task force must complete an evaluation of the relevance and appropriateness of current regulations for awnings in the zoning resolution and building code and the issues faced by businesses, especially small businesses, in complying with these regulations. The task force shall issue a report to the mayor and the speaker including its findings and recommendations, if any, for improving these regulations. f. This task force shall dissolve upon submission of its report as required by subdivision e of this section. § 6. This local law takes effect 120 days after it becomes law. MMB LS # 4911 1/9/18; 5:16 p.m.

Int. No. 836

By Council Member Cornegy (by request of the Mayor)

A Local Law to amend the administrative code of the city of New York, the New York city building code, the New York city mechanical code and the New York city fire code, in relation to approval processes for  alternative automatic fire extinguishing systems, fire alarm systems, emergency alarm systems, fire department in-building auxiliary radio communication systems and fire protection plans.

Be it enacted by the Council as follows:

Section 1.   Item 5 of section 28-103.1 of the administrative code of the city of New York, as amended by local law number 141 for the year 2013, is amended to read as follows:

5.  The installation and testing of fire alarm systems, smoke-detecting and carbon monoxide detecting devices that are interconnected with a fire alarm system or monitored by a central station, [and] alternative automatic fire extinguishing systems, including but not limited to fire extinguishing systems for commercial cooking [appliances] systems, and fire protection plans;

§ 2.  Section 28-103.1.1 of the administrative code of the city of New York, as amended by local law number 141 for the year 2013, is amended to read as follows:

§ 28-103.1.1 Installation of equipment required by the New York city fire code. Where the installation of exit signs, emergency means of egress illumination, special mechanical ventilation, [and] sprinkler systems, [and] fire alarm systems and alternative automatic fire extinguishing systems is required by the New York city fire code, the fire commissioner shall require such installations to be in accordance with this code.

§ 3.  Item 10 of section 28-105.2 of the administrative code of the city of New York, as renumbered and amended by local law number 141 for the year 2013, is amended to read as follows:

10. Fire protection and suppression system permits: for the installation and alteration of fire protection and suppression systems, including [but not limited to] sprinkler systems[,] andstandpipe systems[, non-water systems, and fire suppression systems for commercial cooking equipment]. Such permits shall include permits for limited sprinkler alterations and limited standpipe alterations.

§4.  Item 7 of section 28-105.4 of the administrative code of the city of New York is renumbered item 9 and new items 7 and 8 are added, to read as follows:

7.  The installation, alteration or removal of alternative automatic fire extinguishing systems, including but not limited to fire extinguishing systems for commercial cooking equipment, subject to the approval of the fire department in accordance with section FC105 of the New York city fire code.

8.  The installation, alteration or removal of fire alarm systems, emergency alarm systems and fire department in-building auxiliary radio communication systems, subject to the approval of the fire department in accordance with the requirements of this code. Such work shall be submitted in accordance with the rules and regulations of the fire department.

§ 5.  Section 28-109.1 of the administrative code of the city of New York, as added by local law number 33 for the year 2007, is amended to read as follows:

28-109.1. Fire protection plan required for covered buildings. New building and alteration applications for covered buildings as set forth in section 28-109.2 shall include a fire protection plan prepared by or under the supervision of a registered design professional who shall professionally certify such plan. Such plan shall be submitted for review and [approved] approval by [the department and] the fire department for compliance with this code prior to issuance of a certificate of occupancy, a temporary certificate of occupancy or a letter of completion, as applicable. The fire protection plan shall be submitted in accordance with the rules and regulations of the fire department.

Exception: No fire protection plan shall be required for an alteration that meets all three of the following requirements:

1. The alteration does not involve a change of use or occupancy;

2. The alteration does not exceed one million dollars; and

3. The alteration does not create an inconsistency with a previously approved fire protection plan.

§ 6.  Section 107.9.2 of the New York city building code, as renumbered by local law number 141 for the year 2013, is amended to read as follows:

107.9.2 Alternative automatic fire-extinguishing systems. [Alternative]  Notwithstanding any other provision of this code, design and installation documents for the installation of alternative automatic fire-extinguishing systems [plans] shall [comply with Section 904.1.1.] be filed with and reviewed by the Fire Department for compliance with this code, the New York City Fire Code and other applicable laws and regulations in accordance with Section FC105 of the New York City Fire Code.

§ 7.  Section 402.3 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

402.3 Fire protection plan. A fire protection plan shall be provided to [the department and] the Fire Department pursuant to Article 109 of Title 28.

§ 8.  Section 903.1.1 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

903.1.1 Alternative protection. Where [the discharge of water would be hazardous] permitted by the New York City Fire Code, the Fire Department may approve the installation ofalternative automatic fire-extinguishing systems complying with [Section 904 shall be permitted] this code and the New York City Fire Code  in lieu of automatic sprinkler protection [where recognized by the applicable standard and  approved by the commissioner].

§ 9.  Section 903.2.11.9 of the New York city building code, as renumbered by  local law number 141 for the year 2013, is amended to read as follows:

903.2.11.9 Commercial cooking operations.  An automatic sprinkler system shall not be installed in a commercial kitchen exhaust hood and duct system. Fire-extinguishing systems shall be installed in commercial cooking systems in accordance with [Section 904.11] this code and the New York City Fire Code.

§ 10.  Section 903.3.1.1.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

903.3.1.1.1 Exempt locations protected by other means. [Automatic] When approved by the Fire Department, automatic sprinklers shall not be required in [the following rooms or areas where such] rooms or areas [are] protected with an approved automatic fire detection system in accordance with Section 907.2 that will respond to visible or invisible particles of combustion, and an alternative automatic fire-extinguishing system in accordance with [Section 904] this code and the New York City Fire Code. Sprinklers shall not be omitted from any room merely because it is [damp,] of fire-resistance-rated construction or contains electrical equipment.  [1. Any room where the application of water, or flame and water, constitutes a serious life or fire hazard. 2. Any room or space where sprinklers are considered undesirable because of the nature of the contents, when approved by the commissioner.  3. Generator and] This exemption shall not apply to a generator or transformer [rooms] room unless, in addition to the above requirements,  such room is  separated from the remainder of the building by walls and floor/ceiling or roof/ceiling assemblies having a fire-resistance rating of not less than 2 hours [where the generator is not using], and the generator in such room shall not use high pressure flammable gas in excess of 15 [psi] psig ([103.4] 103 kPa gauge).

§ 11.  Section 903.3.3 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

903.3.3 Obstructed locations. Automatic sprinklers shall be installed with due regard to obstructions that will delay activation or obstruct the water distribution pattern. Auto-matic sprinklers shall be installed in or under covered kiosks, displays, booths, concession stands, or equipment that exceeds 4 feet (1219 mm) in width. Not less than a 3-foot (914 mm) clearance shall be maintained between automatic sprinklers and the top of piles of combustible fibers.

Exception: Kitchen equipment under exhaust hoods protected with a fire-extinguishing system in accordance with [Section 904] this code and the New York City Fire Code.

§ 12.  Sections 904.2 and 904.2.1 of chapter 9 of the New York city building code, as amended by local law number 141 for the year 2013, are amended to read as follows:

904.2 Where required. Automatic fire-extinguishing systems installed as an alternative to the required automatic sprinkler systems of Section 903 shall be approved by the [commissioner] Fire Department. Automatic fire-extinguishing systems shall not be considered alternatives for the purposes of exceptions or reductions allowed by other requirements of this code.

[Exception: Automatic fire-extinguishing systems installed in Group H occupancies as an alternative to the required automatic sprinkler systems of Section 903 shall be approved by the fire commissioner.]

904.2.1 Hood system suppression. Each required commercial kitchen exhaust hood and duct system required by [the New York City Fire Code or] Chapter 5 of the New York City Mechanical Code to have a Type I hood shall be protected with an [approved] automatic fire-extinguishing system installed in accordance with this code and the New York City Fire Code.

§ 13. Section 907.1 of the New York City building code, as added by local law number 33 for the year 2007, is amended to read as follows:

907.1 General. This section covers the application, installation, performance and maintenance of fire alarm systems and their components. Systems shall be designed and installed in accordance with NFPA 72 as modified in Appendix Q and the New York City Electrical Code.  Systems shall be tested and maintained in accordance with this code and the New York City Fire Code.

§ 14.  Section 907.1.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

907.1.1. Construction documents. Construction documents for fire alarm systems shall be submitted for review and approval to [the department and] the Fire Department prior to system installation. Construction documents shall include, but not be limited to, all of the following:

1.  A floor plan that indicates the use of all rooms.

2.  Locations of alarm-initiating devices.

3.  Locations of alarm notification appliances, including candela ratings for visible alarm notification appliances.

4.  Location of fire command center, fire alarm control units, transponders and notification power supplies.

5.  Location of remote annunciators.

6.  Location of all primary, secondary and local sources of power.

7.  Fire alarm riser diagram showing all fire alarm devices indicated on the floor plans.  Quantities of devices on the floor plans shall match the quantities indicated on the riser diagram. Riser diagram shall include shall include class and style of circuits and levels of survivability.  The riser diagram shall show the interface of fire safety control functions.

8.  Copies of any variances granted by the department or the Fire Department.

9.  Legend of all fire alarm symbols and abbreviations used.

10. Design criteria for fire alarm audibility in various occupancies indicated on plans.

11. Fire alarm sequence of operation for the fire alarm system in a matrix format.

12. Classification of the central supervising station.

§ 15.  Section 907.1.1.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

907.1.1.1 Amended construction documents. Amendments to approved construction documents shall be submitted, [reviewed] and approved by the Fire Department before the final inspection of the work or equipment is completed, and such amendments when approved shall be deemed part of the original construction documents. The Fire [department] Department may allow minor revisions of construction documents to be made and submitted to the [department] Fire Department after the completion of work but prior to sign-off of the work in accordance with [department rules] rules promulgated by the Fire Department regarding such amendments.

§ 16.  Section BC 908 of the New York city building code, as amended by local law number 141 of 2013, is amended by adding two new sections, 908.10 and 908.11, to read as follows:

908.10 Construction documents. Construction documents for emergency alarm systems shall be submitted for review and approval to the Fire Department prior to system installation.

908.11 Acceptance testing and maintenance.  Acceptance testing and maintenance of emergency alarm systems shall be performed in accordance with the New York City Fire Code.

§ 17.  Section 917.1.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

917.1.1 Construction documents. Construction documents for ARCS shall be submitted for [review and] approval to [the department and] the Fire Department prior to system installation. Construction documents shall include, but need not be limited to, all of the following:

1.  Type of radio equipment and antenna.

2.  Riser diagram and floor plans showing location of elements of the ARCS, including but not limited to building fire command center or fire alarm control panel, dedicated radio console, base station/s and all other critical system components such as antennas, amplifiers, cables as applicable.

3.  Legend of all ARCS symbols and abbreviations used.

4.  Location of primary and secondary power source.

5.  Specification and listing details for all equipment[s], devices and cables.

§ 18. Item 5 of Section 106.8 of chapter 1 of the New York city mechanical code, as added by local law number 33 for the year 2007, is amended to read as follows:

5.  In the case of ventilating or exhaust systems for ranges, fryers, ovens, and other similar types of restaurant or bakery equipment, for which a hood is required, the plans shall also show the [type of extinguishing system, the location of heat detection devices, nozzles, piping, ] gas controls, [manual and automatic control valves,] method of joining ducts, method and location of discharging exhaust from building, [the location of break-glass controls,] and the quantity in cfm designed for each hood.

§ 19. Exception 3 of section 1305.11.1.2 of the New York city mechanical code, as added by local law number 33 for the year 2007, is amended to read as follows:

3. Buildings of any type construction with a total limit of 100,000 gallons. The maximum size of each individual tank shall be 25,000 gallons (94 625 L) provided that all such tanks are enclosed in a vault (i) with walls, floor, and top having a fire-resistance rating of not less than 3 hours, (ii) with such walls bonded to the floor, and (iii) with such top and walls of the vault independent of the building structure. An exterior building wall having a fire-resistance rating of not less than 3 hours shall be permitted to serve as a wall of the vault. The vault shall be located in a dedicated room or area of the building that is cut off vertically and horizontally from other areas and floors of the building by assemblies having a fire-resistance rating of not less than 2 hours. Where the aggregate fuel-oil storage on the lowest level of the building exceeds 50,000 gallons (189 250 L), such storage shall be protected with an [alternate] alternative automatic fire-extinguishing system complying with [Section 904 of] this code and the New York City [Building]Fire Code.

§ 20. Section 105.4.1 of the New York city fire code, as added by local law number 26 for the year 2008, is amended to read as follows:

105.4.1 Submissions. Design and installation documents shall be submitted in such number and in such form and detail as may be prescribed by the commissioner. The design and installation documents shall be prepared by a registered design professional. The commissioner may require that such submissions be made in an approved electronic format or medium.

Exception: Design and installation documents for pre-engineered fire extinguishing systems for commercial cooking systems may be prepared by a licensed master fire suppression piping contractor.

§ 21. Sections 105.4.3 and 105.4.4 of the New York city fire code are amended to read as follows:

105.4.3 [Reserved] Approved documents required.  When department review of design and installation documents is required by this code or other laws, rules or regulations, it shall be unlawful to construct or alter any facility, or install, alter or remove any device, equipment or system, without first having obtained department approval of the design and installation documents.

105.4.4 Approved documents.  The [commissioner] department shall approve, or deny, or preliminarily deny design and installation documents in accordance with the procedures and time periods set forth in FC105.2.4.  Department approval of design and installation documents may be made subject to the requirements of the Building Code and other applicable laws, rules and regulations, and shall be documented and effective as set forth in this section.

105.4.4.1 Terms of approval.  The department may make its approval of design and installation documents subject to such terms and conditions as the department may prescribe by rule or specify as part of the approval.  Department approval of design and installation documents for fire alarm systems, fire extinguishing systems, and/or other devices, equipment, systems or facilities that do not require a Department of Buildings work permit, may incorporate by reference terms and conditions of the construction codes relating to work permits and licensing, including those in Articles 105 and 106 of Chapter 1 and Article 410 of Chapter 4 of Title 28 of the Administrative Code.

105.4.4.2 Method of approval.  Upon [review and] approval of design and installation documents, the [commissioner] department shall mark such approval upon such documents and/or issue a letter of approval or other form of written authorization.

105.4.4.3 Limitations of approval.  [Design] Department approval of design and installation documents [approved by the commissioner are approved with the intent that such design and installation documents comply in all respects with the requirements of this code, the rules and any other applicable laws, rules or regulations] is limited to the laws, rules and regulations enforced by the department and for which approval has been sought.  [Review and approval by the commissioner] Department approval shall not relieve the applicant of the responsibility of compliance with the requirements of this code, the rules and any other applicable laws, rules or regulations.

105.4.4.4 Authorization to perform work. Department approval of design and installation documents authorizes performance of the work encompassed by the approval, subject to all other applicable laws, rules or regulations, including, when applicable, the requirement to obtain a work permit from the Department of Buildings.

§ 22.  This local law takes effect 180 days after it becomes law and applies to applications for approval submitted on or after such effective date, except that prior to such effective date the commissioner of buildings and the fire commissioner may promulgate rules or take other actions to implement this local law.