1

2  CITY COUNCIL

3

CITY OF NEW YORK

4

-------------------------------x

5

THE TRANSCRIPT OF THE MINUTES

6

of the

7

COMMITTEE ON HOUSING AND BUILDINGS

8

-------------------------------x

9

10                 February 24, 1999

Start:  4:21 p.m.

11                 Recess: 5:01 p.m.

12                 City Hall

Committee Room

13                 New York, New York

14

B E F O R E:

15

ARCHIE SPIGNER

16                                Chairperson,

17

COUNCIL MEMBERS:   Stanley Michels

18                                 Martin Malave-Dilan

Helen Marshall

19                                 Guillermo Linares

Tracy Boyland

20                                 Madeline Provenzano

Thomas Ognibene

21                                 Walter McCaffrey

22

23

24       LEGAL-EASE COURT REPORTING SERVICES, INC.

217 Broadway -  Suite 511

25              New York, New York 10007

(800) 756-3410

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

2

1

2  A P P E A R A N C E S

3

Thomas Von Essen

4  Commissioner

NYC Fire Department

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

3

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 CHAIRPERSON SPIGNER: The New York

3  City Council Housing and Buildings Committee is

4  called to order.

5                 Today's agenda is a continuation, is

6  a second hearing on proposed Intro. No. 198. Since

7  we held our first hearing on the 8th of February,

8  but since our first hearing, this bill has been the

9  subject of a great deal of intense discussion. The

10  Council has made every effort incorporate all of the

11  various components of the City affected by sprinkler

12  regulation, and as all legislation, it is a series

13  of what hopefully comes out represents good common

14  sense and good public policy for the interest of the

15  City of New York and its residents and visitors.

16                 So, at this time I am going to turn

17  to Commissioner Von Essen.

18                 We will hear from the Commissioner,

19  and I must say that we received a number of requests

20  to testify today, but most of whom have already

21  testified and who have written to us, and we know

22  that there are issues that many of you in the room

23  are concerned about. This is not the end of the

24  process. This is not the end of the process. Today

25  is a major step in improving the life and safety

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

4

1  COMMITTEE ON HOUSING AND BUILDINGS

2  conditions for New Yorkers.

3                 Just before Commissioner Von Essen

4  begins his testimony, I want to have the Clerk call

5  Council Member Provenzano's name for the purpose of

6  a vote. As you know, this meeting has been delayed

7  for a number of hours and she has an urgent

8  appointment that she must make, so for the purpose

9  of voting on proposed Intro. No. 198, the Clerk will

10  call Council Member Provenzano's name.

11                 COUNCIL CLERK CHERRY: Provenzano.

12                 COUNCIL MEMBER PROVENZANO: I vote

13  yes. I am really sorry, but I will watch you on

14  Channel 74.

15                 COUNCIL MEMBER MARSHALL: Mr. Chair,

16  may I be afforded the same, although I will stay,

17  since we are voting?

18                 CHAIRPERSON SPIGNER: If you will just

19  relax just for a moment, I will get right back to

20  you?

21                 COUNCIL MEMBER MARSHALL: Okay.

22                 CHAIRPERSON SPIGNER: As I was saying

23  before I was reminded of the request from the

24  members, and I will certainly get back to you,

25  Council Member Marshall, while we would like to hear

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

5

1  COMMITTEE ON HOUSING AND BUILDINGS

2  from all of you, I think we have heard from most of

3  you, either at the last meeting or we received a

4  number of letters and communications in person and

5  otherwise, and so the only person that we will hear

6  from today is the Administration represented by our

7  Fire Commissioner Von Essen.

8                 Commissioner, if you will identify

9  yourself and the members of your staff.

10                 COMMISSIONER VON ESSEN: Good

11  afternoon. Thank you.

12                 Thanks again, for the opportunity to

13  testify before this Committee. We have had the

14  opportunity to review the draft legislation and

15  believe that it is a good first step. We look

16  forward to continuing to work with the Council to

17  ensure that the task force initiatives are enacted

18  into law.

19                 As you know, Mayor Giuliani's Task

20  Force on High Rise Fire Safety issued their report

21  yesterday. That Task Force, Chaired by Deputy Mayor

22  for Operations Joe Lhota, made a number of

23  recommendations that will greatly enhance the fire

24  protection mechanisms already in place in New York

25  City for residential dwellings.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

6

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The issues that the Task Force

3  reviewed include measures that we believe will have

4  an immediate effect and can make significant

5  progress in reducing property damage and hopefully

6  preventing unnecessary injuries and deaths.

7                 The major proposals of the Committee

8  include:

9                 1) The installation of sprinklers in

10  all newly constructed residential buildings,

11  including both high-rise and low-rise buildings, as

12  well as one- and two-family homes.

13                 2) The installation of sprinklers in

14  existing buildings, residential buildings that are

15  substantially renovated - whenever the cost of

16  alternations to a residential building, performed

17  within any 12-month period, exceeds 30 percent of

18  the assessed value or the replacement value for the

19  residential portion of the building.

20                 3) The installation of an emergency

21  voice communications systems, for use by the

22  Department in fire emergencies, in existing

23  non-sprinklered residential buildings over six

24  stories or 75 feet in height.

25                 4) The promulgation of rules by the

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

7

1  COMMITTEE ON HOUSING AND BUILDINGS

2  New York City Fire Commissioner requiring owners of

3  all residential buildings, except one- and

4  two-family dwellings, to prepare and distribute the

5  building occupants and employees a Fire Department

6  approved fire safety plan, as well a other fire

7  safety education materials.

8                 5) The incorporation of the NFPA

9  sprinkler system standards for low rise multiple

10  dwellings and one- and two-family dwellings into the

11  New York City Building Code, with appropriate

12  modifications to recognize the unique diversity of

13  buildings in New York City.

14                 The initiatives that are in your

15  current draft: Sprinklers in new residential

16  buildings with more than three families, signage

17  inside of apartment doors, the requirement for a

18  fire safety plan, the agreement to use different

19  materials in the construction of sprinklers, as well

20  as the requirement to include fire safety

21  information with the window guard statements, are

22  changes that many Fire Commissioners have long

23  believed would be beneficial to the lives of all

24  City residents.

25                 As I said earlier, we believe that

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

8

1  COMMITTEE ON HOUSING AND BUILDINGS

2  this proposed legislation is a good first step,

3  however, when we leave here today, let's not forget

4  the words of Priscilla Lina. Priscilla, very

5  eloquently, while fighting back tears, testified

6  before this Committee; of the terror she experienced

7  at the West 60th Street fire two days before

8  Christmas. She told the Committee that she and her

9  neighbors needed communication capability in an

10  emergency situation in order to receive instructions

11  on what to do.

12                 She went on to stress the need for

13  additional fire safety information to be distributed

14  to high rise dwellers, and emphasize the need for

15  communication.

16                 As we move head, let us not forget

17  what she and her neighbor said.

18                 I am just concerned that you said

19  today is not the end of the process. If that is

20  true, then we are very happy with what is going on.

21  But it shouldn't be the end. If that is what we are

22  saying but we really don't mean it, we are not being

23  honest with those people.

24                 We are here today because of those

25  people on 60th Street, because of the horror of what

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

9

1  COMMITTEE ON HOUSING AND BUILDINGS

2  happened throughout that building, the inability for

3  us to get word to those people.

4                 We are policy, our request from the

5  beginning was not to try and have an onerous

6  position that sprinklers would be retrofitted

7  throughout all of the buildings in this City. We

8  felt that communications would be something to give

9  all of those people throughout this City right now

10  something that would help them right away. This bill

11  does not do that, and that is our only real problem

12  with it.

13                 We would love to see the one or

14  two-families, but we understand we can't get it all.

15  We would like to. And we really -- this is not

16  politics here, this is nothing but what we believe

17  to be improvements in fire safety. If we don't do

18  something about communicating with people that are

19  out there already throughout this City, we are not

20  doing our job.

21                 CHAIRPERSON SPIGNER: Thank you,

22  Commissioner.

23                 As I stated, this is not the end of

24  the process. Not for a long shot. It is a

25  work-in-progress. Every day we will be visiting this

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

10

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and revisiting this, and I just hope that we won't

3  have any catastrophic attention-getters. We are not

4  going to wait for them, we are going to be proactive

5  as it relates to the issue that we address today.

6                 So, I want to thank you very much for

7  your testimony. Thank you staff and the Mayor's

8  Office for the collaborative manner in which we

9  discussed these issues, and we will be in touch.

10                 COMMISSIONER VON ESSEN: Well, we were

11  hoping there were going to be a lot of issues

12  discussed and talked about.

13                 CHAIRPERSON SPIGNER: We have been

14  talking for the last 24 hours almost non-stop. We

15  haven't even gotten much sleep.

16                 COMMISSIONER VON ESSEN: Well, what we

17  are trying to say is that there is a misconception I

18  think by a lot of your constituents that sprinklers

19  are a product that are constantly going off,

20  flooding or causing, would cause havoc in a one- or

21  two-family home. We just would like to help you

22  convince those folks that that is not the case.

23                 CHAIRPERSON SPIGNER: We certainly

24  look forward to working with you, and there are

25  differences of opinion on the Committee as to what

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

11

1  COMMITTEE ON HOUSING AND BUILDINGS

2  represents good, prudent, public policy.

3                 We have arrived at a level of

4  agreement at this point that we think is prudent and

5  is in the best interest of the City, all aspects of

6  it, residents and those who provide shelter and

7  those who have to fight the fires in these various

8  buildings and edifices.

9                 Thank you.

10                 Now, Commissioner, then before I have

11  some of my members ask questions, I will have Terzah

12  Nasser, Counsel to this Committee, explain the bill

13  that is before the Committee this afternoon.

14                 Terzah.

15                 MS. NASSER: Terzah Nasser, Counsel to

16  the Housing and Buildings Committee.

17                 I am going to summarize the

18  provisions of the bill for the record.

19                 The proposed bill, Intro. No. 198-A,

20  would require the installation of sprinklers in

21  newly constructed buildings with four or more

22  dwelling units.

23                 The bill was crafted with the

24  understanding that the Department of Buildings will

25  permit plastic piping in buildings for the

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

12

1  COMMITTEE ON HOUSING AND BUILDINGS

2  installations of sprinkler systems.

3                 The installation of sprinklers will

4  be required in certain existing buildings upon

5  alterations, categories being, when the cost of

6  making any alterations within any 12-month period

7  exceed 50 percent of building value, upon conversion

8  to a residential building with more than four

9  dwelling units, and also for alterations of spaces

10  upon conversion or when the cost of alterations

11  exceed 50 percent, alterations to those spaces.

12                 In addition, there will be a

13  prohibition on tampering with sprinklers. There will

14  also be a notice requirement such that the occupants

15  of multiple dwellings would receive notice that

16  would provide fire safety and evacuation procedures.

17                 In addition, there will be additional

18  testing requirements which include an actual

19  operational test of an automatic sprinkler system.

20                 That ends the summary.

21                 I actually would like to read into

22  the record, there is a copy of proposed Intro.

23  198-A, that some of the members and members of the

24  public have. There are a few corrections to the

25  draft that is circulating right now.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

13

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 On page three, Section 27-123.2 of

3  the Code will read, the title will read provision of

4  sprinklers in existing buildings. The language that

5  said requiring sprinklers is scratched. It says

6  provision of sprinklers in existing buildings. That

7  is the title.

8                 On page 14, for those of you who have

9  it, there is actually a modification to what is

10  section 18 of this bill, which deals with the

11  testing of the sprinklers and/or stand pipe systems,

12  such that -- well, okay, that is Subdivision --

13  actually, it would be paragraph 3 of subdivision C

14  will read, a system of automatic sprinklers in

15  buildings classified in occupancy group J3 shall be

16  maintained in perfect working order. The language

17  that referred to one and two-family dwellings has

18  been removed.

19                 And then on page 16, section 22, the

20  effective date, the language, second line from the

21  bottom, which refers to alterations. As it says,

22  alterations, addition, repair or change, we are

23  deleting the words addition, repair and second

24  repair, which was a typo. So that line would read,

25  alteration, or change of occupancy or use are filed

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

14

1  COMMITTEE ON HOUSING AND BUILDINGS

2  with the Department of Buildings, et cetera.

3                 And that is the end of the changes to

4  the draft that is circulating around that some of

5  you do have in your possession.

6                 CHAIRPERSON SPIGNER: Now I am going

7  to recognize Cathy Cudahy, the Director of our

8  Infrastructure. Human Services Division.

9                 MS. CUDAHY: I just want to clarify

10  one thing -- two things.

11                 Plastic pipes that are being

12  authorized today are for installation in residential

13  buildings only, okay?

14                 The second thing that I just would

15  like to clarify is that this is a continuing process

16  which we really started in the past few weeks, and

17  there are two issues in particular that we have

18  agreed with the Administration to work on in the

19  coming days and weeks. Those issues are the

20  installation of sprinkler systems in one-, two- and

21  three-family homes, and also the installation of a

22  communication system in multiple dwellings that may

23  not have sprinkler systems installed by the Year

24  2002.

25                 Those are two issues that we want to

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

15

1  COMMITTEE ON HOUSING AND BUILDINGS

2  continue to discuss with the Administration, and we

3  will start tomorrow morning doing that.

4                 Thank you.

5                 COUNCIL MEMBER McCAFFREY: Mr.

6  Chairman, towards that end I would ask Ms. Cudahy to

7  explore some specific cost estimates as contained in

8  the report that addressed the cost on sprinklers on

9  installation, the cost analysis in terms of the

10  communication system would be something that we

11  would like to be able to see as we can pursue this

12  in terms of our discussion, so that is a request I

13  have made of Ms. Cudahy.

14                 CHAIRPERSON SPIGNER: Okay,

15  Commissioner, we have been delighted to hear your

16  version of the issue today, and Council Member

17  Michels has a question.

18                 COUNCIL MEMBER MICHELS: I just have

19  one question, and it comes up somewhat often.

20                 On page 14 of the bill, talking about

21  Section 27-4267.3, we talk about the promulgation of

22  rules and regulations; could you tell us when you

23  plan on promulgating those rules?

24                 There doesn't seem to be any period

25  of time, and in our experience it has been that it

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

16

1  COMMITTEE ON HOUSING AND BUILDINGS

2  takes some time to promulgate these rules.

3                 COMMISSIONER VON ESSEN: Stanley, are

4  you talking about the education, signage and

5  everything else?

6                 COUNCIL MEMBER MICHELS: Yes, I am

7  talking about the fire prevention notification,

8  planning and education, right.

9                 COMMISSIONER VON ESSEN: We would like

10  to do that as quickly as possible.

11                 Remember, this is not -- you know we

12  were thinking this was a draft that we were working

13  on. This is a final product --

14                 COUNCIL MEMBER MICHELS: I just want

15  to get a ball park figure --

16                 COMMISSIONER VON ESSEN: We would like

17  to do this as quickly as possible.

18                 COUNCIL MEMBER MICHELS: This is a

19  very important section.

20                 COMMISSIONER VON ESSEN: These are

21  things that can be done very quickly.

22                 COUNCIL MEMBER MICHELS: Yes.

23                 COMMISSIONER VON ESSEN: What we found

24  in all of this work was that the communication

25  system is a very complicated issue.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

17

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER MICHELS: Yes, it is.

3                 COMMISSIONER VON ESSEN: And the

4  speakers and wiring and all of the different types

5  of building we are talking about has made it

6  complicated and we understand that that issue is

7  something that we need further work on. And if the

8  Task Force is going to continue to work on that

9  particular issue especially, then we understand the

10  urgency to try to get this piece done as quickly as

11  possible.

12                 COUNCIL MEMBER MICHELS: Are you

13  integrating it with the intercom systems that some

14  of the buildings have?

15                 COMMISSIONER VON ESSEN: Yes.

16                 COUNCIL MEMBER MICHELS: Where they

17  have them. Because there is a law, in my

18  recollection, that buildings are supposed to have

19  intercom systems.

20                 COMMISSIONER VON ESSEN: But there are

21  all different types of systems --

22                 COUNCIL MEMBER MICHELS: Of intercom

23  systems, correct.

24                 COMMISSIONER VON ESSEN: So we found

25  this is not as easy as you might think.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

18

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER MICHELS: Oh, I

3  understand that. That is why I want to get an idea

4  what we are talking about.

5                 COMMISSIONER VON ESSEN: This is

6  different. This is something that we can come up

7  with a sign, we can come up with a method, we can

8  sit down with the real estate people and say within

9  six months this has to be done, I would think. We

10  will try to do that.

11                 CHAIRPERSON SPIGNER: Council Member

12  Boyland.

13                 COUNCIL MEMBER BOYLAND: I just have a

14  concern, in a district such as mine in Brooklyn

15  where we are doing a lot of construction, new

16  construction, and we are trying to encourage

17  developers to come into our communities and build

18  affordable housing, how do we come about keeping a

19  cap on the amount spent? I mean, the cost factor is

20  of grave importance to a lot of the developers

21  within my community. Although we understand how

22  important it is to have sprinkler systems within our

23  home, we have to figure out a way also to adjust it

24  where it is not sky-rocketing, where therefore we

25  don't have to come back and put more subsidies on

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

19

1  COMMITTEE ON HOUSING AND BUILDINGS

2  affordable homes within my community.

3                 COMMISSIONER VON ESSEN: The new

4  reference is we will make it less expensive, the use

5  of plastic, the discounts that the insurance

6  companies give we believe is going to more than pay

7  for it over the course of the mortgage of the

8  building. So, this is a good investment, it is going

9  to save people money on the housing you are talking

10  about.

11                 COUNCIL MEMBER BOYLAND: The new

12  affordable homes that are coming in.

13                 COMMISSIONER VON ESSEN: We believe

14  that.

15                 COUNCIL MEMBER BOYLAND: Okay, thank

16  you.

17                 CHAIRPERSON SPIGNER: Council Member

18  Linares, followed by Council Member Michels -- I

19  mean, Council Member Marshall.

20                 COUNCIL MEMBER LINARES: Commissioner,

21  good afternoon.

22                 I have noticed some degree of

23  discomfort or uneasiness after making your

24  presentation with regards to the bill, and what has

25  been worked out.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

20

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 After listening to our attorney, our

3  representative, explain the context around which we

4  brought this to this point, between the Council and

5  the Administration, I was wondering what is it that

6  concerns you in terms of what needs to be followed

7  through, this is work-in-progress, and there is a

8  commitment that I understand has been agreed upon,

9  today in fact, with the two parts.

10                 And, so, I was just wondering what is

11  it that may be of discomfort or may be of concern to

12  you at this point, after having heard our Council

13  explain what still needs to be followed through

14  with?

15                 COMMISSIONER VON ESSEN: Well, having

16  been around a little while, I am just concerned that

17  we may lose the moment. I think that we had a couple

18  of horrible tragedies that brought attention to

19  issues that the Fire Department would have liked to

20  have happened many years ago.

21                 We have an opportunity now to

22  accomplish that. I think that you have made a major

23  step forward in accomplishing some of it.

24                 I think if we walk away without

25  resolving the communications part of this, we have

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

21

1  COMMITTEE ON HOUSING AND BUILDINGS

2  done not as much as we should be doing for all of

3  those people that are out there in those buildings

4  today.

5                 Separate from that is the one- and

6  two-family issue, that we believe is a mistake by

7  not having it in this legislation today. But if we

8  can continue to talk about it, we will try to

9  convince you to maybe modify this legislation down

10  the road, like I say, we are happy but we are

11  concerned that because you don't have it in there

12  today, the communication is complicated, and maybe

13  none of us are ready for that.

14                 We believe that the one and

15  two-family issue is not complicated, that the people

16  might have the wrong understanding. When you watch a

17  Frito Lay commercial on TV and you see an attractive

18  woman walk through a room and every sprinkler goes

19  off in that room, we think that the media and TV and

20  the world out there thinks that when a sprinkler

21  goes off, every sprinkler in the room goes off. That

22  is not the case, and we just wish we had that

23  opportunity to convince you, so maybe you would know

24  that your constituents are concerned over something

25  that is not real.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

22

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The cost we believe pays for itself

3  over time, and we believe that that sprinkler that

4  puts out 15 gallons a minute is much, much safer and

5  does much less damage than a fire company that comes

6  with a two and a half inch hose and puts out 250

7  gallons of water a minute, and maybe burn down your

8  house and maybe lose some of your loved ones. So, we

9  believe that is an issue that we are missing here

10  today on the one and two-family homes.

11                 The other part of it, like I said, we

12  agree it is complicated and we want to work further

13  with you. We had hoped to get it all, we don't have

14  it all here.

15                 COUNCIL MEMBER LINARES: I just want

16  to say, the reason I raise this is because it is my

17  impression that what has brought us to this point

18  and what constitutes a mandate for us to continue

19  aggressively addressing this is the fact that we

20  have tragedies, loss of life, that is unfortunate,

21  and it is expected of us, both the Administration

22  and the City Council to do no less. So, it is my

23  impression that what brings us here today, the best

24  of intentions and commitment to proceed on this

25  matter, because it is a matter of life and death,

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

23

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and because we want to prevent a catastrophe or a

3  fatality such as the one that brought us to this

4  point.

5                 So, I believe that we are making this

6  a public expression, especially to the victims, and

7  that I think should carry a sense of indication of

8  the commitment that is there for us to proceed

9  working together as we have done so far.

10                 COMMISSIONER VON ESSEN: Thank you for

11  that commitment.

12                 CHAIRPERSON SPIGNER: Well,

13  Commissioner, as opposed to losing the moment, I

14  think we are seizing the moment to do something now,

15  as opposed to protracted and extended conversations

16  on this issue, if we didn't take the moment today to

17  do something, you might not have been present but we

18  have been working almost 24 hours, this meeting was

19  scheduled for 1:00, agreements had not been reached

20  with the Administration, which is your boss, the

21  Mayor. Now, if they didn't inform you as to what we

22  were doing, or if you still had your own point of

23  view, we respect that, but we believe that what we

24  have accomplished today, is as far as we can go

25  today legislatively, because we can't do everything

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

24

1  COMMITTEE ON HOUSING AND BUILDINGS

2  it doesn't mean we can't do some things.

3                 I believe the bill that we will be

4  voting on today will represent a major step in

5  protecting the life and property of New Yorkers.

6                 Does it go all the way? Do we talk

7  about retrofitting, and what about those people that

8  live in existing buildings, not only are we talking

9  about that, I mean we would want to propose and

10  provide 100 percent but we can't do it, so today

11  this bill, 198, represents the point where we are

12  now. And we will continue to go forward, and I

13  assure you we will not let this issue come to the

14  back burner, because you won't permit us to do it.

15                 Council Member Marshall.

16                 COUNCIL MEMBER MARSHALL: Yes.

17                 Commissioner, certainly the loss of

18  life is a compelling mandate for us to do all that

19  we can to save lives, and I know that is the bravest

20  and that is your motto.

21                 I do want to commend you on your

22  educational program. I have seen it a few times in

23  my district where members of the Fire Department

24  come out, even give out smoke detectors, and I was

25  surprised there were people in the room who had no

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

25

1  COMMITTEE ON HOUSING AND BUILDINGS

2  smoke detectors in their home and they were glad to

3  get them. And those who took for a neighbor, et

4  cetera. And that is moving ahead and I think we all

5  learned a lot, how to work with fire extinguishers

6  and many things, and I urge you to please continue

7  that program and be aggressive with it because I

8  know that people got information that day that they

9  had never gotten before.

10                 Now, the two areas that you are

11  concerned with, one is communication, actually it's

12  a lot cheaper to wire out a communication system

13  than it is to put in sprinklers, so that I think

14  that is something that will certainly be tackled. I

15  for awhile represented Leffrak City and there was a

16  terrible fire and we actually lost a couple of

17  people because people didn't know what to do, just

18  as this fire, and I sat through that compelling

19  testimony the other day.

20                 Also, for one- and two-family homes I

21  would suggest that probably even the market is going

22  to help us because people might want to do this in

23  their own homes, once the word gets out, and I think

24  all of the attention that has been given to

25  sprinklers is going to have some sort of a life of

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

26

1  COMMITTEE ON HOUSING AND BUILDINGS

2  its own, but I am sure that our Committee will

3  continue to work on this and to perfect it, but

4  having this bill is a breakthrough and I think that

5  it is a good beginning. And you heard our Chairman

6  assure you that we are going to keep on going and we

7  will.

8                 COMMISSIONER VON ESSEN: Thank you.

9                 CHAIRPERSON SPIGNER: Council Member

10  McCaffrey.

11                 COUNCIL MEMBER McCAFFREY: Thank you

12  very much, Mr. Chairman.

13                 Commissioner, and let me just

14  reiterate the commitment that has been made by the

15  Chair, certainly as the sponsor. Let me just say,

16  when I sponsored this legislation, I did not have

17  the support of the Administration, I just want to

18  state that for the record. You know that as well as

19  I do and everybody in this room knows that.

20                 So, you know, I understand the point

21  better than some. Not you, and I am not talking

22  about you directly, but some in the Administration.

23  And so we have seized the moment on this. Remember

24  where we were at the hearing which we were talking

25  about, seven stories or above, now we are talking

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

27

1  COMMITTEE ON HOUSING AND BUILDINGS

2  four units or more, and that is a considerable

3  distance in which we come and I would ask that you

4  acknowledge that. I mean, that is a vast distance in

5  which we have come in terms of positions.

6                 COMMISSIONER VON ESSEN: Walter, I

7  thought I did acknowledge that.

8                 COUNCIL MEMBER McCAFFREY: Okay.

9                 COMMISSIONER VON ESSEN: If I hadn't,

10  believe me, I do.

11                 COUNCIL MEMBER McCAFFREY: And we

12  certainly agree with you in terms of the concepts

13  here and we would look toward the ones, twos and

14  threes, although I have to say the report does not

15  give us much information in a number of aspects, and

16  one of the things we asked about, what is the effect

17  in terms of dampening construction in the City of

18  New York, that is not contained in the report, now

19  these other aspects, and we would look to that.

20                 Let me just ask you, though, one of

21  things that is disturbing, when we talk about

22  seizing the day is, on this task force served the

23  Commissioner of HPD, absent from the task force was

24  the Chair of the New York City Housing Authority,

25  what are we about to do? What is the Administration

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

28

1  COMMITTEE ON HOUSING AND BUILDINGS

2  about to do about New York City Housing Authority

3  units? What is it going to do to improve the fire

4  safety beginning today?

5                 Is it going to put in the

6  communication systems and the Housing Authority

7  units today? Is it going to put in communication

8  systems and HPD units today?

9                 COMMISSIONER VON ESSEN: Walter, they

10  were on the task force. NYCHA was on it.

11                 COUNCIL MEMBER McCAFFREY: I don't see

12  them listed. If they were, I don't see them here.

13                 COMMISSIONER VON ESSEN: Paul

14  Graziano, the General Manager of the New York City

15  Housing Authority, sat in on most of the discussions

16  that were working with Buildings and Fire

17  Department.

18                 COUNCIL MEMBER McCAFFREY: Okay, fine.

19                 CHAIRPERSON SPIGNER: You know Mr.

20  Graziano well.

21                 COUNCIL MEMBER McCAFFREY: So, based

22  upon that, where are the recommendations here as to

23  what the Administration is going to do, which

24  doesn't require action legislatively to now upgrade

25  the safety in terms of the Housing Authority

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

29

1  COMMITTEE ON HOUSING AND BUILDINGS

2  locations and the HPD locations?

3                 COMMISSIONER VON ESSEN: Now that the

4  legislation is finalized, the Administration will

5  figure out how it affects the housing and plan

6  accordingly.

7                 COUNCIL MEMBER McCAFFREY: As we must

8  deliberate on ones, twos and threes, you must now

9  deliberate on Housing Authority and on HPD. Extend

10  to us all of the same courtesy as we extend to you

11  as to the importance of the deliberation process.

12                 COMMISSIONER VON ESSEN: Enough said.

13                 COUNCIL MEMBER McCAFFREY: Thank you

14  very much, Mr. Chairman.

15                 Let me say to you, I thank you very

16  much and I thank the staff for working on this. I

17  thank the Fire Commissioner and his staff for their

18  deliberations in terms of this. This is an important

19  measure. As someone who began this process nearly

20  two years ago on this specific piece of legislation,

21  this piece of legislation has come a long way in

22  providing for an enhanced safety for the City of New

23  York.

24                 Thank you.

25                 CHAIRPERSON SPIGNER: Council Member

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

30

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Michels.

3                 COUNCIL MEMBER MICHELS: Yes, just

4  following up with Mr. McCaffrey's questioning, and

5  by the way, I want to give a lot of credit to Mr.

6  McCaffrey for doing an extraordinary wonderful job

7  here.

8                 But the City right now has got the

9  main influence with respect to the Housing

10  Authority, I believe, NYCHA, and also the buildings

11  in the jurisdiction of HPD, and it would seem to me

12  that we don't have to wait really to implement all

13  of the things that the Administration really wants

14  us, we should do this as soon as possible. Can we

15  expect really a huge thrust of the work being done

16  on those buildings, and on these particular issues?

17                 COMMISSIONER VON ESSEN: I can't speak

18  for the thrust of implementation on a lot of these

19  measures for Housing. I can only tell you that our

20  input, our meetings with them will encourage that.

21                 COUNCIL MEMBER MICHELS: You know,

22  because we really believe that, and then as you do,

23  I know, that these are very good measures and

24  measures that should be done. So it is important

25  that we should implement them where we can as soon

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

31

1  COMMITTEE ON HOUSING AND BUILDINGS

2  as possible, mainly in the Housing Authority and

3  NYCHA buildings and in the buildings in the

4  jurisdiction in HPD.

5                 COMMISSIONER VON ESSEN: Okay.

6                 CHAIRPERSON SPIGNER: Thank you,

7  Commissioner.

8                 Okay, Council Member Linares.

9                 COUNCIL MEMBER LINARES: I just want

10  to follow up on Council Member Michels',

11  Commissioner, on his questions.

12                 Most public housing that we have, it

13  is my understanding, are concentrated in communities

14  of color, and I think that the question he was

15  asking is, in terms of public housing, why couldn't

16  we step up to try to comply with those particular

17  properties in particular? Public housing that is.

18                 What would prevent --

19                 COMMISSIONER VON ESSEN: I am not sure

20  exactly what you mean. There is not a lot of issues

21  as far as retrofitting that are going to affect,

22  this legislation will affect housing, not a lot of

23  retrofitting issues.

24                 As far as going forward with all new

25  construction, they will be part of that. But the

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

32

1  COMMITTEE ON HOUSING AND BUILDINGS

2  communication system that we talk about, we will

3  talk about in the future, certainly is part of all

4  housing.

5                 But other than that, and these issues

6  -- the communication system is something they are

7  working on, and like I said, the same complications

8  that it is for all of the other buildings throughout

9  the City is the problem that housing is dealing with

10  right now.

11                 But it is absolutely the intention to

12  abide by and to be part of all of those improvements

13  that we are asking everyone else to do at housing.

14                 COUNCIL MEMBER LINARES: Thank you.

15                 CHAIRPERSON SPIGNER: Let me just

16  conclude by saying, any property owner who wants to

17  put in speakers, sprinklers, put them anywhere,

18  there is no prohibition against putting them in. And

19  I will bet you the Fire Department would be

20  available even to give some suggestions if our

21  citizens would call and say, well, what do you

22  suggest if I wanted to implement this measure in my

23  building.

24                 COMMISSIONER VON ESSEN: Absolutely.

25                 CHAIRPERSON SPIGNER: Okay. So, with

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

33

1  COMMITTEE ON HOUSING AND BUILDINGS

2  that, Commissioner, thank you so much for your

3  testimony and your cooperation and we will be in

4  touch on an ongoing basis because this is a

5  work-in-progress.

6                 Mr. Clerk, roll call, please.

7                 COMMISSIONER VON ESSEN: Thank you.

8                 CHAIRPERSON SPIGNER: On Intro. No.

9  198-A.

10                 COMMISSIONER VON ESSEN: Thank you

11  very much.

12                 CHAIRPERSON SPIGNER: You are welcome,

13  sir.

14                 COUNCIL CLERK CHERRY: Spigner.

15                 CHAIRPERSON SPIGNER: Just briefly to

16  explain my vote. I have been very close to Council

17  Member McCaffrey's work in putting this legislation

18  together and I have learned a lot about the

19  issues, much that I am satisfied with, and I must be

20  honest and say there are pieces of it that I am not

21  satisfied with, but recognizing what the real world

22  is, sometimes you have got to take what you can and

23  move ahead to the next point, and I think that

24  Intro. 198 does represent a step in the right

25  direction, and, therefore, I wholeheartedly cast an

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

34

1  COMMITTEE ON HOUSING AND BUILDINGS

2  aye vote for this legislation.

3                 Continue the roll call.

4                 COUNCIL CLERK CHERRY: Michels.

5                 COUNCIL MEMBER MICHELS: Mr. Chairman,

6  may I be temporarily excused to explain my vote?

7                 CHAIRPERSON SPIGNER: Certainly,

8  Council Member Michels.

9                 COUNCIL MEMBER MICHELS: I very

10  affirmatively cast my vote in favor of this

11  legislation of 198-A and ask to be named as a prime

12  sponsor, with the permission of Mr. McCaffrey who

13  has done such yeoman's work on this legislation,

14  together with you and the staff, and I just want to

15  say that I think this is a revolutionary piece of

16  legislation, which I am sure is going to save lives

17  we can't save at this particular time, and as you

18  say, this is a first step in the right direction, it

19  is what has to be done to make sure that the

20  citizens of this City are safe. We are now using

21  materials in home building, some of which aren't as

22  safe as we would like it to be, so it is really

23  important that people, especially in high rise

24  buildings, where it is difficult to get the

25  machinery up there, receive the safety of these

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

35

1  COMMITTEE ON HOUSING AND BUILDINGS

2  instrumentalities, the instrumentalities of fire

3  prevention and the limiting of fire.

4                 So, I vote aye, and I compliment Mr.

5  McCaffrey and the staff and the work they have done.

6                 CHAIRPERSON SPIGNER: Continue the

7  roll call.

8                 COUNCIL CLERK CHERRY: Dilan.

9                 COUNCIL MEMBER MALAVE-DILAN: I vote

10  yes.

11                 COUNCIL CLERK CHERRY: Linares.

12                 COUNCIL MEMBER LINARES: May I be

13  excused to explain my vote?

14                 CHAIRPERSON SPIGNER: Council Member

15  Linares.

16                 COUNCIL MEMBER LINARES: I would also

17  like to echo some of the remarks made previously

18  with regards to the leadership played by Council

19  Member McCaffrey in bringing this piece of

20  legislation to bear.

21                 In the context of the tragedies and

22  the loss of life that we have experienced, I think

23  it is one step but it is a very, I think it is a

24  giant step in the right direction. Clearly there is

25  commitment to continue, and I would like to

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

36

1  COMMITTEE ON HOUSING AND BUILDINGS

2  acknowledge the leadership of the chair and the

3  staff in working to make this possible.

4                 I think we wouldn't be here, and I

5  like to acknowledge that we have been able to bring

6  things to this point because the Administration also

7  working was willing to facilitate this positive and

8  important step. And let's hope that we continue on

9  this path with yet other important work that we need

10  to do to make sure that everyone is safe in our

11  City, at least from fire.

12                 CHAIRPERSON SPIGNER: Continue the

13  roll call.

14                 Have you voted?

15                 COUNCIL MEMBER LINARES: I will vote

16  yes, in the affirmative, on the piece of

17  legislation.

18                 Thank you, Mr. Chair.

19                 CHAIRPERSON SPIGNER: Continue the

20  roll call.

21                 COUNCIL CLERK CHERRY: Marshall.

22                 COUNCIL MEMBER MARSHALL: May I be

23  excused to explain my vote?

24                 CHAIRPERSON SPIGNER: Council Member

25  Marshall.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

37

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER MARSHALL: There is an

3  expression that the buck stops here and clearly I

4  think the action of the Council, when we look at it,

5  Councilman McCaffrey introduced this bill before,

6  Councilman McCaffrey introduced this bill prior to

7  the fires, the horrible fires that we had in

8  Manhattan, and to tell you the truth, at the last

9  hearing I know that Councilman Spigner, I know he

10  had a lot of concerns about getting this bill

11  across. It means that a lot of persuasion,

12  discussion has to take place in order for this bill

13  to get to where it is now.

14                 In addition to that, in even the

15  health of his own lovely wife, he moved this date up

16  and he persisted in having this meeting.

17                 So, I think that the Council has

18  clearly stated their case, we are concerned and we

19  are moving. I am glad that now the Administration

20  understands and is willing to even make this bill

21  even more comprehensive than it is even now.

22                 So, I definitely vote aye and I am

23  very proud of what we have done so far.

24                 Thank you.

25                 CHAIRPERSON SPIGNER: Continue the

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

38

1  COMMITTEE ON HOUSING AND BUILDINGS

2  roll call.

3                 COUNCIL CLERK CHERRY: Boyland.

4                 COUNCIL MEMBER BOYLAND: Mr. Chairman,

5  may I be excused to explain my vote?

6                 CHAIRPERSON SPIGNER: Certainly,

7  Council Member Boyland.

8                 COUNCIL MEMBER BOYLAND: Thank you

9  very much, Mr. Chairman.

10                 I clearly support this bill, but also

11  I would also just like to make recommendations in

12  terms of what I was speaking to the Fire

13  Commissioner about, in terms of the incurred expense

14  on and keeping a cap on the incurred expense, in

15  terms of the piping that is used, in terms of the

16  sprinklers that is used, from metal to plastic,

17  those are some of the things we must be vigilant of

18  and keep our eye on in terms of the development,

19  such in a community like mine where we are now

20  beginning to look onto the forefront of development

21  in terms of affordable housing, in terms of economic

22  development, we want people to build safe houses,

23  but we also want to have establishments that are

24  affordable for our communities, middle class

25  communities.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

39

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 And to sum all of that up, I do

3  support this legislation. Thank you.

4                 CHAIRPERSON SPIGNER: Continue the

5  roll call.

6                 COUNCIL CLERK CHERRY: Ognibene.

7                 COUNCIL MEMBER OGNIBENE: Can I

8  explain my vote?

9                 CHAIRPERSON SPIGNER: You bet.

10                 COUNCIL MEMBER OGNIBENE: I think one

11  of the things that we have learned in the years that

12  we have been here practicing our profession as

13  legislators is that often you don't get all of the

14  things that you desire in a piece of legislation,

15  things that you believe have efficacy. Certainly

16  everybody who made recommendations to adjust this

17  piece of legislation had the best interest of the

18  people of this City of New York in mind, and many

19  times there are things that wind up in legislation

20  that we think ought not to be there. But I think on

21  balance it is our intent on both sides of City Hall

22  to ensure that the best piece of legislation is

23  developed the best as possible to protect the public

24  safety and health and welfare of the people of the

25  City of New York, and I think for the purposes of

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

40

1  COMMITTEE ON HOUSING AND BUILDINGS

2  today that we have gone as far as we can go, and I

3  rely on the Speaker's, the Chairman's assertions

4  that this is a work-in-progress, and I hope that we

5  can continue to improve it.

6                 My congratulations do go to Walter

7  McCaffrey. I know Walter works very diligently on

8  many issues, and to the Chairman to the Committee,

9  who takes an intense interest in these matters,

10  accordingly I vote aye.

11                 COUNCIL CLERK CHERRY: By a vote of

12  eight in the affirmative, none in the negative, with

13  no abstentions, the item is adopted.

14                 Please sign the reports.

15                 CHAIRPERSON SPIGNER: There being no

16  other business at this time before this Committee,

17  this hearing is adjourned.

18                 (Hearing concluded at 5:01 p.m.)

19

20

21

22

23

24

25

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

41

1

2              CERTIFICATION

3

4

5     STATE OF NEW YORK   )

6     COUNTY OF NEW YORK  )

7

8

9                 I, CINDY MILLELOT, a Certified

10  Shorthand Reporter and Notary Public in and for the

11  State of New York, do hereby certify that the

12  foregoing is a true and accurate transcript of the

13  within proceeding.

14                 I further certify that I am not

15  related to any of the parties to this action by

16  blood or marriage, and that I am in no way

17  interested in the outcome of this matter.

18                 IN WITNESS WHEREOF, I have hereunto

19  set my hand this 24th day of February 1999.

20

21

22

23

24

---------------------

25                          CINDY MILLELOT, CSR.

Legal-Ease Court Reporting Services, Inc. (800) 756-3410

42

1

2             C E R T I F I C A T I O N

3

4

5

6

7

8

9            I, CINDY MILLELOT, a Certified Shorthand

10  Reporter and a Notary Public in and for the State of

11  New York, do hereby certify the aforesaid to be a

12  true and accurate copy of the transcription of the

13  audio tapes of this hearing.

14

15

16

17

18

19

20

21

22

23

24                 -----------------------

CINDY MILLELOT, CSR.

25

Legal-Ease Court Reporting Services, Inc. (800) 756-3410