Staff:    Committee on Housing & Buildings

Meagan Chen, Counsel

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Jeff Baker, Legislative Director

Committee on Housing and Buildings

Jumaane D. Williams, Chair

October 25, 2017

INT. NO. 106:	By Council Members Rose, Chin, Koo, Levine, Mendez, Williams, Rosenthal, Koslowitz, Deutsch, Rodriguez and Ferreras-Copeland

TITLE:	A Local Law to amend the administrative code and the building code of the city of New York, in relation to requiring a sign at inaccessible building entrances indicating that a portable ramp is available when such a ramp exists...Body

ADMINISTRATIVE CODE:	Amends subdivision 1 of section 28-201.2.3, adds new sections 28-313.3 and 28-315.6.3

BUILDING CODE: 	Adds a new item 7 to section BC 1110.3

INT. NO. 1241:	Council Members Espinal, Garodnick, Eugene, Cohen, Richards, Palma, Koo, Koslowitz, Crowley, Constantinides and Dromm

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to diaper changing accommodations

BUILDING CODE:	Adds new section BC 1109.2.4

INT. NO. 1389:	By Council Members Kallos, Rodriguez and Koslowitz

TITLE:	A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to removing construction-related equipment

..Body

ADMINISTRATIVE CODE:	Adds new item 6 to section 28-201.2.2, adds a new item 2 to section 28-201.2.3, amends section 28-302.5

BUILDING CODE:	Amends section 3202.4, adds a new section 3202.4.4, amends section 3307.4.3, amends section 3307.6.5.2

Introduction

On October 25, 2017, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams will hold a hearing on Int. No. 106, Int. No. 1241 and Int. No. 1389. The Committees expect to receive testimony from representatives of the Department of Buildings (DOB), housing advocates, disability advocates, legal service providers, members of the real estate industry, and other interested members of the public.

Proposed Legislation

Below is a brief summary of each of the pieces of legislation being heard by the Committee at this hearing. These summaries are intended for informational purposes only and do not substitute for legal counsel. For more detailed information, you should review the full text of each bill, which is attached below.

Int. No. 106

Int. No. 106 would require building owners to post a sign that a portable ramp is available for access to the building at inaccessible building entrances, where that ramp exists. The New York City Building Code already requires directional signage at inaccessible building entrances indicating the route to the nearest accessible entrance. This legislation takes effect on October 1, 2014.

Int. No. 1241

Int. No. 1241 would require that new or renovated buildings that contain places of public accommodation include diaper changing tables that are accessible to persons regardless of their gender. This legislation takes effect 180 days after it becomes law.

Int. No. 1389

According to DOB, as of May 17, 2017, there were approximately 7,800 active sidewalk shed permits citywide. Int. No. 1389 would create timeframes for the removal of construction-related equipment, such as sidewalk sheds, when there is no active construction and would permit the city to correct unsafe conditions of exterior walls. This legislation takes effect 120 days after it becomes law.

Int. No. 106

By Council Members Rose, Chin, Koo, Levine, Mendez, Williams, Rosenthal, Koslowitz, Deutsch, Rodriguez and Ferreras-Copeland

..Title

A Local Law to amend the administrative code and the building code of the city of New York, in relation to requiring a sign at inaccessible building entrances indicating that a portable ramp is available when such a ramp exists.

..Body

Be it enacted by the Council as follows:

Section 1. Subdivision 1 of section 28-201.2.3 of the administrative code of the city of New York is amended to read as follows:

1. A violation of item 5 of section 1110.1, [or] of section 1110.2, or of item 7 of section 1110.3 of the New York city building code, or a violation of section 28-313.1, [or] 28-313.2 or of 28-313.3 of the administrative code of the city of New York.

§2. Article 313 of the administrative code of the city of New York as added by local law number 47 for the year 2012, is amended by adding a new section 28-313.3 to read as follows:

§ 28-313.3 Retroactive requirement for signage for portable ramps for inaccessible building entrances. The provisions of item 7 of section 1110.3 of the New York city building code requiring signage stating that a portable ramp is available and the phone number to request such ramp which must be posted at inaccessible building entrances where the a ramp is available shall apply retroactively to all buildings that have such portable ramps. Buildings in existence on the effective date of this section shall post such signage on or before March 1, 2015. Such signage shall be maintained in good condition.

§3. Article 315 of the administrative code of the city of New York as added by local law number 141 for the year 2013, is amended by adding a new section 28-315.6.3 to read as follows:

§ 28-315.6.3 Signage for portable ramps at inaccessible building entrances. The posting of signage for portable ramps at inaccessible building entrances in accordance with the requirements of item 7 of 1110.3 of this code shall be completed on or before March 1, 2015.

§4. Section BC 1110.3 of the New York city building code as added by local law number 141 for the year 2013, is amended by adding a new item 7 to read as follows:

7. At each inaccessible building entrance, signage stating that a portable ramp is available and the phone number to request such ramp shall be provided where such a ramp is available.

§5. This local law shall take effect on October 1, 2014.

Int 980/2012

LS 62/2014

7/29/2026 7:25 PM

Int. No. 1241

By Council Members Espinal, Garodnick, Eugene, Cohen, Richards, Palma, Koo, Koslowitz, Crowley, Constantinides and Dromm

..title

A Local Law to amend the administrative code of the city of New York, in relation to diaper changing accommodations

..Body

Be it enacted by the Council as follows:

Section 1. Section BC 1109 of the New York city building code is amended by adding a new section 1109.2.4 to read as follows:

1109.2.4 Diaper changing accommodations.  In assembly and mercantile occupancies, on each floor level containing a public toilet room, both male and female occupants shall have access to at least one safe, sanitary and convenient diaper changing station, deck, table or similar amenity.

§ 2. This local law takes effect 180 days after it becomes law, except that the commissioner of buildings may promulgate rules or take other actions for the implementation of this local law prior to such effective date.

KS/ACK

LS #2085, 2086, 6127 and 7366

4/20/16

Int. No. 1389

By Council Members Kallos, Rodriguez and Koslowitz

..Title

A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to removing construction-related equipment

..Body

Be it enacted by the Council as follows:

Section 1. Section 28-201.2.2 of the administrative code of the city of New York, as amended by local law number 141 for the year 2013, is amended to add a new item 6 to read as follows:

6.  A violation of section 3307.4.3 of the New York city building code, where such violation occurs on a road with four or more traffic lanes.

§ 2.  Section 28-201.2.3 of the administrative code of the city of New York, as added by local law number 47 for the year 2012, is amended to add a new item 2 to read as follows:

2. A violation of section 3307.4.3 of the New York city building code, where such violation occurs on a road with three or less traffic lanes.

§ 3. Section 28-302.5 of the administrative code of the city of New York, as amended by local law number 141 for the year 2013, is amended to read as follows:

§ 28-302.5 Repair of exterior walls, unsafe condition. Upon notification to the department of an unsafe condition, the owner, the owner’s agent or the person in charge shall immediately commence such repairs, reinforcements or other measures as may be required to secure public safety and to make the building’s exterior walls or appurtenances thereof conform to the provisions of this code.

1.	All unsafe conditions shall be corrected within 90 days [of] after filing the critical examination report.

2.	The registered design professional shall reinspect the premises and file an amended report within two weeks after the repairs have been completed certifying that the unsafe conditions of the building have been corrected.

3.	The commissioner may grant an extension of time of up to 90 days to complete the repairs required to correct an unsafe condition upon receipt and review of an initial extension application submitted by the registered design professional together with such additional documentation as may be prescribed by rule.

4.	[The commissioner may grant further extensions of time to complete the repairs required to remove an unsafe condition upon receipt and review of an application for a further extension submitted by the registered design professional together with such further documentation as may be prescribed by rule.] If an unsafe condition has not been corrected within the time period set forth in item 1, including any extension granted under item 3, the commissioner shall direct the commissioner of housing preservation and development or the department of citywide administrative services or another authorized agency to perform or arrange for the performance of such correction in the manner provided for emergency work under section 28-215.1. Such work shall be deemed emergency work for the purposes of section 28-215.1.1.

§ 4. Section 3202.4 of the New York city building code, as amended by local law 141 for the year 2013, is amended to read as follows:

3202.4 Temporary encroachments. Encroachments of temporary nature shall comply with Sections 3202.4.1 through [3202.4.3] 3202.4.4.

§ 5. Section BC 3202 of the New York city building code, as amended by local law 141 for the year 2013, is amended by adding a new section 3202.4.4 to read as follows:

3202.4.4 Contractor sheds and offices. Contractor sheds or offices shall not be placed on a street.

Exception: Where the commissioner determines it would be impracticable to place such contractor shed or office in a location other than on the street, provided that such placement complies with applicable rules of the Department of Transportation.

§ 6. Section 3307.2.2 of the New York city building code, as amended by local law 141 for the year 2013, is amended to read as follows:

3307.2.2 Temporary public walkway in the street. Where authorized by the Department of Transportation, a temporary walkway open to the public may be provided in the street in front of the site. Such temporary walkway shall be protected in accordance with the requirements of the Department of Transportation. Such walkway shall be removed and pedestrian access to the sidewalk shall be restored if there has been no work at such site for a period of seven or more consecutive days. There shall be a rebuttable presumption that no work has occurred for a period of seven or more consecutive days at such site if the department visits such site at least twice within a seven-day period and (i) each such visit occurs between Monday and Friday, during the hours of 8:00 a.m. to 3:00 p.m., excluding public holidays as such term is defined in section 24 of the general construction law and any other day excluded by department rule, and (ii) at each such visit, the department observes no work occurring.

Exceptions:

1. 	Where work has temporarily ceased due to weather.

2. 	Where work has temporarily ceased because of expiration of applicable permits from the department and the permit holder has applied for a renewal of such permits.

3. 	Where removal would pose a risk of physical harm to pedestrians.

§ 7. Section 3307.4.3 of the New York city building code, as amended by local law 141 for the year 2013, is amended to read as follows:

3307.4.3 Vehicular traffic. Whenever any work is being performed over, on, or in close proximity to a highway, street, or similar public way, control and protection of traffic shall be provided by barriers, signals, signs, flagpersons, or other devices, equipment, and personnel in accordance with the requirements of the Department of Transportation. Barriers that are placed in the roadway to prohibit vehicular traffic shall be removed if there has been no work for a period of one or more hours. There shall be a rebuttable presumption that no work has occurred for a period of one or more hours if (i) in response to a complaint, the department visits the site and observes no work occurring or (ii) the department visits the site at least twice in one day, at times which are separated by at least one hour, and observes no work occurring.

§ 8. Section 3307.6.5.2 of the New York city building code, as amended by local law 141 for the year 2013, is amended to read as follows:

3307.6.5.2 Supervision of installation, adjustment, repair, and removal. The installation, adjustment, repair, or removal of a sidewalk shed shall be performed under the supervision of a competent person designated by the permit holder for the sidewalk shed. The  permit holder shall cause the removal of a sidewalk shed if there has been no work performed on the site for seven or more consecutive days. There shall be a rebuttable presumption that no work has occurred for a period of seven or more consecutive days at such site if the department visits such site at least twice within a seven-day period and (i) each such visit occurs between Monday and Friday, during the hours of 8:00 a.m. to 3:00 p.m., excluding public holidays as such term is defined in section 24 of the general construction law and any other day excluded by department rule, and (ii) at each such visit, the department observes no work occurring.

Exceptions:

1. Where work has temporarily ceased due to weather.

2. Where work has temporarily ceased because of expiration of permits from the department and where the permit holder has applied for a renewal of such permits.

3. Where removal of sidewalk sheds would pose a risk of physical harm to pedestrians.

4. Where work has temporarily ceased due to a stop work order issued by the department.

§ 9. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings, the commissioner of transportation, the commissioner of housing preservation and development, the commissioner of citywide administrative services and the head of any agency authorized to perform or arrange for the performance of emergency work under section 28-215.1 of the administrative code of the city of New York, as amended by section one of this local law, may take such measures as are necessary for its implementation, including the promulgation of rules, prior to its effective date.

MPC

LS# 6108

11/29/16 5:30pm

http://www1.nyc.gov/site/buildings/about/facade-safety-report.page