1

2  CITY COUNCIL

3

CITY OF NEW YORK

4

-------------------------------x

5

THE TRANSCRIPT OF THE MINUTES

6

of the

7

COMMITTEE ON FIRE And CRIMINAL

8  JUSTICE SERVICES

9  -------------------------------x

10

April 1, 2008

11                 Start:  10:12 a.m.

Recess: 12:10 p.m.

12

City Hall

13                 Committee Room

New York, New York

14

15       B E F O R E:

16              MIGUEL MARTINEZ

Chairperson,

17

18              COUNCIL MEMBERS:   Joseph Addabbo

Tony Avella

19                                 Eric Gioia

Hiram Monserrate

20                                 Vincent Gentile

James Vacca

21                                 Matthew Eugene

22

23

24       LEGAL-EASE COURT REPORTING SERVICES, INC.

17 Battery Place -  Suite 1308

25              New York, New York 10004

(800) 756-3410

2

1

2  A P P E A R A N C E S

3

Nicholas Scoppetta

4  Commissioner

New York City Fire Department

5

Julian Bazel

6  Counsel for the Department

New York City Fire Department

7

Salvatore Cassano

8  Chief of Department

New York City Fire Department

9

Jim Hansen

10  Director of Code Revisions

New York City Fire Department

11

Patrick McNally

12  Chief of Operations

New York City Fire Department

13

Bruce E. Johnson

14  Regional Manager, Fire Service Activities

International Code Council

15

Neil Crowley

16  President

New York State Association of Fire Equipment

17  Distributions

18  Mark McGoey

Active Fire Control

19  New York Association of Fire Equipment Distributions

20  Sid Aconsky

New York Fire Alarm Association, Inc.

21

22

23

24

25

3

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON MARTINEZ: I want to call

3  the meeting of the Committee on Fire and Criminal

4  Justice Services to order.

5                 I want to start by presenting members

6  of the Committee, Council Member Gioia, Council

7  Member James Vacca, who are here, members of the

8  Fire and Criminal Justice Services Committee.

9                 Good morning. My name is Miguel

10  Martinez and I am the Chair of the Fire and Criminal

11  Justice Services Committee. Today we are hearing

12  Intro. No. 732, which I introduced on behalf of the

13  Mayor a few weeks ago.

14                 This bill will repeal the existing

15  Fire Prevention Code and replace it with a new Fire

16  Code based on a modified version of the

17  International Fire Code that reflect the unique

18  nature of New York City.

19                 On October 29th, 2003, this Committee

20  conducted the first of a series of oversight

21  hearings which examined the provisions of the Fire

22  Prevention Code, and called on the FDNY to modify

23  the Code by undertaking a comprehensive review of

24  its provision. The Fire Code hadn't undergone a

25  comprehensive review in almost 100 years.

4

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 In October of 2004, the FDNY

3  established a comprehensive Fire Code Revision

4  Project which included the establishment of various

5  technical committees and managing committee and an

6  advisory committee and an executive committee.

7                 The Technical Committee were made up

8  of FDNY uniformed personnel, engineers, inspectors

9  and attorneys. The Advisory Committee was made up of

10  representatives of the professions, real estate,

11  industry, labor and building management. The

12  Management Committee was made up of the FDNY Chief

13  of Operations, Chief of Fire Prevention, FDNY

14  Council, Technical Committee Chair and Code

15  Revision, the Council and DOB reps. The Executive

16  Committee, which included the Fire Commissioner, the

17  Chief of Department, and the Deputy Commissioner for

18  Legal Affairs had final authority over the project.

19                 On December 20th, 2007, the FDNY held

20  a public forum on the proposed code, at which they

21  invited public comments. The FDNY proposed the

22  purpose of drafting and seeking to enact Intro. 732

23  is to promote and enhance fire safety in New York

24  City by adopting a more modern and comprehensive

25  fire safety regulations. The increased transparency

5

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  of the City's fire safety regulations is meant to

3  promote both code compliance and economic

4  development.

5                 Participation in the model code

6  development process sponsored by the ICC is meant to

7  facilitate ongoing evaluation and modernization of

8  those regulations.

9                 The proposed Code is meant to enhance

10  the safety of the general public, as well as

11  firefighters and other emergency personnel.

12                 It goes without saying that the Fire

13  Department has done a tremendous amount of work in

14  evaluating the model code and making modification to

15  suit the unique needs of the City.

16                 I am looking forward to hearing today

17  from the Department in the discussion regarding some

18  of the proposed provision and to hear directly from

19  those who will be directly and indirectly impacted

20  when this proposed code is adopted.

21                 I understand that Commissioner

22  Scoppetta has an opening statement, and I want to

23  thank him and his staff for all the work they have

24  done in drafting this proposed code.

25                 So, let us begin by hearing testimony

6

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  from our Commissioner.

3                 COMMISSIONER SCOPPETTA: Thank you,

4  Mr. Chairman.

5                 Let me first introduce those at the

6  table. The Chief of Department, Sal Cassano; Chief

7  of Operations, Pat McNally; and to my right, Julian

8  Bazel, Counsel to the Fire Department, who together

9  with Jim Hansen, who is our Director of Code

10  Revisions and the technical committees are largely

11  responsible for the drafting of the new Code after

12  all of the consultation, some of which you have

13  mentioned.

14                 While I'm pleased to have the

15  opportunity to speak with you today in support of

16  Intro. 732, the proposed new Fire Code for New York

17  City, we believe enactment of this important

18  legislation will promote and enhance fire safety,

19  both for public and emergency responders.

20                 As you may know, in 2003 -- as you

21  know, in 2003 the Mayor's Advisory Commission on

22  Revising New York City Building Code recommended the

23  adoption of the International Building Code, or IBC,

24  and related model codes of the International Codes

25  Council, the ICC.

7

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 The Mayor's Advisory Commission

3  decided that the Building Code Revision Process

4  would not encompass adoption of the International

5  Fire Code or the revision of the New York City Fire

6  Code. Since the IBC and IFC are overlapping and

7  intensively cross-referenced, the separate process

8  was needed to address the Fire Code revision. The

9  Fire Code revision, Intro. 732, represents the

10  culmination of more than four years of work by the

11  Department.

12                 Building Code revision got underway

13  soon after the Commission issued its findings in

14  2003, and was completed last year with the enactment

15  of the new Building Code as Local Law 33 of 2007.

16                 On a parallel track, we commenced our

17  Fire Code revision, with support from the Fire and

18  Criminal Justice Services Committee and staff, first

19  under the leadership of then Chair Yvette Clarke,

20  and more recently under Chairman Martinez, and we

21  thank you for that.

22                 We structured our Fire Code revision

23  project so that interested and concerned parties had

24  the opportunity to express their views in a manner

25  that ensured proper consideration and evaluation.

8

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 To this end, we established a

3  committee structure consisting of five Technical

4  Committees, comprised of Fire Department uniformed

5  personnel, engineers, inspectors and lawyers; and

6  Advisory Committee, consisting of outside

7  stakeholders, including representatives of the

8  engineering and architecture professions, real

9  estate and building management interests,

10  manufacturers and labor organizations; and a

11  Managing Committee consisting of senior

12  representatives of the Fire Department, the

13  Department of Buildings, and the City Council; and

14  an Executive Committee, which I chaired.

15                 As part of this process, numerous

16  individuals and organizations contributed to the

17  bill you are now considering. Both our civilian and

18  uniformed personnel spent countless hours reviewing

19  the ICC's model code, and adapting it to suit New

20  York City's unique environment.

21                 The Managing Committee was briefed on

22  each of the Fire Code chapters, which were then

23  forwarded to the Advisory Committee for review and

24  comment.

25                 The Fire Department considered and

9

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  incorporated, or otherwise responded to, the

3  Advisory Committee comments.

4                 Finally, last December we posted the

5  completed document on our website so that all

6  interested parties, members of the public, as well

7  as affected businesses and trades, could offer

8  comments and suggestions.

9                 After the posting, we hosted a public

10  hearing on December 20th, 2007, at FDNY headquarters

11  at which comments were offered in person. More than

12  200 people attended the public hearing.

13                 No speaker opposed the adoption of

14  the new Fire Code, and the overwhelming majority of

15  the speakers offered unconditional support of the

16  new Fire Code as proposed.

17                 We reviewed the comments and

18  suggestions that were received and revised the

19  legislation accordingly. And we certainly appreciate

20  the efforts of all those who have contributed to the

21  Fire Department's Code Revision Project and the

22  revised Fire Code.

23                 This Fire Code revision is the first

24  comprehensive revision since New York City's Fire

25  Code was first adopted in 1913. The new Code

10

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  incorporates many of the fire safety requirements

3  that were added to the Fire Code, following

4  tragedies in the century since the Fire Code's

5  original adoption. The Happy Land fire and the 9/11

6  attacks are just two recent examples.

7                 Enactment of a new Fire Code will

8  promote an enhanced fire safety in New York City by

9  adopting more modern and comprehensive fire safety

10  regulations.

11                 The new Code is based on a model code

12  that has been adopted in hundreds of jurisdictions

13  around the country. The new Fire Code is also more

14  transparent, a result of its improved organization,

15  adoption of national standards and extensive cross

16  referencing with the building code and other

17  construction codes. This transparency will promote

18  code compliance and economic development in the City

19  by making it easier for design professionals and

20  affected property owners, businesses and other

21  members of the public to understand their

22  obligations under the law.

23                 I will just mention some of the major

24  enhancements. The City's existing and proposed

25  Building and Fire Codes regulate different things.

11

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  The Building Code, enforced by the Department of

3  Buildings or DOB, generally regulates the design and

4  construction of buildings and structures, including

5  the design of such fire-related building systems as

6  sprinklers and fire alarms.

7                 The Fire Code, enforced by the Fire

8  Department, governs the maintenance and operations

9  of those systems. It also establishes minimum

10  standards for the protection of life and property

11  from fire hazards arising from the manufacturing,

12  storage, handling and use of hazardous and

13  combustible materials and operations.

14                 The Fire Code may require the

15  issuance of permits that ensure regular inspection,

16  supervision by persons, holding a Fire Department

17  certificate, and the installation of fire detection

18  and extinguishing systems designed in accordance

19  with the Building Code.

20                 The Fire Code also protects the

21  public safety by requiring emergency preparedness

22  and planning, including fire safety plans and

23  emergency action plans for high-rise office

24  buildings.

25                 Among other improvements the Fire

12

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Code is more comprehensive and detailed than the

3  existing Fire Code, setting forth with greater

4  clarity what standards and requirements are to be

5  met, thereby promoting compliance.

6                 For example, the new Code sets forth

7  more comprehensive requirements as to how to store

8  hazardous materials, such as flammable or

9  combustible liquids. Clearly establishing for the

10  inspector and the regulated business what

11  constitutes compliance with the Code.

12                 It contains new permit requirements

13  for the storage, handling and use of certain

14  materials. Conduct of certain businesses and

15  operations and design operation and maintenance of

16  certain facilities, with the result that the Fire

17  Department will regularly inspect and verify

18  compliance with the provisions of the Fire Code.

19                 It enhances firefighting operations

20  and promotes the safety of firefighters and other

21  emergency responders by providing for rooftop access

22  and elimination of rooftop obstructions, requiring

23  fire apparatus access roads in private developments,

24  and regulating toxic and other hazardous materials

25  that present hazards to emergency responders during

13

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  emergency operations.

3                 It requires more detailed fire safety

4  and evacuation plans, and extends the requirements

5  for such plans and the training of staff to

6  additional occupancies, including mercantile and

7  assembly occupancies.

8                 It promotes fire safety on

9  construction sites by requiring the development of a

10  fire safety program, and on construction projects of

11  a certain size or complexity, the designation of a

12  fire safety manager responsible for ensuring

13  compliance with fire safety requirements.

14                 It clarifies the existing requirement

15  that fire safety systems in temporarily unoccupied

16  buildings be maintained.

17                 It incorporates 67 National Fire

18  Protection Association, or NFPA, reference

19  standards, promoting compliance with nationally

20  accepted industry standards.

21                 Reference to such standards will help

22  the conscientious property or business owner ensure

23  that his or her portable fire extinguishers, fire

24  alarm systems and sprinkler systems are being

25  properly inspected and maintained.

14

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 It authorizes the Fire Commissioner

3  to accept professional certification to streamline

4  the process for issuing permits and other Fire

5  Department approvals, and provides for the

6  registration of expeditors to ensure the integrity

7  of such approval processes.

8                 Moreover, the ICC model codes are

9  updated on a three-year cyclical basis. By adopting

10  the model Fire Code, we ensure new and changing

11  fire-safety technologies and trends will be

12  considered.

13                 Four City employees, including a Fire

14  Department  Chief, have been selected as members of

15  the ICC development committees.

16                 I should also note that part of the

17  proposed Local Law amends the New York City Charter

18  to transfer the authority to regulate certain

19  aviation operations from the Department of Small

20  Business Services, or DSBS, to the Fire Department.

21  These include, helicopter external load lift

22  operations and hot air balloon operations.

23                 These amendments merely formalize the

24  Fire Department's existing role in coordinating

25  aviation operations outside of airports and

15

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  heliports.

3                 The Fire Department ensures that

4  activities such as helicopter landings and external

5  load operations, including the lifting of heavy

6  equipment onto rooftops, hot air balloon operations,

7  which use propane gas to fill the balloons, and

8  seaplane landings and takeoffs are conducted safely.

9  These amendments will not affect the authority of

10  DSBS to approve or regulate airports and heliports.

11                 Finally, the local law amends a

12  number of provisions of the recently enacted

13  Building and Mechanical Codes to conform them to the

14  Fire Code. All such changes were made in

15  consultation with Department of Buildings.

16                 As I discussed previously, the

17  revised Fire Code is heavily cross-referenced with

18  the new Building Code. And because the two codes are

19  so closely connected, we feel it is important that

20  they become effective on the same date: July 1st,

21  2008. The City Council has been extremely helpful,

22  the City Council and particularly this Committee has

23  been extremely helpful to the Fire Department over

24  the last several years, starting with this initial

25  advocacy for not only the Fire Code Revision Project

16

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  itself, but for the funding, staffing and other

3  resources needed to complete the work.

4                 We certainly look forward to

5  continuing our work with both Council and the

6  Mayor's Office to pass this legislation as soon as

7  possible, so that we can complete the rule

8  promulgation, training and other tasks necessary to

9  meet this deadline.

10                 The Fire Code is a 645-page document

11  comprised of 45 chapters and two appendices. Since

12  we have sent Fire Code briefing materials to all of

13  your offices in advance of this hearing, we don't

14  think it would be good use of your time today to

15  detail every chapter, but attached to my testimony

16  is a summary list of all the proposed new Fire Code

17  chapters, and we are happy to answer any of your

18  questions about the details of the Code.

19                 We're really quite proud of the work

20  that was put in on the proposed Fire Code revision

21  and the end product. The new Code will make New York

22  City an even safer place to work and live.

23                 Now, I mentioned that I have our

24  Counsel, Julian Bazel here, and Jim Hansen, who

25  worked with him in the drafting of the Code, and so

17

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  I will be happy to answer your questions, and if you

3  want further insights, especially into the very

4  technical aspects of the Code, I'm sure Mr. Bazel

5  and Mr. Hansen can answer your questions, as they

6  have answered mine.

7                 CHAIRPERSON MARTINEZ: Thank you,

8  Commissioner.

9                 I also want to recognize that Council

10  Member Tony Avella, who is present but,

11  unfortunately, who is also sharing another Committee

12  hearing at the Chambers.

13                 Let's talk about some fun stuff. Can

14  you talk about the helicopter regulation now, in

15  terms of the helicopter external loading lift

16  operation and hot air balloon operation?

17                 COMMISSIONER SCOPPETTA: Yes.

18                 CHAIRPERSON MARTINEZ: Can you talk a

19  little bit more about that? What would be the role

20  of the Fire Department in terms of the heliports, as

21  opposed to what is going on now with the Department

22  of Small Business?

23                 Small business regulates the

24  operation?

25                 COMMISSIONER SCOPPETTA: Yes, at the

18

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  airports. And this formalizes what we have been

3  doing, that the Fire Department regulates things

4  like external load lift operations, hot air balloon

5  operations. We endeavor to ensure that activities

6  such as the helicopter landings and these load

7  operations are conducted safely.

8                 The amendments don't affect the basic

9  jurisdiction of Department of Small Business

10  Services, but what we have been doing is formalized

11  in the Fire Code.

12                 CHAIRPERSON MARTINEZ: So, this is not

13  new --

14                 COMMISSIONER SCOPPETTA: No.

15                 CHAIRPERSON MARTINEZ: Has already

16  taken place but is now incorporated --

17                 COMMISSIONER SCOPPETTA: That's right.

18                 CHAIRPERSON MARTINEZ: So, that's you

19  up in the hot air balloon I see all the time?

20                 COMMISSIONER SCOPPETTA: Probably not.

21                 CHAIRPERSON MARTINEZ: Commissioner,

22  let's talk about the fire safety during construction

23  and alteration and demolition. Can you describe any

24  significant changes you have made to the regulation,

25  the inspection of these sites?

19

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 COMMISSIONER SCOPPETTA: Well, first

3  of all, we are still adhering to the 15-day

4  inspection requirement of buildings under

5  construction or demolition, and as we've testified

6  on prior occasions, I think as of this date we are

7  virtually 100 percent in compliance with the

8  inspection of over 500 buildings that are in that

9  condition, and we accomplished that by installing a

10  new computer program. We did that internally

11  essentially without cost using existing resources,

12  so that when an officer in the fire house logs on

13  and hits that site, it puts up a list of buildings

14  in the administrative area of that fire house of

15  buildings that require 15-day inspection, and the

16  status of those inspections.

17                 So, immediately the officer sees

18  every morning when they log on what the condition of

19  inspections are and they attend to them. So that

20  when I say virtually 100 percent, something like 97

21  percent within the 15 days, 98/99 percent within 20

22  days and I think 100 percent in less than 25 days.

23  So, it's really been remarkably efficient.

24                 Now, with respect to the Fire Code,

25  fire safety during construction, alteration and

20

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  demolition is Chapter 14 of the Code. It sets forth

3  some new fire safety requirements for construction,

4  alteration demolition that do not exist in the

5  existing Fire Code. It provides, for example, that

6  buildings undergoing that kind of activity shall

7  additionally comply with an NFPA standard 241 that

8  addresses safeguarding demolition operations,

9  requires the development of a Fire Safety Program,

10  including a Fire Plan.

11                 It also for certain buildings

12  requires a designation of a Fire Safety Manager. The

13  Fire Safety Manager is responsible for ensuring Fire

14  Code rules compliance, and the builder has to have

15  that person in place. It requires the Fire Safety

16  Manager to develop and maintain at the construction

17  site an approved pre-Fire Plan, and it requires that

18  it be made available for inspection by the FDNY.

19                 There is also a Section 1410 that

20  requires approved vehicle access for fire apparatus

21  at all construction sites to make sure that we can

22  access a site if there is a fire at the site.

23  Prohibits open fires and smoking in buildings under

24  construction or demolition, requires no smoking

25  signs to be prominently posted throughout, and so

21

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  there are those explicit safety requirements that

3  have been added in the new Code.

4                 CHAIRPERSON MARTINEZ: Is that Safety

5  Manager, Fire Safety Manager an FDNY personnel?

6                 And if not, what's the qualification

7  of that individual, and what would be their

8  responsibility?

9                 COMMISSIONER SCOPPETTA: This is a

10  civilian person, trained in this specialty and is

11  licensed by Department of Buildings, I believe.

12                 CHAIRPERSON MARTINEZ: By the

13  Department of Building?

14                 COMMISSIONER SCOPPETTA: Mr. Bazel can

15  answer that.

16                 MR. BAZEL: We require a Fire Safety

17  Manager who will be responsible for ensuring

18  compliance with Fire Code requirements. This could

19  be the same individual who will be on the site

20  pursuant to the Building Code as the Site Safety

21  Coordinator or Site Safety Manager, or it could be a

22  different person. But either way, we would be the

23  one who would be responsible for setting up

24  standards for their qualifications.

25                 CHAIRPERSON MARTINEZ: In essence, the

22

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  FDNY would be certifying that individual?

3                 MR. BAZEL: Yes, I would we just

4  require that they meet certain qualifications. I

5  don't know that we're issuing a certificate for it.

6                 CHAIRPERSON MARTINEZ: And in that

7  same chapter, can you tell us what are the

8  modifications made with regard to sprinkler system

9  and standpipes.

10                 MR. BAZEL: Yes.

11                 CHAIRPERSON MARTINEZ: Chapter 14.

12                 MR. BAZEL: The Fire Code doesn't

13  establish specific requirements for the design or

14  installation of sprinklers and fire alarm systems.

15  That would be a Building Code matter.

16                 We do require in connection with, not

17  on construction sites, on other things, may require

18  the installation of sprinklers, but our code does

19  require that all such systems be maintained and has

20  very, more expansive language in ensuring and more

21  detailed requirements for ensuring that such systems

22  are regularly inspected, if necessary tested, all

23  valves have to be in the right position and so

24  forth.

25                 We have much more detailed

23

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  requirements in the new code which we think, you

3  know, emphasize the importance of proper maintenance

4  of such systems.

5                 CHAIRPERSON MARTINEZ: In Chapter 14,

6  with the combustible and dust producing operation,

7  can you please describe what combustible dust

8  operations are and indicate how prevailing they are

9  in the City?

10                 MR. BAZEL: Combustible dust-producing

11  operations are exactly what they sound like. They

12  are various kinds of activities that may generate a

13  cloud of fine particles of combustible dust.

14                 This could be, for example, in

15  connection with woodworking, in connection with

16  baking, any kind of thing that creates a fine mist

17  essentially of these combustible particles, and I

18  think the Council may recall about two or three

19  months ago the picture on the New York Times of a

20  sugar refinery somewhere in the south, which blew

21  up, literally blew up. The whole thing blew up

22  because once you create this fine mist under the

23  right conditions and there is a spark, it can

24  generate a huge explosion.

25                 I don't know how extensive these

24

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  kinds of operations, but they do exist in New York

3  and they're a serious concern.

4                 COMMISSIONER SCOPPETTA: Remember,

5  just to add to what Mr. Bazel has said, there was an

6  evacuation of a building at 475 Kent Avenue and

7  partially -- there were many issues that we were

8  confronted with at the building, but in the basement

9  of the building was a bagel bakery -- Matsa

10  (phonetic), I'm sorry, Matsa, and there were huge

11  storage -- there was a storage of a good deal of

12  grain. That will give off the kind of dust Mr. Bazel

13  has just described that resulted in the explosion in

14  the sugar plant outside of New York. And that is a

15  very dangerous situation, so that was done of the

16  reasons we evacuated the building so quickly.

17                 CHAIRPERSON MARTINEZ: Thank you.

18                 I want to recognize Council Member

19  Matthew Eugene from Brooklyn, who is also a member

20  of the Committee.

21                 Commissioner, in reference to Chapter

22  9 fire protection system, when are fire

23  extinguishers systems required, and how has the

24  proposed code changes adjusted to the requirement?

25                 MR. BAZEL: As I indicated earlier,

25

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the design and installation of sprinkler systems is

3  set forth in the Building Code.

4                 The Building Code also regulates or

5  requires the installation of sprinklers based on

6  their occupancy type. That is a Building Code

7  requirement.

8                 So, for example, office buildings may

9  be required to have sprinklers, residential

10  buildings may be required to have sprinklers,

11  factories are required to have sprinklers. There is

12  a whole range of occupancies.

13                 The occupancy type classification

14  regulations are set forth in the Building Code. The

15  Fire Code generally requires sprinklers in

16  connection with the storage handling use, the

17  manufacturing, storage and handling use of hazardous

18  or other activities that raise fire concerns. And

19  where, for example, paint spray booths, large

20  storage, large amounts of volatile chemicals,

21  flammables and combustibles. There is also

22  requirements in connection with dispensing of

23  gasoline, commercial cooking systems, all of these

24  things that because of the fire safety hazards are

25  presented, the Fire Code requires that there be

26

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  different types of fire extinguishing systems to

3  minimize it, and I think it's uncontested that the

4  installation of sprinklers is really one of the most

5  effective ways of reducing fires and fire deaths.

6                 CHAIRPERSON MARTINEZ: Can you

7  describe, and this is something that particularly I

8  became familiar with, can you describe the testing

9  requirement for portable fire extinguishing system

10  and the periodic hydraulic testing requirement?

11                 MR. BAZEL: I'm sorry, of?

12                 CHAIRPERSON MARTINEZ: Of the portable

13  fire extinguishing system.

14                 MR. BAZEL: I see.

15                 Various occupancies are required to

16  have portable fire extinguishers, various times of

17  occupancies and various activities are required to

18  have portable fire extinguishing -- excuse me --

19  portable fire extinguishers available and ready for

20  use.

21                 Those extinguishers have to be

22  regularly maintained and serviced and we have

23  detailed rules, and the code includes requirements.

24                 The new code adopts an NFPA standard,

25  actually continues the NFPA standard, which has

27

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  detailed requirements for the proper servicing and

3  maintenance of such extinguishers.

4                 CHAIRPERSON MARTINEZ: In reference to

5  the protection system, why did you reject so much

6  the model code provision regarding fire alarm and

7  detection system?

8                 MR. BAZEL: When you say rejected, are

9  you talking about the design requirements? The only

10  thing that I think we would have substantially

11  deleted from this code were things that were, in New

12  York City are governed by the Building Code. So, the

13  design and installation requirements for various

14  systems, the design of the means of egress, were

15  deleted essentially in total, except with regard to

16  maintenance and other operational issues, because in

17  New York City that's covered by the Building Code.

18                 I should just point out the model

19  code is really designed for a whole range of

20  communities throughout the country.

21                 Some communities, you know, enforce

22  these provisions through their Fire Departments,

23  other communities enforce them through the Building

24  Code, so there is a certain amount of overlap in the

25  model codes, and we felt that overlap would create

28

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  possible confusion and conflicts, so we think, as it

3  is appropriate consisting with the current existing

4  codes, we basically retained the existing

5  jurisdictions and things that belong in the Building

6  Code were deleted. And similarly, the Building Code

7  Revision Project deleted from the Building Code

8  various provisions that in New York City belong in

9  the Fire Code.

10                 CHAIRPERSON MARTINEZ: Before I

11  continue I want to also recognize Council Member

12  Vincent Gentile from Queens --

13                 COUNCIL MEMBER GENTILE: Brooklyn.

14                 CHAIRPERSON MARTINEZ: Brooklyn,

15  Brooklyn. Who is also here with us.

16                 Speaking of the big plant over in the

17  south, can you -- in Chapter 19, lumber yards and

18  wood waste materials, how many lumber yards and wood

19  waste material facilities are there in the City, and

20  what significant changes have you made regarding

21  fire safety in these facilities?

22                 MR. BAZEL: I'm sorry? How many are

23  there?

24                 CHAIRPERSON MARTINEZ: Yes.

25                 MR. BAZEL: I'm sorry, I don't have

29

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  those numbers handy. I can try to obtain them.

3                 I know from personal experiences,

4  more than you think. There are several in Manhattan,

5  I know in Queens there is quite a few. We currently

6  regulate them but the code has a variety of

7  additional requirements to make sure that, you know,

8  when you have a large amount of combustible

9  material, that it's being stored safely.

10                 CHAIRPERSON MARTINEZ: Any specific

11  changes on the code regarding --

12                 MR. BAZEL: I think, if I remember

13  correctly, what the new code has in connection with

14  lumber yards and other kinds of yard-type storage

15  facilities, is there are restrictions on pile

16  heights, requirements for aisle widths, in some

17  cases there may be requirements for sprinkler

18  protection or yard hydrant protection, in other

19  words, a place where a fire company could come and

20  hook up a fire hose and put out a fire.

21                 There is also generally requirements

22  for firefighter, for fire apparatus access, which is

23  often a problem potentially with various kinds of

24  yard facilities.

25                 CHAIRPERSON MARTINEZ: Chapter 13 --

30

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  23, I'm sorry, high-piled combustible storage; can

3  you describe any significant changes you made in the

4  proposal regarding the permit application process

5  for high-piled combustible storage?

6                 MR. BAZEL: This is actually, this

7  whole chapter is new in New York City.

8                 New York City had various permit

9  requirements for storage of various materials and

10  continues to have, you know, if you're storing large

11  amounts of paints or other chemicals, what this is

12  about is that in other jurisdictions have discovered

13  that, and let me just clarify, high-piled

14  combustible storage are those big box stores, such

15  as the Home Depots, the Bed, Bath and Beyond, all

16  the stores that have large quantities of materials

17  stored up in pallets very high up and in large

18  quantities, and the other jurisdictions have found

19  that in the event of a fire in these kinds of

20  occupancies, there are real risks to emergency

21  responders, because you understand that if those

22  storage racks are, you know, endangered or weakened

23  by the fire, you're going to have a potentially

24  life-threatening situation.

25                 So, there's in many cases other

31

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  jurisdictions are very reluctant to go into and they

3  have to fight the fire from the outside and, you

4  know, that ends up obviously resulting in large

5  amount of property destruction.

6                 So, the ICC, the jurisdictions around

7  the country through the model code process have

8  developed a chapter that sets forth very detailed

9  requirements for the design and construction and

10  layout and protection of these high-piled

11  combustible storage occupancies.

12                 We were a little concerned when we

13  originally saw these requirements, because this does

14  not exist in New York City and we thought that some

15  of these might be very onerous, and, you know, might

16  make it difficult for some of these businesses.

17                 But as we quickly discovered, and

18  this is a theme that runs throughout the whole model

19  code and the adoption of a model code, is that these

20  are national standards, and, in fact, the Home

21  Depots and other large box stores that, you know,

22  construction buildings throughout the country, are

23  well aware of these requirements and design in

24  accordance with them. And they, themselves, are

25  obviously concerned about fire safety and these

32

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  facilities are designed in accordance with these

3  standards. So when we went out initially, even

4  before we were developing the code, when these

5  stores started to come into New York City we

6  discovered that most of these operations are

7  actually designed in accordance with these national

8  codes. By adopting the national code we are adopting

9  these national standards and will enable us to

10  enforce them.

11                 Our requirement is simply to, you

12  know, we will have regular inspections and ensuring

13  that they're properly, safely maintained.

14                 CHAIRPERSON MARTINEZ: In Chapter 27,

15  in regards to the hazard materials and general

16  provision, what if any significant changes have been

17  made there?

18                 MR. BAZEL: Chapter 27 is sort of what

19  they call the "heart" of the Fire Code. This is the

20  general chapter that deals with hazardous materials.

21  And it sets forth in greater detail for the gamut of

22  hazardous materials regulated by the Code, which

23  includes everything from flammables and

24  combustibles, such as, you know, gasoline and

25  diesel, to all these, you know, compressed gases, as

33

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  well as all of these unusual materials that are used

3  in manufacturing processes.

4                 It sets forth a wide range of

5  requirements about how they shall be safely stored

6  and used.

7                 It requires people handling them are

8  trained in response to some of the concerns that

9  were raised after the 19th Street explosion who you

10  had people, workers who were not familiar with what

11  they were doing mixing things or not keeping things

12  separated, resulting in explosion.

13                 So, it really spells out much more in

14  greater detail how these chemicals are to be stored,

15  handled and used.

16                 It also includes requirements for

17  explosion control, control areas, it just creates a

18  whole system of regulation, consistent of regulation

19  for all hazardous materials, not just as in the old

20  code certain materials that were the ones most

21  commonly used in the last century.

22                 CHAIRPERSON MARTINEZ: Can you tell me

23  a little bit about Chapter 26, the welding and other

24  hot work? What, if any, significant changes were

25  made in that?

34

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. BAZEL: Yes, this is another

3  important chapter.

4                 What this chapter does, and this is,

5  again, this is the way that the country has been

6  moving. It basically puts upon a building owner a

7  responsibility to make sure that people come into

8  their building doing hot work operations which, you

9  know, typical torch operations, involving flammable

10  gases, or it could be ARC welding (phonetic), and a

11  variety of other new techniques, that those

12  operations are being handled in a proper manner.

13                 I mean, if you're going to be

14  essentially applying a flame to materials in a

15  building, typically an occupied building, because

16  this could be repairs or it could be renovations on

17  a particular floor of a building, that everything

18  that is supposed to be done is being done, that, you

19  know, that proper monitoring is being maintained if

20  you have to disconnect some of the alarm systems,

21  notifications made that flammables and combustibles

22  are separated from the area in which the welding is

23  being done, that the housekeeping is maintained, and

24  essentially it puts the owner -- the owner is

25  supposed to essentially permit these different

35

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  operations and know what is going on.

3                 You know, we have a lot of problems,

4  you know, with false alarms, I shouldn't say false,

5  unwarranted alarms when people start doing welding

6  in buildings it triggers, or smoke detectors, and we

7  respond as, you know, no fire. But really this is,

8  especially with the level of construction in New

9  York, this is a very important thing, and the model

10  code really puts great emphasis on regulating "hot

11  work" operations, as it's called.

12                 CHAIRPERSON MARTINEZ: In Chapter 33,

13  with regard to explosives and fireworks, and special

14  effects, what, if any, changes there?

15                 MR. BAZEL: The Fire Department

16  already comprehensively regulates the use of

17  explosives and fireworks and the Council recently

18  reinforced those requirements with the legislation

19  regulating to blasting, which are all incorporated

20  into the new code.

21                 I wouldn't say that there is any

22  major changes with regard to the use of high

23  explosives or fireworks, however, there are

24  significant changes with regard to the regulations,

25  or I should say clarifications and codifications

36

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  with regard to practices relating to what's called

3  "special effects."

4                 Special effects are a type of,

5  typically a type of fireworks, but it could be

6  actually any material that is used to, you know, for

7  display purposes to create a special effect. And it

8  may be in a theater, in a television studio, or even

9  what people think of as fireworks in areas such as

10  Times Square or other places, where technically

11  you're not supposed to set up fireworks, the reason

12  is that these new pyrotechnic materials, sort of

13  consume themselves and don't create very hot

14  fragments that can start fires, so they can be used

15  closer in to people, such as in the theater and

16  other locations.

17                 Now, the Fire Department has been

18  regulating these materials in the past, sort of as

19  an adjunct to its other regulations, but there were

20  not detailed and specific requirements for the

21  pyrotechnic materials. And the recent, the concerns

22  that associated with them were recently highlighted

23  as a result of the fatal fire in Rhode Island, I

24  guess that was three or four years ago, in the

25  nightclub when they had a special effects display,

37

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  and as a result a fire started, people were confused

3  and people did not exit and there were many deaths.

4                 After that, New York State adopted

5  some legislation to regulate this, which was

6  consistent with what the City had been doing.

7                 But now in the new code we have very

8  specific and detailed requirements regulating these

9  pyrotechnic materials. It's sort of, you know, now

10  it's sort of official, there will be permits, there

11  will be certificates, or licensed people who are

12  doing this, and we will, for the first time, be

13  issuing what's called a "company certificate" to

14  suppliers of pyrotechnic materials.

15                 So, we basically are making sure that

16  we've got the whole process properly monitored so we

17  know who is selling it, where it is being stored,

18  how it's being used and that it's being used by

19  qualified people.

20                 CHAIRPERSON MARTINEZ: Can you

21  describe in Chapter 37 the highly toxic and toxic

22  material? Will you please describe what you know

23  about the recent fire in Westchester regarding the

24  hazard material and how you undertake demolishing

25  these type of facilities as a fire, and who is

38

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  involved in the process? What, if any, significant

3  changes were made in that proposal?

4                 MR. BAZEL: Well, I'm not sure I could

5  talk about Westchester, perhaps someone else here

6  could, but let me just talk about the Fire Code.

7  This is something new to the Fire Code. You know, in

8  the past, in the last century, the Fire Code was

9  focused on flammables and combustibles. Basically

10  the things that we're seeing is potentially

11  firestarters.

12                 But as we've discovered, in an

13  environment like New York City, that when we have to

14  fight fires in buildings --

15                 CHAIRPERSON MARTINEZ: I'm sorry, can

16  I interrupt you? I need to ask you to turn off the

17  cell phones.

18                 MR. BAZEL: Well, the new Fire Code

19  and the model on which it's based have focused

20  concern on not just things that start fires, but

21  dangers to emergency responders when they're

22  responding to a fire. And one of the important ones

23  is toxic materials.

24                 Obviously, if we don't know where

25  they are, we respond to fire, there's a real

39

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  potential for a tragedy there.

3                 So, the new code does impose certain

4  requirements on toxic materials, it prohibits their

5  storage in certain occupancies, such as residential

6  occupancies, assembly occupancies and some others.

7  And where it is stored, essentially it does what it

8  does with many of these hazardous materials, it

9  requires that they're stored in proper storage rooms

10  or cabinets that are ventilated, so in the event of

11  a fire, you know, the systems could be activated, or

12  automatically activate and ventilate the systems,

13  and has a variety of detention systems that set off

14  alarms.

15                 And the goal is to ensure that if

16  there is a fire, and of course we'll issue a permit

17  for these materials, it will now be a regulated

18  material, so we'll be on notice that there's certain

19  operations, manufacturing, other kinds of

20  operations, we'll know that there is a significant

21  storage of toxic materials before we go in,

22  hopefully, and then when we go in we will, the

23  storage facilities will be designed in such a way to

24  minimize the danger from the release of the toxic

25  materials.

40

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 COMMISSIONER SCOPPETTA: Just with

3  respect to the Westchester fire, as you know, it was

4  in a facility that stored hazardous materials.

5                 If such an event occurred here, our

6  Special Operations Command would respond, our Hazmat

7  Units would respond. They have a very, a high level

8  of training, hundreds and hundreds of hours of

9  training. And, so, we would be prepared to deal with

10  such an event ancillary to Mr. Bazel's response

11  about the code.

12                 CHAIRPERSON MARTINEZ: So, it will be

13  the Fire Department that will be responsible for

14  responding and will be involved in the process of

15  removing them.

16                 COMMISSIONER SCOPPETTA: Yes, it would

17  be, so long as there is no evidence of a terrorist

18  attack, it was an industrial accident or something

19  of that sort.

20                 CHAIRPERSON MARTINEZ: And in Chapter

21  22, the fuel dispensing facility and repair garages,

22  can you please describe the changes you have made to

23  the proposal regarding tank testing and inspection,

24  and why was it necessary to depart so greatly from

25  the model code?

41

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. BAZEL: I think that, this is one

3  area in which we actually kept the current scheme of

4  regulation or a program of regulation in New York

5  City.

6                 We had legislation I believe, the

7  City Council enacted legislation in 2004, updating

8  our code to reflect modern, federal and State

9  environmental regulations. There has been -- the

10  focus on fuel tanks in recent decades has been the

11  fact that they leak and create serious environmental

12  problems. And as a result, in the eighties and

13  nineties, federal legislation and State regulations

14  promulgated that and restricted that in New York

15  City, our code was still -- we regulate the tanks

16  for fire safety purposes, but we still had an

17  outdated code. But in 2004, we updated the code, we

18  have a very comprehensive plan, you know, we

19  regulate all facilities that store any significant

20  amounts of flammable and combustible material and

21  dispense them.

22                 So, I think that we probably, the

23  reason why we kept our arrangements is that the

24  industry is very familiar with it, is comfortable

25  with it, and I think in many ways it's stricter than

42

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the national standards.

3                 CHAIRPERSON MARTINEZ: Just before I

4  call on Council Member Gentile, who has a question

5  for you, I just want to ask: in the means of egress,

6  what substantive changes have you made regarding

7  means of egress and maintenance of these means of

8  egress?

9                 I know the Commissioner in a

10  statement made reference to the Happy Land incident,

11  which I wanted to see what changes related to that.

12                 MR. BAZEL: Well, as I said earlier,

13  there are substantial deletions from this chapter,

14  from the design of means of egress is a Building

15  Code matter, and that's a large part of the chapter

16  has been deleted, and it's very similar to what

17  appears in the Building Code.

18                 The part that we have strengthened is

19  that we have expanded and really made clear for the

20  first time the importance and our ability to enforce

21  maintenance and means of egress.

22                 So, we have additional language in

23  there about making sure that any devices that are

24  required, locks and so forth, are operable, gates

25  are operable, and that regular inspections and

43

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  maintenance of them to ensure that.

3                 And we are specifically -- the old

4  code was very vague about, you know, maintenance in

5  this area, really derived primarily from Building

6  Code provisions. This is really now spelling out

7  very clearly in the Fire Code that this is something

8  you have an obligation to maintain, and we will be

9  inspecting it.

10                 We continue to issue what is called a

11  "Certificate of Approval" for escape window gates.

12  You know, we regulate the design of that to make

13  sure that they do not obstruct means of egress.

14                 CHAIRPERSON MARTINEZ: What do you

15  mean by in Chapter 18, when you talk about the

16  interior furnishing decoration scenery? Can you

17  describe what your proposal does regarding the

18  furnishing, decoration scenery? And why is the

19  change different from the model code?

20                 MR. BAZEL: Yes, I think you're

21  referring to Chapter 8?

22                 CHAIRPERSON MARTINEZ: Chapter 8, yes.

23                 MR. BAZEL: This is something that,

24  again, is catching up with sort of national

25  standards.

44

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON MARTINEZ: But yours is

3  different?

4                 MR. BAZEL: Well, I'm not sure to

5  which extent we changed this.

6                 CHAIRPERSON MARTINEZ: It varies.

7                 According to the information --

8                 MR. BAZEL: Well, I have to go back

9  and see exactly which provisions were changed.

10                 Let me just -- I think now I recall.

11  We have already in place very extensive regulations

12  of interior decorations and scenery which are more

13  extensive than the national standards --

14                 CHAIRPERSON MARTINEZ: Can you, before

15  you go into the detail, can you just for my benefit,

16  when you talk about decoration, scenery and

17  furniture, are you talking about the wall painting?

18  The wallpaper? What are you talking about?

19                 MR. BAZEL: Right.

20                 Well, certain basic finishes are

21  really regulated by the code if they're on the wall,

22  but if you're putting up decorations on the wall,

23  hangings, drapes, anything, scenery in theaters,

24  anything that is a combustible material on the

25  surface of the wall, or in the public areas.

45

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 Our concern, and this derives

3  obviously from the days of the, you know, the movie

4  theater and the curtain that comes over the screen,

5  you know, in a crowded theater, those curtains were

6  very combustible and they would catch on fire and

7  everyone would panic and people would get killed.

8                 We regulate a range of materials that

9  are in these spaces to make sure either that they're

10  flame -- their construction that is impervious to

11  flame, or that they're treated with a chemical that

12  makes them flame-resistant. And this is something

13  the Fire Code does for -- has done for a long time

14  and we are basically continuing the code

15  requirements in that regard.

16                 Also, I should say we also regulate,

17  for example, the storage of natural trees and

18  decorations, people around the holidays, you know,

19  in public area spaces, you can't have a natural

20  Christmas tree because they really are dangerous. We

21  do allow them in homes because it's traditional, and

22  dwelling units.

23                 So, what's new in this chapter, what

24  we're starting to say is that national standards

25  have actually gone beyond that and they've regulated

46

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  furnishings. I think people may or may not realize

3  that a lot of what people furnish their homes with

4  these days, such as sofas, mattresses, even

5  carpeting, you know, with the plastics, they're made

6  from various kinds of fibers, acrylic fibers and so

7  forth, those are, in many cases, really -- you know,

8  if someone smokes a cigarette or drops a match on

9  them, they can go up pretty quickly.

10                 And the national standards are now

11  beginning to address that by requiring that these

12  kinds of furnishings are designed with certain kinds

13  of flame-retardant materials, you know, so they

14  don't go up in a wush, that they smolder for awhile

15  before they -- you know, give people a chance to get

16  out, wake up, you know, smoke detectors to go off,

17  things of that sort.

18                 And we are adopting those standards.

19  I think, you know, I recently bought a mattress in

20  the department stores, the mattresses are actually

21  now coming with labels that say, you know, "fire

22  retardant" or similar kinds of wording, to indicate

23  that they're probably meeting this very standard.

24                 CHAIRPERSON MARTINEZ: That's because

25  you're familiar with this chapter. I've never looked

47

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  for that in a mattress.

3                 Council Member Gentile.

4                 COUNCIL MEMBER GENTILE: Mr. Chairman,

5  you have done a wonderful job in going through the

6  chapters here, and I really haven't had an

7  opportunity to read through it.

8                 CHAIRPERSON MARTINEZ: Councilman, I

9  was going to say for the record, I thought I was the

10  only one so familiar with this material, but this

11  man beat me. All these questions and he never looked

12  at any written document.

13                 COMMISSIONER SCOPPETTA: He spent four

14  years drafting it.

15                 COUNCIL MEMBER GENTILE: So, far be it

16  for me to have really any understanding of a lot of

17  what's in here. But let me just ask you in

18  particular whether or not what you've put together

19  in this code addresses the issue of fire codes in

20  relation to residential buildings and the problem

21  the problem that we seem to be having more and more

22  about subdivisions in residential buildings, and how

23  that relates to the Fire Code, and whether or not

24  that's addressed in the new code.

25                 MR. BAZEL: I think that's not the

48

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  focus of this code. The design and construction of

3  buildings, including the design of rooms, spaces,

4  means of egress is covered by the Building Code.

5                 However, I would just reiterate what

6  we mentioned earlier, that there is stronger

7  language here about maintenance of the means of

8  egress, which is always a key issue. I think that is

9  something that's important. That's typically a

10  problem in buildings that are not properly, lawfully

11  altered, there's problems with means of egress, and

12  this code does give us greater enforcement authority

13  in that regard.

14                 COUNCIL MEMBER GENTILE: So this would

15  actually impact your ability to either violate or

16  gain access to buildings that have those violations?

17                 MR. BAZEL: To the extent that they

18  violate the maintenance and means of egress

19  requirements, yes. Although, obviously that's not

20  the main violation.

21                 COUNCIL MEMBER GENTILE: Right.

22                 MR. BAZEL: The main violation is that

23  there is work that's unlawfully done, or occupancy,

24  contractors' Certificate of Occupancy.

25                 But, yes, I think that this code

49

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  spells it out more clearly, and it also, although I

3  don't know that this is so much an issue in

4  residential occupancies. There is also greater

5  clarification of our ability to enforce in

6  overcrowding. And we have provisions in here that

7  spell out overcrowding requirements, and actually

8  they're tied into Building Code requirements.

9                 I think that's more likely to be for

10  assembly, more in the assembly occupancy context,

11  unless it's an extremely crowded building, a

12  residential building.

13                 But I think the means of egress

14  requirement is probably the main one that might be

15  of help in this area.

16                 COUNCIL MEMBER GENTILE: Now, have you

17  enforced the code in terms of means of egress? Do

18  you actually go into the premises?

19                 MR. BAZEL: We have cross enforcement

20  authority of the Building Code, and that's really

21  been in the past the source of, primarily the source

22  of our authority. And we do, when we're called upon

23  to perform an inspection, obviously when we're

24  looking at places where there is illegal alterations

25  or other issues of concern, we definitely do enforce

50

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the maintenance of means of egress requirements.

3                 COUNCIL MEMBER GENTILE: Just one

4  other question, Mr. Chairman.

5                 In each of the past two years there

6  has been a tragic fire in my district, one in

7  Bensonhurst, one in Bayridge, concerning space

8  heaters, and I see that it is addressed here and I

9  may have missed this discussion earlier on. But I'm

10  just curious because I think it's important enough,

11  even if it's been said that we say it again. What

12  are the changes regarding the space heaters, and how

13  do you see that helping the situation?  The space

14  heaters, at least in my district, continue to be a

15  problem.

16                 MR. BAZEL: We right now have pretty

17  strict regulations on the use of any kind of

18  prohibition on the use of any kind of fuel-fired

19  heaters in residential spaces, kerosene heaters and

20  so forth. And I think we have, on a regular basis we

21  may be confiscating them and so forth.

22                 The new code does regulate heaters in

23  a variety of contexts, but I'm not sure it changes

24  anything that specifically relates to use of

25  computers in residential spaces, where we already

51

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  have pretty strict regulations.

3                 Unfortunately, I think this is really

4  an education, a public education issue. I know our

5  Fire Safety Education Program regularly goes out.

6                 COMMISSIONER SCOPPETTA: Yes, we have

7  an extensive Fire Safety Education Program that's

8  been helped along by another million dollars from

9  Homeland Security that we received this year. And I

10  think last year we gave over 9,000 presentations

11  throughout the City, emphasizing the safe use of

12  space heaters and other primary causes of fire,

13  overloaded circuits, unattended candles, smoking in

14  bed - they're still the leading causes of accidental

15  fires, and space heaters certainly come in for a lot

16  of discussion to discuss the safety of it, and to

17  use space heaters, that if they go over will turn

18  themselves off.

19                 COUNCIL MEMBER GENTILE: And do you

20  regulate items such as the use of extension cords

21  with space heaters? Is that part of the code?

22                 COMMISSIONER SCOPPETTA: It's an

23  education issue more than a regulations issue. And

24  just urge people not to overload electrical

25  circuits. That's very common cause of fires.

52

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. BAZEL: I'm told there are

3  provisions in here about extension cords.

4                 COUNCIL MEMBER GENTILE: There are?

5                 MR. BAZEL: Yes. Off the top of my

6  head, I can't offer them to you. I apologize.

7                 COUNCIL MEMBER GENTILE: Okay. I'll

8  look through it then. I'll look through it.

9                 Thank you very much, Commissioner and

10  gentlemen.

11                 Thank you, Mr. Chairman.

12                 CHAIRPERSON MARTINEZ: Thank you,

13  Council member.

14                 Councilman.

15                 COUNCIL MEMBER EUGENE: Thank you very

16  much, Mr. Chair.

17                 Commissioner, and members of the

18  Department, I just want to commend you for the

19  wonderful job that you are doing to keep the City

20  safe. And we all know without firefighters --

21                 COMMISSIONER SCOPPETTA: Thank you.

22                 COUNCIL MEMBER EUGENE: You're

23  welcome.

24                 We all know without you all of us

25  would be in trouble. All of us will be in trouble.

53

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  I'm so glad when you mentioned that you have Safety

3  Education Program, that was, when I get into the

4  room that was my first intent, to ask you, do you

5  have any educational program to prevent or help the

6  people know what is available, what are the

7  different type of prevention measure that we can use

8  to prevent fires? Because as a physician myself, for

9  me the best medicine is prevention. And I wanted to

10  take the opportunity to ask you to meet with me. I

11  want to meet with you and I want to invite you to my

12  district, and we can start educating and giving the

13  information to the people, and I would like to

14  invite you and we can do some public forum and let

15  the people know some safety measures in order to

16  prevent fire to happen in the community.

17                 COMMISSIONER SCOPPETTA: Well, I am

18  glad you are inviting us, and we have had, on

19  several indications, a standard invitation to

20  members of the Congress, members of community

21  organizations, to ask us to come and we're delighted

22  to do just that, talk about the principle causes of

23  fire, how to prevent them, and I think it's very

24  useful, last year we had the lowest, well, over the

25  last six years we've had the lowest average civilian

54

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  fatalities in the history of the Fire Department.

3                 COUNCIL MEMBER EUGENE: Thank you very

4  much.

5                 Thank you, Mr. Chair.

6                 CHAIRPERSON MARTINEZ: Thank you,

7  Council member.

8                 I just have a few more questions and

9  then -- I just want to see how familiar you are with

10  the codes.

11                 Chapter 38, liquified petroleum gas.

12  What if any significant changes were made there?

13                 MR. BAZEL: This is one, again, that I

14  don't think we've made significant changes on

15  because we already have the most restrictive

16  regulations, probably in the entire country.

17                 LPG is something that is widely used

18  in New York City, and, you know, it is potentially

19  something that could be explosive, and there are on

20  occasion, rare occasions, thankfully, explosions, of

21  LPG tanks but I think our regulations are very

22  comprehensive.

23                 We did incorporate into the code from

24  our rules, our main LPG document was a rule that we

25  promulgated, I would say, around the Year 2000 or

55

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  so. We've incorporated some of that into the code,

3  and we've strengthened the code, and obviously

4  people have access to the code and we put some of

5  the basic provisions in there, but I don't think we

6  made any significant changes in the LPG area.

7                 CHAIRPERSON MARTINEZ: With regards to

8  self-certification, Commissioner, when you speak in

9  your testimony that the code authorizes the Fire

10  Commissioner to accept professional certification,

11  streamlining the process for issuing permit and

12  other Fire Department approval, and provides for

13  registration of expediters to ensure the integrity

14  of such approval process, I bring this up because

15  it's been an issue here for the Council, and I think

16  you've discussed it also with regard to

17  self-certification, we passed bills that will remove

18  the privilege from those who improperly

19  self-certify.

20                 Does the Fire Code on-line with what

21  we're trying to achieve with our bill in terms of

22  limiting the self-certification to avoid individuals

23  just making self corrections of violations?

24                 COMMISSIONER SCOPPETTA: Well --

25                 CHAIRPERSON MARTINEZ: I'm sorry. And

56

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  when you say you're going to have -- you'll be

3  having a register, your registration, is this at the

4  databank of individuals that will be allowed to be

5  self-certifying in the profession?

6                 COMMISSIONER SCOPPETTA: We're talking

7  about licensed professionals, architects, engineers,

8  for one.

9                 Two, we will, if we decide to do this

10  on any significant basis, it gives us the authority

11  to do it. We would have to pass rules to implement

12  this provision. And I would just add to that, I

13  don't think these self-certification programs are

14  very useful unless they are audited, and people are

15  held accountable, and when they certify falsely or

16  carelessly or inaccurately that there are

17  consequences for doing that. It should affect the

18  license of a professional who does this

19  intentionally, and misrepresents whether the plans

20  actually do comply to code or other regulations. And

21  that is true of this certification and I think it's

22  true of any certification process.

23                 CHAIRPERSON MARTINEZ: Finally, with

24  regard to -- I have two more questions. With regards

25  to Chapter 30, the compressed gas, any significant

57

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  changes on the codes?

3                 MR. BAZEL: Only that the overall

4  comprehensive regulation of this, like the other

5  hazardous materials, that there is more detail

6  spelled out in the code in general requirements, and

7  then broken out for specific types of gases.

8                 The one addition perhaps is there is

9  a focus on gases that are asphyxiated irritants, and

10  radioactive materials. And those are the ones,

11  obviously, that again pose the most serious hazards

12  to emergency responders.

13                 Generally speaking this is consistent

14  with current code requirements.

15                 CHAIRPERSON MARTINEZ: Okay.

16                 So, at this point, having no further

17  questions, this is the first hearing to consider the

18  new Fire Code, and the next hearing on this issue

19  would be on April 15th. So, our second hearing on

20  the Fire Code will be on April 15th.

21                 I want to thank the Commissioner and

22  staff for the information today. It was truly

23  impressive to see that you answered all the

24  questions without going back to the actual Fire

25  Code.

58

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 I want to commend you for that, and I

3  believe this is a step moving forward in making sure

4  that the first responder and New Yorkers are safe in

5  New York City. So, thank you, again, and I'll see

6  you again on the 15th.

7                 MR. BAZEL: Thank you.

8                 COMMISSIONER SCOPPETTA: Thank you

9  very much, Mr. Chairman.

10                 CHAIRPERSON MARTINEZ: All right, we

11  want to call the next panel. The next witness.

12                 COUNSEL TO COMMITTEE: Bruce Johnson

13  from the International Code Council.

14                 Can you please identify yourself for

15  the record and start your testimony?

16                 You need to make sure that the light

17  is off.

18                 MR. JOHNSON: Good morning, Mr.

19  Chairman. Thank you.

20                 Bruce Johnson, Regional Manager, Fire

21  Service Activities, International Code Council.

22                 All set?

23                 CHAIRPERSON MARTINEZ: Yes.

24                 MR. JOHNSON: I'd like to thank you,

25  Chairman Martinez and the Honorable Members of the

59

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  City Council Committee on Fire and Criminal Justice

3  Services, for providing us the opportunity to

4  testify today on behalf of Intro. 732, concerning

5  New York City Fire Code.

6                 Along with me from the International

7  Code Council today is our Vice President of

8  Governmental Relations, Dorothy Harris, and also

9  Senior Regional Manager Roland Hall. They have been

10  before the City Council during the Building Code

11  adoption process, and they are here in support of

12  this, as well.

13                 The Code Council is a non-profit

14  membership association dedicated to building safety

15  and fire prevention.

16                 Today the international codes are

17  used in all 50 states, the District of Columbia,

18  Puerto Rico, the US Virgin Islands and in over

19  21,000 local jurisdictions in the United States.

20                 Architects, engineers and developers

21  around the world often reference the international

22  codes. Some examples include Macau, United Arab

23  Emirates an Qatar.

24                 The Code Council consults with Mexico

25  in developing a residential building code, or

60

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  assisting Egypt in establishing training,

3  certification and laboratory accreditation programs,

4  or working with Pakistan to improver seismic

5  requirements.

6                 The Code Council has translated its

7  I-Codes into Spanish and we're assisting in

8  translation of the ASTM standards into Spanish.

9                 The Code Council has international

10  chapters in Canada, New Zealand, Kenya and an office

11  in Argentina that supports Latin and South American

12  countries that are presently administering or

13  considering adoption of the I-Codes.

14                 New York City recently adopted a new

15  Building Construction Code, based on the Code

16  Council's International Building Code, which will

17  take effect on July 1st of this year. The adoption

18  of Intro. 732 will complete the modernization of New

19  York City's Construction and Fire Codes with a new

20  Fire Prevention Code based on the International Fire

21  Code.

22                 This new Fire Prevention Code is an

23  essential companion code to the Building

24  Construction Code. Together these new regulations

25  will give New York City a fully coordinated set of

61

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  codes, which encourage the use of new materials,

3  products and systems.

4                 These two codes will support issues

5  important to New York City, such as public,

6  firefighter and construction site safety while

7  providing economic growth, energy conservation, and

8  housing preservation and affordability.

9                 As the proposed New York City Fire

10  Prevention Code is based on the 2003 International

11  Fire Code or IFC, I will explain the process by

12  which the IFC is developed.

13                 All the I-Codes are revised on a

14  periodic basis in the national consensus process.

15  Each code development cycle has two public hearings,

16  the initial Code Development Hearing and a Final

17  Action Hearing. Any interested person or

18  organization may submit a Code Change Proposal,

19  and/or testify at either of the public hearings.

20                 Each Code Change Proposal is heard by

21  an appropriate Code Development Committee during the

22  public hearing. Code Development Committees are

23  comprised of subject matter experts from public and

24  private sector.

25                 The Code Development Committee hears

62

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  testimony from all interested parties during the

3  public hearing, and then votes to accept, modify or

4  deny the proposal.

5                 All Code change proposals are acted

6  upon at the Final Action Hearing. Only

7  representatives of governmental members are eligible

8  to vote at the Final Action Hearing, as their

9  interest is focused on public safety and these

10  members have no ties to special interest or personal

11  financial gain.

12                 Uncontested proposals are grouped and

13  voted on in the Consent Agenda. While other

14  proposals are open to public testimony, followed by

15  a vote of the governmental representative, it is the

16  outcome of this vote that determines the content of

17  the International Codes.

18                 In accordance with Code Council

19  policy and procedures, the Fire Department of the

20  City of New York is a governmental member with 12

21  voting delegates. During the last Code Development

22  Hearings, over 300 Code Change Proposals on the Fire

23  Code were heard during three days of public

24  testimony. Hundreds of interested people from the

25  public sector, Building and Fire Code officials,

63

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  design professionals, building trades, labor and

3  industry, all presented testimonial information to

4  the Fire Code Development Committee, to make

5  recommendations on each of those Code Change

6  Proposals.

7                 This national consensus process

8  allows a thorough exchange of relevant information,

9  and a vetting of public testimony for each proposed

10  code change.

11                 This process ensures a balanced

12  approach so that the latest information, statistical

13  data, technology for new building systems, materials

14  and methods are all considered, along with public

15  and first responder safety, environmental

16  considerations and economics in developing the next

17  edition of the International Fire Code.

18                 The New York City Fire Department has

19  been working for the past three years to diligently

20  review the new Fire Prevention Code before you

21  today. Many volunteers have participated in the

22  complicated technical review of each chapter to

23  ensure that the code will meet the needs of New York

24  City. The Code Council applauds the hard work of the

25  FDNY and the investment of thousands of hours by

64

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  dedicated professionals from many disciplines to

3  bring Intro. 732 before you today.

4                 The Code Council is pleased to

5  partner with New York City and we look forward to

6  continuing in serving your needs. The mission of the

7  Code Council is to provide the highest quality of

8  codes, standards, products and services for those

9  concerned with safety and performance of the built

10  environment.

11                 The Code Council has proposed a Fire

12  Code training plan with courses targeted to the FDNY

13  fire prevention staff, as well as members of the

14  Fire Protection industry and for professional

15  organizations to assist in their preparation for the

16  code implementation with an effective date of July

17  1st.

18                 Additionally, the Code Council has

19  several certification programs for inspectors,

20  contractors and the construction trades to enhance

21  expertise and professionalism.

22                 I thank you for the opportunity to

23  present this testimony today, and I'll be pleased to

24  answer any questions or provide additional

25  information.

65

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON MARTINEZ: Thank you.

3                 So, is my understanding that the Fire

4  Department has modified the Code, 2003 International

5  Code, right?

6                 MR. JOHNSON: That is correct. That

7  was the base document that they utilized to perform

8  their analysis.

9                 CHAIRPERSON MARTINEZ: But you have

10  now adopted a 2006 version?

11                 MR. JOHNSON: Yes, we have.

12                 CHAIRPERSON MARTINEZ: And how

13  different are the codes that we're adopting, that

14  the Fire Department is adopting, from the one that

15  you just recently adopted 2006?

16                 MR. JOHNSON: There are always going

17  to be some technical changes, Chairman. But I think

18  that the review, what New York has done is they've

19  taken the best of the model code and also taken

20  things that have been very successful in New York

21  City, some of the progressive things that you have

22  particularly dealing with high-rise and fire safety

23  directors, and incorporated that in the code.

24                 As an example, the New York State

25  Code is also based on 2003 version right now. They

66

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  have not moved to a 2006. So, it's not, you know,

3  atypical to be a cycle behind the review and

4  adoption of a code.

5                 CHAIRPERSON MARTINEZ: Are there any

6  major changes between the 2003 and 2006?

7                 I mean, when we talk about having New

8  York City up to code, and with the model code, what

9  we call "model code," then it's technically not a

10  model code, because you've changed them?

11                 MR. JOHNSON: Well, part of that

12  process that the Commissioner talked about, the

13  three year cycle, there are always going to be minor

14  improvements and revisions to the Code, based on

15  some of the latest technology, and some methods of

16  building construction.

17                 But the safety that's provided in the

18  codes, which is the primary function, that safety

19  level is still going to be there.

20                 What we're going to have is we're

21  going to have some different processes or different

22  ways to achieve that, but we're going to have safety

23  for the public and the first responders in either

24  version of the code.

25                 CHAIRPERSON MARTINEZ: So, in your

67

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  last sentence when you say that the Code Council has

3  several certification programs for inspectors,

4  contractors, and construction trade to enhance

5  experience and professionalism, does this mean that

6  when the codes here are adopted, they would be that

7  those workshops, those training on the new codes for

8  the trade?

9                 MR. JOHNSON: Yes. They've done some

10  of that for the Building Code already, and for the

11  Fire Code we have a training plan that would address

12  the FDNY uniform and inspection staff, and also the

13  Fire Protection engineers, and other folks that need

14  to understand the code, so that they can administer

15  it for their buildings and their facilities.

16                 CHAIRPERSON MARTINEZ: What's your

17  role in the training of new firefighters in regard

18  to the code? Are you part of that academy?

19                 MR. JOHNSON: What we have done as

20  part of that training plan, is to give specific

21  training suggestions to the Chief of the Department

22  based on job description.

23                 So, that new firefighters would be

24  receiving some basic Fire Code instruction, relative

25  to those building inspections that they need to be

68

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  performing, or what they're doing at the

3  construction and demolition sites. And then for the

4  Fire Prevention staff, depending on their specific

5  job scope and requirement, recommending that they

6  would receive more detailed training on the

7  components and the chapters of the Fire Code that

8  relate to their specific job tasks.

9                 CHAIRPERSON MARTINEZ: And do you

10  conduct individual training separate for the Fire

11  Department for the construction trade and

12  contractors?

13                 MR. JOHNSON: That training can be

14  provided in conjunction with or separate -- the

15  content of the material would obviously be the same

16  because we're teaching the same information in the

17  code. But we could teach it in whatever format is

18  most effective in training the people that need to

19  be trained on the code so that it can be applied

20  effectively once it's adopted.

21                 CHAIRPERSON MARTINEZ: Has the Fire

22  Department of New York City asked you to translate

23  the Code in Spanish or other prevailing languages

24  for New York City?

25                 MR. JOHNSON: I'm not aware that they

69

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  have at this point.

3                 CHAIRPERSON MARTINEZ: You did mention

4  that you're in the process of translation?

5                 MR. JOHNSON: Yes. We have done a

6  translation for our South American countries. So,

7  our base codes are available in Spanish.

8                 CHAIRPERSON MARTINEZ: The base codes?

9                 MR. JOHNSON: Yes.

10                 CHAIRPERSON MARTINEZ: So, if New York

11  City, since we do have legislation that require most

12  government documents to be provided in prevailing

13  languages in New York City, if New York City were to

14  call on your for translation, you would be ready to

15  produce these documents?

16                 MR. JOHNSON: Yes, we would.

17                 CHAIRPERSON MARTINEZ: Are there

18  questions for any of the members?

19                 We've been joined by Councilman

20  Joseph Addabbo.

21                 Thank you for your testimony, and we

22  now look forward to continuing working and speaking

23  with you on these codes, and hopefully we'll see you

24  again on the 15th with additional questions.

25                 MR. JOHNSON: Yes, you will, Chairman.

70

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Thank you.

3                 CHAIRPERSON MARTINEZ: Thank you.

4                 COUNSEL TO COMMITTEE: The next panel

5  includes Neil Crowley, John Bauer, Jr., Richard

6  Alexander, Salvatore DiBenedetto, Thomas Bury, and

7  is Mark going to come up with you also, or is that

8  separate?

9                 CHAIRPERSON MARTINEZ: Just identify

10  yourself before your testimony. And you can start in

11  any order.

12                 I would ask that you summarize your

13  testimony, since we have it on record. It is pretty

14  lengthy, and whenever you're ready you could start.

15                 UNIDENTIFIED SPEAKER: I guess I'll

16  start.

17                 We represent the New York State Fire

18  Equipment Distributors Association. Thank you for

19  letting us appear and voice our concerns about the

20  new Fire Code.

21                 Our organization is made up of

22  professionals in the fire extinguisher and fire

23  suppression system industry. Eight organization

24  members --

25                 CHAIRPERSON MARTINEZ: And your name?

71

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. CROWLEY: My name is Neil Crowley.

3                 CHAIRPERSON MARTINEZ: For the record.

4  Thanks.

5                 MR. CROWLEY: The eight organization

6  members who worked on these code comments have a

7  combined experience of more than 200 years in this

8  industry.

9                 My name is Neil Crowley, I'm the

10  president of the organization. I sit on the Board of

11  Directors. I'm also the New York State

12  representative of the National Association of Fire

13  Equipment Distributors. And I have a number of years

14  sitting on Building Code Review Committees.

15                 Approximately seven years ago the

16  Fire Department made a major revision to the Fire

17  Code section that regulates portable fire

18  extinguishers. The changes were made with little or

19  no input from industry experts. As a result of the

20  intervention of a high-level manager in the Fire

21  Department, a gentleman named Sam Pepper, we were

22  given a chance to comment.

23                 We spent hundreds of man hours

24  putting together comments based on national

25  standards, existing State licensing laws, and the

72

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  NFPA licensing law, standard NFPA 10L. Our comments

3  were accepted by the Fire Department and quietly

4  buried.

5                 Now, one of the gentlemen that's

6  instrumental here in the new Fire Code is the

7  gentleman who handled that. The new law solved some

8  of the problems in our industry. Unfortunately, for

9  every problem that the new law solved, it created

10  two more.

11                 We do not think it is prudent to let

12  this happen a second time, and that's the reason

13  we're here to make these comments.

14                 The proposed new Fire Code uses NFPA

15  10 of '98 as the base document for regulating

16  portable fire extinguishers. This addition of NFPA

17  10 is obsolete, and it's been obsolete for a number

18  of years. It was replaced in 2002, and it was

19  replaced again in 2007. Technical changes have taken

20  place in this industry that are not recognized by

21  the '98 edition of NFPA 10. The correct use of this

22  document requires training.

23                 At this point in time there are no

24  training classes for a document that was based on a

25  1998 standard. The last class was held in 2001.

73

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  That's it. There are no more. And New York is basing

3  the standards for taking care of portable fire

4  extinguishers on a document where there is no

5  possibility of getting any training.

6                 Now, the document was reissued in

7  2002, and was again reissued in 2007. The NFPA 10

8  Committee thought that the changes made were so

9  important that they did something that's not very

10  usual for 10, they rewrote the entire standard to

11  make it more readable and more understandable.

12                 There is a magnitude of difference

13  between 10 of '98 and 10 of 2007. All training

14  nationwide is based on a 2007 edition. Comments 1

15  through 10 detail just how out of date the proposed

16  new Fire Code is, and how out of date it would be if

17  it's not revised. It's detrimental to public safety

18  to use obsolete standards for a new Fire Code.

19                 The Fire Department must inquire --

20  now, NFPA 10 was one of the items that we looked at.

21  In addition to that, we looked at two or three

22  additional problems that we feel that have been

23  problems that the new Fire Code doesn't address.

24                 One of those problems is a

25  certificate of insurance. The Fire Department issues

74

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  a company Certificate of Fitness to people, and then

3  they issue Certificate of Fitnesses to the personnel

4  working for that company, but at no point do they

5  require any proof of insurance. Even legally

6  mandated insurance. That's just an item they close

7  their eyes to. But unfortunately when they issue a

8  Certificate of Fitness for a company, they're

9  issuing credentials to that company. When they

10  issued a Certificate of Fitness to the people

11  working for it, they're issuing an identification

12  card.

13                 Now, an end-user of this equipment

14  sees the identification card, sees the certification

15  that they have, a company Certificate of Fitness,

16  they see that they appear on the Fire Department

17  website, and at that point they hire them, and

18  unknown to them is a person who may or may not be

19  responsible for what they're doing.

20                 Now, the requirement for insurance is

21  something that all other licenses in New York

22  require insurance certificates, every other

23  jurisdiction we work in requires an insurance

24  certificate for this work. The Fire Department is

25  the only AHJ that does not require a Certificate of

75

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Insurance when they issue these credentials, and

3  that's a very poor thing.

4                 If someone shows up at your door,

5  they have a Fire Department ID card basically, or an

6  ID card issued by the Fire Department, you would

7  expect that there is some way that if something goes

8  wrong with whatever you're doing, that the end-user

9  would have a way of recovering damages, and at this

10  point there is none.

11                 The new code also added a C of F for

12  door-to-door sales. We have found no one in the

13  industry who thinks this is a good idea.

14                 PFEs are already sold by licensed

15  companies Citywide. There are retail stores

16  Citywide. The Fire Department has no way of

17  regulating door-to-door sales.

18                 A portable fire extinguisher is a

19  life safety device. Does anyone think it's a good

20  idea to have a door-to-door sales person

21  recommending the type, size and placement of any

22  device that your life may depend on?

23                 Now, that recommendation, or that

24  particular door-to-door sales, I have no idea, and I

25  haven't found anybody in the industry who has any

76

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  idea where that popped up from.

3                 The New York City Fire Department has

4  a highly regarded and nationally recognized

5  Rangehood Unit. They are trained experts in the fire

6  suppression system field. Other jurisdictions look

7  to them for leadership in this area.

8                 Comment Number 14 was a proposal sent

9  to the Rangehood Unit from our industry more than

10  two years ago. They were in agreement with this that

11  this is an important item and should be included in

12  the old code. Now that the old code is being

13  retired, this item should be in the new code.

14                 From our discussion internally in the

15  Fire Department with people at mid-management, the

16  comments that we've made here are basically the same

17  comments mid-management made. But they never went

18  anywhere in the Fire Department. And the

19  mid-management was where the expertise is.

20                 Now, you heard discussions here from

21  lawyers about fire systems and I think if you had

22  had somebody delve into that deeper, you would have

23  found exactly how shallow that knowledge is.

24                 When you go down a few steps, they

25  have experts in every one of those fields. But those

77

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  experts were not involved in the new code documents.

3  They were not on the committees, and when they

4  commented on the code, their comments just

5  disappeared.

6                 Comment number 17 is the most

7  important fire system comment our industry will

8  make. The industry had numerous problems with new

9  fire system installations and maintenance of

10  existing units. Those problems are for the most part

11  a thing of the past. The most important reason for

12  the improvement was the factory trained and

13  qualified requirement in the existing Fire Code.

14  This allows the Fire Department to ensure that a

15  high degree of public safety is maintained in new

16  fire system installations and in the service and

17  inspection of existing systems.

18                 This item is a topic whenever

19  industry meets with Rangehood Unit at the Fire

20  Department. We are in complete agreement on this

21  requirement. Even though the Fire Department

22  Rangehood Unit and the industry completely agree on

23  this, it seems to have disappeared from the new Fire

24  Code.

25                 Now, the Fire Department doesn't have

78

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the facilities or the ability to run training

3  schools on fire suppression systems. They simply

4  don't have the expertise for each individual

5  manufacturer. But the manufacturers run those

6  schools. Some of the schools are two and three days,

7  you have to be certified every two years, you are

8  given certificates. What our industry does is we

9  turn those certificates in to the Fire Department,

10  or in to whoever the AHJ is in the area we're

11  working.

12                 That certificate guarantees that the

13  people working on that system are properly trained

14  and qualified. There is no other way to do it except

15  factory certification. And, yet, they seem to be

16  removing the requirement for factory certification,

17  but at the same time they're not replacing it with

18  any schools that they're running, any certification

19  they're running. It's like you have a requirement

20  that ensures you get trained competent people at a

21  location, you do away with the requirement and you

22  don't have any other way of making the same

23  certification.

24                 Comment number 15 addresses the

25  requirement for an annual inspection of rangehood

79

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  fire systems. Removing the requirement and

3  substituting a permit is a giant step backward. It

4  is one that we should not take.

5                 Again, a number of years ago, our

6  industry fought to get that annual inspection where

7  the Fire Department comes in once a year and looks

8  at the fire system.

9                 At some point that inspection was

10  transferred from a trained unit to an untrained

11  unit, and now, right now they're not obeying the

12  current law, they issued permits. Someone comes in

13  and says you have a fire system and they issue a

14  permit for it, but the systems are no longer

15  inspected. Those inspections generated hundreds of

16  maintenance items where the owner just would not

17  have pursued it if the Fire Department hadn't

18  stepped in and said something.

19                 There are a number of other comments

20  that we did not make that should be addressed.

21                 The new code eliminates room

22  integrity testing for clean agents under most

23  conditions. It is our understanding more than 40

24  percent of the current clean agent room integrity

25  tests fail. So, now we're going to eliminate the

80

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  requirement for running the test, even if 40 percent

3  are failing. And what they're going to substitute

4  is, well, if you have a log and that log says you

5  haven't put any holes in the walls, the ceiling or

6  the floor since the last time we tested, then we're

7  not going to test it now. The test is no longer

8  required.

9                 There is a common theme to all of the

10  comments in this presentation. We're asking you for

11  standards that recognize modern, up-to-date

12  technology. We're asking for strict regulation of

13  our industry to prevent a return to the past

14  problems. We want a Fire Code that puts a premium on

15  public safety. I mean, this is the least New York

16  City deserves.

17                 Now, most -- well, not most -- our

18  comments are pretty well written. I don't know if

19  you want us to go through it comment-by-comment?

20                 CHAIRPERSON MARTINEZ: No.

21                 MR. CROWLEY: It would be rather

22  lengthy.

23                 CHAIRPERSON MARTINEZ: Were you part

24  of any of the committees established, particularly

25  from the trade that participated in the process

81

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  input and so forth? Or are you saying that you just

3  participated in the public hearings, and gave

4  testimony and suggestion but --

5                 MR. CROWLEY: Officially, no, I wasn't

6  part. Unofficially I attended Building Code meetings

7  with the Fire Department reps, I attended Mechanical

8  Code meetings.

9                 CHAIRPERSON MARTINEZ: None of the

10  members of the Association were asked or requested

11  to be part of the Committee made up that represented

12  the industry?

13                 MR. CROWLEY: Mr. Hanson wrote a

14  letter and sent it to the wrong address.

15                 CHAIRPERSON MARTINEZ: Mr. Hansen is

16  whom?

17                 MR. CROWLEY: Jim Hansen. He was one

18  of your Fire Department reps that was here. It was

19  sent to the wrong address, and I heard about it --

20                 CHAIRPERSON MARTINEZ: He sent a

21  letter to you?

22                 MR. CROWLEY: He sent a letter to me

23  at an incorrect address, and I heard about it three

24  years after he sent it.

25                 He's also the magician who made the

82

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  last stuff disappear, too.

3                 CHAIRPERSON MARTINEZ: So, what was

4  the content of the letter? Asking you to be --

5                 MR. CROWLEY: The letter was inviting

6  me and the organization to have representatives on

7  the Code Committee.

8                 CHAIRPERSON MARTINEZ: And by the time

9  you found out about the letter, the Committee was

10  already established?

11                 MR. CROWLEY: Correct.

12                 CHAIRPERSON MARTINEZ: And did you

13  request to be a part of the Committee because of

14  their inefficiency?

15                 MR. CROWLEY: Yes. Mr. Hansen said

16  that it was too late. It was too far down the road.

17  Which is a very interesting statement, considering

18  that no changes were made to the portable fire

19  extinguishers that in effect --

20                 CHAIRPERSON MARTINEZ: It was their

21  testimony that there was little changes made to that

22  when I asked about the extinguisher. So, it's

23  interesting from your testimony that you say it's

24  based on 1998 and the fact that there are no

25  documents regulating these portable extinguishers,

83

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  because they are obsolete.

3                 Mark, you've got to turn the light

4  off.

5                 MR. McGOEY: Mr. Chairman, my name is

6  Mark McGoey, one of Active Fire Control.

7                 Yes, the new proposed code does state

8  that they have the NFPA standard. But, once again,

9  that NFPA standard reflects the 1998 edition, as

10  opposed to the 2008 edition, and there is several,

11  several changes throughout this national standard,

12  which they did --

13                 CHAIRPERSON MARTINEZ: I'm sorry, the

14  national standards is what?

15                 MR. McGOEY: National Fire Protection

16  Association, Standard 10. And this is out in 2007.

17  And the last one which they're referencing their

18  Fire Code on is the 1998 edition.

19                 CHAIRPERSON MARTINEZ: Mm-hmm.

20                 MR. McGOEY: So, yes, they are

21  referencing the Fire Code -- the national standard,

22  but they're not referencing the most current

23  version, current edition of the national standard.

24                 CHAIRPERSON MARTINEZ: I understand.

25                 MR. McGOEY: And that's a concern.

84

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON MARTINEZ: I understand.

3                 MR. CROWLEY: The 1998 edition is the

4  same edition that they referenced by in 2000 when

5  they revised Chapter 15. What is it 1508?

6                 MR. McGOEY: 1502.

7                 MR. CROWLEY: 1502. They referenced

8  1998, they basically took the old code and

9  transplanted it into the new code without any

10  changes.

11                 CHAIRPERSON MARTINEZ: Did you address

12  this concern to the International Code Council?

13                 MR. CROWLEY: We addressed this

14  concern at the Fire Department hearing, and Julian

15  Bazel stated that all of these items were reviewed

16  by experts at the Fire Department.

17                 CHAIRPERSON MARTINEZ: But did you

18  address this to the International Code Council? Not

19  the Fire Department, but the International Code

20  Council?

21                 MR. CROWLEY: The International Code

22  Council doesn't have the section on portables that

23  New York City does, all right? The International

24  Code Council referenced NFPA 10, and in 2003 it

25  referenced NFPA of 2002. That would have been the

85

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  latest edition.

3                 New York City removed that reference

4  to 2002 and put 1998. Now, when we addressed this at

5  this public hearing, Julian Bazel assured us that

6  this was -- experts had looked at this and had

7  updated all of it, all right? But, unfortunately,

8  experts in this field, this is not an enormous

9  field. I know everybody in New York City and most of

10  the people nationwide that sit on the 10 Committee,

11  that are manufacturers of portable extinguishers,

12  and nobody in this industry had any input into what

13  the Fire Department did with portable fire

14  extinguishers.

15                 CHAIRPERSON MARTINEZ: When you talk

16  about the -- I'm just reading a note here, but tell

17  me if this is correct: it says that you're

18  referencing the use of the 1998 NFPA as base

19  document for regulating the portable fire

20  extinguisher, but understanding that the issue was

21  addressed in the version of the code that was

22  submitted, the most recent one that was submitted

23  that uses the NFPA of 2007. Are you aware that the

24  new version addresses that issue?

25                 MR. CROWLEY: No. The Fire Department

86

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  had public hearings during the holiday season in

3  December. The Fire Department had the hearing on the

4  20th, they closed comments on the 28th of December

5  and then took the code off the website and refused

6  to put it back on again and kept in contact with

7  nobody that they didn't want to --

8                 CHAIRPERSON MARTINEZ: We're going to

9  look at this issue, because we're being informed

10  that the new version, it's not the 2008 --

11                 MR. CROWLEY: 1998.

12                 CHAIRPERSON MARTINEZ: 1998, sorry.

13  But rather 2007.

14                 MR. CROWLEY: We'd be very happy to

15  hear that.

16                 CHAIRPERSON MARTINEZ: Yes, we're

17  going to look at that.

18                 On the issue of the

19  self-certification insurance.

20                 MR. CROWLEY: Right.

21                 CHAIRPERSON MARTINEZ: You're saying

22  that other jurisdictions use the self-certification

23  insurance? Or do I have it backwards?

24                 MR. CROWLEY: At this point I'm a

25  little confused at your question.

87

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON MARTINEZ: You made

3  reference that the New York City Fire Department

4  uses Certificate of Insurance. Not

5  self-certification. I'm sorry.

6                 MR. CROWLEY: The Certificate of

7  Insurance, they don't require it.

8                 CHAIRPERSON MARTINEZ: They don't

9  require it.

10                 MR. CROWLEY: They don't ask for it.

11                 If a company goes in and they show

12  that they have the proper material, equipment,

13  recharging material, they can get a Certificate of

14  Fitness, a company Certificate of Fitness for

15  portable fire extinguishers.

16                 CHAIRPERSON MARTINEZ: Mm-hmm.

17                 MR. CROWLEY: But one of the

18  requirements should be insurance, and the Fire

19  Department doesn't have that requirement and seems

20  very resistant to adding it to their requirements

21  for company Certificates of Fitness.

22                 CHAIRPERSON MARTINEZ: And when you

23  make reference to the Rangehood Unit --

24                 MR. CROWLEY: Right.

25                 CHAIRPERSON MARTINEZ: You're saying

88

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that in the new code, they are not part of the new

3  code?

4                 MR. CROWLEY: No, the Rangehood Unit

5  is a unit specifically designed by the --

6                 CHAIRPERSON MARTINEZ: I could barely

7  hear you. Put your mike on.

8                 MR. CROWLEY: The Rangehood Unit is a

9  unit that's specifically designed by the Fire

10  Department to test Rangehood Units in fire

11  suppression systems in commercial kitchens.

12                 CHAIRPERSON MARTINEZ: Mm-hmm.

13                 MR. CROWLEY: It's a nationally

14  recognized unit. I mean, the people in that unit

15  that run that unit are constantly interacting

16  nationwide. But recommendations from that unit

17  appear to have been either ignored or sidetracked

18  and have not made it into the new code.

19                 CHAIRPERSON MARTINEZ: These are not

20  uniformed members, correct, the Fire inspectors?

21                 MR. CROWLEY: No. The Bureau of Fire

22  Prevention is now uniformed.

23                 CHAIRPERSON MARTINEZ: Correct. That's

24  what I meant.

25                 MR. CROWLEY: They're all Bureau of

89

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Fire Prevention personnel.

3                 CHAIRPERSON MARTINEZ: Okay. Do you

4  have any questions for Councilman Addabbo? No.

5                 I want to thank you for your

6  testimony, and shedding some light on some issues

7  and concerns that you have.

8                 We will be looking at the item to

9  ensure that in fact the issue having to do with the

10  NFPA code is a part up-to-date now and look at the

11  issue you highlight, for getting information that

12  the new version, it's the NFPA-10 of 2007.

13                 At this point I want to thank you for

14  your testimony, having no additional questions from

15  any other members or of counsel. Thank you for your

16  testimony. We'll be following up on some of the

17  issues you highlight here, and I will ask you to

18  stop and give me a second before you leave.

19                 Thank you.

20                 COUNSEL TO COMMITTEE: The next

21  witness is Sid Aconsky, NYFAA.

22                 CHAIRPERSON MARTINEZ: The next panel,

23  please.

24                 MR. ACONSKY: Thank you, Chairman

25  Martinez and the other members of the City Council,

90

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  for allowing the New York Fire Alarm Association to

3  speak today.

4                 The New York Fire Alarm Association,

5  Inc., on whose behalf we speak, represents equipment

6  suppliers, installation companies, consulting

7  engineers and central stations primarily engaged in

8  the fire protection.

9                 Individuals within this organization

10  have been an integral part of the code development

11  process as far back as the landmark legislation for

12  high-rise buildings known as Local Law No. 5 of

13  1973.

14                 Over the past years, several

15  individuals representing the New York Fire Alarm

16  Association participated in adoption of the

17  International Building Code for use in New York

18  City.

19                 Back in 2005, at the request of the

20  Fire Commissioner, the New York Fire Alarm

21  Association was invited to assist the New York Fire

22  Department in the development of the revised New

23  York City Fire Code, which is based on the

24  International Fire Code.

25                 The Fire Department established five

91

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  advisory committees that deal with various chapters

3  of the Code, which is somewhere between 32 and 43

4  members each. Our organization participated in three

5  of these advisory committees and gave much time and

6  effort toward the development of the Fire Code.

7                 During the public hearing held at the

8  Fire Department headquarters on June 1st, 2007,

9  several representatives of this organization made

10  the verbal statements pointing out shortcomings of

11  the drafted documents and recommended many changes.

12                 On June 15th, 2007, which put forth

13  16 pages of recommendations in an effort to make the

14  new code a forward-looking document that will

15  enhance the safety of buildings and general public.

16                 A copy of our submittal is enclosed.

17  Not a single substantial recommendation made by the

18  New York Fire Alarm Association was included into

19  the new Fire Code, nor is there any indication that

20  these changes were ever seriously considered.

21                 To this day, the New York Fire

22  Department has not given any hint as to the

23  consideration of these matters, or if considered

24  irrational for rejection. What started as an open

25  and collegial process turned out to be a closed,

92

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  totally introspective one, when one considers that

3  ideas represented by the most knowledgeable people

4  in the fire protection field have, for all intents

5  and purposes, been ignored.

6                 We would like to point out some of

7  the major items that we submitted.

8                 1) The New York City Building Code

9  deliberately eliminated the costly and redundant

10  process of the Materials and Equipment Approval,

11  MEA, of life safety equipment, which was already

12  tested and approved by one of the nationally

13  recognized test laboratories, such as UL or FM

14  Global.

15                 Upon elimination of the MEA Division

16  at the New York City Department of Buildings, the

17  New York City Fire Department saw fit to undermine

18  this effort by requiring the approval of some of the

19  Fire Protection equipment.

20                 This effort will increase the cost of

21  doing business in New York City, and for some

22  vaguely stated reason. If the Fire Protection

23  equipment is accepted for use throughout the United

24  States, there is no reason why it should not be

25  accepted for use in New York City as of right.

93

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 We hereby request that Article

3  901.4.5 be deleted in its entirety.

4                 The New York City Fire Code makes

5  reference to the National Fire Protections

6  Association National Fire Alarm Code NFPA 72 of 2002

7  in relation to testing and maintenance of fire alarm

8  systems.

9                 Specifically, it refers to the

10  version of NFPA 72 of 2002 adopted by the Building

11  Code in Appendix Q. Unfortunately, the entire

12  Chapter 10 of NFPA 72 of 2002, Inspecting, Testing

13  and Maintenance, was removed from Appendix Q, with

14  the understanding that such Chapter will be inserted

15  into the Fire Code.

16                 Unfortunately, that did not happen

17  and Intro. 732 in its current form does not contain

18  any provisions for testing and maintenance of fire

19  alarm systems.

20                 This needs to be corrected by

21  revisiting the entire Chapter 10 of National Fire

22  Alarm Code, NFPA 72 of 2002 in its entirety.

23                 Item 3. We all know that fire

24  protection systems only protect human life and

25  property if they are periodically tested. There are

94

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  periodic testing requirements for fire standpipes,

3  fire sprinklers, fire suppression systems in

4  computer rooms, kitchen suppression systems, et

5  cetera. All of these tests have to be witnessed by a

6  representative of the Fire Department.

7                 Unfortunately, the old Fire

8  Prevention Code never had any provision for the

9  Department to conduct periodic retesting of fire

10  alarm systems.

11                 As a result, large share of existing

12  fire alarm systems in New York City are not

13  operational at all or substantially deficient.

14                 This has been documented by TV

15  investigative reports, including the 2007 Fox News

16  Channel 5 report on effective fire alarm systems in

17  hundreds of day care centers in the Bronx and

18  Brooklyn. This is an urgent matter, before another

19  tragedy similar in scale to the recent construction

20  crane collapse, created bad publicity for New York

21  City.

22                 We strongly recommend that the Fire

23  Code be revised to require a five-year mandatory and

24  comprehensive retest of all fire alarm systems to be

25  conducted in presence of a Fire Department

95

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  representative.

3                 The Fire Prevention Code will be with

4  us for many years to come. Therefore, we urge the

5  City Council to consider our testimony as it

6  deliberates the adoption of this code and we

7  respectfully submit that further deliberation of

8  this code be postponed until there is adequate time

9  for the Fire Protection Industry to conduct a more

10  detailed review for the Fire Department to review

11  and discuss the Fire Protection Industry and all

12  recommendations submitted to them.

13                 Respectfully yours, the New York Fire

14  Alarm Association, Inc.

15                 CHAIRPERSON MARTINEZ: Thank you.

16                 This is one of the questions I asked

17  in terms of changes made to fire alarms and so

18  forth. And as you heard testimony, very few, if

19  none, changes were made in the new Fire Code. It's

20  interesting hearing your testimony as regards to the

21  testing of fire alarms in the new codes.

22                 I want to thank you for your

23  testimony. It's something we're going to be looking

24  at, and we will absolutely do a follow-up with some

25  of the points and highlights that you bring in your

96

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  testimony here.

3                 At this time, I have no questions for

4  you, but I will be following up with you and so will

5  the Committee. We continue to have dialogue with the

6  Department on some of the issues that you highlight.

7                 MR. ACONSKY: Thank you, Chairman

8  Martinez.

9                 CHAIRPERSON MARTINEZ: Thank you.

10                 I just want to state for the record

11  that previous testimony given with regards to the

12  portable fire extinguisher, we do see that in the

13  code we have referenced the NFPA 10 without any

14  years, however, when we looked at the index, we do

15  see that it says the NFPA 10-98. This is something

16  we're going to follow-up to see where it's a

17  discrepancy and see how we can make the correction

18  on that. I would like to highlight that for the

19  record.

20                 At this time, having no additional

21  witnesses, we're adjourning the meeting of the Fire

22  and Criminal Justice Services for the New York City

23  Council.

24                 (Hearing concluded at 12:10 p.m.)

25

97

1

2              CERTIFICATION

3

4

5     STATE OF NEW YORK   )

6     COUNTY OF NEW YORK  )

7

8

9                 I, CINDY MILLELOT, a Certified

10  Shorthand Reporter, do hereby certify that the

11  foregoing is a true and accurate transcript of the

12  within proceeding.

13                 I further certify that I am not

14  related to any of the parties to this action by

15  blood or marriage, and that I am in no way

16  interested in the outcome of this matter.

17                 IN WITNESS WHEREOF, I have hereunto

18  set my hand this 1st day of April 2008.

19

20

21

22

23

---------------------

24                          CINDY MILLELOT, CSR.

25

98

1

2             C E R T I F I C A T I O N

3

4

5

6

7

8

9            I, CINDY MILLELOT, a Certified Shorthand

10  Reporter and a Notary Public in and for the State of

11  New York, do hereby certify the aforesaid to be a

12  true and accurate copy of the transcription of the

13  audio tapes of this hearing.

14

15

16

17

18

19

20

21

22

23

24                 -----------------------

CINDY MILLELOT, CSR.

25

#