1

2  CITY COUNCIL

3

CITY OF NEW YORK

4

-------------------------------x

5

THE TRANSCRIPT OF THE MINUTES

6

of the

7

COMMITTEE ON FIRE And CRIMINAL

8  JUSTICE SERVICES

9  -------------------------------x

10

October 29, 2003

11                 Start:  10:16 a.m.

Recess: 12:38 p.m.

12

City Hall

13                 Committee Room

New York, New York

14

15       B E F O R E:

16              YVETTE CLARKE

Chairperson,

17

18              COUNCIL MEMBERS:   Tony Avella

Hiram Monserrate

19                                 Oliver Koppell

Christine Quinn

20

21

22

23

24       LEGAL-EASE COURT REPORTING SERVICES, INC.

17 Battery Place -  Suite 1308

25              New York, New York 10004

(800) 756-3410

2

1

2  A P P E A R A N C E S

3

Mr. James Hansen

4  Director of Engineering

Bureau of Fire Prevention

5  New York City Fire Department

6  Chief Ronald Spadafora

Assistant Chief for Fire Prevention

7  New York City Fire Department

8  Gerald Poje, Ph.D.

Board Member

9  U.S. Chemical Safety and Hazard

Investigations Board

10  Washington, D.C.

11  Mr. Stephen Selk

Professional Engineer and CSB Lead Investigator

12  U.S. Chemical Safety and Hazard Investigations Board

Washington, D.C.

13

Mr. Glen Corbett

14  Assistant Professor of Fire Science

John Jay College

15  New York, New York

16  Ms. Sally Regenhard

Skyscraper Safety Campaign

17  Ms. Constance Lesold

Community Board 8

18  Brooklyn Fire Committee

19  Mr. Bruce DeCell

Skyscraper Safety Campaign

20  Brooklyn, New York

21  (Read into Record)

New York Committee

22  for Occupational Safety and Health

New York, New York

23

24

25

3

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON CLARKE: A pleasant good

3  morning to everyone and welcome to the hearing of

4  the Committee on Fire and Criminal Justice Services.

5                 Today we will be considering several

6  bills that will amend the City's Fire Prevention

7  Code and that demonstrate the need for its over-

8  haul.  We will also be hearing about the hazardous

9  waste explosion at Kaltech Industries in Chelsea.

10                 The Fire Prevention Code was first

11  enacted in 1918, 85 years ago.  Much of today's code

12  dates to its 1937 revision. Since then the code has

13  only undergone sporadic revision and not been

14  systematically reviewed and revised.  As a result,

15  New York City's Regulations of Fire Hazard is out of

16  date.

17                 The legislation we'll be considering

18  today highlights some of the shortcomings of the

19  Fire Prevention Code. For example, Int. 570, which

20  was introduced by Council Member Koppell, would

21  update provisions regulating places of public

22  assembly such as theaters and nightclubs.  Right now

23  places of public assembly are required to have a

24  fireguard on staff, to assist in fire prevention.

25  However, the code only requires one fireguard at

4

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  each facility, regardless of its size, nature, and

3  occupancy load. Int. 570 attempts to address this

4  problem.

5                 Int. 414, introduced by the Mayor,

6  also demonstrates that the Fire Prevention Code is

7  outdated.  This bill would repeal the section of the

8  Fire Code, regulating dry cleaning and dry dyeing

9  establishments.  I understand that this 1937 section

10  was made redundant by stricter provisions in the

11  building code and removing it as a matter of

12  housekeeping.  The relevant provisions in the

13  building code however were enacted in 1968.  It has

14  taken us 35 years to address this redundancy.

15                 Today we will also be hearing from

16  the U.S. Chemical Safety and Hazard Investigation

17  Board about the April 2002 explosion at Kaltech

18  Industries, an accident that injured 36 people,

19  including 14 members of the public and 6

20  firefighters.

21                 According to the Board, the explosion

22  could have been avoided if the fire code properly

23  regulated the handling and storage of hazardous

24  materials.  The Kaltech incident should serve as a

25  warning to the public, that public safety can be

5

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  endangered by an outdated fire code.

3                 New York City could address the

4  problems raised by today's bill and avoid future

5  Kaltech incidents by adopting a Model Fire Code.

6  Since model codes are updated regularly, the City

7  would be assured of always having modern

8  regulations.  I hope that the Administration will

9  support my call to adopt a Model Fire Code.

10                 I look forward to discussing these

11  and other matters today and I would like to say that

12  I am joined today by Council Member Tony Avella of

13  Queens, a member of this Committee, as well as

14  Council Member Oliver Koppell, whose Intro. We will

15  be hearing today.  Shortly we should be joined by a

16  number of members from this Committee, but we would

17  like to get started this morning by hearing from the

18  Administration, the Fire Department of New York City

19  and seated for testimony is Chief Ronald Spadafora

20  of the FDNY and James Hansen of the FDNY.  Good

21  morning gentlemen.

22                 CHIEF SPADAFORA Good morning.

23                 MR. HANSEN: Good morning.

24                 COUNCIL MEMBER KOPPELL: Madam Chair.

25  With your indulgence, might I just make a very brief

6

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  remark.

3                 CHAIRPERSON CLARKE: Certainly Council

4  Member Koppell.

5                 COUNCIL MEMBER KOPPELL: Thank you.

6                 CHAIRPERSON CLARKE: Hold on one

7  moment, we would like to hear from Council Member

8  Oliver Koppell.

9                 COUNCIL MEMBER KOPPELL:  Number one,

10  I want to thank you as Chair and your staff for

11  looking into the proposed legislation that we have

12  suggested dealing with fire safety at places of

13  public assembly, particularly places such as

14  nightclubs, places of public performance, movie

15  theaters and such.

16                 I think that the horrendous tragedy

17  that took place in Rhode Island and similar tragedy,

18  of not quite the same proportion in Chicago lately,

19  indicates that there is an enormous need to be sure

20  that nightclubs and other places of public assembly

21  are safe.

22                 I just would like to say Madam Chair

23  and to those here, last night I attended a

24  performance at an upstairs theater at Studio 54, a

25  musical performance.  In my opinion it was extremely

7

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  unsafe.  The number of exits was limited to two.

3  One of the exits was obscured so the people couldn't

4  even know there was an exit there if they sat in the

5  theater.  You only knew there was an exit if you

6  went behind the stage, which is where one of the

7  exits were.              One of the provisions of my

8  proposed legislation is that before any performance,

9  exit signs are pointed out to the audience.  Now,

10  you may say oh my goodness, well how can we do such

11  a thing.  Every time you get on an airplane,

12  somebody points out where the exits are on that

13  airplane.  It's just we're not accustomed to it.

14  This would require that exits be pointed out in

15  movies theaters, you could have it just on the

16  screen.

17                 What happened in Rhode Island is that

18  the personnel at the club were not trained how to

19  handle the crowd when there was a fire.  As a

20  result, people all crowded up against one exit,

21  rather than being disbursed and over 100 people

22  died, mostly young people.

23                 In my opinion, the provisions in New

24  York, as well as the inspections in New York are

25  woefully inadequate and something must be done.  I

8

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  hope the Committee will work with me and with the

3  Fire Department.  I'm not saying my legislation is

4  perfect in every way.  We would love to have more

5  input, but something must be done or we will see a

6  repetition.  And, I predict right here, that if

7  nothing is done about fire safety in New York places

8  of accommodation, people will die within the

9  foreseeable future because of inadequate fire

10  protection.  And, I saw it last night, I saw it a

11  few weeks ago at another place.  There is simply

12  inadequate attention to this problem and tragedy

13  will be the result.

14                 Thank you Madam Chair.

15                 CHAIRPERSON CLARKE: Thank you Council

16  Member Koppell.

17                 We have been joined by Council Member

18  Chris Quinn of Manhattan, in whose District the

19  Kaltech Industry incident took place and we would

20  like to hear her statement at this time.

21                 COUNCIL MEMBER QUINN: Thank you Madam

22  Chair.  As was said, I represent West 9th Street in

23  Chelsea in the heart of my District where the

24  explosion happened about a year and one- half or so

25  ago.  You know, we got incredibly lucky during that

9

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  explosion, that there weren't just mass casualties

3  and mass fatalities.  I arrived on the scene not

4  long after the explosion and when you saw the amount

5  of damage, when you saw the impact, you assumed that

6  there was just going to be an unbelievable tragedy.

7                 We got very lucky.  We cannot move

8  forward in the City of New York and assume that luck

9  will always be on our side. We need to make sure

10  that our fire code is a 21st Century fire code and a

11  fire code that is written in a way that it is

12  elastic, so to speak.  That it will be able to

13  evolve as technology evolved and as science evolved.

14    You know, we need to make sure that we have a fire

15  code so that when Inspectors go out and inspect,

16  they are able to identify situations, which will

17  become -- which have the potential to be deadly and

18  dangerous.  Unfortunately, I don't believe our Fire

19  Code presently has enough of 21st Century reality

20  based in it and I don't believe it really has the

21  safeguards and the prohibitions in it to prevent

22  things like what happened on 19th Street, from

23  happening again.

24                 Many parts of the City are mixed- use

25  areas.  We wouldn't want an accident like that to

10

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  happen anywhere.  But, the reality of the five

3  boroughs is we have places where work,

4  manufacturing, work with chemicals goes on, not far

5  at all from where people live or where children go

6  to school.  So, we need to be extra careful with our

7  fire code given the reality of how closely people

8  live and work in New York City.

9                 I am also very glad we are having

10  this hearing today in that it is very close to the

11  release of the Federal Report in response to what

12  happened on West 19th Street, because I was very,

13  very distressed by the City's response to what

14  happened on West 19th Street. As I understand it,

15  there was great resistance by the City to provide

16  the Federal Inspectors with the information they

17  needed and resistance to allowing the Federal

18  Inspectors to go on site and see the conditions in a

19  way that would have allowed them to fully document

20  what happened, with the goal of making sure that it

21  never happened again, and with the goal of helping

22  us in New York City, with their expertise as the

23  Federal Experts in this area.

24            Eventually, with the help of elected

25  officials and Congress, we were able to get that

11

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  access for the Inspectors.  But, time was lost and

3  as we know with fires, when time is lost, evidence

4  is lost and when evidence is lost we will learn less

5  and be able to prepare less well for the future.

6                 So, having this Committee involved

7  gives me a greater confidence that as we move

8  forward we will get the answers quickly and directly

9  and bring all Government Agencies to the table to

10  assure the safety of New York City's residence and

11  its workers.

12                 So, thank you very much and I look

13  forward to our efforts to update the code.  Thank

14  you.

15                 CHAIRPERSON CLARKE: Thank you Council

16  Member Quinn. We will now commence testimony from

17  the New York City Fire Department and welcome you

18  both again gentlemen.

19                 MR. HANSEN: Thank you.  Good morning,

20  my name is James Hansen.  I'm the Director of

21  Engineering for the Bureau of Fire Prevention, New

22  York City Fire Department.

23                 I would like to thank you for the

24  opportunity to speak with you today about the three

25  bills that amend the New York City Fire Code.  We

12

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  support the first two bills, Int. 414 and 415. We

3  support the overall intent of the third bill, Int.

4  570, but do have significant concerns about it,

5  which Chief Spadafora will discuss with you today.

6  Int. 414 and Int. 415.

7                 CHAIRPERSON CLARKE: Excuse me Mr.

8  Hansen, would you please bring the microphone closer

9  to your mouth, we are having some ventilation noise

10  in here.

11                 MR. HANSEN:  Fine.  The Department

12  supports Int. 414, which repeals those sections of

13  the fire code that relate to dry cleaning and dry

14  dyeing establishments.  The Department proposes

15  these changes in order to address certain

16  inconsistencies, and some overlap that currently

17  exists between the New York City Building and Fire

18  Codes.

19                 Specifically, the fire code currently

20  allows dry cleaners to use flammable liquids as a

21  dry cleaning compound whereas, the building code,

22  since 1968 has prohibited use of flammable liquids

23  for this purpose.  The building code does allow

24  combustible liquids to be used as dry cleaning

25  compounds.  These are less volatile liquids, with a

13

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  higher flashpoint than flammable liquids, but are

3  still subject to the Building Department Code's

4  construction, ventilation and sprinkler

5  requirements.

6                 Just to give you a sense of what a

7  flammable and a combustible is, using examples you

8  would probably be familiar with, anti- freeze that

9  goes in the radiator of your car is combustible and

10  gasoline is flammable.

11                 The Department believes that the

12  current building code provisions relating to dry

13  cleaning, dry dyeing establishments adequately and

14  effectively regulate this area.  Moreover, the

15  Department believes that the conflicting or

16  overlapping fire code provisions should be

17  eliminated to promote compliance and to lessen the

18  uncertainty and confusion for those businesses or

19  persons that must abide by these regulations.

20                 To clarify, the sections to be

21  repealed by the proposed legislation are: One, the

22  definitional section which, as its name implies,

23  simply defines dry cleaning and dry dyeing

24  establishments.  And two, the section which

25  regulates the location of dry cleaning or dry dyeing

14

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  establishments.  For example, pursuant to this

3  section, a dry cleaning or dry dyeing establishment

4  may not be located in a wooden structure or in a

5  building where drugs, tobacco or other volatile

6  substances or products are sold.  Currently, the

7  building code and City's Zoning Resolution

8  similarly, and the Department believes adequately,

9  regulate the location of these establishments.

10                 The Department also supports Int.

11  415.  This proposed legislation raises the threshold

12  quantity of liquefied carbon dioxide for which a

13  City permit is required.  Liquefied carbon dioxide

14  is a compressed form of CO2 and is non- combustible.

15  The fire code lists a number of compressed gases

16  that in certain quantities, may not be stored or

17  sold without a permit.

18                 Currently, a permit is required for

19  liquefied carbon dioxide when an individual cylinder

20  is greater than 1.5 cubic feet or if the total

21  aggregate of all cylinders together exceeds 12 cubic

22  feet.  The proposed amendment would raise the permit

23  required threshold to any quantity that exceeds 60

24  gallons.  This is consistent with the laws in other

25  jurisdictions.

15

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 This measure, while still protecting

3  public safety, also relieves small businesses such

4  as bars and restaurants from the permit and fee

5  requirements now imposed under the current fire code

6  for the storage of relatively small amounts of

7  carbon dioxide. Bars and restaurants, for example,

8  ordinarily use CO2 for carbonated beverages.  Even

9  with this permit exemption for small quantities of

10  CO2, all fire code provisions that currently

11  regulate its storage and or sale would still apply

12  to these businesses.               This includes

13  Fire Department Rule 23- 11, which sets forth

14  requirements for CO2 container design and other

15  design and installation requirements needed to

16  ensure safe storage and installation.  Plus, all of

17  these buildings that contain any amounts of carbon

18  dioxide are subject to Fire Department inspections,

19  typically once a year.  If any infractions of the

20  fire code's CO2 provisions are found during these

21  inspections, violations would be issued.

22                 Moreover, this amendment is proposed

23  in light of improvements in the design and

24  construction of compressed gas cylinders, including

25  stainless steel construction and the more reliable

16

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  pressure relief valves, as well as stricter Federal

3  cylinder testing requirements.  Together, these

4  improvements and testing requirements lessen the

5  risk traditionally associated with carbon dioxide

6  storage.

7                 CHIEF SPADAFORA:  Good morning

8  Chairperson Clarke and Council Members.  I am Chief

9  Ronald Spadafora.  I am the Assistant Chief for Fire

10  Prevention and I am here to talk about the last bill

11  Int. 570.  This bill amends those provisions of the

12  fire code relating to places of public assembly.

13  The introduction of this bill was apparently

14  prompted by such incidents as the Rhode Island

15  nightclub fire that occurred earlier this year,

16  killing nearly 100 people and injuring scores more.

17                 The Fire Department is in the

18  business of protecting the safety and health of New

19  Yorkers, as well as those who come to visit our

20  City.  We therefore ordinarily support measures that

21  promote or further that goal. The Fire Department

22  believes that the intent of this proposed

23  legislation is commendable, but we think that much

24  more extensive dialogue should take place between

25  the Fire Department and this Committee to ensure

17

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that these goals are actually achieved.

3                 Right now it is hard to gauge whether

4  Int. 570 will actually avert that kind of disaster

5  it seeks to address.  Many of its provisions are not

6  clear.  This lack of clarity will impede compliance,

7  which means safety may be compromised and the goals

8  of the legislation may not be achieved.

9                 Without going over each section of

10  the bill today, suffice it to say that some sections

11  of the bill on their face seem acceptable.  Others

12  appear to cover territory already covered under the

13  fire code or require action that the Fire Department

14  already mandates.  Still others simply raise

15  questions that may be resolved by working with the

16  Committee and the drafters of the legislation.     Of

17  most concern to the Department however, are those

18  sections that contain vague or unclear language and

19  those dealing with the following areas.  The

20  Fireguards firefighting and remediating

21  responsibilities.  Employee training, drills and

22  other responsibilities.  Any security device or

23  system that emits any medium that could obscure a

24  means of egress.  That's unclear.  Fire safety and

25  evacuation plans, the training and the drills that

18

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  go with those fire safety and evacuation plans.

3  Fire safety training and responsibilities for

4  designated employees.

5                 Serious concerns about all of these

6  provisions prevent us from endorsing or supporting

7  this proposed local law at this time.

8                 One thing that I would like to bring

9  to this Committee's attention is this Department's

10  decades long history of nightclub, social club fire

11  prevention and fire safety initiatives. This City

12  suffered two horrific nightclub fires during the

13  last 30 years, one was the Blue Angel in 1975, where

14  seven people lost their lives and the other was the

15  Happy Land Social Club fire in 1990, where 87 people

16  lost their lives.

17                 In the wake of both of these

18  tragedies, the New York City Fire Department

19  undertook many measures to address the deficiencies

20  that led to those disasters.  These included

21  amending the fire code relating to social clubs and

22  places of public assembly.  For example, enhanced

23  sprinkler, alarm, emergency lighting and trained

24  fireguard requirements were enacted after the Blue

25  Angel fire.  The law is know as the Blue Angel Law.

19

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 The Department also established a

3  Social Club Task Force, which was recently

4  resurrected in the wake of the Rhode Island fire.

5  You now have not only civilian Inspectors inspecting

6  places of public assembly, at night, on the

7  weekends, but you also have uniform Inspectors,

8  Company Officers, as well as Fire Marshall's

9  performing these inspections. This Task Force,

10  through stepped- up enforcement ensures social club

11  compliance with public safety laws by aggressively

12  seeking out illegal uses and known or alleged

13  abusers in the industry.  The Task Force orders an

14  establishment to close when continued occupancy

15  poses an imminent hazard to the public.  Also, since

16  the Happy Land fire, significant civil penalties can

17  now be imposed on building owners or operators who

18  violate a vacate or seal order.

19                 I raise these issues to point out

20  that the Fire Department is acutely aware of the

21  concerns that gave rise to Int. 570 and it is and

22  has been taking measures for more than three decades

23  to address those issues.  As a result the City's

24  place of public assembly laws are among the safest

25  in the country.

20

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 In conclusion, while we fully support

3  Int. 414 and Int. 415, we believe that Int. 570 is a

4  good starting point for further discussion on the

5  issues and we hope that those discussions commence

6  sometime in the near future.

7                 Again, I thank you for the

8  opportunity to speak with you today about these

9  proposed bills.

10                 CHAIRPERSON CLARKE:  I want to thank

11  both of you gentlemen for your testimony here this

12  morning and I'd like to start by asking a couple of

13  questions, more than a couple, but to start by

14  asking, since the law was enacted, our fire codes

15  were enacted in 1980 -- 1918, excuse me. I know,

16  it's hard for me to go back that far.  Has the

17  City's Fire Code ever undergone a section by section

18  systematic revision?

19                 MR. HANSEN:  We have looked at

20  sections, to my knowledge they have not gone through

21  the entire code, but we have revised certain

22  sections of the code after completing our review.

23                 One of the most recent ones was the

24  underground tanks, the Federal government and the

25  State have regulations with regard to underground

21

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  tank installations, affecting mostly gas stations

3  and we did make a complete revision of that entire

4  sub chapter of the Fire Code, making our regulations

5  consistent with Federal and State regulations and

6  then incorporating those requirement that we felt

7  necessary for New York City.  That was the most

8  recent one.

9                 CHAIRPERSON CLARKE:  Given your best

10  estimate, or to the best of your knowledge, what

11  percentage of New York City's Fire Code would you

12  say has been revised since 1918?

13                 MR. HANSEN:  I'm not sure I am

14  prepared to give you the answer to that question.

15  I'm sorry.

16                 CHAIRPERSON CLARKE: Okay. Okay.

17                 Do you believe the City needs to

18  modernize its fire code?

19                 CHIEF SPADAFORA: The Fire Department

20  is in the process of working with the Buildings

21  Department and various other agencies in adopting

22  the International Building Code.  That is going to

23  be an 18 month process, possibly a two- year

24  process.  We have Chief Officers on the various

25  Committees, there are 14 Committees dealing with

22

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  adopting the International Building Code. One of the

3  things we have discussed is the possibility of

4  adopting also the International Fire Code in

5  conjunction with the International Building Code, or

6  maybe at a later date.  It's one of the things we

7  are discussing at this time.

8                 CHAIRPERSON CLARKE:  So, you're

9  saying that currently, while we are doing this

10  review of the building code the question of revising

11  our fire code simultaneously has come up. Have you

12  made any definitive decisions to do so, or is it

13  just sort of cursory to the fact that the housing

14  code is being reviewed right now?

15                 CHIEF SPADAFORA: This is something

16  that me and the Chief of Fire Prevention have

17  discussed as a possibility of working on,

18  incorporating a fire code as part of what we are

19  doing now, in regards to adopting a Model Building

20  Code, which is the IBC.

21                 CHAIRPERSON CLARKE: Has this

22  recommendation or this observation been shared with

23  the Commissioner?

24                 CHIEF SPADAFORA:  At this time, I

25  don't know.

23

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON CLARKE: Okay.  I'm a bit

3  concerned about the lack of clarity of where we are

4  with respect to revision of the fire code, simply

5  because our current code, and I understand it's

6  voluminous, it dates back to 1918.  Given where we

7  are in the 21st Century, it would just seem to me

8  that there would be much more of I guess an urgency

9  to do that type of a review.

10                 I am sure that our code is outdated

11  in many ways. Can you cite some examples of ways in

12  which our code is outdated?

13                 MR. HANSEN: I think if you look at

14  some of the model codes and compare it to what is

15  included currently in the New York City Fire Code, I

16  think what you will find in the model code is that

17  they perhaps cover areas that may not be covered

18  completely in the Fire Code.

19                 I guess specific examples, I guess

20  one is with regard to hazardous materials.  The fire

21  code currently has very strict regulations for

22  flammable and combustible liquids, which represent a

23  fire hazard.  But, if you look in the model codes,

24  the model codes get into other types of hazardous

25  materials that the current fire code does not give

24

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the Fire Commissioner the authority to regulate.

3                 CHAIRPERSON CLARKE: Would you say

4  that in itself just as one example, would endanger

5  public safety?

6                 MR. HANSEN: I'm not prepared to

7  answer that.

8                 CHAIRPERSON CLARKE: Okay.  What cost

9  would be associated with the City adopting a Model

10  Fire Code.  Have we been able to quantify that?

11                 CHIEF SPADAFORA: No, we haven't.

12  That would have to be something we would have to

13  discuss at a higher level than I am able to talk

14  about here.

15                 CHAIRPERSON CLARKE: So, we haven't

16  really even gotten to that point yet.  I understand

17  that the Model Building and Fire Codes are closely

18  interrelated and intended to be adopted together.

19  How closely is the FDNY involved in the review of

20  the Model Building Code.

21                 CHIEF SPADAFORA: Well, Chief Dau

22  (phonetic), who is the Chief of Fire Prevention, he

23  is acting as a Chairman, I'm an Assistant Chairman,

24  in this process.  We also have Chief Officers who

25  are acting in the various Committees that encompass

25

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the entire building codes so the Fire Department has

3  been very active in participating in this process,

4  having a say in any changes or any adoptions that

5  need to take place.

6                 What we are doing, we are reviewing

7  the 1968 Code, the new building code, which is in

8  place right now, we're reviewing that code and also

9  the International Building Code, we're reviewing

10  what needs to be put into the code, added or

11  subtracted from the new building code into the IBC

12  to meet our needs.

13                 CHAIRPERSON CLARKE: In light of some

14  of what we talked about briefly, in terms of looking

15  at adopting a Model Fire Code, while going through

16  this current review of the Model Building Code,

17  wouldn't you say that the two are so closely inter-

18  related that in terms of labor and time it would

19  make sense for us to adopt both codes

20  simultaneously?  I mean, they are so inter- related,

21  do you think that adopting a companion Model Fire

22  Code would make sense?

23                 CHIEF SPADAFORA: Well, there are

24  numerous issues involved in regards to funding and

25  regards to manpower time, various issues that would

26

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  need to be discussed in regards to doing both

3  concurrently.

4                 CHAIRPERSON CLARKE: I'd like to

5  suggest that it's probably more cost- effective if

6  we were to embark upon both. Simply because you

7  already have the expertise at the table and coming

8  back after the fact, you know that's a whole other

9  segment of cost, time and labor.  Perhaps we should

10  really suggest this to the Commissioner.  I know

11  that this Committee will certainly send forth that

12  signal to the Administration.  While it may cost

13  more than anticipated in the short term, in the long

14  term they have to come back after the fact and

15  recognize that we really do need to update our fire

16  code when the expertise is currently at the table.

17  Seems to me almost a waste, a waste of time, waste

18  of expertise, but again, that's something I think

19  that we will certainly suggest to both, to the

20  Commissioner and whatever the Administration sees

21  fit, we expect they will send some response back to

22  us.

23                 CHIEF SPADAFORA: The Fire Department

24  is also very active in the WTC Building Code Task

25  Force.  We are on all the Committees and helped in

27

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  formulating the 21 recommendations and proposals

3  that were put forth in regards to the meetings we

4  had and the drafting of those recommendations.

5                 CHAIRPERSON CLARKE: Well, it seems to

6  me that, you know, we are going to be very informed

7  through the various entities that are currently

8  looking at areas in which public safety are going to

9  be addressed through both the building codes and the

10  WTC Task Force, that this information is best

11  utilized while it is fresh, in both mind and people

12  are dedicated to the task.  For us to come back, who

13  knows, years later to try to update the fire code,

14  again I think that we're maybe losing a window of

15  opportunity to utilize the enthusiasm that folks

16  have right now in, you know, really making sure that

17  these things come to fruition, while we could be

18  proactively dealing with a very outdated fire code.

19                 I understand that New York City is

20  permitted under State law to have its own building

21  and fire codes.  Provided these codes are stricter

22  than the State codes.  Given that the State has

23  adopted the 2003 International Fire Code, can it

24  still be said that the City's 1918 fire code is

25  stricter than the State's fire code?

28

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHIEF SPADAFORA: That determination

3  has to come from the State Council. So, I would

4  refer that to them.

5                 CHAIRPERSON CLARKE:  Has there been

6  any review by State Council of our code?  To your

7  knowledge?

8                 CHIEF SPADAFORA: None that I'm aware

9  of.  No.

10                 CHAIRPERSON CLARKE: Okay.

11                 Well, what would be your opinion on

12  it?

13                 CHIEF SPADAFORA: My opinion is that

14  the New York

15  City Fire Code in certain areas are significantly

16  stricter than what the State currently allows.  In

17  some areas, it may not be as strict, --

18                 COUNCIL MEMBER KOPPELL: Madam Chair,

19  could we ask the witness to move the microphone

20  closer because I can't hear him.

21                 CHAIRPERSON CLARKE: Okay.  Thank you

22  Council Member.

23                 CHIEF SPADAFORA: Just to repeat my

24  answer, I think that New York City in many areas has

25  much stricter requirements than New York State has.

29

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  In some areas it may not be precisely as strict,

3  however the determination of whether New York City

4  Codes are as strict or stricter than the State is

5  not made on a, what I understand, on an individual

6  line- by- line basis, it's an overall evaluation of

7  the codes.  Again, that determination is subject to

8  the State's review.

9                 CHAIRPERSON CLARKE:  Have we ever

10  called for a State's review?  To your knowledge?

11                 CHIEF SPADAFORA: Not to my knowledge.

12                 CHAIRPERSON CLARKE: Okay.

13                 Is it the responsibility of any

14  branch of the Fire Department to keep the fire code

15  up- to- date and if so, how many staff members are

16  assigned to these duties?

17                 CHIEF SPADAFORA: Well, we have in the

18  Bureau of Fire Prevention, we have, currently we

19  have two people who are assigned on a full time

20  basis to review various sections of the fire codes

21  and the fire rules.  There are many other

22  inspectional units, there are the field operations

23  people who very often make recommendations where

24  they identify deficiencies and they will send the

25  recommendations to us with possibly some draft of

30

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  what they believe is appropriate and then that staff

3  will work on that.

4                 CHAIRPERSON CLARKE: In your

5  experience, would you say that these individuals are

6  proactive in their role of review or has it been

7  sort of in reaction to things that are observed in

8  the field, or unfortunately an incident like at

9  Kaltech Industries?

10                 CHIEF SPADAFORA: Well, we have

11  Inspectors that go out at various times and they go

12  out to buildings that had fires, let's say a range

13  hood or where a sprinkler system possibly didn't

14  work, according to how we felt it should have.  So,

15  we also have Inspectors that go out and do

16  investigations.  They bring there findings back to

17  us and they inter- relate and communicate with

18  technology management and give them their insight.

19  So, in regards to being proactive, we do that

20  continuously.

21                 MR. HANSEN: Recently, a lot of our

22  efforts had been directed towards environmental

23  mandates, the dry cleaning is one of those.  You

24  know for 25 years they have been using

25  prochlorethylene (phonetic) and that's been pretty

31

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  much banned for environmental reasons and they have

3  gone back to this dry cleaning machine.  So, that's

4  what pushed this.  The industry was coming back to

5  us and saying, we need to use these machines and so

6  we got the laws and the rules to make sure that was

7  going to be done safely.

8                 The underground tanks, as I spoke

9  about previously, is another example of where the

10  Federal and State Environmental Regulations have put

11  an onus on the City to update the regulations and we

12  have put a great deal of effort into that

13  regulation.

14                 The other area is refrigerating

15  systems where the halon (phonetic) chemicals and the

16  freon systems were effectively outlawed and the City

17  needed to amend its regulations to allow for these

18  different types of refrigerants.  So, a lot of our

19  efforts are a follow up to environmental mandates

20  that have caused the building owners to go back to

21  some potentially more dangerous chemicals that now

22  get involved in the Fire Department's jurisdiction.

23                 CHAIRPERSON CLARKE: How much latitude

24  do you think your unit has in terms of time and

25  ability to be able to really get ahead of these

32

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  things?

3                 In other words, maybe look at what

4  other jurisdictions have done in terms of updating

5  their codes and being more proactive.  Because, in

6  just listening to your descriptions of what has been

7  done, it seems like it's in reaction to either some

8  sort of mandate that has come through.  And, when I

9  say proactive, I mean being able to sort of look at

10  where we are in terms of modern modernization and

11  then referring to what we have as regulation and

12  being able to make sure that it reflects where we

13  are.  Not necessarily having to address a mandate

14  that comes from some sort of regulatory body, or

15  even look at an incident that has taken place, to be

16  able to offset future incidents.  But, being able to

17  really get out there and make sure that you know, we

18  are protected because our observation is the way

19  that we have been going about regulating particular

20  parts of the fire codes, just don't reflect where we

21  are today.  Is there latitude within your divisions

22  to be able to get us ahead of that?

23                 CHIEF SPADAFORA: We have meetings

24  with the various agencies.  I'm involved right now

25  in cell phone sites on rooftops, trying to regulate

33

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the number of base stations on the roof, so that we

3  can operate on the roof, if need be, at a fire,

4  where the antennas can be located on the roof,

5  things of that nature.

6                 There are always issues that come up

7  dealing with many aspects of fire prevention that

8  the Fire Department is called in on to give our

9  input and to help develop changing laws in areas,

10  like school dormitories, fire prevention issues in

11  school dormitories, things of that nature.

12                 I would say that the Fire Department

13  is involved with the Fire Safety Directors

14  Association in dealing with the issues and their

15  concerns in high- rise office buildings.  We attend

16  their meetings.  We are also addressing improving

17  the training for Fire Safety Directors to meet our

18  needs in fire situations.  This is just a few of the

19  things that Fire Prevention deals with day in and

20  day out.  We also have the Rules of the City of New

21  York, which have recently have addressed many

22  issues, like fire extinguishers and how they are

23  maintained, companies that are approved to maintain

24  fire extinguishers, CNG Rules, LPG Rules.  These are

25  all Rules of the City of New York, which we add

34

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  input into and they get incorporated into the Rules

3  of New York and we enforce methanol, various types

4  of chemicals in which new rules have been formulated

5  in the last few years.

6                 CHAIRPERSON CLARKE: And, would you

7  say that having recognized these new rules that this

8  application is reflected in a revision in the fire

9  code?

10                 MR. HANSEN: I think what we did is --

11  many of the changes that the Fire Department do are

12  not in the code, they are actually in the rules.  As

13  Chief Spadafora indicated recently we have had quite

14  a few rule amendments, clean agent extinguishing

15  systems are replacing halon (phonetic), and then he

16  mentioned portable fire extinguishers.  We had a new

17  rule on dry cleaning establishments that kind of

18  supplements what this bill does, is take the

19  requirements out, but we made regulations, we

20  adopted a rule, that regulated that particular area.

21    So, I think that to some degree the Fire

22  Department is proactive in this.  We try to stay on

23  top of these things.  We are in constant

24  communication with the building owners and the

25  engineers who need to do certain things in their

35

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  buildings.  We are aware of what needs to be done as

3  soon as they need to do it.  We address those issues

4  when we have an understanding of the issue of what

5  their concerns are.  And, if there is a need to

6  amend the code then we will work to amend those

7  codes.

8                 CHAIRPERSON CLARKE:  So, the rulings

9  don't necessarily reflect the change in the code.

10  If there is a violation of the code, associated with

11  the new ruling, how do we have firm footing in

12  addressing those violations if we haven't gone back

13  to address the code to address the rules?

14                 MR. HANSEN: Well any rule that we

15  make, cannot conflict with the code.  If the code

16  says to do something, the rule can't say you don't

17  have to do that. But, the authority that the Fire

18  Commissioner has from the code is very broad.  And,

19  he often will adopt rules that comprehensively cover

20  a particular area of a particular inspection.  Based

21  on that, then we have the authority to issue a

22  violation, based upon the rule that was amended.

23                 CHIEF SPADAFORA: We can site the rule

24  for compliance.

25                 CHAIRPERSON CLARKE: Okay.  Let me

36

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  turn to a number of my colleagues, some of whom have

3  other commitments this morning. I would like to

4  welcome Council Member Yassky, but I believe -- yes.

5                 COUNCIL MEMBER YASSKY: Thank you

6  Chair Clark.  I do have a public meeting in my

7  District I must return to.  But, I just want to

8  briefly say, I thought your answers to Chair

9  Clarke's excellent questions about the fire code

10  were really not adequate. The Mayor has made a

11  commitment, as I understand it, to modernizing the

12  building code so that we can build more cheaply in

13  the City without compromising on safety.  And, I

14  think that it is absolutely necessary that the fire

15  code be addressed at the same time as the building

16  code.

17                 People trying to build affordable

18  housing routinely cite to me our obsolete and

19  outdated building and fire codes as obstacles to

20  providing affordable housing.  I think that needs to

21  be addressed.  I will submit in writing, I

22  appreciate the Chair's indulgence for me to speak at

23  this point.  So, I will not take time now, I'll

24  submit you in writing.  A simple question.  What are

25  the three biggest differences that you see between

37

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the State passed Uniform Fire Code and the City's

3  and if there are not significant differences, then I

4  see no reason we should just not do what everybody

5  else in the State has done, which is adopt the

6  Uniform Fire Code.

7                 Chair Clark, I appreciate your

8  indulgence and thank you also Council Member

9  Koppell.

10                 CHAIRPERSON CLARKE: Before you begin

11  Council Member Koppell, I know that Tony Avella is

12  in the same situation. Oh, thank you.

13                 COUNCIL MEMBER KOPPELL: Okay, no

14  problem.

15                 CHAIRPERSON CLARKE: Okay. Thank you.

16                 COUNCIL MEMBER AVELLA: Thank you.  I

17  have one question based upon your testimony.  It

18  relates to obviously what you've talked about with

19  Int. 570.  In one of the paragraphs you mentioned

20  the Department has also established a Social Club

21  Task Force, which I believe was done after the Happy

22  Land Social Club disaster in 1990, which was

23  recently resurrected in the wake of the Rhode Island

24  fire.  I can't think of a better example of why

25  Council Koppell's bill should be passed and passed

38

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  quickly because the Social Club Task Force was an

3  excellent idea, but as we all know government's

4  attention span is very limited and it's come up at

5  previous hearings where, I think from the Fire

6  Marshall Union that the Social Club Task Force has

7  been desiccated over the past few years, and in fact

8  they have actually been totally ineffective and I

9  find it fascinating that you even admit in your

10  testimony, "was recently resurrected", which brings

11  to mind that it was dead and now you have brought it

12  back to life.

13                 I think this is really an example of

14   -- we really need to do something and I think you

15  need to be much more specific in responding to this

16  legislation.  And, not just say in general terms, we

17  agree with it, in general terms we don't.  The

18  Social Club Task Force is an excellent idea -- it

19  was, but again it has not been used properly and

20  perhaps the best way to address these issues is

21  legislation, which can be enforced and this should

22  be done immediately.  That is my one comment.

23                 CHIEF SPADAFORA: The Social Club Task

24  Force is a separate issue than what we are talking

25  about in regards to inspecting places of public

39

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  assembly.  The Social Club Task Force, I was the

3  Captain running that operation years ago for the

4  Fire Department.  The Social Club Task Force

5  incorporated the Fire Department, Buildings

6  Department, PD and basically as a result of Happy

7  Land, which was the legal social club, inspections

8  were focused on illegal places of public assembly,

9  culvert, places of assembly that normal everyday

10  officials did not even know existed.

11                 So, the Social Club Task Force was

12  put into effect to look into these culvert

13  establishments and to determine whether these

14  premises should have been occupied at all with

15  legally in regards to how they were operating.  A

16  lot of these social clubs operating illegally,

17  contrary to the code, The Blue Angel Law, where they

18  were operating open to the general public, with

19  eating and drinking, musical entertainment and they

20  didn't have the proper fire extinguishing equipment.

21    They didn't have sprinklers, they didn't have fire

22  alarms, they weren't connected to a central station,

23  they didn't have emergency lighting.  These are all

24  items that they did not have, which The Blue Angel

25  Law, put into effect. So these establishments were

40

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  operating covertly and also they were operating

3  illegally.  So, the Social Club Task Force went out

4  and uprooted a lot of these establishments that

5  operating in this fashion.

6                 What we have now in the Fire

7  Department, is we have Inspectors that go out and

8  they inspect legal places of public

9  assembly.  They inspect the places that are open to

10  the general public. They'll go out and look and

11  ensure that the codes are being complied with, that

12  they have the proper fire extinguishing capabilities

13  according to code, that they have Fireguards, that

14  they have fire drill conductors and that they meet

15  the requirements of local law 41, which is The Blue

16  Angel Law.

17                 You also have in effect the March

18  Program.  The March Program is run from the Mayor's

19  office.  We have participants from the Fire

20  Department in that program.  They look at different

21  types of operations.  They may look at social clubs,

22  they handle complaints from Community Boards.  They

23  go out and they possibly uproot some of these

24  illegal places that are out there and are not

25  complying with the code.

41

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 So, these are two different aspects

3  that we are talking about here.  What the Fire

4  Department did in response to Rhode Island, and in

5  response to Chicago was we enhanced the number of

6  teams that we have to go out and do the inspections

7  on the weekends at night to ensure that the code is

8  being enforced.

9                 CHAIRPERSON CLARKE:  Let me just make

10  a comment to my colleagues and I want to thank you

11  Council Member Avella for your comment and your

12  question.

13                 There seems to have been some

14  confusion or some misunderstanding around the

15  purpose of this hearing today.  So, some of what we

16  are hearing in terms of reflection from the

17  Administration is caught up in this confusion.

18  Apparently, there was an assumption that we were

19  dealing with the three pieces of legislation

20  exclusively, however the title of our hearing is an

21  Oversight of Modernizing the Fire Codes, so to be

22  quite frank, I think that it is important that folks

23  be familiar with at least the procedures of what is

24  taking place within the Department around dealing

25  with the fire code.

42

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 I think that we are getting answers

3  that reflect not having prepared for dealing with

4  the details of the fire code today.  So, that you

5  understand the dynamics that are taking place in the

6  room. I would like to say we are sorry about the

7  confusion, but we hope that there is something

8  fruitful that comes from this today because there is

9  a concern in the public domain about the modernizing

10  of our fire code.  I hope that some of our

11  suggestions today will certainly be taken back to

12  the Commissioner, be as this will be revisited

13  again.

14                 Let me at this time ask Council

15  Member Koppell whose legislation is on record for

16  today's hearing to bring his comments at this time.

17                 COUNCIL MEMBER KOPPELL: Thank you

18  Madam Chair. The uniformed gentlemen, I'm sorry, I

19  didn't catch your name when you first spoke.

20                 CHIEF SPADAFORA: Ron Spadafora.

21                 COUNCIL MEMBER KOPPELL: Your title,

22  Chief?

23                 CHIEF SPADAFORA: I am a Deputy

24  Assistant Chief and I am the Assistant Chief of Fire

25  Prevention.

43

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 COUNCIL MEMBER KOPPELL: Spadafora,

3  you say?

4                 CHIEF SPADAFORA: That's correct,

5  right.

6                 COUNCIL MEMBER KOPPELL: Well, Chief

7  Spadafora, I have some questions to your comments on

8  the bill.  First of all, as I said in my initial

9  remarks, I am more than happy to sit down with you

10  or your designees to work out whatever clarification

11  or changes might be made.  What I would like to know

12  from you either now or immediately after hearing,

13  who it is we should interact with?

14                 CHIEF SPADAFORA: In regards to

15  redrafting bill?

16                 COUNCIL MEMBER KOPPELL: Redrafting

17  the bill so it would meet some of your concerns.

18                 CHIEF SPADAFORA: I would say myself,

19  Chief Dau, (phonetic) and I would be interested in

20  discussing some of the issues that you mentioned

21  here in regards to fire safety plans, in regards to

22  what exactly you want the Fireguards to do in

23  regards to firefighting or evacuation, what type of

24  training, what type of drills you have in mind in

25  this Intro.  I find it interesting going through it

44

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that the possibilities there that could enhance fire

3  safety.

4                 COUNCIL MEMBER KOPPELL:  Well, I

5  would like to know what you would suggest frankly.

6  I think the bill suggests what we would suggest, but

7  really we want there to be an evacuation plan, and a

8  Fire Safety Code in existence for each of these

9  establishments.  If we don't state it properly, and

10  by the way, the staff is prepared these provisions

11  with looking at the International Fire Safety Code,

12  this didn't come out of our heads alone by any

13  means.

14                 So, we would really like to get from

15  you, your redraft of that rather than you saying,

16  what do we want.  What we want to the extent that we

17  know what we want, is in this bill, but we are happy

18  to get your proposals for redrafting.  We want to

19  know what you think should be in the code -- in the

20  plan, I'm sorry, in the plan that each establishment

21  should have on file.

22                 CHIEF SPADAFORA: Well, that's what

23  I'm saying.  I would like to have some input in

24  regards to places of public assembly, to be able to

25  give you feedback in regards to what, from my

45

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  experience, what the fireguard, the fire drill

3  coordinator, what type of training would suffice in

4  that type of establishment.

5                 COUNCIL MEMBER KOPPELL:  Well, we

6  would like to have that from you.

7                 CHIEF SPADAFORA: Well this is the

8  first -- I just got to see this document just a few

9  days ago.  So here I have a document stating that

10  there will be a fire plan, there will be fire

11  fighting from the fireguard, it's unclear exactly

12  what type of actions these people are going to be

13  taking and I've had no input in regards to what the

14  fire plan is going to encompass.

15                 COUNCIL MEMBER KOPPELL: Well, we

16  would be happy to get your input.  I mean the bill

17  was introduced some time ago.  I don't know how the

18  City works, I would think that where something is

19  introduced before this Council that deals with the

20  subject of a Fire Safety Plan, it would be sent to

21  you or your people to look at

22  even before a hearing was scheduled, but that's

23  water under the bridge.  You now have it.  We'd like

24  to get your specific comments back.

25                 CHAIRPERSON CLARKE: Council Member

46

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Koppell, I think that we can certainly move with all

3  deliberate speed given the nature of our concern

4  here to work with the Administration to get that

5  drafted.

6                 COUNCIL MEMBER KOPPELL: Good.  Now, I

7  have a few other questions, if I may.  How often do

8  you inspect, let's say a nightclub, a nightclub that

9  has 100 seats?  How often would your people come and

10  inspect that to make sure that its premises

11  complies, that they have the proper fire

12  extinguishers, that they have the exits they need

13  and they have a person assigned as the Fire Safety

14  Officer, which I believe even under law they are now

15  required to do, how often is that checked?

16                 CHIEF SPADAFORA:  We try not to be

17  overbearing.  We have Inspectors that go out

18  possibly every three months they will go out to that

19  premises, depending whether they give out a

20  violation or not.  They go out there, they take a

21  look around, they will check for overcrowding, they

22  will check the exits, they will talk to the manager,

23  they will get a feel of the premise.  By doing that

24  type of inspection, you get a little bit of an

25  understand of what type of operation you are dealing

47

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  with.  So depending on let's say the initial

3  inspection of a premises, you'll get a feel on

4  whether you should be going back more often, or

5  going back a little less frequently.

6                 COUNCIL MEMBER KOPPELL: Well, is

7  there a minimum number of times you go?

8                 CHIEF SPADAFORA: In regards to every

9  single place of public assembly in the City?

10                 COUNCIL MEMBER KOPPELL: Yes.

11                 CHIEF SPADAFORA: What time are we

12  talking about, at night when they are operating?

13                 COUNCIL MEMBER KOPPELL: For the

14  moment, let me just ask how many times do you go

15  regardless of the time of the day.

16                 CHIEF SPADAFORA: They get an annual

17  inspection. That annual inspection will check all

18  there resources -- their fire protection systems, it

19  will renew the permit and then in regards to spot

20  checks, we have it all on a computer data base and

21  they can review when was the last time they were at

22  that premise.  They go out, they do the random

23  inspections, they get a feel for the premise. If

24  they give out violations, then the onus is on the

25  Inspector to go back on the violation to make sure

48

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that violation has been complied with.

3                 COUNCIL MEMBER KOPPELL: Sir, if you

4  would confine yourself to answering my questions, it

5  would go faster.

6                 CHIEF SPADAFORA: Okay.

7                 COUNCIL MEMBER KOPPELL:  So, you say

8  that there are annual inspections, at least once a

9  year.

10                 CHIEF SPADAFORA: That's correct.

11                 COUNCIL MEMBER KOPPELL: And, how many

12  people are defined as a place of public assembly.

13                 CHIEF SPADAFORA: Seventy- five.

14                 COUNCIL MEMBER KOPPELL:  So, every

15  place that has 75 or more people is inspected once a

16  year.

17                 CHIEF SPADAFORA: That's correct.

18                 COUNCIL MEMBER KOPPELL: And, a place

19  with 75 people, an enclosed space, say on the second

20  floor, how many exits is that supposed to have.

21                 CHIEF SPADAFORA: Once you hit 75 you

22  need two means of egress.

23                 COUNCIL MEMBER KOPPELL:  Two?

24                 CHIEF SPADAFORA: That's correct.

25                 COUNCIL MEMBER KOPPELL: And, that

49

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  could both be on stairways? Is that correct?

3                 CHIEF SPADAFORA: Yes, that's correct.

4                 COUNCIL MEMBER KOPPELL: And, would

5  each means of egress have to have a lighted exit

6  sign?

7                 CHIEF SPADAFORA: That's correct.

8                 COUNCIL MEMBER KOPPELL: I see.  So,

9  if there is a place that does not have a lighted

10  exit sign on two means of egress that would be a

11  violation of the law.

12                 CHIEF SPADAFORA: That's correct.

13                 COUNCIL MEMBER KOPPELL: And, that

14  would be discovered at least once a year?

15                 CHIEF SPADAFORA: Well, that would be

16  discovered during the annual inspection.

17                 COUNCIL MEMBER KOPPELL: Right.  Now,

18  under the current law is it correct that no matter

19  how many people a place has they only have to have

20  one trained person on staff, who is trained with

21  respect to fire safety?

22                 CHIEF SPADAFORA: We interpret the law

23  in the Fire Department in regards to the Fireguards

24  and that's what I train my Inspectors to do.  It

25  depends on the number of legal exits.  So, if there

50

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  are three legal exits inside the premise, we require

3  three Fireguards.  One for each exit.

4                 COUNCIL MEMBER KOPPELL: So, that

5  portion of the bill that requires that is already

6  the rule, as far as you are concerned?

7                 CHIEF SPADAFORA: I don't understand

8  what you are saying.

9                 COUNCIL MEMBER KOPPELL:  Well, it's

10  in the bill that there has to be one fireguard for

11  each exit.  That's already required.

12                 CHIEF SPADAFORA: That's good.

13                 COUNCIL MEMBER KOPPELL:  And, when

14  you go out to inspect, do you check to see whether

15  those people are -- those staff members have been

16  trained?

17                 CHIEF SPADAFORA: Well, they have a

18  Certificate of Fitness, so you check to see that.

19                 COUNCIL MEMBER KOPPELL: So, you do

20  check to make sure a sufficient number of

21  Certificates of Fitness are there?  Is that correct?

22                 CHIEF SPADAFORA: That's correct.

23                 COUNCIL MEMBER KOPPELL:  What do you

24  think about the suggestion of the bill, that before

25  a performance, exits are pointed out to the patrons

51

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  of the establishment, so the way it's done in

3  airplanes, as I said before. What's your opinion of

4  that provision of the bill?

5                 CHIEF SPADAFORA: I think that's good.

6                 COUNCIL MEMBER KOPPELL: You think

7  that would be a good idea?

8                 CHIEF SPADAFORA: Yes.

9                 COUNCIL MEMBER KOPPELL: Okay.  Well,

10  that's good because that's one of the more

11  innovative portions of this legislation.  I'm glad

12  you support it.  I think it's a good idea. We do

13  hear announcements now of various sorts, no smoking,

14  no cell phones, there is no reason why they couldn't

15  say, please notice where the exits are.

16                 CHIEF SPADAFORA: People normally

17  focus in on the way they came in on.  So, their

18  focus is on the main entrance, main exit and that's

19  basically it.  Most people will focus in on that

20  main exit and they will not have any understanding

21  about any other exits in that premise.

22                 COUNCIL MEMBER KOPPELL: And, as I

23  read it that was one of the problems in Rhode

24  Island.  The people all tried to go out of one exit.

25                 CHIEF SPADAFORA: I agree.

52

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 COUNCIL MEMBER KOPPELL: Yes. I'm glad

3  you agree with that portion of the bill.  I think

4  that's very helpful.  Let me ask you, places that

5  are less then 75, are there any requirements with

6  respect to such places, because there are a lot of

7  small clubs that may not have 75.

8                 CHIEF SPADAFORA: Well, there's

9  requirements.  You have to have an exit sign, you

10  have to have a door that swings outward in the

11  direction of egress.  The exit has to be clear,

12  unobstructed, there has to be somebody in charge.

13                 COUNCIL MEMBER KOPPELL: Now, let me

14  ask you.  It happens that a few weeks ago, I was in

15  a restaurant that had a place of performance in the

16  back.  I don't think it had 75 capacity.  But it was

17  in a restaurant that clearly seated more than 75

18  people, the whole restaurant.  The place of

19  performance was in the back.  Would it be the job of

20  your Inspectors to go out to look at that to see

21  whether that complied with the rules you just talked

22  about?

23                 CHIEF SPADAFORA:  Well, you have

24  problems, sometimes the problems with restaurants is

25  in order to make more money they will add more

53

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  tables.  You would have to check their floor plan,

3  the seating plan would show where they are allowed

4  to have their seating, their tables and chairs,

5  where they are supposed to be located on the

6  premise.  You could ask for that seating plan.  No

7  seating plan in New York City would ever have a

8  table and chairs set up in front of an exit.

9                 So, when you go into a restaurant

10  sometimes you will see a table and chairs set up in

11  front of an exit, right then and there you know

12  that's illegal.  No seating plan approved by the

13  Buildings Department would allow that.  So, there

14  are things as an Inspector, that you would pick up

15  on real quickly in regards to dangerous situations.

16                 And, in regards to entertainment,

17  depending on the type of entertainment, that might

18  put them into not only a restaurant, that would put

19  them into a cabaret situation.  As a cabaret they

20  would come under local law 41, if their occupancy

21  law was 75 or more and that would require a lot more

22  fire protection.

23                 COUNCIL MEMBER KOPPELL: But, if it

24  was less than 75, it still should be inspected at

25  the time that the larger establishment is inspected,

54

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  or no?

3                 CHIEF SPADAFORA: If it's less than 75

4  they don't require a permit.  They don't get the

5  annual inspection from the Fire Department, but they

6  could still get inspected by our night team

7  Inspectors, which would go in and check.

8                 COUNCIL MEMBER KOPPELL: Well, I am

9  going to call you later on with the name of an

10  establishment where I was and there was probably not

11  75 seats, but they had a musical performance. They

12  had one exit door which opened in, exactly the

13  opposite of what you said is required.  For obvious

14  reasons, if there had been any kind of fire, people

15  would have pushed up against the door and nobody

16  would have gotten out. This was in a large

17  restaurant that clearly has more than 75 seats

18  although the space where the performance was, was

19  less.  I would like to see how you react on it and I

20  would also like to understand why that space, which

21  looked to have been there for quite a while, I can't

22  say for sure, that they were allowed to operate

23  there.

24                 CHIEF SPADAFORA:  There are also

25  things, where they could ask to have two separate

55

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  spaces and each space would be looked at

3  individually and if each space is less than 75, then

4  they can circumvent some of the laws and

5  requirements that we have in place.

6                 COUNCIL MEMBER KOPPELL: Maybe we

7  ought to change that.  Maybe we ought to look at

8  that because, I'll tell you the truth, my wife and I

9  left this establishment.  We were not going to stay

10  there under those circumstances because we realized

11  if there was any kind of panic, we were done for.

12                 CHIEF SPADAFORA:  These are

13  determinations made by the Buildings Department, the

14  Fire Department --

15                 COUNCIL MEMBER KOPPELL: I think what

16  your people should do quite honestly and maybe it

17  needs to be in the law, is when they go into a

18  restaurant, they should ask to see all the spaces,

19  to make sure that not only the main restaurant

20  space, but other spaces also are safe.

21                 CHIEF SPADAFORA: Well, that's what

22  they are trying to do.

23                 COUNCIL MEMBER KOPPELL: Yes, well I

24  am going to call you with the address of this place

25  and find out what the record is there.

56

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHIEF SPADAFORA: I get that all the

3  time.  I get complaints from the public all the time

4  and we check everything.

5                 COUNCIL MEMBER KOPPELL: Okay.  Well,

6  I'll encourage you going back to the beginning to

7  give us specific comments and I know that the

8  Committee and the staff will work with you to try

9  and put this in proper shape.  I appreciate your

10  support for my idea about the announcement of the

11  exits.

12                 CHAIRPERSON CLARKE: Thank you Council

13  Member Koppell.  Council Member Quinn.

14                 COUNCIL MEMBER QUINN: Thank you.  In

15  the fire code as it presently exists, or in what you

16  are looking at to change, do you know what is

17  presently the situation as it relates to

18  prohibitions of chemicals?  Are some chemicals

19  allowed, are others specifically prohibited from

20  being in some establishments for commercial use or

21  manufacturing use in the City?  What type of

22  regulations are either in the fire code or under

23  consideration to be added as it relates to the

24  mixing of the chemicals?

25                 I think part of one of the big things

57

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  with the 19th Street explosion had a lot to do with

3  mixing of chemicals.  And also, along the same vein

4  what are the present or under consideration

5  requirements in the codes for storage of chemicals

6  on site?

7                 MR. HANSEN: The answer to those

8  questions I don't have the answer to.  I understand

9  that the model codes clearly identify separating

10  incompatible materials and in the current fire code,

11  we don't have those requirements.

12                 COUNCIL MEMBER QUINN:  I'm sorry,

13  because I'm not so great on all the terminology.

14  So, the City's Code -- you used the word separate,

15  was that right?

16                 MR. HANSEN: Well, the incompatible

17  materials, chemicals that may react with each other,

18  are typically separated by a distance, so that you

19  don't have that issue.

20                 COUNCIL MEMBER QUINN: Okay.  So,

21  things that accidentally came into contact with each

22  other would create an explosion or something, the

23  City law does not say they have to be kept at a

24  particular distance from each other?  Is that

25  correct?

58

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. HANSEN: In some cases we do in

3  our code talk about separating them and in some

4  cases, it's not clear that you need to do that.

5                 COUNCIL MEMBER QUINN: Okay. And, I

6  assume that since you raise it, that the lack of

7  clarity is something that the Department is going to

8  take a look at?

9                 MR. HANSEN: Eventually we will be

10  looking at that. You know the time frame is not

11  exactly down pat, but I think the City Fire

12  Department will eventually be looking at that.  Yes.

13                 COUNCIL MEMBER QUINN: I don't want to

14  hold you to a date, you what I mean like November

15  18th or something like that, but is eventually like

16  in the next couple of months or in the next couple

17  of years?

18                 CHIEF SPADAFORA: This is something

19  that I discuss with Chief Dau, (phonetic) who is the

20  Chief of Fire Prevention. This is something that we

21  are taking very seriously, that will have to be

22  addressed by the Chief of Department and the

23  Commissioner in regards to how quickly we deal with

24  Fire Prevention Code, whether it's updated, whether

25  we look to incorporate an International Fire Code,

59

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  this is something that has to be discussed and it is

3  something that I cannot give you an answer today on.

4    I don't have the authority to say that.

5                 COUNCIL MEMBER QUINN: Well, I would

6  request some information back from the Department on

7  when the overall issue of chemicals on site, usage,

8  storage and this separation issue is going to be

9  looked at.  Obviously I am concerned because I

10  represent the area where this accident occurred, but

11  a great deal of my district you know is mixed- use

12  and I have a lot of establishments where things like

13  this, if there isn't proper control, could happen

14  again, you know, very close to major shopping areas,

15  major residential areas.  Where this occurred, you

16  know, is between 6th and 7th Avenue.  The part of

17  6th Avenue where there are, you know, many, many

18  large stores, lots of people all of the time.  So

19  again, it really could have been a lot worse.

20                 Sure go ahead, Madam Chair.

21                 CHAIRPERSON CLARKE:  I'm sorry

22  Council Member Quinn, I just wanted to ask, if we've

23  already had an incident where separation was the

24  factor, and we've already discussed to a certain

25  degree our ability to adjust rules and regulations

60

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  to reflect present time hazards.  If this is one

3  area we already know and have identified as

4  problematic in this City, isn't there a way that we

5  can expedite this specific concern, you know,

6  exclusive of going through a total review so that at

7  least we know this is done?

8                 CHIEF SPADAFORA:  These are issues --

9  you are asking me about issues that I wasn't told we

10  were going to be discussing.

11                 CHAIRPERSON CLARKE: Fair enough.

12  Fair enough.  No need to even go further, I

13  understand where you are.  We did that, that you

14  take this back as a concern of the Committee.

15                 CHIEF SPADAFORA: Which I will.

16                 CHAIRPERSON CLARKE: Thank you.

17                 COUNCIL MEMBER QUINN: If I could ask,

18  and I completely want to say, as you convey the

19  message back, that I very much agree with the

20  Chair's sentiments of given the nature of chemicals

21  and what happened and that it could happen again,

22  and also just tragically the nature of needing to be

23  aware of where chemicals are and who has them and

24  what they are doing with them, post 9- 11, you know

25  in this City or any city.  I would just very much

61

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  want to underscore that request to see if there is a

3  way to look -- if we are legally allowed to look at

4  this separately.  So, I appreciate your carrying

5  that back to the Committee.

6                 CHIEF SPADAFORA: We have concerns,

7  especially in regards to mixed occupancies where you

8  have residential portions of the building, as well

9  as manufacturing, the need for awareness in all

10  occupants of the buildings in regards to what

11  chemicals are being utilized or stored inside a

12  building.  So, we have concerns with that and that

13  was one of the problems in the 19th Street, at

14  Kaltech.

15                 COUNCIL MEMBER QUINN: Do you know,

16  just along those lines, one of the questions I

17  wanted to ask was, is there anything in our fire

18  code or anything under consideration that would

19  require companies who are operating in buildings to

20  put information in the lobby or on their floor,

21  about what type of chemicals they have in the

22  building?   So, is there any kind of notice

23  requirement either in the code or under

24  consideration so then residents and other workers in

25  the building would know?

62

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 MR. HANSEN: No, there isn't anything

3  in the current fire code that requires that.

4                 COUNCIL MEMBER QUINN: I would ask if

5  you could convey that suggestion back to the

6  Commissioner for consideration as well.  Do you

7  know, in inspections in the City is there any

8  priority given to inspecting facilities that have

9  chemicals on sites or known to have chemicals on

10  sites that are incompatible? Are those places with

11  chemicals inspected more frequently or before other

12  places, if we know we are going to have to

13  prioritize?

14                 CHIEF SPADAFORA: The field units they

15  have priority listings of the buildings in their

16  area, it runs from one year annually to every five

17  years, depending on the type of hazards and nature

18  of the building.

19                 COUNCIL MEMBER QUINN: What type of

20  place would only get inspected every five years?

21                 CHIEF SPADAFORA: It could be a

22  multiple dwelling.

23                 COUNCIL MEMBER QUINN: But, the place

24  I am talking about -- so anywhere that had chemicals

25  would not get inspected every five years.

63

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHIEF SPADAFORA: It would be

3  depending on the hazards, it could move off the

4  ladder from every five years, every four years,

5  every three years depending on the designation given

6  by the Company Commander of that unit that performs

7  the inspection. So, they get a classification based

8  on the type of occupancy, type of building, type of

9  occupancies involved inside the building.

10                 MR. HANSEN: Also, just to add what

11  Chief Spadafora said, that's the field units, in

12  regards to Fire Prevention, we require permits for

13  many types of hazardous materials and when the

14  quantity threshold is reached at any premise that we

15  typically would be back there every year to make an

16  inspection to renew their permit.

17                 COUNCIL MEMBER QUINN: Do you know

18  when prior to the explosion, the facility on 19th

19  Street was last inspected?

20                 CHIEF SPADAFORA: Prior to the

21  explosion?

22                 COUNCIL MEMBER QUINN: Yes.

23                 CHIEF SPADAFORA: No. I don't have

24  that date.

25                 COUNCIL MEMBER QUINN: If you could

64

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  provide that --

3                 CHIEF SPADAFORA: Like I said, these

4  are areas that we are talking about now that I was

5  not given any information that we were going to be

6  discussing these areas in regards to Kaltech, the

7  explosion -- I thought we were just talking about

8  the three Intros. To the law.

9                 COUNCIL MEMBER QUINN: Well, if you

10  could just provide that to the Committee, then they

11  will forward it to me, I would appreciate that.

12                 I just want to ask you a question

13  which does intersect with the Kaltech incident, but

14  is also just a general question so you might be able

15  to answer it.  What level of communication is there

16  between the Fire Department and other City, State or

17  Federal agencies that are charged with doing

18  inspections at facilities like Kaltech, facilities

19  that have chemicals?

20                 In the case of Kaltech, as I

21  understand it, there were other entities who did do

22  inspections, who as I understand it had the Fire

23  Department known of some of their findings they

24  might have been able to take proactive steps that

25  might have prevented what occurred.  But, even if

65

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  not, it seems like at any point but at a time of

3  short government resources like we are in today,

4  there should be a way to do info sharing between the

5  Fire Department and other Inspectors to try to help

6  us focus on where there are problems or law-

7  breakers.

8                 CHIEF SPADAFORA: Well, we are working

9  on getting data in regards to where hazardous

10  materials are located inside buildings, so we are

11  working on getting databases, coming into Fire

12  Prevention, coming into Operations so we have an

13  awareness of where these chemicals are stored and

14  being used.

15                 In regards to law- breakers, and

16  communication between various agencies, like OSHA or

17  DEP, things of that nature, we have an OSHA unit in

18  the Fire Department.  In regards to Fire Preventions

19  and dealing with different agencies, I don't have

20  that information maybe Jimmy does.

21                 MR. HANSEN: Well, one agency that the

22  Fire Department works very closely with and actually

23  required by law to make sure the premise complies

24  with is the Building Department.  No permit will be

25  issued by the Fire Department for any premise that

66

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  isn't lawful by the Building Department.  That is

3  the one agency that we do work very closely with.

4                 COUNCIL MEMBER QUINN: But, beyond DOB

5  you're trying to figure out having this database

6  where hazardous materials are, but beyond DOB and

7  that effort there is no formal communication between

8  the Fire Department and other agencies who do

9  inspections at this moment in time?

10                 CHIEF SPADAFORA: Well, we have an

11  OSHA unit.  The OSHA unit is a liaison with Federal

12  OSHA.

13                 COUNCIL MEMBER QUINN: So, would DEP

14  or any of the other Federal agencies, EPA,

15  Department of Environmental Conservation in the

16  State, there is no communications there?

17                 CHIEF SPADAFORA: Well, there is

18  communications -- Jimmy --

19                 COUNCIL MEMBER QUINN: Well, I guess

20  what I mean is standardized, so if I go inspect and

21  I find a problem it is definitely going to get to

22  the Fire Department's attention.

23                 MR. HANSEN: I mean we do, not on any

24  type of systematic or regular way, we do communicate

25  with New York State DEC people, they call us, we

67

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  call them and we have particular issues that we know

3  it impacts them, but it is not on an ongoing or

4  everyday basis.

5                 COUNCIL MEMBER QUINN: If you could

6  look into whether that type of communication

7  happened around 19th Street, I would appreciate it

8  and I would also appreciate you conveying back to

9  the Commissioner that I think that there is an

10  opportunity to enhance safety in the City if we

11  figure out a way. I am sure given the internet, et

12  cetera capabilities in government, that we could

13  find a way to do that in a streamlined and efficient

14  and inexpensive manner.  So, I just urge you to

15  convey that back as well so we can figure out how to

16  do that.

17                 I just want to ask one last question.

18    You said you are setting up a database about where

19  hazardous materials presently are.  So, we don't

20  have that?  That to me is very troubling given- it

21  seems like the kind of thing in general, but

22  certainly tragically post 9- 11 we would really want

23  to have, really be on top of.

24                 CHIEF SPADAFORA: It's an extensive

25  database you're talking about --

68

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 COUNCIL MEMBER QUINN: I'm sure of it.

3                 CHIEF SPADAFORA: -- Cleaning fluid as

4  a hazardous material.  As you can imagine it is a

5  very extensive list that the database has to be

6  updated.  We have looked to DEP to utilize their

7  database.  They contract out to get that information

8  and to have that information updated.  So, we're

9  looking to get that information brought into the

10  Fire Headquarters and into Fire Prevention so we

11  will have an all encompassing knowledge of where

12  these materials are.

13                 MR. HANSEN: I think to add to what

14  Chief Spadafora -- the database is actually what the

15  information that DEP has, New York City DEP and

16  where building owners or tenants have identified

17  that they are storing chemicals.  The Fire

18  Department has their own database of all the

19  premises that have come to the Fire Department and

20  requested a permit and received a permit from us.

21  So, we have our own internal database of where

22  hazardous chemicals are stored. DEP has their own

23  database.  And, what Chief Spadafora is talking

24  about is kind of merging the two together.

25                 COUNCIL MEMBER QUINN: And, what is

69

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  your time frame on that?

3                 CHIEF SPADAFORA: Relatively soon.

4                 COUNCIL MEMBER QUINN: Now, do you

5  think that's incredibly important because what would

6  give me comfort is knowing that when an Inspector or

7  somebody went out, they have in front of them that

8  building address and had a list in that building of

9  anybody who was permitted to have chemicals and

10  which chemicals, so that when they went through,

11  they would immediately know this person doesn't have

12  a permit to have anything or this permit person does

13  not have a permit to have all seven of these things,

14  only four of them, so they could act right away, not

15  have to go back and call and cross reference, which

16  gives that person the time to either, you know,

17  illegally or improperly or even more dangerously

18  remove those chemicals on site.  So, I would be

19  anxious to hear as we move forward with that.

20                 Thank you madam Chair.  I just wanted

21  to apologize because I am going to have to leave

22  soon.  We are doing a street renaming in my district

23  for an officer that we unfortunately lost on 9- 11,

24  so I wouldn't be able to stay through the rest of

25  the hearing.  But, I appreciate the opportunity to

70

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  ask questions and look forward to info from the

3  Department and further discussions about updating

4  the fire code.  Thank you.

5                 CHAIRPERSON CLARKE: I want to thank

6  you too Council Member Quinn.  I just wanted to ask

7  one final question gentlemen and this is around the

8  education of business owners with respect to the

9  fire codes.  What process does the Department have

10  in place to educate business owners with respect to

11  the Fire Safety Code?

12                 CHIEF SPADAFORA: We recently had a

13  campaign where we gave out fire safety information

14  to all business owners who deal with nightclubs,

15  restaurants, all places of public assembly.  We have

16  them a five- page document listing Fire Safety Code

17  information and Safety information to them. We had

18  the units go out and hand deliver these documents to

19  managers, to owners, to people in charge in every

20  single place of public assembly in the City.  So, we

21  did that as a result of Rhode Island and the after

22  effects of Chicago. So, we are very proactive with

23  that right away getting that done. Also, enhancing

24  the number of Inspectors that go out on the

25  weekends, in the evening to show the Fire

71

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Department's presence and our concerns in regards to

3  public safety.

4                 CHAIRPERSON CLARKE: I want to thank

5  you gentlemen for your recommendations around Int.

6  414, Int. 415 and Int. 570. We will be looking

7  forward to having a further discussion to refine

8  Int. 570 and I want to thank you also for your

9  patience given the miscommunication or the lack of

10  communication around the wider scope of what we are

11  discussing here today.

12                 I look forward to following up with

13  the Department with respect to the modernization of

14  the Fire Code and I hope that at least some of the

15  comments and concerns raised here today, is

16  something that the Department can benefit from.  I

17  know that the City could certainly benefit from it.

18  But, if there is a way in which we could look at

19  your current collaboration to enhance them, to I

20  guess kill two birds with one stone, as my mother

21  would say, I think that would certainly benefit the

22  people of the City of New York.  Again, thank you

23  both very much and I hope you have an enjoyable day.

24                 CHIEF SPADAFORA: Thank you very much.

25                 MR. HANSEN: Thank you.

72

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 CHAIRPERSON CLARKE: I would like to

3  call our next panel of witness forward at this time.

4  Dr. Gerald Poje, Mr. Stephen Selk, and Mr. Glen

5  Corbett.

6                   I would like to just start by

7  thanking both Dr. Gerald Poje and Mr. Stephen Selk

8  for coming to this hearing today, coming and

9  traveling from Washington, D.C. To inform this

10  process and of course it's always a pleasure to have

11  Mr. Glen Corbett who's expertise is always

12  informative for this Committee.  If you would start

13  your testimony at this time, but just start by

14  stating your name and the agency that you represent.

15                 DR. POJE: Good morning Madam Chair

16  and thank you for inviting us to testify.  I am Dr.

17  Gerald Poje, one of five members at the Board level

18  of the U.S. Chemical Safety Board, or better known

19  as the CSB.

20                 As introduced by you already, with me

21  today is Mr. Stephen Selk, a professional engineer

22  and CSB lead investigator. Today's subject is a very

23  important one, modernizing New York City's Fire

24  Code, which we believe will help prevent serious

25  hazardous materials accidents, save lives and

73

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  protect property.

3                 The Chemical Safety Board is an

4  independent Federal Investigative Agency.  We were

5  established by Congress in 1990.  We determine root

6  causes of chemical accidents and make safety

7  recommendations to government, industry and other

8  bodies.

9                 The Board's involvement in today's

10  issues dates back to April 25, 2002, when a serious

11  building explosion occurred on West 19th Street in

12  Chelsea, at a sign- making company called Kaltech

13  Industries.  Kaltech was a small business of about

14  50 people, and it occupied three floors in a ten-

15  story mixed- use commercial building.

16                 The explosion happened in the middle

17  of a workday, as Kaltech employees were combining

18  various containers of hazardous waste chemicals in

19  the building's basement.  The chemicals included the

20  nonflammable material nitric acid, a powerful

21  oxidizing agent and lacquer thinner, which is highly

22  flammable.

23                 When these chemicals were mixed in a

24  55- gallon drum, a violent chemical reaction

25  occurred, producing heat and gas.  A few moments

74

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  later the drum exploded and sent a powerful shock

3  wave through the building.

4                 The center stairwell collapsed,

5  injuring two painters.  Parts of the elevator shaft

6  were blown out, a wall caved in, and a fire was

7  ignited in the basement.  Shattered glass and debris

8  showered 19th Street, injuring at least one

9  pedestrian.  At least 36 people were injured in all,

10  including four whose burns and other injuries were

11  life- threatening.  Among the injured were six New

12  York City firefighters hurt during rescue

13  operations.

14                 The Board investigated that accident

15  along with other City, State and Federal agencies.

16  However, the Board's investigations are unique in

17  that we look not only at rules violations but also

18  at the overall adequacy of regulations, standards,

19  inspections and oversight.  We always have one basic

20  question in mind: What should we as a society do to

21  make this kind of accident less likely in the

22  future?

23                 The Board found that Kaltech did

24  violate existing government regulations and good

25  safety practices.  Hazardous wastes were not labeled

75

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  or characterized.  Workers were not provided with

3  appropriate safety information or training.

4  Incompatible chemicals were not separated and were

5  in fact mixed together, leading to the accidents.

6                 The explosion at Kaltech resulted

7  from longstanding safety problems at this firm.  As

8  far as we can determine, company managers were

9  simply unaware of pertinent regulations and

10  precautions, despite operating for ten years at this

11  location and holding fire permits from the City of

12  New York.

13                 How could this situation occur?

14  Well, first, Kaltech had never been inspected by

15  OSHA or state environmental authorities, and that is

16  not atypical for businesses of that size.

17                   However, Kaltech had been visited a

18  number of times by City Fire Inspectors, who conduct

19  about 100,000 hazardous materials inspections every

20  year.  Over the years, City Fire Inspectors cited

21  Kaltech for various routine violations, but

22  Kaltech's deficient handling of hazardous chemicals

23  was never detected or corrected.  Among the

24  obstacles, we concluded, was the antiquated nature

25  of the New York City Fire Prevention Code.         As

76

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the Board learned at a public hearing earlier this

3  year, that the code that dates from 1918, had been

4  amended in only a piecemeal fashion over the

5  succeeding 85 years.  As a result, the code lacks

6  many of the present- day hazardous materials

7  controls that are included in modern Model Fire

8  Codes such as the National Fire Protection

9  Association Code and the International Fire Code.

10                 No New York City Fire Inspector armed

11  with the code as it currently stands, has adequate

12  authority to correct hazardous material safety

13  problems of the kind we found at Kaltech.  On

14  September 30th of this year the Chemical Safety

15  Board voted unanimously to recommend that New York

16  City amend its current fire code to bring it in line

17  with modern fire codes in regards to hazardous

18  materials.

19                 We are recommending five specific

20  reforms to the New York City Fire Code, at a

21  minimum.  The code should require that number one,

22  all hazardous materials are identified and labeled;

23  two, that permit applications include a hazardous

24  materials management plan and inventory statement;

25  three, material safety data sheets are made

77

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  accessible to the workforce; four, workers are

3  trained in safe chemical handling; and five,

4  incompatible chemicals are adequately separated.

5                 In addition, it goes without saying

6  that City Fire Inspectors will need to be fully

7  trained on enforcing the proposed new code

8  requirements.

9                 Madam Chair, there are many

10  overlapping safety requirements under local, state

11  and federal regulations; however, for small

12  businesses, a City Fire Inspector is often the only

13  government safety official who will regularly visit

14  and enforce those requirements.  In those cases,

15  City Fire Codes and Inspections are the only line of

16  defense a community has to protect itself from

17  hazardous material accidents. There are excellent

18  model code provisions in existence and the Board

19  urges New York City to adopt them, as so many other

20  jurisdictions have already done.

21                 Thank you again for this wonderful

22  opportunity to testify and we will be pleased to

23  answer your questions.

24                 MR. SELK: Madam Chair, I did not come

25  with a prepared statement.  I am available to answer

78

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  any questions that you or the other Council Members

3  may pose regarding fire codes and in particular

4  regarding the hazardous materials requirements in

5  the fire codes or about the Kaltech incident.

6                 MR. CORBETT: Chairwoman Clark,

7  members of the Fire and Criminal Justice Committee,

8  I want to thank you for inviting me today to speak

9  about a very important topic, New York City's Fire

10  Code.

11                 My name is Glenn Corbett.  I am an

12  Assistant Professor of Fire Science at John Jay

13  College of Criminal Justice. My past work

14  experience, I worked as a Fire Protection Engineer

15  for the San Antonio Fire Department, where I was in

16  charge of the building permits issuance by the Fire

17  Department.  I also worked as a Fire Protection

18  Engineer for the City of Austin, Texas as well. I

19  currently sit on the New Jersey State Fire Code

20  Council, which is the Committee that oversees the

21  updating and modifications to the State of New

22  Jersey's Fire Code, which of course applies to every

23  city and town across the Garden State.

24                 I have looked at the proposed

25  regulations concerning dry cleaning establishments

79

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  and the nightclub proposals.  There are certainly

3  very appropriate changes and will improve fire

4  safety here in the City.  But, however, what is more

5  important is, I think we have already heard it a lot

6  today, there is a recognition that New York City's

7  Fire Regulations are in desperate need of a major

8  overhaul.

9                 Instead of periodically and

10  comprehensively upgrading fire regulations the

11  City's approach for many years has been making

12  changes on a piecemeal basis.  We need to modernize

13  our fire regulations.  Researching, developing,

14  preparing comprehensive updates to fire codes as

15  well as building codes is a very costly and time-

16  consuming process.  This is served as a roadblock to

17  revising New York City's Fire Regulations, leaving

18  them in a catch up mode with the rest of the

19  country. The situation compromises not only the

20  safety of City residents, but of emergency

21  responders such as firefighters as well.

22                 For example, if you look at other

23  model code organizations like the National Fire

24  Protection Association International Code Council,

25  there are hundreds of people involved in the

80

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  constant updating of their codes.  We are talking

3  about lots and lots of people.  Specifically with

4  New Jersey, for example, we do utilize essentially

5  the International Code Council's documents. We have

6  again, a standing committee that meets every two

7  months to look at current issues of fire safety in

8  New Jersey and specifically looking for any changes

9  that we need to make fairly quickly to address

10  specific situations. I will give you the perfect

11  example.

12                 In New Jersey and I am sure

13  nationwide there is a concern about what are called

14   "overnight stays of young children" in buildings

15  that are not normally associated for them sleeping

16  overnight.  For example, it is very common now to

17  have children go to museums and sleep over, common

18  to go to facilities that provide, I don't want to

19  use the trademark name, but a jamboree type facility

20  where children go and have fun and exercise and do

21  things like that.  They stay overnight there.  I

22  know in New Jersey we have had children staying in

23  the Battleship New Jersey overnight, in a submarine

24  in Hackensack, New Jersey, in the State's Science

25  Museum.

81

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 These are all places that are

3  designed for other occupancy types.  They are not

4  designed for children staying overnight. Of course

5  the concern there is that if a fire should occur in

6  a facility like that, especially in the middle of

7  the night, the firefighters responding won't even

8  know that there is children inside the building.  If

9  they roll up to a museum they are going to expect it

10  to be a museum, not with 30 or 40 children inside.

11                 So we were fairly proactive, we

12  looked at this issue and we amended the state fire

13  code quickly to address this by requiring for

14  example, that there be a minimum number of

15  attendants with the children that are a certain age.

16    They had to be at least 21 years old, they have a

17  means of communicating to the Fire Department, there

18  is a permit issued, et cetera, et cetera.

19                 So, that's the kind of thing where --

20  again this is a very time consuming process to

21  update the fire code.  This is not three or four

22  people sitting around a table and making these

23  changes.  It is literally dozens, and in the case of

24  New Jersey several, probably 30 or 40 people

25  involved with this.  And, nationally, hundreds of

82

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  people involved in a constant revising process to

3  keep up with current challenges in the fire safety

4  landscape.

5                 We know that with regard to the

6  building code we have a similar situation here in

7  the City that the building code has fallen far

8  behind the rest of the country.  You know, we know

9  that for example that we have had several recent

10  residential high rise fires in the City, which have

11  lead to fire fatalities.  Had the City of New York

12  adopted for example model code perhaps even 20 years

13  ago, those buildings if they had been built under

14  the model code would have been fully inspected and

15  those people would be alive today. That's a perfect

16  example where again the City of New York is in this

17  catch- up mode with regard to its building and fire

18  regulations.

19                 But, of course in the case of the

20  building code, we've recognized that problem and the

21  Department of Buildings has created a Model Code

22  Program basically to over the next 18 months to

23  update, to adopt a model code and then to provide

24  those necessary modifications, changes that put a

25  customized New York City Code out there on the

83

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  streets.

3                 It is essential that the City of New

4  York take the opportunity to adopt a Model Fire Code

5  in conjunction with the Building Code.  So if the

6  City has settled on using the International Building

7  Code, it is appropriate to adopt the International

8  Fire Code as well.  These are two codes in a set of

9  codes that articulate with each other.

10                 While the NFPA or National Fire

11  Protection Association's Fire Prevention Code, which

12  is the other model for our code that's in existence,

13  could be adopted, it would be difficult to enforce

14  it since it's not really coordinated with the IBC,

15  the International Building Code, that the City is in

16  the process of adopting.

17                 An added benefit of adopting the

18  International Fire Code will also provide the

19  ability to consolidate the City's Fire Regulations

20  into a single document.  This is a problem the City

21  has right now, is that you heard that there is the

22  Fire Law Handbook and then you also have the Rules

23  of the City of New York, and you also have Local

24  Laws.  All things that a Model Fire Code deals with

25  in one document, not kind of all over the map

84

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  basically.

3                 In addition, the State of New York,

4  as we mentioned earlier, has adopted the

5  International Building and Fire Codes as well and

6  basically having, using the same model code as they

7  are will certainly benefit the City and State in

8  terms of development and ease of development, ease

9  of design and things of those type of issues.

10                 I recommend that the City of New York

11  specifically initiate a fire code adoption process

12  by establishing a Model Fire Code Program similar to

13  the one established for the Building Code. This Task

14  Force should be organized as soon as possible so

15  that it can work in parallel with the efforts taking

16  place in the Department of Buildings.  I can't

17  emphasize that enough that the way the model codes,

18  both the NFPA and the International Code Council's

19  Codes are structured, they work as a matched set and

20  it is sort of like, if you adopt one, you are

21  missing pieces to it, especially when we talk about

22  hazardous materials regulations, there is a very

23  large number of regulations concerning how you

24  handle hazardous materials, that are in the realm of

25  the fire code, but of course the way the buildings

85

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  are built and work around the use of those hazardous

3  materials, is in the building code.  And, again they

4  are a matched set.

5                 So, the Model Fire Code Program,

6  similar to the one that is in existence with the

7  Building Department, would certainly be called for

8  now.

9                 Thank you again for allowing me to

10  speak on this issue and I would be more than happy

11  to answer any questions.

12                 CHAIRPERSON CLARKE: I want to thank

13  you gentlemen as well.  We have been joined by a

14  member of the Committee, Council Member Hiram

15  Monserrate of Queens.

16                 I would just like to start by asking

17  a number of questions to both Dr. Poje and Mr.

18  Stephen Selk of the U.S. Chemical Safety and Hazard

19  Investigation Board.

20                 Could you explain the role of

21  municipalities in regulating hazardous waste?   I am

22  asking because Federal Regulation of these

23  substances, one does not often hear of localities

24  having a role in hazardous waste regulation.

25                 DR. POJE: Madam Chair, the Federal

86

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Government regulates hazardous waste under the

3  Resource Conservation and Recovery Act.  There is a

4  permission under the Act to allow the delegation of

5  authority for administering the Act to States.  I am

6  not aware of that delegation possibility proceeding

7  further.

8                 In the State of New York, the State

9  has assumed the responsibility for administering the

10  Resource Conservation Recovery Act and that matter

11  did become part of our analysis in the Kaltech

12  event, where what was going on that day was the

13  removal of waste chemicals from that facility.  That

14  facility had been designated as a large quantity

15  generator of waste and it fell under the more

16  immediate jurisdiction of Region Two of the DEC, the

17  Department of Environmental Conservation for the

18  State of New York, that the State Environmental

19  Agency has the responsibility for overseeing,

20  permitting and safe operations, according to the

21  Resource Conservation Recovery Act in New York City.

22

23                 MR. SELK: May I respond Madam Chair?

24  Your question with regard to how local authorities

25  might deal with waste chemicals.  My observation is

87

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that today's Uniform

3  Fire Code, the 2003 version, published by the

4  National Fire Protection Association does require

5  commercial interests in the submission of their

6  management plan to include chemical wastes.  So they

7  distinguish from one material to the other and

8  categorize the chemicals as to whether or not they

9  are wastes.  So there is a growing interest in

10  capturing both materials that are raw materials or

11  used in production and those that are wastes.

12                 CHAIRPERSON CLARKE:  Well, if the DEC

13  for Region Three had the, I guess the jurisdiction

14  for dealing with the hazardous waste of a Kaltech,

15  is there an obligation for that state authority to

16  work in tandem with the New York City Fire

17  Department? How would we, as a Department, be able

18  to enforce and prevent another Kaltech from

19  happening if there isn't that type of relationship?

20

21                 MR. SELK:  A report into the Kaltech

22  incident recommends that the local Fire Department,

23  here in New York City interact with the New York

24  State Department of Environmental Conservation.  The

25  way we recommended that was that the State share its

88

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  data with the local authority as to identifying

3  which enterprises in the City are large quantity

4  generators.  So that the Fire Department might add

5  additional emphasis to its inspections in that

6  regard.

7                 DR. POJE: If I could just add to

8  that, our analysis indicated that the Region Two of

9  the DEC, the State agency, currently has two

10  credentialed Inspectors who perform other duties in

11  addition to the inspections of hazardous waste

12  operations like Kaltech.  They had never inspected

13  the Kaltech facility and with two credentialed

14  Inspectors with additional responsibilities, we

15  believe there is not much hope for the near term

16  future, other than by strengthening the cooperation

17  and coordination between such an agency that might

18  identify those large hazardous wastes generators

19  operating in mixed- use buildings to further share

20  information that would create a prioritization

21  scheme for inspections perhaps and a type of

22  inspection by hazardous material observant Fire

23  Inspectors.

24                 CHAIRPERSON CLARKE: In your

25  experience working around the nation, have you seen

89

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  best practices where this type of collaborative

3  effort has been successful in other parts of the

4  nation?

5                 MR. SELK: I cannot think of any

6  particular example. The Board has only been in

7  operation for three or four years and most of our

8  investigations involve large industrial explosions

9  and fires.  This is the first urban building

10  explosion that we investigated Madam Chair.

11                 DR. POJE: However, we have seen

12  similar patterns of Federal Agency regulations,

13  particularly from the Occupational Safety and Health

14  Administration, not having Field Inspectors doing a

15  regular inspection for all of the scope of work

16  under that Federal Regulation.  So, we do see some

17  systemic weaknesses and our Board on the issue of

18  mixing incompatible chemicals and having unwanted

19  reactions, has asked explicitly for strengthening of

20  the regulatory authorities and coverage at both the

21  Occupational Safety and Health Administration and

22  The Environmental Protection Agency. We found both

23  Federal programs wanting in this specific area of

24  reactive chemical safety.

25                 CHAIRPERSON CLARKE: Are the sections

90

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  of the City's Fire Code dealing with hazardous waste

3  outdated in your observation?  In your opinion?

4                 MR. SELK: Madam Chair, it would be my

5  opinion that the City's Fire Code provisions for

6  handling hazardous materials in general, which

7  includes hazardous waste are outdated.  I note that

8  the New York State Fire Code does require businesses

9  to have material safety data sheets on hand.

10                 CHAIRPERSON CLARKE: Would you pull

11  the microphone closer to your mouth please?

12                 MR. SELK: I have noted that the New

13  York State Fire Code requires enterprises that

14  handle hazardous materials to have material safety

15  data sheets on hand for those materials.  That the

16  materials be labeled in accordance with Federal

17  regulations.  That workers be trained in emergency

18  procedures and routine handling procedures for the

19  specific materials.  That a hazardous materials

20  management plan be submitted at the time of permit

21  application. That a hazardous materials inventory

22  statement be maintained at all times.  These are

23  provisions that do not exist in the New York City

24  Fire Code today, except for chemical laboratories.

25                 DR. POJE:  In everyone of the five

91

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  independently appointed presidential nominees and

3  U.S. Senate confirmed Board Members, concurred with

4  that opinion as we've concurred with approval of

5  this report.  So this is the considered opinion of

6  individuals with a vast amount of safety experience

7  that these are matters that need to be attended to

8  in the City of New York.

9                 CHAIRPERSON CLARKE:  In the course of

10  your investigation did you have the opportunity to

11  review sections of the fire code that did not deal

12  with hazardous materials and do you have any opinion

13  on whether these sections of the code are in need of

14  revision as well?

15                 MR. SELK: Well, Madam Chair your

16  question is a challenging one, of course I read the

17  entire New York City Fire Law Handbook, I read the

18  Rules of the City of New York, as did my colleague

19  Don Holmstrom who is an attorney.  We, I think to be

20  perfectly honest, did feel that other sections were

21  outdated as well, however we are a Chemical Safety

22  Board and restricted our comments to the area of our

23  primary expertise.

24                 DR. POJE: But, to give more specific

25  emphasis to your request, one of our Board Members

92

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  at our public meeting at the end of September did

3  just page through the Fire Law Handbook and did

4  identify a whole chapter devoted to calcium carbide

5  usage in the City, which reflects a much antiquated

6  time in City life when that material was in much

7  wider use for the generation of a acetylene that was

8  used in lighting in homes and in businesses, but for

9  which no City in the world today, that I am aware

10  of, still retains the usage of such material.  So,

11  great detail on safety and very appropriately for a

12  time around 1918, when I presume such provisions may

13  have been held.  It reflected a serious attention

14  and I think a preventive leadership that you were

15  challenging others here today to think perspectively

16  about safety for their times.  The City deserved

17  honor for its actions perhaps in 1918 in that area,

18  but to still be retaining them in 2003 reflects a

19  somewhat antiquated Code provision.

20                 MR. SELK: And, Madam Chair, that is

21  one area where model codes are so much more

22  progressive.  For example, today's Model Fire Codes

23  speak to facilities such as semi- conductor

24  manufacturing facilities, where many toxic chemicals

25  are used. That is greatly different than speaking to

93

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the use of acetylene in the 19th Century.

3                 CHAIRPERSON CLARKE: It is my

4  understanding that there is actually a part of our

5  Code that deals with wagons.  Is that something that

6  you found in your review of the fire code?

7                 MR. SELK: Well, the Fire Law Handbook

8  does speak to the delivery of flammable materials to

9  industry using wagons and barrels and --

10                 CHAIRPERSON CLARKE: Wagons and

11  barrels?

12                 MR. SELK: -- And requires the barrels

13  to be kept outside the facility and the transfer to

14  the tank that is in the facility be made from

15  barrels to the tank.  So, it does have all kinds of

16  19th Century features in it that were pertinent in

17  their day.  And, in my mind it does serve as an

18  indication of its antiquated nature.

19                 CHAIRPERSON CLARKE: Okay.  You know I

20  think that's really just dramatizes where we are and

21  part of my concern since my tenure's Chair here has

22  been I guess the atrophy that exists with respect to

23  really getting rid of some of the baggage that we

24  are carrying.  I mean at this point we are really

25  weighed down with substantial baggage.  I mean, if

94

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  we are still going to be carrying regulations that

3  refer to wagons and barrels, we are really mired

4  down here.  Really, it prevents us from being as

5  agile as we need to be in today's society.

6                 So, I want to thank both you

7  gentlemen for your work in this area.  I know that

8  you are doing a great service to this nation and

9  certainly having highlighted our concerns with

10  respect to New York City, which in many ways is

11  extremely progressive, but in many ways is really

12  behind the times.  I think it is a worthy service

13  that you are doing and I want to thank you for that.

14                 Mr. Corbett, I have a couple of

15  questions for you as well.  What are the

16  implications of having an outdated fire code and is

17  public safety endangered?

18                 MR. CORBETT: Yes.  The answer to the

19  second question is yes.  Having an outdated fire

20  code leaves not only old provisions that certainly

21  are inappropriate for today's conditions, but also

22  leaves gaps, in terms of what is in fact covered by

23  the fire code.

24                 The fire code is a document that

25  deals specifically with hazards.  That's what drives

95

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  the fire code.  It deals less with the construction

3  of the building and more of what's going on inside

4  the building basically.  As Mr. Selk mentioned, for

5  example, semi- conductor facilities are a modern

6  type of manufacturing process that occurs perhaps

7  not here in the City of New York, but other parts,

8  even in New York State actually.  It's not

9  impossible that a facility like that might come into

10  the City of New York and there wouldn't be any

11  regulations that would adequately cover that. What

12  most people aren't aware of is that semi- conductor

13  facilities use immense amounts of fairly exotic

14  hazardous materials.  Things that are particularly

15  dangerous basically.

16                 So, the fact again that you've got

17  these gaps, not only affects the safety of citizens,

18  but also Firefighters.  For example, there are very

19  specific provisions in the Model Fire Code dealing

20  with warehouse storage, for example.  Some of those

21  provisions deal specifically with Firefighters

22  safety.  Access to the -- what we call high piled

23  stock basically, warehouses access to the building.

24  It is a known fact that type of fire is very

25  difficult to fight basically.  Again, there is a lot

96

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  of those kind of gaps that we don't even have

3  chapters that deal with issues that are being

4  present right now.

5                 CHAIRPERSON CLARKE: Would you say it

6  is sensible for the City to adopt a Model Building

7  Code without adopting a Model Fire Code?

8                 MR. CORBETT: As I mentioned earlier,

9  they are a matched set and if you were not to adopt

10  the fire code you would be left with one glove

11  basically, really where you need two.  They

12  articulate, they speak to each other.

13                 I'm on one of the Committees that's

14  reviewing the Model Building Code and, you know,

15  every few pages we come across a reference to the

16  fire code saying go to the fire code for issues

17  dealing with this particular provision.  So, yes it

18  would not be a good idea to adopt a building code

19  because it would also create immense problems of

20  trying to match an old fire code with this modern

21  building code.  They just do not go together.

22                 CHAIRPERSON CLARKE: You talked about

23  the cost of revising a fire code and I think given

24  our fiscal situation everyone is extremely sensitive

25  to cost.  Would you say that it would benefit us to

97

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  do a collaborative review and it would be more cost-

3  effective in doing that type of revision, as opposed

4  to coming back at a later date to do a fire code

5  revision in the City?

6                 MR. CORBETT: Yes, certainly.  Now is

7  the time to do it and not later for the other

8  reasons I mentioned earlier, but also from a cost

9  standpoint as well.

10                 You know when the fire code was first

11   -- now New York City in 1918 was very progressive.

12  It was right after the Triangle Shirt Waist Factory

13  fire and some other issues that were going on at the

14  time.  Fire Codes back then were a couple dozen of

15  pages basically.  Today, they are hundreds of pages

16  long.  It is almost impossible, even for the City of

17  New York, or any large city, to try to keep up with

18  that, having a standing committee always looking at

19  this type of stuff.  It requires large amounts of

20  people.

21                 It is much more cost- effective to

22  just put the old book on the shelf and use the model

23  code and then perhaps have a standing committee like

24  New Jersey does in terms of looking every few

25  months, going back saying, hey, is there anything

98

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  going on that we need to change.

3                 CHAIRPERSON CLARKE:  I wanted to

4  question you a bit about the Jersey process.  Are

5  the individuals who are involved in the revision of

6  the -- for the updating of the Jersey codes, I mean

7  I find it very interesting that you were able to

8  respond so quickly to the new uses of facilities

9  where children are involved.  Is that a standing

10  body, or is that some body that is called up?  How

11  do they go about actually doing this and

12  implementing it?

13                 MR. CORBETT: Well, New Jersey has

14  what is called The New Jersey State Fire Commission,

15  which is the over arching group which oversees all

16  issues of fire safety in New Jersey.

17                 That was created after a couple of

18  very tragic boarding home fires over 20 years ago.

19  Within that Fire Safety Commission are various

20  Councils.  There is one for Firefighter Training for

21  example, one for Fire Incident Reporting and there

22  is one specific one that is a Standing Council

23  specifically to deal with the State's Fire Code.

24                 And, again we have a very rigorous

25  schedule.  We meet every two months.  Any member,

99

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  there is about 30 of us I guess that are on this

3  Committee, any member can propose changes or issues

4  that we need to look into.  Any member of the public

5  can come to our meetings and say, you know, we are

6  concerned about a particular thing.

7                 We do get a lot of correspondence for

8  example from our Fire Officials in New Jersey.  New

9  Jersey has a Licensing Certification Program for

10  Fire Officials and also very comprehensive

11  Inspection schedule, which in my opinion works very

12  well.  Because what it does, it mandates inspections

13  be done on very specific basis periodically at least

14  annually. In some cases, more than annually.  There

15  is a fee associated with that and most importantly

16  is if the city or town fails to make the inspection,

17  the State steps in and takes over jurisdiction of

18  the enforcement of the code.  So, there is no

19  getting around on having an inspection basically.

20  It is done in a very, very organized basis. The

21  state has a database, you know, of all these

22  occupancies.

23                 So, I think it is a system that works

24  pretty well. I am proud of it.  I have been with

25  them for quite a few years and I think it's a model

100

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  for the rest of the country actually.  We really try

3  to make a good faith effort at trying to address

4  fire safety issues.

5                 CHAIRPERSON CLARKE: Well, I want to

6  thank all of you for your testimony today.  I think

7  you have really put your fingers on the pulse of

8  where we are in New York City, which seems to be in

9  a state of suspended animation.  And, certainly your

10  reports are informing our FDNY and we will be

11  following up with them to look at the

12  recommendations that you've expressed, particularly

13  with respect to hazardous materials and the updating

14  of New York City's Fire Codes. Thank you all very

15  much.

16                 We are going to introduce our final

17  panel at this time.  Just to let you know that we

18  are kind of pressed for time. Another hearing is

19  scheduled for this room very shortly, so I would ask

20  everyone to sort of summarize their testimony, get

21  to the most salient points so that we can have them

22  on the record.  Thank you all for bringing your

23  testimony and being a part of this hearing today.

24                 Our next panel of testimony comes

25  from Ms. Sally Regenhard of the Skyscraper Safety

101

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Campaign, Ms. Connie Lesold, Community Board 8,

3  Brooklyn Fire Committee and Mr. Bruce DeCell. Thank

4  you.

5                 MS. REGENHARD: Good Afternoon Madam

6  Chairperson. It's an honor to be here once again.

7  And, I want to begin by complimenting you and every

8  member of your Committee for the wonderful work that

9  you are doing.  You're really one of the Committees

10  that is taking a proactive approach to the very

11  serious issues that face the people of New York.

12                 I want to start out by saying that on

13  behalf of the Skyscraper Safety Campaign, I

14  certainly endorse all three bills. I want to

15  compliment the Council Member for his particular

16  bill regarding these nightclubs and so on.  There's

17  a lot more areas that need to be covered but for the

18  sake of brevity I'd like to say that we've heard a

19  lot of wonderful testimony today.

20                 I'd like to say that we hardily

21  endorse the adoption of the International Fire Code

22  for the City of New York to go with the

23  International Building Code.

24                 I would just like to briefly say that

25  in a sense today I heard a lot of testimony and in a

102

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  sense it is almost as if we are blaming the victim.

3  I have to say that for at least the last decade, if

4  not longer, it's been a matter of public record that

5  the Fire Department of the City of New York lacks

6  training, technology and equipment.  That was in the

7  report from the first bombing of the World Trade

8  Center, it was in the McKinsey Report and it will

9  continue to be in all reports.

10                 What I would like to see is the City

11  of New York take responsibility for really upgrading

12  the Fire Department.  I don't think we can force a

13  Department that lacks so much to do what is needed

14  to be done so I would like to ask and hope that the

15  City of New York and the Council recognize we need

16  to have a major overhaul of the Fire Department.

17                 The only thing they don't lack is the

18  dedication and the commitment to save people in this

19  City.  However, it is very obvious that on 9- 11 the

20  City of New York sent in a Fire Department with

21  lacking technology and lacking equipment.  And, if

22  the City of New York can send a Fire Department in

23  with radios that don't work to prevent them from

24  saving people, then we really have to acknowledge,

25  we have a serious problem here.

103

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 So, I would like to say yes,

3  everything needs to be improved, I would like to see

4  more responsibility from the State's EEP, from the

5  City's EEP.  When they do their inspections, let the

6  onus be on them also to give this information to the

7  Fire Department.  But, please focus on the need to

8  have a total overhaul.  They must need funding.

9  They need additional funding. They can't do the job

10  if they don't have the training technology and

11  equipment.  So, I will just limit my comments to

12  that.

13                 Again, thank you all. Members of this

14  Committee, you are doing a wonderful job for the

15  people of this City.  Thank you.

16                 MS. LESOLD:  My name is Constance

17  Hart Lesold.  I don't know why I said my maiden name

18  today.  This must go very deep and it does, my

19  family home, my grandmother's home and my mother's

20  home in growing up was burned out when I was a

21  child.  I think almost everyone that lives in New

22  York City can remember a fire that somehow or other

23  deeply affected them.  Certainly people who live in

24  the northern part of Brooklyn can.

25                 But, that is not what I came here to

104

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  testify for today.  You have before you a newspaper

3  article from the Daily News that covers some of the

4  fire that occurred this month at the corner of

5  Nostrand and Flushing and you have pictures of that

6  fire.  I felt it was important to bring this to the

7  Codes Committee meeting for a number of reasons.

8  Not the least of which was, if you look at those

9  pictures, they show really up front how you can have

10  codes up the kazoo and if you ignore them for

11  religious reasons, or any other reasons they don't

12  do you any good. Look at them sitting on the entire

13  fire escape.

14                 Had those people been in those four

15  buildings that were burned down that day, they would

16  have had a very hard time getting out.  Some of

17  those 100 children that were burned out would very

18  likely have suffered some serious smoke inhalation

19  before they did get out.

20                 I interviewed families in that area

21  purely by accident who came up to talk to me because

22  I was interested enough in their former homes to be

23  taking pictures.  I will never forget the looks on

24  the faces of the children who had been burned out,

25  particularly the youngest one, the five- year old,

105

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  who looked like his whole home was destroyed.

3                 I interviewed an older man on the

4  next street, who happened to be waiting for the bus

5  at the same place I did, with his friend.  His

6  younger friend said to me, he has to find a place to

7  live.

8                 You know, the City of New York, what

9  is it?  Is it buildings, is it the new World Trade

10  Center, is it City government, or is it all the

11  people who have chosen to live in New York City and

12  make it their permanent home as the people of New

13  York have, who live in all that new building in

14  Williamsburg. I don't think any of them are planning

15  to go anywhere and I have never seen construction

16  going up the way it is going up in Williamsburg.  It

17  is not strictly a Hasidic community.

18                 I think the City is afraid to look at

19  this fire because of the tensions going on in that

20  community between Black, Hispanic and Hasidic

21  families supposedly.  I don't think -- I do think

22  that tension is over- rated.  I think people have

23  gotten so use to thinking of it as a tense thing

24  that they don't even try hardly to talk to each

25  other any more.  But right across the street from

106

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that is public housing, the Marcey (phonetic)

3  houses.  It is a very mixed neighborhood and there

4  must be political leadership to deal with the

5  dangers of arson in places just like that.

6                 You see the police cars sitting out

7  there in front of the houses that were burned out.

8  I don't know if they are still there now or not, but

9  you know, we do need to have an Arson Department,

10  that is not just 100 people in Bay Ridge, but the

11  City wide.  We need to have our firehouses back, 209

12  is right around the corner from where that fire

13  occurred, that took hours and many, many fireman,

14  what does it say 138 fireman.  It took quite a lot

15  of them, listed in this article, to put it out.

16                 We've got to have those firehouses

17  back.  You can change codes all you want to, but it

18  is magical thinking that you are going to prevent

19  all the fires.  As far as I know, the largest cause

20  of fires in New York City is still smoking in bed.

21  But when I hear the Mayor talking about smoking, or

22  anybody else, I never hear them talking about this

23  effect of it.  We've got to have those firehouses

24  back.  We have less fire protection for all the

25  chemicals that you are talking about and all the new

107

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  materials and everything else, than we had at the

3  turn of the century.  And, it is magical thinking to

4  think you can code those fires out of existence.

5                 The people and the families deserve

6  as much attention as the businesses and they deserve

7  it in Brooklyn as much as in Manhattan.  And, that

8  particular fire sits on the edge of at least three

9  people's Districts so that I couldn't tell you which

10  side of Flushing Avenue is represented by Yassky or

11  is represented by Vann or is represented by poor

12  Congressman Davis, who no longer exists, which means

13  Gifford Miller for right now.  But, all of those

14  people ought to get together and have a press

15  conference and say that they will see to it, along

16  with the people who are running for office in Davis'

17  District, that they will see to it that these things

18  do not occur again.

19                 If that fire company had been there,

20  Engine Company 209, I don't think four buildings

21  would have gone up.  Maybe two, maybe one. But, we

22  cannot destroy our tax base by taking away the major

23  way that fires are put out, which is by engine

24  companies. So, please -- I appreciate the fact that

25  you have held these hearings, it is very important.

108

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  All these bills are important. I'm sorry that Mr.

3  Koppell has left.  You can tell him that I

4  appreciate his bill.  That is not the issue.  It's

5  just that these bills by themselves will not prevent

6  death and destruction.  You can go up Eastern

7  Parkway and every block from Grand Armory Plaza to

8  Bedford in my own area.  I can show you where

9  children have died in fires, most of them arson, and

10  most of them multiple fires.  In every single one of

11  those fires, fire damage was not evident because

12  those are very sturdy buildings. It didn't burn down

13  the whole building it just killed the children that

14  were in it.

15                 CHAIRPERSON CLARKE: Okay.  Thank you

16  very much Ms. Lesold.

17                 MS. LESOLD: Thank you.  Keep up the

18  good work.  Keep struggling, do not give up.  We're

19  glad you're in there for Brooklyn.

20                 MR. DE CELL: Good afternoon

21  Councilwoman Clarke. Thank you very much for giving

22  me this opportunity to speak before your Council.

23  The work you are doing is truly heroic.

24                 My name is Bruce DeCell.  I am a

25  resident of Staten Island.  I lost my son- in- law

109

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  Mark Petrocelli in the World Trade Center on 9- 11-

3  01.

4                 I am here today as a member of the

5  Skyscraper Safety Campaign to urge the City Council

6  to adopt the International Fire Code for New York

7  City.  New York City has recently adopted the

8  International Building Code and it only makes sense

9  to adopt a modern fire code, which can work smoothly

10  with our building code to ensure public safety.

11                 In order to protect the public,

12  passage of new laws can only be effective if the law

13  adequately funds the enforcement of the law.

14  Without aggressive enforcement new laws are just

15  words on paper.  Thank you.

16                 (Following written testimony was read

17  into record)

18  WRITTEN TESTIMONY OF:

19  NEW YORK COMMITTEE FOR OCCUPATIONAL SAFETY AND

20  HEALTH

21                 The New York Committee for

22  Occupational Safety and Health (NYCOSH) supports the

23  recommendations in the report of the Chemical Safety

24  and Hazard Investigation Board on the building

25  explosion at Kaltech Industries.

110

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 NYCOSH is a non- profit coalition of

3  250 local unions and more than 400 individual

4  activists as well as professionals all dedicated to

5  the right of every worker to a safe and healthy

6  workplace.  Part of a nationwide network of 25

7  union- based safety and health organizations, NYCOSH

8  provides training and technical assistance to

9  workers, unions, non- profit organizations and

10  employers.

11                 Each year NYCOSH trains thousands of

12  workers and employers, including New York City

13  agencies, on topics such as chemical safety,

14  hazardous waste, fire protection and OSHA law.

15                 NYCOSH strongly urges the Fire and

16  Criminal Justice Services Committee to support

17  reform of New York City's antiquated fire code to

18  put it in compliance with the provisions of the

19  National Fire Protection Association Code and the

20  International Fire Code.

21                 The events of September 11th and the

22  explosion at Kaltech both highlight the need for a

23  stronger and more proactive approach to chemical and

24  fire safety.  It is absolutely essential that in a

25  densely populated City such as New York, businesses

111

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  that utilize hazardous substances be held to the

3  most protective standards of reporting, safe

4  chemical management, and worker training.

5                 We urge the Committee to also create

6  opportunities for input on this issue from other

7  affected communities including unions representing

8  workers throughout the City, from firefighters to

9  office workers.  Additional hearings with panels of

10  unions, workers and other communities in New York

11  City would be very important for a full

12  understanding of the scope of these problems.

13                 Thank you for your consideration.

14                 CHAIRPERSON CLARKE:  I want to thank

15  you all so much for bringing the perspective of our

16  citizenry to this hearing. And, certainly I think

17  you know which direction we are headed in with

18  respect to working with the FDNY, urging the FDNY

19  and applying pressure to the FDNY to really revamp

20  itself.  That has been a major emphasis of this

21  Committee since my tenure here, which was shortly

22  after the 9- 11 event of our City.

23                 The Fire Code is another intricate

24  part of that redevelopment and anywhere you see

25  resistance to moving this City into the 21st Century

112

1  FIRE AND CRIMINAL JUSTICE SERVICES

2  we must be vigilant in our pressing for change

3  because we could bring all of the latest technology

4  and training to our FDNY but there will still be

5  hidden situations in the City because we have not

6  informed our code and established the appropriate

7  relationships in terms of inter- agency

8  collaboration that will still imperil our First

9  Responder's lives.  No one would know if in

10  someone's basement they have chemicals that if mixed

11  improperly, could cause an explosion that damages an

12  entire community and puts our First Responder's

13  lives at risk.

14                 So, that's another part of this major

15  equation for redevelopment, reorganization and

16  revitalization of the FDNY that we also must be

17  vigilant with.

18                 And, don't worry Sally, I know

19  exactly where you stand on these issues and the

20  Skyscrapers Campaign is certainly you Connie, who is

21  constantly there reminding me of the obligation of

22  this Council to the redevelopment of our FDNY.

23                 We will be vigilant and I want to

24  thank you again for taking your time to be here this

25  afternoon.

113

1  FIRE AND CRIMINAL JUSTICE SERVICES

2                 Without any further testimony here

3  today, I want to thank you all for attending and say

4  that this meeting is now adjourned.

5                 (Hearing concluded at 12:38 p.m.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

114

1

2              CERTIFICATION

3

4

5     STATE OF NEW YORK   )

6     COUNTY OF NEW YORK  )

7

8

9                 I, LENORE NAGLE, do hereby certify

10  that the foregoing is a true and accurate transcript

11  of the within proceeding.

12                 I further certify that I am not

13  related to any of the parties to this action by

14  blood or marriage, and that I am in no way

15  interested in the outcome of this matter.

16                 IN WITNESS WHEREOF, I have hereunto

17  set my hand this 29th day of October 2003.

18

19

20

21

22

23

24

---------------------

25                          LENORE NAGLE

115

1

2             C E R T I F I C A T I O N

3

4

5

6

7

8

9            I, LENORE NAGLE, do hereby certify the

10  aforesaid to be a true and accurate copy of the

11  transcription of the audio tapes of this hearing.

12

13

14

15

16

17

18

19

20

21

22                 -----------------------

LENORE NAGLE

23

24

25