Staff:	Jennifer Wilcox, Senior Counsel

Meagan Chen, Counsel

Guillermo Patino, Senior Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Jeffrey Baker, Deputy Director, Infrastructure Division

Committee on Housing and Buildings

Jumaane D. Williams, Chair

June 20, 2016

PROPOSED INT. NO. 871-A:	By Council Members Dromm, Johnson, Mendez, Menchaca, Constantinides, Richards, Rose, Cohen, Rosenthal, Lander, Levine, Rodriguez, Torres, Cornegy, Koslowitz, Van Bramer, Chin, Ferreras-Copeland, Palma, Levin, Crowley, Cumbo, Gentile, Barron, Reynoso, Williams, Lancman and Vacca

TITLE:	A Local Law to amend the administrative code of the city of New York, the New York city plumbing code and the New York city building code, in relation to gender-neutral single-occupant bathrooms

ADMINISTRATIVE CODE: 	Adds a new section 28-315.9

BUILDING CODE:	Amends section 1110.2

PLUMBING CODE: 	Amends sections 202, 403.1.3, 403.2.1 and 403.4 and note J of table 403.1

Introduction

On June 20, 2016, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams will hold a hearing to consider Proposed Int. No. 871-A.

The Committee previously considered Proposed Int. No. 871-A at a hearing on January 14, 2016.  The Committee received testimony from representatives of the New York City Commission on Human Rights, legal service providers, and other interested members of the public.

Proposed Int. No. 871-A

Proposed Int. No. 871-A would require single-occupant toilet rooms to be usable by persons of any gender.

Section one of Proposed Int. No. 871-A would amend article 315 of title 28 of the administrative code of the city of New York, which lays out certain retroactive requirements, to add a new section 28-315.9 which would require that single-occupant toilet rooms be usable by persons of any sex in accordance with section 403.2.1 of the New York city plumbing code by not later than January 1, 2017

Section two of Proposed Int. No. 871-A would amend section PC 202 of the New York city plumbing code, which contains definitions. The amendment would define single-occupant toilet rooms as rooms with no more than one water closet and no more than one urinal and provide an exception to the definition for toilet rooms with one urinal and a door to such room that is not securable from within.

Section three of Proposed Int. No. 871-A would amend note j of table 403.1 of the New York city plumbing code, which lays out the minimum number of required plumbing fixtures, to clarify certain instances where section 403.2.1 would be applicable and to  change the term unisex to single occupant.

Section four of Proposed Int. No. 871-A would amend section 403.1 of the New York city plumbing code, which lays out the minimum number of required plumbing fixtures, by adding a new section 403.1.3.  New section 403.1.3 would provide that fixtures located within single-occupant toilet rooms, other than those located within toilet rooms where egress is through a room permissibly restricted by sex, are permitted to be included in the number of fixtures required for either male or the female occupants.

Section five of Proposed Int. No. 871-A would amend section 403.2 of the New York city plumbing code, which requires code-mandated plumbing fixtures to be installed in facilities separated by sex, by adding a new section 403.2.1.  New section 403.2.1 would require that single-occupant toilets rooms be usable by persons of any sex by January 1, 2017, except where access is possible through a room permissibly restricted by sex.

Section six of Proposed Int. No. 871-A would amend section 403.4 of the New York city plumbing code, requiring that mandatory public facilities be designated by a legible sign for each sex, to require that mandatory public facilities which are single-occupant toilet rooms be designated by a legible sign for all sexes by January 1, 2017.

Section seven of Proposed Int. No. 871-A amends item 4 of section 1110.2 of the New York city building code, which requires directional signage to be posted at each sex-separated toilet and bathing room indicating the location the nearest accessible family or assisted-use toilet or bathing room. The proposed legislation would require such signage to also be posted at each inaccessible single-occupant toilet room by January 1, 2017.

Section eight of Proposed Int. No. 871-A contains the enactment clause and provides that the local law take effect 120 days after enactment, except that the commissioner of buildings, commissioner of health and mental hygiene and commissioner of consumer affairs shall take all actions necessary for its implementation, including the promulgation of rules, prior to such effective date.

Changes to Proposed Int. No. 871-A

All of the changes to Proposed Int. No. 871-A were technical edits.

Proposed Int. No. 871-A

By Council Members Dromm, Johnson, Mendez, Menchaca, Constantinides, Richards, Rose, Cohen, Rosenthal, Lander, Levine, Rodriguez, Torres, Cornegy, Koslowitz, Van Bramer, Chin, Ferreras-Copeland, Palma, Levin, Crowley, Cumbo, Gentile, Barron, Grodenchik, Reynoso, Williams, Lancman and Vacca

..Title

A Local Law to amend the administrative code of the city of New York, the New York city plumbing code and the New York city building code, in relation to gender-neutral single-occupant bathrooms

..Body

Be it enacted by the Council as follows:

Section 1.  Article 315 of title 28 of the administrative code of the city of New York is amended to add new section 28-315.9 to read as follows:

§ 28-315.9 Single-occupant toilet rooms. Notwithstanding any other provision of law or rule requiring separate facilities for each sex, on and after January 1, 2017, all single-occupant toilet rooms shall be made available for use by persons of any sex in accordance with section 403.2.1 of the New York city plumbing code. Nothing in this section shall be construed to require physical alteration of a single-occupant toilet room except for the posting and maintenance of appropriate signage in accordance with section 403.4 of the New York city plumbing code.

§ 2. Section PC 202 of the New York city plumbing code is amended by adding a definition of “SINGLE-OCCUPANT TOILET ROOM” in alphabetical order to read as follows:

SINGLE-OCCUPANT TOILET ROOM. A toilet room with no more than one water closet and no more than one urinal.

Exception: A toilet room with one urinal and a door to such room that is not securable from within.

§ 3. Note j of table 403.1 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to read as follows:

j. The requirements for the number of water closets for a total occupancy of 150 persons or fewer shall not apply to bars except that, subject to the requirements of Section 403.2.1, there shall be at least one water closet for men and at least one water closet for women or at least two [unisex] single-occupant toilet rooms.

§ 4. Section 403.1 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to add a new section 403.1.3 to read as follows:

§ 403.1.3 Single-occupant toilet fixtures. Fixtures located within single-occupant toilet rooms are permitted to be included in the number of fixtures required by Section 403, or where applicable the 1968 Building Code, for either the male or the female occupants. Fixtures located within toilet rooms subject to the exception of Section 403.2.1 are permitted to be included in the number of fixtures required by Section 403, or where applicable the 1968 Building Code, only for that sex.

§ 5. Section 403 of the New York city plumbing code is amended by adding a new section 403.2.1 to read as follows:

§ 403.2.1 Single-occupant toilet rooms. All single-occupant toilet rooms shall be made available for use by persons of any sex. Existing toilet rooms shall comply with this section by no later than January 1, 2017. Nothing in this section shall be construed to affect or alter the number of toilet rooms in a building otherwise required pursuant to this code or where applicable the 1968 Building Code.

Exception: Where egress from a single-occupant toilet room is through a room permissibly restricted by sex.

§ 6. Section 403.4 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to read as follows:

§ 403.4 Signage. Required public facilities shall be designated by a legible sign for each sex or, for a single-occupant toilet room, for all sexes. Signs shall be readily visible and located near the entrance to each toilet facility. Existing single-occupant toilet rooms shall comply with this requirement by January 1, 2017.

§ 7. Item 4 of section 1110.2 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

4. At each separate-sex toilet and bathing room and inaccessible single-occupant toilet room indicating the location of the nearest accessible family or assisted-use toilet or bathing room where provided in accordance with Section 1109.2.1.

§ 8. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings, commissioner of health and mental hygiene and commissioner of consumer affairs may take all actions necessary for its implementation, including the promulgation of rules, prior to such effective date.

BJR

LS 3915

5/26/16 2:14PM