Staff:	Jennifer Wilcox, Senior Counsel

Guillermo Patino, Senior Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Jeff Baker, Deputy Director, Infrastructure Division

COMMITTEE ON HOUSING AND BUILDINGS

Jumaane D. Williams, Chair

August 11, 2015

PROPOSED INT. NO. 145-A:	By Council Members Johnson, Vacca, Crowley, Arroyo, Chin, Constantinides, Eugene, Koo, Levine, Richards, Mendez, Espinal, Rosenthal, Cohen, Deutsch, Cornegy, Cumbo, Dromm, Gibson, Greenfield, King, Koslowitz, Levin, Maisel, Miller, Palma, Reynoso, Rodriguez, Rose, Torres, Vallone, Wills, Treyger, Lander, Menchaca, Lancman, Ferreras, Van Bramer, Garodnick, Gentile and Ulrich.

TITLE:	A Local Law to amend the New York city building code, in relation to the installation of fire sprinklers in certain establishments that provide services for animals.

ADMINISTRATIVE CODE:	Adds a new section 28-315.2.3

BUILDING CODE:	Amends sections 202, 304.1 and 903.2.2 and adds sections 903.2.2.1 and 903.2.2.2.

Introduction

On August 11, 2015, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams, will hold a hearing to consider Proposed Int. No. 145-A.

The Committee previously considered Proposed Int. No. 145-A on April 1, 2015 and received testimony from the Department of Buildings (DOB), animal advocacy organizations, animal care facilities and other interested members of the public.

Proposed Int. No. 145-A

In recent years, there have been numerous incidents of fires within animal service facilities resulting in the death of trapped animals. This bill would require animal service facilities, including existing facilities, where animals are sheltered on a 24-hour basis to install automatic sprinkler systems by December 31, 2016. Animal service facilities which provide twenty-four hour in-person supervision and that are equipped with smoke alarms, and animal service facilities that were in operation on or before December 31, 2016 and that are equipped with an automatic smoke detection system, are not required to install automatic sprinkler systems.

Section one of Proposed Int. No. 145-A would add a new section 28-315.2.3 to Article 315 of title 28 of the New York City Administrative Code (the Code). Article 315 contains a list of the retroactive requirements for the New York City Building Code (the Building Code) and other Construction Codes. New section 28-315.2.3 would require owners of existing animal service facilities to install automatic sprinklers, provide 24-hour in-person supervision and install a smoke alarm, or install automatic smoke detection systems by December 31, 2016 to the list of retroactive requirements. It would also require owners of such facilities to file a report with DOB documenting compliance.

Section two of this legislation would amend section 202 of the Building Code, which contains definitions, by defining animal service facilities as animal hospitals, kennels, pounds, veterinary clinics and pet shops where animals are sheltered on a 24-hour basis.

Section three of this legislation would amend section 304.1 of the Building Code, which outlines the uses included in Group B, to include veterinary clinics and pet shops.

Section three of Proposed Int. No. 145-A amends Building Code section 903.2.2 and adds new sections 903.2.2.1 and 903.2.2.2. Section 903.2.2 outlines the sprinkler requirements for Group B occupancies. Proposed Int. No. 145-A would amend these sections to require automatic sprinkler systems to be installed in animal service facilities. It would also make this requirement retroactive and require compliance no later than December 31, 2016. Finally, it would provide exceptions to the automatic sprinkler requirements where animal service facilities provide 24-hour in-person supervision and are equipped with smoke alarms and where animal service facilities were in operation on or before December 31, 2016, and are equipped with an automatic smoke detection system.

Section four of this legislation contains the enactment clause and provides that this local law take effect one hundred and twenty days after it becomes law.

THIS PAGE INTENTIONALLY LEFT BLANK

Proposed Int. No. 145-A

By Council Members Johnson, Vacca, Crowley, Arroyo, Chin, Constantinides, Eugene, Koo, Levine, Richards, Mendez, Espinal, Rosenthal, Cohen, Deutsch, Cornegy, Cumbo, Dromm, Gibson, Greenfield, King, Koslowitz, Levin, Maisel, Miller, Palma, Reynoso, Rodriguez, Rose, Torres, Vallone, Wills, Treyger, Lander, Menchaca, Lancman, Ferreras-Copeland, Van Bramer, Garodnick, Gentile and Ulrich..Title

A Local Law to amend the New York city building code, in relation to the installation of fire sprinklers in certain establishments that provide services for animals

..Body

Be it enacted by the Council as follows:

Section 1. Article 315 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-315.2.3 to read as follows:

§ 28-315.2.3 Animal service facilities. By December 31, 2016, animal service facilities shall comply with the retroactive requirements of section 903.2.2.2 of the New York city building code and owners of such facilities shall file with the department a report certifying either that sprinklers have been installed or that the facility is in compliance with one of the exceptions set forth in such section.

§ 2. Section BC 202 of the New York city building is amended by adding a new definition for “ANIMAL SERVICE FACILITY” to read as follows:

ANIMAL SERVICE FACILITY. The following facilities where animals are sheltered on a 24-hour basis: animal hospitals, kennels, pounds, veterinary clinics and pet shops.

§ 3. Section 304.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

304.1 Business Group B. Business Group B occupancy includes, among others, the use of a building or structure, or a portion thereof, for office, professional, service-type transactions, or for conducting public or civic services, including the incidental storage of records and accounts and the incidental storage of limited quantities of stocks of goods for office use or purposes. Business Group B occupancies shall include, but not be limited to, the following:

Airport traffic control towers

Ambulatory health care facilities

Animal hospitals, kennels, [and] pounds, veterinary clinics and pet shops

Banks

Barber and beauty shops

Civic administration offices

Clinic—outpatient, including group medical centers, and neighborhood family care centers

Custodial care facilities with fewer than 75 persons, providing care to persons over the age of 2, where no more than four occupants are incapable of responding to an emergency situation without physical assistance from staff

Dry cleaning and laundries; pick-up and delivery stations and self-service

Educational occupancies for students above the 12th grade, where not classified in Group A. Such occupancy may be used occasionally for educational purposes offered to children through the 12th grade

Electronic data processing

Laboratories; nonproduction testing and research, as per Section 424

Libraries when not classified in Group E

Motor vehicle showrooms

Offices

Post offices

Photocopying and printing shops using electronic printing equipment

Professional services (architects, attorneys, dentists, physicians, engineers, etc.)

Radio and television stations not admitting an audience

Telephone exchanges

Training and skill development not within a school or academic program

§ 4. Section 903.2.2 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

903.2.2 Group B [ambulatory health care facilities]. An automatic sprinkler system shall be installed [throughout all fire areas containing a Group B ambulatory health care facility occupancy when either of the following conditions exists at any time:

1. Four or more care recipients are incapable of self- preservation.

2. One or more care recipients who are incapable of self- preservation are located at other than the level of exit discharge serving such an occupancy.] for Group B occupancies as provided in Sections 903.2.2.1 and 903.2.2.2.

903.2.2.1 Ambulatory health care facilities. An automatic sprinkler system shall be installed throughout all fire areas containing a Group B ambulatory health care facility occupancy when either of the following conditions exists at any time:

1. Four or more care recipients are incapable of self-preservation.

2. One or more care recipients who are incapable of self-preservation are located at other than the level of exit discharge serving such an occupancy.

903.2.2.2 Animal service facilities. An automatic sprinkler system shall be provided for animal service facilities. This provision shall be retroactive and shall apply to all such facilities in existence on the effective date of this provision, and such facilities shall achieve compliance no later than December 31, 2016.

Exceptions:

1.	Animal service facilities which provide 24 hour in-person supervision of animals sheltered therein and are equipped with smoke alarms.

2.  Animal service facilities that were in operation on or before December 31, 2016, and are equipped with an automatic smoke detection system.

§ 5. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to its effective date.

Wcj/JW

LS# 215

8/5/15 7:4

See John Lauinger, Firefighters rescue 30 cats and dogs from burning Queens pet shops, NY Daily New, June 1, 2010 available at http://www.nydailynews.com/new-york/firefighters-rescue-30-cats-dogs-burning-queens-pet-shop-article-1.178695; Dorian Block & Leo Standora, More than a 100 animals perish in Bronx pet shop fire, NY Daily News, Nov. 20, 2008 available at http://www.nydailynews.com/new-york/bronx/100-animals-perish-bronx-pet-shop-fire-article-1.335388; Sarah Kershaw, Animals Die as Fire in Inwood  Destroys Pet Store and Shops, NY Times, July 29, 2002 available at http://www.nytimes.com/2002/07/29/nyregion/animals-die-as-fire-in-inwood-destroys-pet-store-and-shops.html.