Russell Unger

Counsel to the Committee

Michele Kalafer

Legislative Policy Analyst

## THE COUNCIL

###### Report of the Governmental Affairs Division

Marcel Van Ooyen, Deputy Chief of Staff & Director

COMMITTEE ON FIRE & CRIMINAL JUSTICE SERVICES

Hon. Yvette D. Clarke, Chair

## April 26, 2004

INT. NO. 248:	By Council Members Clarke, Boyland, Koppell, Seabrook and Stewart (by request of the Mayor)

TITLE:	To amend the administrative code of the city of New York in relation to flammables and combustibles and penalties recoverable in proceedings before the environmental control board, and to repeal subdivision c of section 27-4065, subdivision b of section 27-4069, and subdivisions a, b and c of section 27-4070, to repeal and reenact subdivisions 10 and 22 of section 27-4002, sections 27-4015, 27-4063, 27-4064, 27-4066, 27-4067, 27-4068 and 27-4070 of such code.

I. Introduction

On April 26, 2004 the Committee on Fire and Criminal Justice Services, chaired by Council Member Yvette Clarke, will hold a hearing on Int. 248, a local law to amend the administrative code of the city of New York in relation to flammables and combustibles and penalties recoverable in proceedings before the environmental control board, and to repeal subdivision c of section 27-4065, subdivision b of section 27-4069, and subdivisions a, b and c of section 27-4070, to repeal and reenact subdivisions 10 and 22 of section 27-4002, sections 27-4015, 27-4063, 27-4064, 27-4066, 27-4067, 27-4068 and 27-4070 of such code.  Those expected to testify include representatives of the Fire Department and fire unions.

II. Background

As discussed in past Council hearings on the need to modernize the Fire Prevention Code, many sections of this code are outdated.  Approximately 75% of the code’s provisions are unchanged since 1970, 60% are unchanged since 1960, and 40% are unchanged since 1937 when the 1918 code was re-codified.  Moreover, in their report of the April 2002 Kaltech incident, the U.S. Chemical Safety and Hazard Investigation Board recommended numerous changes to how hazardous materials are regulated under the code.

III. Int. 248

As indicated in the attached Memorandum of Support, this local law would update numerous sections of the Fire Prevention Code, including eliminating outdated provisions, conforming the code to federal and state laws and industry standards, and addressing recommendations of the U.S. Chemical Safety and Hazard Investigation Board regarding the regulation of hazardous materials.  Int. 248 would repeal provisions in three code sections, and repeal and reenact eight other code sections.  The local would take effect 120 days after its enactment into law.

MEMORANDUM IN SUPPORT

TITLE:	A LOCAL LAW to amend the administrative code of the city of New York in relation to flammables and combustibles and penalties recoverable in proceedings before the environmental control board, and to repeal subdivision c of section 27-4065, subdivision b of section 27-4069, and subdivisions a, b and c of section 27-4070, to repeal and reenact subdivisions 10 and 22 of section 27-4002, sections 27-4015, 27-4063, 27-4064, 27-4066, 27-4067, 27-4068 and 27-4070 of such code

SUMMARY OF PROVISIONS:

The proposed local law is part of the Fire Department’s ongoing effort to modernize, streamline and clarify the New York City Fire Prevention Code (Chapter 4 of Title 27 of the New York City Administrative Code).  The proposed local law would clarify and simplify the statutory provisions, eliminate unnecessary and outdated provisions, and, where appropriate, conform the Fire Prevention Code to federal and state laws and regulations or industry standards, including Model Fire Codes.

The proposed local law would amend the definitions of the terms “flammable mixture” and “combustible mixture” currently set forth, respectively, in Subdivisions 10 and 22 of Administrative Code Section 27-4002 to be consistent with applicable Federal regulations.  As amended, the definitions would incorporate the definitions of such concepts set forth in the regulations of the federal agencies that regulate such materials, including the federal Hazardous Materials Transportation Uniform Safety Act, which governs the classification and packaging of hazardous materials.  The amendment includes the adoption of the federal “closed cup” testing method in place of the “open cup” Tagliabue testing method to determine the flashpoint of mixtures.  This technical change will not significantly affect the regulation of flammable or combustible materials under the Fire Prevention Code.

The proposed local law would clarify and simplify the Fire Prevention Code by eliminating the various provisions of Administrative Code Section 27-4063 setting forth separate prohibitions and standards for the manufacture, storage, transport, sale of specific flammable products, such as stove polish, metal polish and cleaning fluid, and replacing them with a general provision setting forth a permit requirement for the storage, sale, possession or use of flammable mixtures in quantities in excess of five gallons.  The proposed local law would add a new section 27-4064 that would authorize the Fire Commissioner to adopt by rule more modern requirements.  The similarly detailed, obsolete and/or federally-preempted provisions set forth in Administrative Code Section 27-4065(c) governing the size and construction of containers for a variety of specific flammable materials would be replaced by the basic requirements that storage containers be acceptable to the Fire Commissioner, approved for their intended use and identified as to their content, and not exceed a capacity of 5 gallons (60 gallons for metal drums), except as the Fire Commissioner may otherwise authorize by rule.

The existing provisions of Administrative Code Section 27-4066, which regulate in detail the transportation of flammable materials, including provisions that have been federally preempted, would be repealed.  The proposed local law would regulate the transportation of flammable materials by retaining the existing requirement of a Fire Department permit to transport more than five gallons of flammable mixtures, and authorizing the Fire Commissioner to prescribe such other requirements as may be needed, provided that those requirements conform to Federal and State regulations when those regulations require consistency.  This change will afford the Fire Commissioner the necessary flexibility to regulate this industry in the interest of public safety, consistent with ongoing changes in the regulatory environment.

The proposed local law would also regulate the storage and use of flammable mixtures in relation to their proximity to incompatible substances.  The  proposed local law would require that owners of establishments and persons engaged in the manufacture, storage or use of flammable mixtures in such facilities be familiar with the hazardous nature of the mixtures, and that they obtain a Certificate of Fitness evidencing such knowledge when the Fire Commissioner, by rule, determines that such licensing is necessary or appropriate.

The proposed local law would enact parallel changes with respect to combustible materials.  The existing permit requirements of Administrate Code Section 27-4067, for the manufacture of combustibles, and for the storage, sale, or possession of more than ten gallons of combustible mixtures, would be retained.  The outdated provisions of Section 27-4068 relating to carbon tetrachloride would be replaced with a general provision (paralleling Section 27-4064 for flammable materials) authorizing the Fire Commissioner to regulate combustible materials in the interest of public safety.  The detailed, obsolete and/or federally-preempted provisions of Section 27-4069, regulating the size and construction of containers for combustible materials, and Section 27-4070, regulating the transportation of such materials, would be replaced with provisions paralleling those for flammable materials, except that the existing requirement for a permit to transport more than ten gallons of combustible mixtures would be retained.

The proposed local law would also clarify the process by which the Fire Commissioner approves for use fire safety-related equipment through the issuance of Fire Department certificates of approval.  The requirement of a certificate of approval for containers would be eliminated; container requirements would be established by Fire Department rule.  This regulatory approach would be less burdensome for the regulated industry, and would facilitate conformity with existing industry standards, the hazardous materials regulations of the United States Department of Transportation, and the regulations of the Consumer Product Safety Commission, with which industry is already required to comply.

The proposed local law would consolidate and clarify the existing fee provisions for certificates of approval set forth in Administrative Code Section 27-4026, without changing the amounts of the fees charged.

The proposed local law would amend Section 15-229 of the Administrative Code to clarify the penalties recoverable in proceedings before the Environmental Control Board for violations to any law, rule or regulation enforceable by the Fire Department.

REASONS FOR SUPPORT:

The proposed local law would clarify existing Fire Prevention Code provisions and procedures.  It would eliminate provisions of the Fire Prevention Code that refer to outdated products and materials, or that have been preempted or rendered obsolete by Federal regulations or industry standards.

The proposed local law would also address the concerns and recommendations of the United States Chemical Safety and Hazard Investigation Board, in their report of the April 25, 2002 explosion at the Kaltech facility in Manhattan.  The Board recommended separation of incompatible materials, identification of container contents and assuring worker knowledge of the hazardous nature of the mixtures with which they work.

Such changes will be beneficial to the orderly regulation of flammable and combustible materials, as well as to the individuals and businesses affected by such regulations.

Accordingly, the Mayor urges the earliest possible favorable consideration of this legislation.

Respectfully submitted,

John A. Crotty

Int. No. 248

..Title A Local Law to amend the administrative code of the city of New York in relation to flammables and combustibles and penalties recoverable in proceedings before the environmental control board, and to repeal subdivision c of section 27-4065, subdivision b of section 27-4069, and subdivisions a, b and c of section 27-4070, to repeal and reenact subdivisions 10 and 22 of section 27-4002, sections 27-4015, 27-4063, 27-4064, 27-4066, 27-4067, 27-4068 and 27-4070 of such code. ..Body

By Council Members Clarke, Boyland, Koppell, Seabrook and Stewart (by request of the Mayor) Be it enacted by the Council as follows:

Section 1.  Subdivision a of section 15-229 of the administrative code of the city of New York, as amended by local law number 74 for the year 1988, is amended to read as follows:

a.  In addition to or as an alternative to any of the remedies and penalties provided in any laws, rules, or regulations enforceable by the department, any person who shall violate or fail to comply with any such laws, rules, or regulations shall, except as otherwise specifically provided in subdivision c of section 15-230, be liable for a civil penalty which may be recovered in a proceeding before the environmental control board.  Such proceeding shall be commenced by the service of a notice of violation returnable before the board.  Except as otherwise specifically provided, such civil penalty shall be determined [in accordance with the following schedule:

First Violation:  			Second or Subsequent Violation by the same

respondent  of  the  same  provision of law, rule or regulation and, if  the  respondent  is  the  owner, agent,  lessee  or  other  person  in control of the premises with respect to which the violation occurred, at the same premises (all violations committed within an eighteen month period).

Minimum   	Maximum   	Minimum   	Maximum

Section 			(Dollars) 	(Dollars) 	(Dollars) 	(Dollars)

27-4007 			0     		1,000         	0    	 	5,000

27-4053			0     		1,000         	0     		5,000

27-4057

(subd. c, d, f)       	  	0     		1,000         	0     		5,000

27-4058 (subd. c,

para. 5, 6) 		0     		1,000         	0     		5,000

27-4062

(subd. b, c, f)     		0     		1,000         	0     		5,000

27-4065

(subds. d-k, m-r)		0     		1,000         	0     		5,000

27-4066 (subd. d)		0     		1,000         	0     		5,000

27-4070 (subd. b)		0     		1,000         	0     		5,000

27-4074 			0     		1,000         	0     		5,000

27-4076

(subd. a, b) 		0     		1,000         	0     		5,000

27-4077

(subd. a, b, c)  		0     		1,000         	0     		5,000

27-4078        		0     		1,000         	0     		5,000

27-4079 (subd. a)		0     		1,000         	0     		5,000

27-4081

(subd. b, para. 3-9	)	0     		1,000         	0     		5,000

27-4082 (subd. b,

para. 1-4)		0     		1,000         	0     		5,000

27-4087 (subd. c)		0     		1,000         	0     		5,000

27-4089

(subd. a, c, d)		0     		1,000         	0     		5,000

27-4092 (subd. 4) 		0     		1,000         	0     		5,000

27-4097 (subd. b) 		0     		1,000         	0     		5,000

27-4100 (subd. c) 		0     		1,000         	0     		5,000

27-4101

(subd. b, c, h, j)		0     		1,000         	0     		5,000

27-4104 (subd. d)		0     		1,000         	0     		5,000

27-4112

(subd. cc, dd)     		0     		1,000         	0     		5,000

27-4120 (subd. e)		0     		1,000         	0     		5,000

27-4199 (subd. a)		0     		1,000         	0     		5,000

Subchapter 18 of the

fire prevention code	0     		1,000         	0     		5,000

(article 3, sub-article 3)

article 4) (article 5)

27-4197 (subd. c)		0     		1,000         	0     		5,000

27-4200			0     		1,000         	0     		5,000

27-4205 (subds. a, d, e(3),

h, k, m, n, o) 		0     		1,000         	0     		5,000

27-4206 (subd. (b),

para. 1, 2, 3) 		0     		1,000        	0     		5,000

27-4207 (subds. 2, 3, 4, 5,

9, 11(d), 11(e))		0     		1,000         	0     		5,000

27-4209 (subd. 1,

2(c), 7)	              		0     		1,000         	0     		5,000

27-4210

(subd. 1, 2)		0     		1,000         	0     		5,000

27-4212 (subd. 2,

para. a)              		0     		1,000         	0     		5,000

27-4212 (subd. 3,

para. j)			0     		1,000         	0     		5,000

27-4213 (subd. b, para. 13)

(subd. g, para. 2-6)		0     		1,000         	0     		5,000

27-4218  		0     		1,000         	0     		5,000

27-4220  		0     		1,000         	0     		5,000

27-4221			0     		1,000         	0     		5,000

27-4236 			0     		1,000         	0     		5,000

27-4238       		0     		1,000         	0     		5,000

27-4239   		0     		1,000         	0     		5,000

27-4248 (subd. b)  	0     		1,000         	0     		5,000

27-4251

(subd. c, para. 1) 		0     		1,000         	0     		5,000

27-4265 (subd. a)		0     		1,000         	0     		5,000

27-4275 (subd. a) 		0     		1,000         	0     		5,000

27-4279  		0     		1,000         	0     		5,000

All other provisions of this title

and related rules and regulations

(Reference to a section of the

Code is intended to include any

rules and regulations related to

such section).     		0     		500          		0     		5,000]

as follows:  (1) The maximum penalty for the first violation shall be one thousand dollars ($1,000); (2) the maximum penalty for the second and any subsequent violation of the same provision of law, rule or regulation shall be five thousand dollars ($5,000), provided the violation is committed by the same respondent, is for the same provision of law, rule or regulation, and occurs within eighteen months of first violation, and provided, further, that if the respondent is the owner, agent, lessee or other person in control of the premises with respect to which the violation occurred, the violation occurred at the same premises.

§2.  Subdivision 7 of section 27-4002 of the administrative code of the city of New York, as amended by local law number 49 for the year 1991, is amended to read as follows:

7.  Certificate of approval, a written statement issued by the [fire] commissioner, certifying that [the] a type, class or kind of article or thing [mentioned therein] has been examined, tested and approved for a specified purpose or use in conformity with [subchapters one through twenty-nine of] the requirements of this chapter or rules promulgated pursuant to this chapter.  In those instances where a testing or performance standard is not prescribed by this chapter or such rules, the type, class or kind of article or thing shall have been examined and tested [to the satisfaction of] in a manner acceptable to the commissioner [and approved by the commissioner.  Such certificate of approval shall be an authorization for the type, class or kind of article or thing to be manufactured, stored, transported, sold or used].

§ 3.  Subdivision 10 of section 27-4002 of the administrative code of the city of New York is REPEALED, and a new subdivision 10 is reenacted to read as follows:

10.  Combustible mixture, a liquid or mixture having a closed-cup flashpoint at or above a temperature of one hundred degrees Fahrenheit, except that, for purposes of transportation, a combustible mixture shall mean a liquid or mixture defined as a combustible liquid by the United States department of transportation.

§ 4.  Subdivision 22 of section 27-4002 of the administrative code of the city of New York is REPEALED, and a new subdivision 22 is reenacted to read as follows:

22.  Flammable mixture, a liquid or mixture having a closed-cup flashpoint at a temperature below one hundred degrees Fahrenheit, except that, for purposes of transportation, a flammable mixture shall mean a liquid or mixture defined as a flammable liquid by the United States department of transportation.

§ 5.  Section 27-4015 of such the administrative code of the city of New York is REPEALED, and a new section 27-4015 is reenacted to read as follows:

§27-4015  Certificates of approval.  a. An application for a certificate of approval shall include complete drawings of and specifications for the article or thing for which approval is sought and, unless the commissioner determines that it is impracticable, the article or thing itself.  The commissioner may require that the article or thing be examined, tested or demonstrated at the applicant’s expense in a manner prescribed by the commissioner, including examination and testing by a testing laboratory acceptable to the commissioner.

b.  The commissioner may set forth in the certificate of approval conditions on the approved purpose or use of such type, class or kind of article or thing as may be deemed necessary in the interest of public safety.

c.  The commissioner may include under a single certificate of approval more than one type, class or kind of article or thing of a similar design or common characteristic.

d.  Each article or thing of the type, class or kind for which a certificate of approval has been issued shall have the number of such certificate plainly stamped or otherwise affixed upon it.

e.  A certificate of approval, and any renewal thereof granted by the commissioner, shall be issued to the manufacturer of the article or thing, and shall be for a period not to exceed three years.

f.  It shall be unlawful for any person to manufacture, install, store, sell or use for any purpose or use, subject to the provisions of this chapter, any article or thing for which a certificate of approval has been issued except in accordance with the terms and conditions of such certificate.

§ 6.  Paragraph 1 of subdivision (b) of section 27-4026 of the administrative code of the city of New York, as amended by local law number 56 for the year 1991, is amended to read as follows:

- Certificates of approval [(per product for term of three years)]

(per application):

(A)	Original [for equipment requiring fire department

approval] applications, amended applications, and

changes of ownership, manufacturing process or design

(except torches): ……….…………………………….……  625.00

(B)	Original applications, amended applications, and changes

of ownership, manufacturing process or design [for]

(torches) …………………………………………………..  260.00

(C)	[Original for products other than equipment requiring fire

department approval  ………………………………………  470.00

(D)]	Renewal applications .…………………………………….   50.00

[(E)] (D)	Change of identification [(excluding change of ownership),

e.g., change in corporate name or name of product or]

, including change in name of article, model number

or name of manufacturer  ……………………………......  210.00

[(F)	Change of ownership, change of manufacturing process,

change of design, or change in chemical composition of

flammable & combustible mixtures:

For equipment  ………………………………………….  625.00

For torches  ….………………………………………….  260.00

For products other than equipment or torches …………..  470.00]

§ 7. Sections 27-4063 and 27-4064 of the administrative code of the city of New York are REPEALED, and new sections 27-4063 and 27-4064 are reenacted to read as follows:

§27-4063  Permit.  a.  Except as otherwise provided in this chapter, it shall be unlawful to manufacture any flammable mixture without a permit.

b.  Except as otherwise provided in this chapter, it shall be unlawful to store, sell, keep or use any flammable mixture in quantities exceeding five gallons without a permit.

§27-4064  Restrictions.  a.  The commissioner may, by rule, prescribe requirements for the safe manufacture, storage, sale and use of flammable mixtures, and prohibit or restrict the manufacture, storage, sale or use of such a mixture in any container, equipment, building or place in the interest of public safety.

b.  A flammable mixture shall be kept separate from any substance with which it is incompatible, when such mixture and substance are stored or used in containers having a capacity of more than five pounds or one-half gallon.  Except where this chapter, a rule of the fire commissioner, or other applicable law, rule or regulation specifies greater protection, such separation shall be maintained at a distance of not less than twenty feet, by a noncombustible partition extending not less than eighteen inches above and to the sides of the stored mixtures or substance, by storing such mixture and substance in a metal storage cabinet, or by other means acceptable to the fire commissioner.  For purposes of this section, “incompatible” shall mean that such mixture and substance, if mixed, could explode, generate heat, gases or other byproducts, or otherwise react in a manner potentially hazardous to life or property.

c.	The owner of any establishment in which flammable mixtures are being manufactured, stored or used, and all persons engaged in the manufacture, storage or use of such flammable mixtures thereat, shall be familiar with the hazardous nature of the mixtures and the appropriate actions to be taken in the event of spill, leak or fire.  A certificate of fitness shall be obtained where required by rule of the fire commissioner.

§ 8.  Subdivision c of section 27-4065 of the administrative code of the city of New York is REPEALED.

§ 9.  Section 27-4066 of the administrative code of the city of New York is REPEALED, and a new section 27-4066 is reenacted to read as follows:

§27-4066  Requirements for below-grade storage in mercantile occupancies.  A system of automatic sprinklers shall be provided in each basement, cellar or other location below grade, regardless of the floor area of such space, in any mercantile establishment in which the commissioner permits the storage of flammable mixtures, except that, where flammable mixtures are stored in such basement, cellar or other location below grade, in a room or other area that is segregated, vertically and horizontally, from surrounding spaces by a fire separation of not less than a two-hour fire-resistance rating, such system of automatic sprinklers shall be required only within such room or other area.  Such system of automatic sprinklers shall conform to the requirements for automatic sprinklers for spaces classified in storage occupancy group B-1 pursuant to subdivision d of section 27-954 of the building code.

§ 10.  Title 27 of the administrative code of the city of New York is amended by adding a new section 27-4066.1 to read as follows:

§27-4066.1  Containers.  a. Flammable mixtures shall be stored in containers acceptable to the commissioner that are approved for their intended use and identified as to their content.

b.  Except as otherwise provided by rule of the fire commissioner, the maximum allowable size of a container used for the storage of flammable mixtures shall be five gallons for a metal or plastic container approved by the United States Department of Transportation, except that the maximum allowable size of a metal drum approved by the United States Department of Transportation shall be sixty gallons.

§ 11.  Title 27 of the administrative code of the city of New York is amended by adding a new section 27-4066.2 to read as follows:

§27-4066.2  Transportation.  a. It shall be unlawful to transport any flammable mixture in quantities exceeding five gallons without a permit.

b.  The commissioner may, by rule, prescribe requirements for the safe transportation of flammable mixtures, and prohibit or restrict the transportation of such a mixture in the interest of public safety, provided that such requirements, prohibitions and restrictions are consistent with applicable federal and state laws, rules and regulations that require consistency.

§ 12.  Sections 27-4067 and 27-4068 of the administrative code of the city of New York are REPEALED, and new sections 27-4067 and 27-4068 are reenacted to read as follows:

§27-4067  Permit.  a.  Except as otherwise provided in this chapter, it shall be unlawful to manufacture any combustible mixture without a permit issued pursuant to this subchapter or a permit for the manufacture of flammable mixtures issued pursuant to subchapter nine of this chapter.

b.  Except as otherwise provided in this chapter, it shall be unlawful to store, sell, keep or use any combustible mixture in quantities exceeding ten gallons without a permit issued pursuant to this subchapter.

§27-4068  Restrictions.  The commissioner may, by rule, prescribe requirements for the safe manufacture, storage, sale and use of combustible mixtures, and prohibit or restrict the manufacture, storage, sale or use of such a mixture in any container, equipment, building or place in the interest of public safety.

b.  A combustible mixture shall be kept separate from any substance with which it is incompatible, when such mixture and substance are stored or used in containers having a capacity of more than five pounds or one-half gallon.  Except where this chapter, a rule of the fire commissioner, or other applicable law, rule or regulation specifies greater protection, such separation shall be maintained at a distance of not less than twenty feet, by a noncombustible partition extending not less than eighteen inches above and to the sides of the stored mixtures or substance, by storing such mixture and substance in a metal storage cabinet, or by other means acceptable to the fire commissioner.  For purposes of this section, “incompatible” shall mean that such mixture and substance, if mixed, could explode, generate heat, gases or other byproducts, or otherwise react in a manner potentially hazardous to life or property.

c.  The owner of any establishment in which combustible mixtures are being manufactured, stored or used, and all persons engaged in the manufacture, storage or use of such combustible mixtures thereat, shall be familiar with the hazardous nature of the mixtures and the appropriate actions to be taken in the event of spill, leak or fire.  A certificate of fitness shall be obtained where required by rule of the fire commissioner.

§ 13.  Subdivision b of section 27-4069 of the administrative code of the city of New York is REPEALED.

§ 14.  Section 27-4070 of the administrative code of the city of New York is REPEALED, and a new section 27-4070 is reenacted to read as follows:

§27-4070.  Requirements for below-grade storage in mercantile occupancies.  A system of automatic sprinklers shall be provided in each basement, cellar or other location below grade, regardless of the floor area of such space, in any mercantile establishment in which the commissioner permits the storage of combustible mixtures, except that, where combustible mixtures are stored in such basement, cellar or other location below grade, in a room or other area that is segregated, vertically and horizontally, from surrounding spaces by a fire separation of not less than a two-hour fire-resistance rating, such system of automatic sprinklers shall be required only within such room or other area.  Such system of automatic sprinklers shall conform to the requirements for automatic sprinklers for spaces classified in storage occupancy group B-1 pursuant to subdivision d of section 27-954 of the building code.

§15.  Title 27 of the administrative code of the city of New York is amended by adding a new section 27-4070.1 to read as follows:

§27-4070.1  Containers.  a.  Combustible mixtures shall be stored in containers acceptable to the commissioner that are approved for their intended use and identified as to their content.

b.  Except as otherwise provided by rule of the fire commissioner, the maximum allowable size of a container used for the storage of combustible mixtures shall be five gallons for a metal or plastic container approved by the United States Department of Transportation other than a metal drum approved by the United States Department of Transportation, the maximum allowable size of which shall be sixty gallons.

§ 16.  Title 27 of the administrative code of the city of New York is amended by adding a new section 27-4070.2 to read as follows:

§27-4070.2  Transportation.  a.  It shall be unlawful to transport any combustible mixture in quantities exceeding ten gallons without a permit.

b.  The commissioner may, by rule, prescribe requirements for the safe transportation of combustible mixtures, and prohibit or restrict the transportation of such a mixture in the interest of public safety, provided that such requirements, prohibitions and restrictions are consistent with applicable federal and state laws, rules and regulations that require consistency.

§17.  This local law shall take effect 120 days after the date of its enactment into law, except that prior to such effective date the fire commissioner may promulgate rules or take any other administrative actions to implement its provisions, and provided, further, that rules promulgated under provisions repealed by this local law shall remain in effect until amended or repealed by the fire commissioner.

Breaking down the Fire Prevention Code by its lettered subdivisions and ignoring definitions sections, the age of the code is approximately as follows: 8% (51 subdivisions) 1990-2003; 11% (73 subdivisions) 1980-1989; 7% (48 subdivisions) 1970-1979; 14% (95 subdivisions) 1960-1969; 19% (132 subdivisions) 1950-1959; 1% (9 subdivisions) 1938-1949; and 40% (269 subdivisions) 1937.