Int. No. 630

By Council Members Gennaro, Brewer, Fidler, Gentile, Gonzalez, James, Koppell, McMahon, Nelson, Recchia Jr., Reyna, Sanders Jr., Stewart, Weprin, Liu and Mark-Viverito

..Title

A Local Law to amend the administrative code of the City of New York, in relation to developing and implementing a sustainable stormwater management plan.

..Body

Be it enacted by the Council as follows:

Section 1.  Legislative findings and intent. The Council finds that stormwater runoff often causes the combined sanitary and storm sewer system to overflow.  As a result, approximately 27 billion gallons of combined sewage and stormwater are discharged, untreated, into the City’s waters in a typical year. It has been reported that such combined sewer overflows (“CSOs”) dump pathogens such as fecal coliform, as well as nitrogen, into the City’s waterbodies, posing a danger to the public health, damaging the ecology, and making such waterbodies unsuitable for many recreational activities. In portions of the City where separate sewers convey sanitary sewage and stormwater, untreated stormwater discharge carries significant amounts of bacteria and other pollutants, as does stormwater that by-passes the sewer system altogether and flows directly into the City’s waterbodies.

Source control strategies that decrease the amount of stormwater entering the sewer system are valuable tools to reduce the occurrence and volume of CSOs and other stormwater discharges. Effective source control strategies also provide other benefits, such as decreased energy consumption and economic benefits associated with supporting local markets for source control strategies. The Council finds that the development and implementation of a sustainable stormwater management plan is vital to improve water quality in the City and protect the public health through the restoration and protection of the ecological health of the City’s waterbodies and the enhanced use and enjoyment of the City’s waterbodies for recreational activities.

§2.  Chapter 5 of title 24 of the administrative code of the City of New York is amended by adding a new section 24-526.1 to read as follows:

§24-526.1_Sustainable stormwater management. a. Definitions. For the purposes of this section only, the following terms shall have the following meanings:

1. “Bioretention” means using living vegetative systems to capture, store, and cleanse stormwater. Bioretention may be achieved by, among other things, rain gardens, vegetated buffers, swales, and medians.

2. “Cisterns” means storage tanks that are used to capture and store water.

3. “City” means the city of New York.

4. “Downspout disconnections” means disconnecting downspouts from the sewer system, such that water from downspouts drains into bioretention devices, cisterns, or other stormwater control devices.

5. “Green roofs” means a living vegetative system partially or wholly covering a roof.

6. “Green street” means a street that incorporates environmentally beneficial engineering techniques into its design, including vegetative source control measures.

7. “Green wall” means a living vegetative system partially or wholly covering a wall.

8. “Grey-water reuse” means reuse of wastewater for beneficial purposes such as irrigation.

9. “High level storm sewers” means removing the catch basin connection from the combined sewer under streets or in the public right-of-way and connecting such basin to a new storm sewer. This type of separation is also called “partial separation.”

10. "Loading" means an amount of matter that is introduced into a receiving waterbody.

11. “Permeable pavement” means any area paved with material that permits water penetration into the soil. Permeable pavement may consist of any porous surface materials that are installed, laid, or poured.

12. “Pollution loadings” means an amount of pollutants that are introduced into a receiving waterbody.

13. “Rain barrels” means barrels used to hold rainwater.

14. "Source control measure" means any stormwater management practice designed to reduce and/or slow the flow of stormwater into a combined sanitary and stormwater sewer or a separate stormwater sewer, including, but not limited to, any such practices commonly referred to as "Low Impact Development" or "Best Management Practices."

15. “Subgrade storage chambers” means underground stormwater storage facilities that are designed to hold water to prevent such water from entering combined or other sewer systems.

16. “Tree cover” means the extent to which an area is covered by the canopy of living trees.

17. “Tree pit design” means the specifications according to which space is created for the planting of trees in paved areas, including but not limited to the depth and breadth of the planting area, the type of soil, and the type of barrier, if any, constructed around the perimeter of the planting area.

18. "Vegetative source control measure" means a source control measure that relies on living vegetative systems to reduce and/or slow the flow of stormwater into a combined sanitary and stormwater sewer or a separate stormwater sewer.

19. “Waterbodies” means any river, bay, creek, canal, or other body of surface water.

b. Development of sustainable stormwater management plan. 1. The department shall develop a proposed and final sustainable stormwater management plan, respectively. Such plan shall identify and provide for the implementation, on both public and private properties, of efficient and effective source control measures to reduce the volume of water flowing into the city’s sewer system and the pollution loadings carried by stormwater into the city’s waterbodies. The overall goals of such plan shall be to improve water quality in the city’s waterbodies and protect the public health through the restoration and protection of the ecological health of the city’s waterbodies and the enhanced use and enjoyment of the city’s waterbodies for recreational activities.

2. No later than April 30, 2008, the department shall submit a proposed sustainable stormwater management plan that meets the requirement of this section for comment to the mayor, speaker of the council and advisory committee established pursuant to subdivision e of this section.

3. No later than September 30, 2008, the department shall submit a sustainable stormwater management plan that meets the requirement of this section to the mayor, speaker of the council and advisory committee established pursuant to subdivision e of this section. Such plan shall be reviewed and revised by the department as necessary to achieve such plan’s goals; provided that such review must occur at least once every two years. Any such revisions and the reasons for such revisions should be clearly indicated in such plan.

4. No later than September 30, 2009 and no later than September 30th of every second year thereafter, the department shall submit a report to the mayor and the speaker of the council, which shall include, but not be limited to, the implementation status of the measures included in the plan prepared pursuant to subdivision b of this section, as such plan may have been revised, including a quantitative assessment of the progress made toward achieving each of the milestones identified in such plan and, where revised, an explanation for such revision.

c.  Plan elements. 1. The plan prepared pursuant to subdivision b of this section, as it may be revised pursuant such section, shall include but not be limited to the following:

(i) for each of the city’s waterbodies, a statement of goals related to improving water quality and protecting the public health through the restoration and protection of the ecological health of each such waterbody and the enhanced use and enjoyment of each such waterbody for recreational activities;

(ii) identification and description of the measures included in such plan pursuant to subdivision d of this section, including, for each such measure, a statement regarding the properties and/or areas in the city where each such measure was determined to be feasible for implementation;

(iii) for each of the specific measures and goals included in such plan: (a) an identification of the agencies and/or offices that shall be responsible for implementing such measures and/or achieving such goals and implementing protocols for inter-agency coordination; (b) a timeline setting forth target dates to achieve interim and final milestones, which milestones shall be quantitative and measurable, including but not limited to protocols for monitoring, assessing, and reporting progress toward achieving such milestones, and any potential prerequisites to achieving such milestones, including but not limited to technical studies, pilot projects, and federal, state or local legislative action;

(iv) assessment of measures required to be completed by the department pursuant to subdivision d of this section for each measure considered for inclusion in such plan, including descriptions of any modeling methodologies used, a statement of all inputs used to complete each model run, and the results of any such modeling;

(v) the recommendations of the sustainable stormwater management plan advisory committee established pursuant to subdivision e of this chapter, including whether any such recommendation was not assessed for inclusion or assessed and not incorporated in such plan and an explanation for such omission;

(vi) identification of any budgetary authorizations, appropriations, or other allocations that are necessary to implement the measures and goals included in such plan;

(vii) a protocol for routine and contemporaneous notification of the public of the location and occurrence of discharges of untreated stormwater and sanitary sewage through combined sewer outfalls, of any locations where water quality is likely to be adversely affected by such discharge, and of the nature and duration of water quality conditions that are potentially harmful to users of affected waters;

(viii) a uniform methodology to be used for quantitatively measuring the performance of source control projects constructed and/or monitored by the city;

(ix) a summary of public input provided during the development of such plan and a summary of steps the department has taken and will take to involve organizations and members of the public with relevant knowledge and expertise in the implementation of the measures included in such plan pursuant to subdivision f of this section.

d. Assessment of measures. 1. In addition to any other measure the department deems appropriate, the department shall assess the technical and environmental feasibility, benefits, and cost-effectiveness of including the following measures in the plan prepared pursuant to subdivision b of this section:

(i)  implementing source control methods on public and private property, including, but not limited to, green roofs, bioretention, tree cover and tree pit design, permeable pavement, wetland preservation and creation, green streets, green walls, blue roofs, rain barrels, cisterns, downspout disconnections, subgrade storage chambers, and grey-water reuse; provided that such plan shall prioritize vegetative source control methods where feasible.

(ii) creating incentives, including, but not limited to, tax incentives; grant programs; low-interest financing; expedited permitting; and restructuring of water and sewer rates, to encourage the owners of new and existing private buildings and other improvements to real property to retrofit or construct such buildings and improvements with appropriate source control measures such as those set forth in subparagraph (i) of paragraph 1 of this subdivision;

(iii) amending provisions in the building code; housing maintenance code; zoning resolution; and other applicable federal, state and local laws and regulations to require implementation of source control measures such as those set forth in subparagraph (i) of paragraph 1 of this subdivision, including but not limited, to the establishment of specific design standards applicable to the construction, substantial renovation, and retrofitting of buildings and other improvements to such real property; and quantitative requirements for the minimum percentage of stormwater that must be detained, retained, infiltrated and/or reused on-site;

(iv)  establishing specific construction and/or design standards and requirements for the minimization and control of stormwater runoff from new and existing roads, bridges, and all other portions of the public right-of-way;

(v) using new and existing public open space, parks, and plazas for detention; retention; infiltration; reuse; and natural filtering of stormwater;

(vi) implementing a public education program to increase awareness about the need to reduce the flow of stormwater into the city’s sewer systems and waterbodies, and about specific methods and practices for doing so;

(vii) substituting source control stormwater management methods, in lieu of high-level storm sewers, to reduce stormwater runoff volume and/or pollutant loadings at sites where high-level storm sewers are built, have been proposed, or are under consideration;

(viii)  promoting water conservation;

(ix) adapting ongoing ambient water quality monitoring programs to provide for regular collection of samples in the immediate vicinity of combined sewer outfalls during or immediately following combined sewer overflow events; and

(x) encouraging the development of existing and new local markets, job training, and employment opportunities to support the implementation and maintenance of source control methods.

2. For purposes of the assessments carried out pursuant to paragraph 1 of this subdivision:

(i) benefits considered shall be quantified to the greatest extent practicable and shall include, but not be limited to, (a) localized benefits within each of the city’s waterbodies and sewersheds; and (b) non-water quality related environmental, public health, aesthetic, and economic benefits, including but not limited to those associated with cooling and cleansing the air; reducing energy demand for indoor air conditioning; reducing the city’s operating expenses for sewage treatment; sequestering and reducing emissions of greenhouse gases; beautifying neighborhoods; providing habitat for birds and other wildlife; and development of new local markets that can stimulate job growth.

(ii) cost-effectiveness shall be (a) measured by metrics, including, but not limited to, cost per volume of combined sewer overflow reduction within each waterbody or discrete portion thereof and cost per increment of water quality improvement within each waterbody or discrete portion thereof; and (b) assessed, to the extent possible, with respect to non-water quality related environmental, public health, aesthetic, and economic benefits, including but not limited to those associated with cooling and cleansing the air; reducing energy demand for indoor air conditioning; reducing the city’s operating expenses for sewage treatment; sequestering and reducing emissions of greenhouse gases; beautifying neighborhoods; providing habitat for birds and other wildlife; and

(iii) modeling shall be used as a tool to assist in the analysis of benefits and cost-effectiveness, and modeling analyses shall include assessments of water quality conditions on a time-scale shorter than one-month rolling averages.

e. Advisory committee. 1. A sustainable stormwater management plan advisory committee shall be established to provide advice and recommendations to the department on the development and implementation of each of the elements of the stormwater management plan required to be developed and implemented by the department pursuant to subdivision b of this section.

2. Such advisory committee shall be comprised of eight members, four of whom shall be appointed by the mayor, three of whom shall be appointed by the speaker of the council, and one of whom shall be appointed by the public advocate. Members appointed to such advisory committee shall have expertise in one or more of the following areas: environmental justice; engineering, planning, or land use; real estate and/or development; and non-profit environmental advocacy. No such member shall be an employee or official of the city of New York.

3. Members of such advisory committee shall serve without compensation for a term of one year to commence forty-five days after the effective date of the local law that added this section. Advisory committee members shall select a chairperson by majority vote. Any vacancy occurring other than by expiration of term shall be filled in the same manner as the original position was filled. A person filling such vacancy shall serve for the unexpired portion of the term of the member succeeded.

4. Such advisory committee shall meet at least six times a year and shall participate in the public forums required to be held by the department pursuant to subdivision f of this section.

5. No later than June 30, 2008, the advisory committee shall submit to the mayor and the speaker of the council a report containing the committee’s comments and recommendations regarding the proposed stormwater management plan prepared pursuant to paragraph 2 of subdivision b of this section.

6. No later than October 31, 2008, the advisory committee shall submit to the mayor and the speaker of the council a report containing the committee’s comments and recommendations regarding the stormwater management plan prepared pursuant to paragraph 2 of subdivision b of this section.

f.  Public input. 1. The department shall solicit public input during the development of the plan prepared pursuant to subdivision a of this section. Opportunities for such input shall include, at a minimum, quarterly public forums at which representatives of the department shall provide updates on the department’s progress in preparing such plan and invite feedback from participants.

2. The department shall involve organizations and members of the public with relevant knowledge and expertise in the implementation of the measures included in such plan.

g. Each management report and preliminary management report submitted to the council by the mayor pursuant to section 12 of the New York city charter shall include, with respect to each agency or office identified pursuant to paragraph five of subparagraph (iii) of paragraph 1 of subdivision c of this section, quantitative indicators of progress towards implementing the measures included in the plan prepared pursuant to subdivision b of this section.

§3. This local law shall take effect immediately.

LP

LS#4030

10/10/07