Staff: Committee on Housing & Buildings

Caitlin Fahey, Counsel

Austen Brandford, Counsel

Jose Conde, Senior Legislative Policy Analyst

Sarah Gastelum, Principal Financial Analyst

Committee on Health

Ze-Emanuel Hailu, Senior Legislative Counsel

Emily Balkan, Policy Analyst

Jeanette Merrill, Finance Analyst

- The New York City Council

Jeffrey Baker, Legislative Director

- Committee Report of the Infrastructure and Human Services Divisions

Terzah Nasser, Deputy Director, Infrastructure Division

Andrea Vazquez, Deputy Director, Human Services Division

Committee on Housing and Buildings

Hon. Robert E. Cornegy, Jr., Chair

Committee on Health

Hon. Mark Levine, Chair

October 23, 2018

The City’s Cooling Towers

Int. No. 1149:	By Council Member Kallos

Title:	A Local Law to amend the administrative code of the city of New York, in relation to documentation and submission of cooling tower inspections and certifications

Administrative Code:	Amends section 28-371.5; adds a new paragraph 3 to subdivision e of section 17-194.1

Int. No. 1158:	By Council Members Levine and Kallos

Title:	A Local Law to amend the administrative code of the city of New York,  in relation to holding information sessions and posting information online to provide guidance to building owners regarding maintenance and inspections of cooling towers

Administrative Code:	Amends section 17-194.1

Int. No. 1164:	By Council Member Rodriguez

Title:	A Local Law to amend the administrative code of the city of New York, in relation to reporting the results of cooling tower inspections and to repeal Local Law 77 for the year 2015, relating to cooling towers

Administrative Code:	Repeals section 3 of local law number 77 for the year 2015; amends section 17-194.1

Int. No. 1166:	By Council Member Salamanca

Title:	A Local Law in relation to requiring an assessment of potential determinants of Legionnaires' disease in the city

Introduction

On October 23, 2018, the Committee on Housing and Buildings, chaired by Council Member Robert Cornegy, Jr., and the Committee on Health, chaired by Council Member Mark Levine, will hold a joint hearing on the City’s laws regarding the inspection and maintenance of cooling towers, with a focus on preventing outbreaks of Legionnaire’s disease. The Committees will hear a package of four bills related to transparency in cooling tower inspection and maintenance, as well as facilitating cooling tower inspections and identifying all determinants of Legionnaire’s disease. The Committees expect to receive testimony from the Administration, health advocates, real estate representatives, tenant advocates, and members of the public.

Background

According to the Centers for Disease Control and Prevention (CDC), Legionnaires’ disease is a pneumonia-like disease caused by a bacterium called Legionella. Legionella is commonly found in aquatic environments and can live in such environments for several months. The bacterium grows easily in warm water, especially if algae and scale deposits are present.

Legionella grows in many different warm water systems that may spread water as aerosols, sprays, or mists. For example, high concentrations of Legionella can grow in cooling towers if the towers are not disinfected and maintained. Cooling towers function as part of many modern air conditioning systems for buildings; they are used to cool water and remove unwanted heat, in the form of water evaporation, to the atmosphere. The vapor or mist created by cooling towers allows Legionella, if present in the water, to be inhaled by a person.

The level of contamination in the water source, the vulnerability of the exposed person and the intensity of the exposure influence the probability of contracting Legionnaires’ disease. Legionella grows well in the lungs and causes people to have pneumonia. According to the CDC, the majority of healthy people will not contract the disease after being exposed to the bacteria. The people who are at higher risk of becoming sick are those who are current or former smokers, are over the age of 50, have chronic lung disease, have a weak immune system, or take drugs that suppress the immune system.

A person infected with Legionnaires’ disease can have symptoms resembling those of other forms of pneumonia, such as cough, shortness of breath, fever, muscle aches, and headaches. The symptoms begin to appear 2 to 14 days after being exposed to the Legionella bacteria. A person can completely recover in several weeks by using antibiotics but may need to be hospitalized to treat the disease.  To distinguish Legionnaires’ from other forms of pneumonia, several laboratories perform tests to detect Legionella bacteria within the body.

In 2015, a Legionnaires’ outbreak linked to a cooling tower in the South Bronx affected 133 City residents and resulted in 12 deaths. In response, the Council passed Local Law 77, which requires owners of cooling towers to register such towers with the Department of Buildings (DOB) and develop a plan for maintaining the towers. It requires cooling towers to be inspected and tested on a quarterly basis. If any test comes back positive for microbes, such as the bacteria that cause Legionnaires’ disease, then the owner is required to clean and disinfect the system in accordance with Department of Health and Mental Hygiene (DOHMH) regulations. Local Law 77 also requires the owner or operator of a cooling tower to file an annual certification that the cooling tower was inspected, tested, cleaned, and disinfected in accordance with DOHMH regulations. Although the Law requires inspections and requires building owners to maintain records of all inspections and tests performed, such records are not routinely shared with DOHMH or DOB unless requested. According to the most recent DOHMH report on the topic, as of November 1, 2017, there are 6,129 cooling towers registered with DOB, representing 5,075 cooling tower systems in the City. However, in 2017, the City received annual certifications for 4,621 cooling towers.

Moreover, despite Local Law 77, Legionnaires’ disease is on the rise locally as well as nationally. In the City, Legionnaires’ disease incidence rates increased from 2.3 to 4.7 per 100,000 from 2007 to 2017. Between 2015 and 2017, Legionnaires’ affected more men than women and the highest incidence was among individuals 75 years old or older. Additionally, Legionnaires’ disease was highest among Black New Yorkers, followed by Latinx, White, and Asian New Yorkers (6.0, 2.9, 2.7, and 1.8 per 100,000 residents, respectively), and was highest in neighborhoods experiencing high levels of poverty. The City has experienced additional Legionnaires’ outbreaks in 2018, including two in the same area of Washington Heights within the span of a few months. In July and August, 27 people contracted Legionnaires’ disease during an outbreak and one individual died. In early October 2018, another outbreak commenced and has caused at least 15 more illnesses and one death.

Int. No. 1149

Int. No. 1149 would require the Department of Buildings to send electronic reminders and pre-filled inspection forms to owners and operators of cooling towers. It would also require qualified inspectors to document and submit inspection results electronically to the Department of Health and Mental Hygiene.

This legislation would take effect 180 days after becoming law.

Int. No. 1158

Int. No. 1158 would require the Department of Health and Mental Hygiene, in consultation with the Department of Buildings, to hold information sessions at least twice annually for building owners regarding maintenance, cleaning, and inspections of cooling towers, and to post the information online.

This legislation would take effect 90 days after becoming law.

Int. No. 1164

Int. No. 1164 would require the Commissioner of the Department of Health and Mental Hygiene, in consultation with the Department of Buildings to annually report to the Speaker of the City Council and the Mayor on the results of each cooling tower inspection, the number of cooling towers registered in the City, the number of cooling tower certifications, the number of tests that revealed concerning levels of microbes, the number of cleanings performed by the Department of Health and Mental Hygiene and the number of people diagnosed with Legionnaires’ disease. The results of cooling tower inspections must be made available online.

This legislation would take effect 90 days after becoming law

Int. No. 1166

Int. No. 1166 would require the Department of Health and Mental Hygiene, in consultation with the Department of Buildings, to conduct a year-long assessment of all potential determinants of Legionnaires ’ disease in the city, and to report the findings to the Speaker of the City Council and the Mayor.

This legislation would take effect immediately after becoming law.

This Page Intentionally Left Blank

Int. No. 1149

By Council Member Kallos

..Title

A Local Law to amend the administrative code of the city of New York, in relation to documentation and submission of cooling tower inspections and certifications

..Body

Be it enacted by the Council as follows:

Section 1.  Section 28-317.5 of the administrative code of the city of New York is amended to read as follows:

§ 28-317.5 Annual certification. The owner or operator of a cooling tower shall file a certification each year that such cooling tower was inspected, tested, cleaned and disinfected in compliance with section 17-194.1 of the administrative code and the rules of the department of health and mental hygiene, and that a maintenance program and plan has been developed and implemented as required by such section. Such certification shall be submitted by November 1, 2016 and by November 1 of each year thereafter, or as otherwise specified in the rules of the department. The department shall send electronic reminders to all owners and operators of cooling towers 30 days in advance of certification dates. Such electronic reminders shall include pre-filled electronic certification forms, which can be submitted electronically to the department.

§ 2. Subdivision e of section 17-194.1 of the administrative code of the city of New York is amended by adding a new paragraph 3 to read as follows:

3. The results of each inspection shall be documented and submitted electronically by the qualified person, in a manner to be established by the department, within five days of inspection.

§ 3. This local law takes effect 180 days after it becomes law, except that the department shall take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

SIL

LS 7698

10/09/18

Int. No. 1158

By Council Members Levine and Kallos

..Title

A Local Law to amend the administrative code of the city of New York, in relation to holding information sessions and posting information online to provide guidance to building owners regarding maintenance and inspections of cooling towers

..Body

Be it enacted by the Council as follows:

Section 1. Section 17-194.1 of the administrative code of the city of New York is amended by adding a new heading to read as follows:

§ 17-194.1 Cooling towers; maintenance and inspection.

§ 2. Section 17-194.1 of the administrative code of the city of New York is amended by adding a new subdivision k to read as follows:

k. Guidance for building owners. The department, in consultation with the department of buildings, shall hold information sessions, at least twice annually, for interested building owners, regarding the requirements for maintaining, cleaning, and inspecting cooling towers in accordance with this section. The information provided in such information sessions shall also be posted on the website of the department in simple and understandable terms.

§ 3. This local law takes effect 90 days after it becomes law.

SIL

LS 7638

10/09/18

This Page Intentionally Left Blank

Int. No. 1164

By Council Member Rodriguez

..Title

A Local Law to amend the administrative code of the city of New York, in relation to reporting the results of cooling tower inspections and to repeal Local Law 77 for the year 2015, relating to cooling towers

..Body

Be it enacted by the Council as follows:

Section 1.  Section 3 of local law number 77 for the year 2015 is REPEALED.

§ 2. Section 17-194.1 of the administrative code of the city of New York is amended by labeling the section and adding new subdivisions k and l to read as follows:

§ 17-194.1 Cooling towers, maintenance and inspection.

k. The commissioner, in consultation with the department of buildings, shall submit a report to the mayor and the speaker of the city council on or before May 15 each year reporting on the following information for the prior year:

1. The result of each inspection performed on each cooling tower pursuant to subdivision e of section 17-194.1 through November 1 of the prior year;

2. The number of new cooling tower registrations and the number of notifications of discontinued use of a cooling tower pursuant to section 28-317.3 received by the department of buildings through November 1 of the prior year;

3. The number of annual certifications that a cooling tower was inspected, tested, cleaned and disinfected pursuant to section 28-317.5 received by the department of buildings through November 1 of the prior year;

4. The number of reports of tests for the presence of microbes that reveal levels that present a serious health threat received by the department pursuant to paragraph 2 of subdivision e of section 17-194.1;

5. The number of inspections of cooling towers conducted pursuant to subdivision h of section 17-194.1 and the rules of the department, along with the number and types of any violations cited during such inspections;

6. The number of cleanings, disinfections or other actions performed by or behalf of the department pursuant to subdivision f of section 17-194.1; and

7. The number of persons diagnosed with legionnaires’ disease in the city in each of the previous 10 years, to the extent known or reasonably discoverable by the department.

l. The results of each inspection conducted through November 1 of each year on each cooling tower pursuant to subdivision e of section 17-194.1 shall be posted on the website of the department in a searchable format and maintained on such website for no less than three years.

§ 3. This local law takes effect 90 days after it becomes law.

KS

LS 7630

7/18/18 1:00PM

Int. No. 1166

By Council Member Salamanca

..Title

A Local Law in relation to requiring an assessment of potential determinants of Legionnaires’ disease in the city

..Body

Be it enacted by the Council as follows:

Section 1. The department of health and mental hygiene, in consultation with the department of buildings, shall conduct an assessment of all potential determinants of Legionnaires’ disease in the city, which shall include all potential sources and associated risk factors of the disease. The department of health and mental hygiene shall report the findings of such assessment to the speaker of the council and the mayor by no later than one year after the enactment of this law.

§2. This local law shall take effect immediately.

SIL

LS #5269

10/09/2018

See Centers for Disease Control and Prevention, Legionella (Legionnaires’ Disease and Pontiac Fever) available at http://www.cdc.gov/legionella/index.html.

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at http://www.ccohs.ca/oshanswers/diseases/legion.html.

Id.

See United States Department of Labor: Occupational Safety & Health Administration, Section II:C-1. Domestic Hot-Water Systems, available at https://www.osha.gov/dts/osta/otm/legionnaires/hotwater.html and See United States Department of Labor: Occupational Safety & Health Administration, Section II:A. Cooling Towers, Evaporative Condensers, and Fluid Coolers, available at  https://www.osha.gov/dts/osta/otm/legionnaires/cool_evap.html.

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at http://www.ccohs.ca/oshanswers/diseases/legion.html.

Id.

The CDC defines Pneumonia as “an infection of the lungs that can cause mild to severe illness in people of all ages” available at http://www.cdc.gov/pneumonia/.

See Centers for Disease Control and Prevention, Legionella (Legionnaires’ Disease and Pontiac Fever) available at http://www.cdc.gov/legionella/index.html.

Id.

Id.

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at http://www.ccohs.ca/oshanswers/diseases/legion.html.

Id.

See the Department of Health and Mental Hygiene, Epi Data Brief, available at https://www1.nyc.gov/assets/doh/downloads/pdf/epi/databrief106.pdf.

See the New York City Council, Int 0866-2015, available at https://legistar.council.nyc.gov/LegislationDetail.aspx?ID=2402123&GUID=164871EA-F727-4020-9047-1E9EDF17BB04&Options=ID|Text|&Search=legionella.

Id.

Id.

Id.

DOHMH, 2017 Local Law 77 of 2015 Section 3(a) Report.

Id.

See the Department of Health and Mental Hygiene, Epi Data Brief, available at https://www1.nyc.gov/assets/doh/downloads/pdf/epi/databrief106.pdf.

Id.

Id.

See the City of New York, Legionnaires Disease in Lower Washington Heights, available at https://www1.nyc.gov/nyc-resources/service/5304/legionnaires-disease-in-lower-washington-heights.

See the New York Post, 1 dead after latest Legionnaires’ outbreak in Washington Heights, available at https://nypost.com/2018/10/10/1-dead-after-latest-legionnaires-outbreak-in-washington-heights/.

Id.