Staff:

Baaba K. Halm, Counsel to the Committee

Laura Rogers, Legislative Attorney

Jeffrey Baker, Legislative Attorney

Jarret Hova, Legislative Attorney

Benjamin J. Goodman, Senior Legislative Policy Analyst

Anthony Brito, Legislative Financial Analyst

# THE COUNCIL OF THE CITY OF NEW YORK

##### REPORT OF THE DIVISION OF INFRASTRUCTURE

Robert Newman, Legislative Director

##### COMMITTEE ON HOUSING AND BUILDINGS

Hon. Erik Martin Dilan, Chair

##### June 21, 2011

INT. NO. 575: 	By Council Members Garodnick, Chin, Dromm, Fidler, Foster, James, Koppell, Lander, Mark-Viverito, Mendez, Palma, Rose, Williams and Koo

TITLE:	A Local Law to amend the building code of the city of New York, in relation to requiring newly constructed multi-family residences to provide adequate space to store and sort designated recyclable material.

BUILDING CODE:	Amends the New York City Building Code by adding new sections BC 1213.4 and BC 1213.5

Introduction

On June 21, 2011, the Committee on Housing and Buildings, chaired by Council Member Erik Martin Dilan, will conduct a hearing on Int. No. 575, in relation to requiring newly constructed multi-family residences to provide adequate space to store and sort designated recyclable material.  This bill is based on one of the recommendations issued by the Green Codes Task Force.  The Committee expects to hear testimony from representatives of the Department of Buildings (DOB or Department), industry experts, environmentalists, academics, developers, property owners, tenants, and other persons interested in this legislation.

Background

The New York City Administrative Code requires building owners to provide sufficient storage space for source separated recyclables in residential buildings with four or more units.  Recycling storage requirements have been in place since the inception of the City’s recycling laws in 1989.  Requiring storage space for recyclables serves multiple purposes: first, it ensures that designated recyclables that are source separated at the point of generation – within a residential unit – remain separate from regular waste prior to collection by the Department of Sanitation; in addition, the law also serves as a tool for education and outreach, since building owners are required to post appropriate recycling information for residents in such spaces.

Although City law requires building owners to provide storage space for recyclables, a significant number of multi-unit residential buildings -- particularly older buildings -- lack sufficient space to accommodate proper storage for recyclables.  In addition, newly constructed buildings are not required to account for sufficient storage space in new residential construction.

Other Jurisdictions and LEED

Several other municipalities require residential buildings to provide sufficient storage space for designated recyclables including San Francisco, Santa Monica and Portland, Oregon.   Leadership in Energy and Environmental Design (LEED) requires sufficient storage space for source separated metal, glass, plastic and paper, and LEED 2009 specifies a minimum size for refuse storage rooms in commercial buildings.

Int. No. 575

In order to ensure that residential buildings contain sufficient storage space for recyclables, Int. No. 575 would require new multi-family residential buildings to provide adequate space to store and sort recyclable materials.

Bill section one would add a new section 1213.4, entitled “Central refuse storage room,” to the Building Code and would require that any building intended to be classified in occupancy groups R-1 (Residential Group occupied transiently) or R-2 (Residential Group with more than two dwelling units on a long term basis) and designed to have 12 or more units, provide sufficient space for storage of refuse and designated recyclables, which are source separated pursuant to residential recycling laws.  The requirements for such storage rooms would be as follows: (1) where there will be between 12 and 23 dwelling units, the storage room must be no less than 65 square feet in area; (2) where there will be between 24 and 49 dwelling units, the storage room must be no less than 100 square feet in area; (3) where there will be between 50 and 99 dwelling units, the storage room must be no less than 150 square feet in area; (4) where there will be 100 or more dwelling units, the storage room must be no less than 150 square feet in area plus one additional square foot in area for each dwelling unit over 99 units up to a maximum area of 250 square feet.

Bill section one would also add a new section 1213.5, entitled “Secondary storage rooms for refuse and recyclables,” to the Building Code and would require that any building intended to be classified in occupancy groups R-1 or R-2 and designed to have 12 or more units, provide a secondary storage space for refuse and designated recyclables on any floor of such building with main entries to six or more dwelling units.  Such secondary storage rooms would be required to be a minimum of 10 square feet in area and to contain separate receptacles for refuse, designated paper and cardboard, and designated metal, glass, and plastic.  Section 1213.5 would include two exceptions to such requirements: for floors that have separate chutes for refuse, designated paper and cardboard, and designated metal, glass, and plastic, provided that such chutes for the designated recyclable material are constructed in accordance with section 707.13 of the Building Code; and, for floors with a refuse access room that is constructed in accordance with section 707.13.3 of the Building Code and where such refuse access room is at least 8 square feet in area.

Bill section two contains the enactment clause which provides that this local law would take effect one hundred eighty days after its enactment.

Int. No. 575

By Council Members Garodnick, Chin, Dromm, Fidler, Foster, James, Koppell, Lander, Mark-Viverito, Mendez, Palma, Rose, Williams and Koo

A Local Law

To amend the New York city building code, in relation to requiring newly constructed multi-family residences to provide adequate space to store and sort designated recyclable material.

Be it enacted by the Council as follows:

Section 1. Section BC 1213 of the New York city building code is amended by adding new sections BC 1213.4 and BC 1213.5 to read as follows:

1213.4 Central refuse storage room. Any building intended to be classified in occupancy groups R-1 or R-2 having 12 or more dwelling units shall include at least one central refuse storage room which shall provide sufficient space for the storage of both refuse and designated recyclables, source separated in accordance with the requirements of section 16-305 of the code and the rules promulgated pursuant thereto, and shall comply with the following minimum area requirements: (1) where there are to be between 12 and 23 dwelling units, the storage room shall be no less than 65 square feet in area; (2) where there are to be between 24 and 49 dwelling units, the storage room shall be no less than 100 square feet in area; (3) where there are to be between 50 and 99 dwelling units, the storage room shall be no less than 150 square feet in area; (4) where there are to be 100 or more dwelling units, the storage room shall be no less than 150 square feet in area plus one additional square foot in area for each dwelling unit over 99 units up to a maximum area of 250 square feet.

1213.5 Secondary storage rooms for refuse and recyclables. Any building intended to be classified in occupancy groups R-1 or R-2 having 12 or more dwelling units shall contain a secondary storage room for refuse and designated recyclable material on any floor with main entries to six or more dwelling units. Secondary storage rooms shall be a minimum of 10 square feet in area and shall contain separate receptacles for refuse, designated paper and cardboard, and designated metal, glass, and plastic.

Exceptions:

1. Floors with separate chutes for refuse, designated paper and cardboard, and designated metal, glass, and plastic.  Chutes for designated recyclable material shall be constructed in accordance with section 707.13 of this code.

2. Floors with a refuse access room that is constructed in accordance with section 707.13.3 of this code and such refuse access room is at least eight square feet in area.

§2.  This local law shall take effect one hundred eighty days after its enactment.

# Footnotes

Recognizing the important role of building performance, Mayor Bloomberg and Speaker Quinn convened the New York City Green Codes Task Force in July of 2008.  The Task Force was composed of industry experts, union representatives, tenant advocates, environmentalists, academics, developers, buildings owners, and representatives of City agencies as well as the Mayor’s office and the Speaker’s office. This group was divided into nine technical committees, a steering committee, and an industry advisory committee. After two years of work examining each of New York City’s building codes, the Task Force presented 111 recommendations for “greening the codes.” The recommended improvements are intended to raise the bar for environmental performance in buildings throughout the City.

NYC Admin Code 16-305(e)(1).

Id.

Id at (e)(2).

Urban Green, Green Codes Task Force, “RC 2: Provide Recycling Areas in Apartment Buildings” (2010) available at: http://www.urbangreencouncil.org/greencodes/full-proposal/.

LEED is an internationally-recognized green buildings certification system which was ddeveloped by the U.S. Green Building Council (USGBC) in March 2000 to provide building owners and operators with a framework for identifying and implementing practical and measurable green building design, construction, operations and maintenance solutions.  See, U.S. Green Building Council website, available at http://www.usgbc.org/DisplayPage.aspx?CMSPageID=1988.

Supra note 5.