Int. No. 1120

By Council Members Williams and Chin (by request of the Mayor)

..Title

A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to notification of proposed excavation or drilling

..Body

Be it enacted by the Council as follows:

Section 1.  The administrative code of the city of New York is amended to add a new section 24-367 to read as follows:

§ 24-367 Excavation and drilling; notification and permit. Whenever excavation or drilling, for any purpose, to a depth greater than 50 feet is proposed, the owner of the premises or the contractor shall notify the department of the location of such activity 30 business days prior to commencement of such activity. Within 10 business days of receiving such notification, the department shall determine whether the location of such activity is in close proximity to critical infrastructure, as defined in rules promulgated by the department, and notify the owner or contractor of such determination. If the department determines that the location of such activity is in close proximity to critical infrastructure, the owner or contractor shall obtain a permit from the department prior to commencement of such activity. The issuance of any permit or approval by the department of buildings shall not relieve the owner or contractor of the obligation to comply with any notification or permitting requirements of the department.

§ 2. Section 3304.3.3 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

3304.3.3 Notification to the Department of Environmental Protection.

Whenever excavation or drilling, for any purpose, to a depth greater than [100 feet (30 480mm)] 50 feet (15 240 mm) is proposed [in a block that has any part of its boundary falling within 500 feet (152 m) horizontal distance from the centerline of any water tunnel as measured at or near the surface (the “Corridor”), an approval and permit shall be obtained from the New York City Department of Environmental Protection. The], the owner of the premises or the contractor shall notify the New York City Department of Environmental Protection prior to commencement of [any] such activity in accordance with Section 24-367 of the Administrative Code and any rules promulgated thereunder. The issuance of any permit or approval by the department shall not relieve the applicant, owner or contractor of the obligation to comply with any [approval] notification or permitting requirements of the New York City Department of Environmental Protection.

§ 3. This local law takes effect 180 days after it becomes law, provided, however, that the commissioner of environmental protection may take all actions necessary for its implementation, including the promulgation of rules, prior to such effective date.