Staff:	Jennifer Wilcox, Senior Counsel

Guillermo Patino, Senior Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Jeffrey Baker, Deputy Director, Infrastructure Division

Committee on Housing and Buildings

Jumaane D. Williams, Chair

January 14, 2016

PROPOSED INT. NO. 722-A:	By Council Members Williams, Levine, Rose and Rosenthal (by request of the Manhattan Borough President)

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to minimum temperatures required to be maintained in dwellings

ADMINISTRATIVE CODE:	Amends subdivision a of section 27-2029

PROPOSED INT. NO. 871-A:	By Council Members Dromm, Johnson, Mendez, Menchaca, Constantinides, Richards, Rose, Cohen, Rosenthal, Lander, Levine, Rodriguez, Torres, Cornegy, Koslowitz, Van Bramer, Chin, Ferreras-Copeland, Palma, Levin, Crowley, Cumbo, Gentile, Barron, Grodenchik and Reynoso

TITLE:	A Local Law to amend the New York city plumbing code, New York city building code and administrative code of the city of New York, in relation to gender-neutral single-occupant bathrooms

ADMINISTRATIVE CODE: 	Adds a new section 28-315.6.3

BUILDING CODE:	Amends section 1110.2

PLUMBING CODE: 	Amends sections 403.1, 403.2 and 403.4 and table 403.1

Introduction

On January 14, 2016, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams will hold a hearing to consider Proposed Int. No. 722-A and Proposed Int. No. 871-A. The Committee expects to receive testimony from representatives of the Department of Buildings, the Department of Housing Preservation and Development, housing advocates, legal service providers, members of the real estate industry, and other interested members of the public.

Proposed Int. No. 722-A

Proposed Int. No. 722-A would require that during heating season, between October 1 and May 31, owners of residential building who are obligated to provide heat for their tenants maintain certain minimum temperatures in areas of dwelling units that are used or occupied for living purposes. The bill would amend existing law to require the minimum temperatures in living areas to be maintained as follows:

- Between 6 a.m. and 10 p.m., the inside temperature would have to be kept at 72 degrees or above (raised from 68).

- Between 10 p.m. and 6 a.m., the inside temperature would have to be kept at 65 degrees or above (raised from 55).

Section one of Proposed Int. No. 722-A would amend subdivision a of section 27-2029 of the administrative code of the city of New York, which sets forth the minimum inside temperatures to be maintained in dwelling units, to do away with the outside temperatures that trigger the heating requirement and to increase the minimum inside temperature to 72 degrees or above between 6 a.m. and 10 p.m. and to 65 degrees or above between 10 p.m. and 6 a.m. during heating season.

Section two of Proposed Int. No. 722-A contains the enactment clause and provides that the local law take effect on July 1, 2016, except that the commissioner of housing preservation and development may take any actions necessary for its implementation, including promulgation of rules, prior to such effective date.

Proposed Int. No. 871-A

Proposed Int. No. 871-A would require single-occupant toilet rooms to be usable by persons of any gender.

Section one of Proposed Int. No. 871-A would amend section 403.2 of the New York city plumbing code, which sets forth the requirement that separate facilities be provided for each sex where plumbing fixtures are required, to exempt single-occupant toilet rooms from the such requirement. Further, a new section 403.2.1 would be added to clarify that single-occupant toilets rooms shall be usable by persons of any sex, except where access is possible only though a room permissibly restricted by sex.

Section two of Proposed Int. No. 871-A would amend section 403.4 of the New York city plumbing code, which sets forth the requirement that mandatory public facilities be designated by a legible sign for each sex, to clarify such requirement. The amended section would provide that required public facilities be designated by a legible sign for each sex, or in the case of gender–neutral single-occupant bathrooms, for all sexes.

Section three of Proposed Int. No. 871-A would amend note j of table 403.1 of the New York city plumbing code, which lays out the minimum number of required plumbing fixtures, to clarify certain instances where section 403.2.1 would be applicable and to  change the term unisex to family or assisted-use.

Section four of Proposed Int. No. 871-A would amend section 403.1 of the New York city plumbing code, which lays out the minimum number of required plumbing fixtures, to add a new section 403.1.3 that provides that fixtures located within single-occupant toilet rooms, subject to the exception of proposed section 403.2.1, that single-occupant toilets rooms shall be usable by persons of any sex, except where access is possible only though a room permissibly restricted by sex, are permitted to be included in the number of fixtures required by existing section 403 for either the male or the female occupants.

Section five of Proposed Int. No. 871-A amends section 1110.2 of the New York city building code, which requires that directional signage indicating the route to the nearest like accessible element be provided at or in close proximity to certain locations, to require that directional signage indicating the route to the nearest like accessible element be provided at or in close proximity to inaccessible single-occupant toilet rooms.

Section six of Proposed Int. No. 871-A amends article 315 of title 28 of the administrative code of the city of New York, which lays out certain retroactive requirements, to add a new section 28-315.6.3 which would require that single-occupant toilet rooms be usable by persons of any sex in accordance with section 403.2.1 of the New York city plumbing code by not later than July 1, 2016.

Section seven of Proposed Int. No. 871-A contains the enactment clause and provides that the local law take effect 120 days after enactment, except that the commissioner of buildings, commissioner of health and mental hygiene and commissioner of consumer affairs shall take all actions necessary for its implementation, including the promulgation of rules, prior to such effective date.

LEFT INTENTIONALLY BLANK

Proposed Int. No. 722-A

By Council Members Williams, Levine, Rose and Rosenthal (by request of the Manhattan Borough President)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to minimum temperatures required to be maintained in dwellings

..Body

Be it enacted by the Council as follows:

Section 1. Subdivision a of section 27-2029 of the administrative code of the city of New York is amended to read as follows:

a. During the period from October first through May thirty-first, centrally-supplied heat, in any dwelling in which such heat is required to be provided, shall be furnished so as to maintain, in every portion of such dwelling used or occupied for living purposes:

(1) between the hours of six a. m. and ten p. m., a temperature of at least [sixty-eight] 72 degrees Fahrenheit [whenever the outside temperature falls below fifty-five degrees]; and

(2) between the hours of ten p. m. and six a. m., a temperature of at least [fifty-five] 65 degrees Fahrenheit [whenever the outside temperature falls below forty degrees].

§ 2. This local law shall take effect on July 1, 2016, except that the commissioner of housing preservation and development may take any actions necessary for its implementation, including promulgation of rules, prior to such effective date.

wcj

LS# 0181

1/5/16 – 1148a

LEFT INTENTIONALLY BLANK

Proposed Int. No. 871-A

By Council Members Dromm, Johnson, Mendez, Menchaca, Constantinides, Richards, Rose, Cohen, Rosenthal, Lander, Levine, Rodriguez, Torres, Cornegy, Koslowitz, Van Bramer, Chin, Ferreras-Copeland, Palma, Levin, Crowley, Cumbo, Gentile, Barron, Grodenchik and Reynoso

..Title

A Local Law to amend the New York city plumbing code, New York city building code and administrative code of the city of New York, in relation to gender-neutral single-occupant bathrooms

..Body

Be it enacted by the Council as follows:

Section 1.  Section 403.2 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to read as follows:

§ 403.2 Separate facilities. Where plumbing fixtures are required, separate facilities shall be provided for each sex.

Exceptions:

1. Separate facilities shall not be required for dwelling units and sleeping units.

2. In structures or tenant spaces where combined employee and public toilet facilities are provided in accordance with Section 403.3, separate facilities shall not be required where the total number of employees, customers, patrons and visitors is 30 or fewer.

3. In structures or tenant spaces where required toilet facilities for only employee use are provided in accordance with Section 403.3, separate facilities shall not be required where the total number of employees is 30 or fewer.

4. In  structures  or  tenant  spaces  where  required  toilet  facilities  for  only  public  use  are  provided  in  accordance  with  Section 403.3, separate facilities shall not be required where the total number of customers, patrons and visitors is 30 or fewer.

5. Single-occupant toilet rooms.

§ 403.2.1 Single-occupant toilet rooms. All single-occupant toilet rooms shall be usable by persons of any sex.

Exception: A single-occupant toilet room for which access is possible only through a room permissibly restricted by sex.

§ 2. Section 403.4 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to read as follows:

§ 403.4 Signage. Required public facilities shall be designated by a legible sign for each sex or for all sexes. Signs shall be readily visible and located near the entrance to each toilet facility.

§ 3. Note j of table 403.1 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to read as follows:

j. The requirements for the number of water closets for a total occupancy of 150 persons or fewer shall not apply to bars except that there shall be at least one water closet for men and at least one water closet for women, subject to the requirements of section 403.2.1, or at least two [unisex] family or assisted-use toilet rooms.

§ 4. Section 403.1 of the New York city plumbing code, as added by local law number 41 for the year 2012, is amended to add a new section 403.1.3 to read as follows:

§ 403.1.3 Single-occupant toilet fixtures. Fixtures located within single-occupant toilet rooms, subject to the exception of section 403.2.1, are permitted to be included in the number of fixtures required by Section 403 for either the male or the female occupants.

§ 5. Item 4 of section 1110.2 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

4. At each separate-sex toilet and bathing room and inaccessible single-occupant toilet room indicating the location of the nearest accessible family or assisted-use toilet or bathing room where provided in accordance with Section 1109.2.1.

§ 6. Article 315 of title 28 of the administrative code of the city of New York is amended to add new section 28-315.6.3 to read as follows:

§ 28-315.6.3 Single-occupant toilet rooms. Single-occupant toilet rooms shall be usable by persons of any sex in accordance with section 403.2.1 of the New York city plumbing code by no later than July 1, 2016.

§ 7. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings, commissioner of health and mental hygiene and commissioner of consumer affairs shall take all actions necessary for its implementation, including the promulgation of rules, prior to such effective date.

BJR

LS 3915

1/5/16 1212p