CURRENT INTRODUCTION NUMBER:

Int. No. 284

INITIAL SPONSORS:

By Council Members Rosenthal, Kallos, Levin and Powers (by request of the Queens Borough President)

TITLE:

A Local Law to amend the administrative code of the city of New York, in relation to placing a cap on the correlated color temperature of new and replacement streetlights

BILL SUMMARY:

This plain language summary is for informational purposes only and does not substitute for legal counsel. For more information, you should review the full text of the bill, which is available online at legistar.council.nyc.gov.

This bill would require that any lamp installed as part of the lighting of streets, highways, parks, or any other public place have a correlated color temperature no higher than 3000 Kelvin. All new and replacement outdoor lamps would be required to meet this standard.

CODE SECTIONS AFFECTED:

- Adds Administrative Code § 19-158

EFFECTIVE DATE:

Immediately

NOTE: When reading the full text of the bill online at legistar.council.nyc.gov, language that is enclosed by [brackets] is proposed to be removed, and language that is underlined is proposed to be added.