Russell Unger

Counsel to the Committee

Michele Kalafer

Legislative Policy Analyst

## THE COUNCIL

Briefing Paper & Report of the Governmental Affairs Division

Marcel Van Ooyen, Deputy Chief of Staff

COMMITTEE ON FIRE & CRIMINAL JUSTICE SERVICES

Hon. Yvette D. Clarke, Chair

December 10, 2003

OVERSIGHT: MODERNIZING THE FIRE CODE

INT. NO. 415	By Council Members Clarke, Comrie, Martinez, Stewart and Weprin (by the request of the Mayor)

TITLE:		A Local Law to amend the administrative code of the city of New

York, in relation to carbon dioxide storage permits.

I. Summary of Int. No. 415

Section one of Int. 415 amends paragraph 11 of subdivision (a) of Section 27-4100 of the fire code by adding “carbon dioxide” to the list of liquefied gases that is not prohibited from being in a container with a capacity greater than one and a half cubic feet.  Section two of the bill adds a new paragraph 14 to subdivision (a), which permits the storage for sale of liquefied carbon dioxide with a pressure greater than six pounds per square inch, provided the quantity does not exceed a total of sixty gallons. The local law would take effect immediately upon enactment.

As indicated at the October 29, 2003 hearing of this Committee, this legislation is supported by the Fire Department of the City of New York and fire science experts.

Int. No. 415

By Council Members Clarke, Comrie, Martinez, Stewart and Weprin (by the request of the Mayor)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to carbon dioxide storage permits.

..Body

Be it enacted by the Council as follows:

Section 1.  Paragraph 11 of subdivision (a) of section 27-4100 of the administrative code of the city of New York is amended to read as follows:

11.  Non-combustible liquefied gases, except ammonia, carbon dioxide and chlorine, such as nitrous oxide, carbonic acid or sulphur dioxide, in quantities not exceeding a total container capacity of twelve cubic feet, and in containers none of which shall have a capacity exceeding one and one-half cubic feet;

§2.  Paragraph 13 of subdivision (a) of section 27-4100 of the administrative code of the city of New York is amended, and a new paragraph 14 is added, to read as follows:

13.  Combustible, liquefied gases, such as Blaugas, in quantities not exceeding a total container capacity of eight cubic feet, and in containers none of which shall have a capacity exceeding one and one-half cubic feet[.];

14.  Liquefied carbon dioxide in quantities not exceeding a total of sixty gallons.

§3.  This local law shall take effect immediately.

INT. NO. 415	By Council Members Clarke, Comrie, Martinez, Stewart and Weprin (by the request of the Mayor)

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to carbon dioxide storage permits.