Committee Staff:

Adira Siman, Counsel

Joseph Mancino, Policy Analyst

Rocco D’Angelo, Finance Analyst

Crystal Coston, Finance Analyst

Shirley Limongi, Press Officer

#### T H E  C O U N C I L

##### REPORT OF THE HUMAN SERVICES DIVISION

Robert Newman, Legislative Director

##### COMMITTEE ON HEALTH

#### Hon. Joel Rivera, Chair

##### January 8, 2009

PROPOSED INT. NO. 408-A:                       	By Council Members Garodnick, Brewer, Dickens, Gennaro, Gentile, Gerson, Gonzalez, James, Liu, Martinez, Mealy, Nelson, Stewart and Weprin

TITLE:	A local law to amend the administrative code of the city of New York, in relation to the inspection of water tanks used for the purpose of storing and distributing drinking water.

ADMINISTRATIVE CODE:	Amends Chapter 1 of title 17 by adding a new section 17-194.

INTRODUCTION

On January 8, 2009, the Committee on Health, chaired by Council Member Joel Rivera, will hold a hearing on Proposed Int. No. 408-A, a local law that would amend the Administrative Code regarding the inspection of water tanks used for storing and distributing drinking water. The Department of Health and Mental Hygiene (DOHMH), associations of building owners, tenants groups and other interested members of the community have been invited to testify.

BACKGROUND

New York City buildings have been using water tanks as part of their drinking water supply systems since the 19th century. Buildings, generally those over six stories, use rooftop tanks because water pressure is too weak to lift the water to the upper stories. The tanks, 99 percent of which are constructed from wood, get water pumped in from the City’s water source and store between 5,000 and 10,000 gallons of water. The system then uses gravity to send water to floors below. Water for drinking, bathing and other everyday uses is taken from the top of the tank, while the water in the bottom is reserved for fire-fighting. The water coming into the tanks may contain various substances and the tanks often accumulate “anywhere from a quarter inch to an inch of muddy sediment.” This residue in the water can present a health risk, particularly to certain populations such as the elderly and those with immune deficiencies.

Currently, the New York City Health Code requires, among other things, that building owners or agents have their water tanks inspected at least once a year. Where an inspection discovers foreign matter in the water tank or where DOHMH discovers an unsanitary condition, the owner or agent must ensure that the tank is emptied and cleaned. The results of the yearly inspections must be maintained for at least five years and must be made available to DOHMH. These results are not available for inspection by any other person or entity, are not subject to subpoena and cannot be used in or as the basis for prosecution.

Proposed Int. No. 408-A would place the mandate that building owners have their tanks inspected annually into the Administrative Code. The legislation would compel owners to submit inspection results to DOHMH, instead of simply making them available to DOHMH as is required under existing Health Code requirements. The Department would be required to keep the records for five years. Proposed Int. No. 408-A would also change existing requirements by removing the barrier to viewing of inspection results by others. Finally, the proposed legislation would require DOHMH to make periodic unannounced inspections of water tanks to ensure compliance with all aspects of the Health Code dealing with water tanks.

### PROPOSED INT. NO. 408-A

Section 1 of Proposed Int. No. 408-A would amend chapter 1 of title 17 of the Administrative Code by adding a new section 17-194 entitled “Drinking Water Tank Inspections.” Subdivision a of new section 17-194 would add the following definitions:

1.  “Building” shall mean any building, structure, premises, or part thereof.

2. “Drinking water” shall mean water used for human consumption or used directly or indirectly in connection with the preparation of food for human consumption, including, but not limited to, the cleaning of utensils used in the preparation of food.

3.  “Owner” shall mean any owner, manager, operator or other person or persons having control of a building and any authorized agent thereof.

4.  “Water tank” shall mean any device used to store drinking water that is distributed as part of the water supply system in a building.

Subdivision b of new section 17-194 would require building owners to have water tanks used for supplying drinking water inspected at least once each year. The inspection results would have to be recorded on a form prescribed by the commissioner of DOHMH and submitted to DOHMH within 14 days after the inspection. DOHMH would have to keep these records of inspection on file for at least five years from the inspection date and must make the records available to the public.

Subdivision c of new section 17-194 would require DOHMH to conduct periodic unannounced inspections of water tanks subject to the provisions of this section to ensure that they comply with the requirements of section 141.03 of the New York City Health Code.

Section 2 of Proposed Int. No. 408-A would contain a severance clause.

Section 3 of Proposed Int. No. 408-A would make the local law effective ninety days after enactment.

Proposed Int. No. 408-A

By Council Members Garodnick, Brewer, Dickens, Gennaro, Gentile, Gerson, Gonzalez, James, Liu, Martinez, Mealy, Nelson, Stewart and Weprin

..Title

A Local Law to amend the administrative code of the city of New York, in relation to the inspection of water tanks used for the purpose of storing and distributing drinking water.

..Body

Be it enacted by the Council as follows:

Section 1. Chapter 1 of title 17 of the administrative code of the city of New York is hereby amended by adding a new section 17-194 to read as follows:

§17-194. Drinking water tank inspections  a.  Definitions.  For purposes of this section, the following terms shall have the following meanings:

1. “Building” shall mean any building, structure, premises, or part thereof.

2. “Drinking water” shall mean water used for human consumption or used directly or indirectly in connection with the preparation of food for human consumption, including, but not limited to, the cleaning of utensils used in the preparation of food.

3. “Owner” shall mean any owner, manager, operator or other person or persons having control of a building and any authorized agent thereof.

4. “Water tank” shall mean any device used to store drinking water that is distributed as part of the water supply system in a building.

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually.  Such inspection results shall be recorded on a form prescribed by the commissioner and shall be submitted to the department within fourteen days upon the completion of such inspection.  The department shall maintain such records for at least five years from the date of inspection and shall make such records available to the public for examination.

c. The department shall conduct periodic unannounced inspections of water tanks subject to the provisions of this section to ensure compliance with the requirements of section 141.03 of the health code of the city of New York.

§2. If any subsection, sentence, clause, phrase, or other portion of this local law is, for any reason, declared unconstitutional or invalid, in whole or in part, by any court of competent jurisdiction, such portion shall be deemed severable and such unconstitutionality or invalidity shall not affect the validity of the remaining portions of the local law that added this section, which remaining portions shall remain in full force and effect.  Nothing in this local law shall be interpreted or applied so as to create any power, duty or obligation in conflict with any federal or state law.

§3. This local law shall take effect ninety days after its enactment.

AS/AT

LS# 529

1/6/09

Jacoba Charles, Longtime Emblems of City Roofs, Still Going Strong, N.Y. Times, Jun. 3 2007.

Id.

Eric Johnson, Rooftop Water Tanks, THE COOPERATOR, Dec/Jan 1998.

Id.

Charles, supra note 1.

Johnson, supra note 3.

Id.

Id.

24 RCNY Health Code § 141.03(c) (2007).

Id.

Id.