Staff:

Joshua Kingsley, Legislative Counsel

William Hongach, Senior Legislative Policy Analyst

Jack Kern, Finance Analyst

THE COUNCIL

COMMITTEE REPORT OF THE

GOVERNMENTAL AFFAIRS DIVISION

Jeffrey Baker, Legislative Director

Rachel Cordero, Deputy Director, Governmental Affairs

COMMITTEE ON FIRE AND EMERGENCY MANAGEMENT

Joseph C. Borelli, Chairman

November 22, 2021

prop. int. no. 1891-a:		By Council Member Borelli

title:	A Local Law to amend the New York city fire code, in relation to machines used to resurface ice

fire code:				Amends section FC 309.1.2

- Introduction

On November 22, 2021, the Committee on Fire and Emergency Management, chaired by Joseph C. Borelli, will hold a vote on Prop. Int. No. 1891-A, in relation to machines used to resurface ice.  The Committee previously heard the bill on November 16, 2020, and received testimony from New York City’s Fire Department (“FDNY” or “Department”) and other interested parties.

- Analysis of Prop. Int. No. 1891-A

The bill would amend New York City Fire Code regulations pertaining to machines used to resurface ice—frequently referred to as “Zambonis” after the inventor, Frank Zamboni. Currently, pursuant to Fire Code section FC 309.1.2, certain gas fueled industrial machines, including Zambonis, are prohibited from utilizing more than one 40-gallon canister of liquefied petroleum or other flammable gas. Under the new provision, a Zamboni would be permitted to utilize two canisters of LP gas at any given time if the manufacture design allows for more than one.

Since introduction, the bill has been amended to clarify that the provisions permitting Zambonis to use two propane canisters only applies to machines designed to operate using more than one canister of propane.

Proposed Int. No. 1891-A

By Council Member Borelli

..Title

A Local Law to amend the New York city fire code, in relation to machines used to resurface ice

..Body

Be it enacted by the Council as follows:

Section 1. Section FC 309.1.2 of the New York city fire code, as amended by local law number 148 for the year 2013, is amended to read as follows:

309.1.2 Powered industrial trucks using flammable gas fuel.

Powered industrial trucks that use LPG or other flammable gas as fuel shall be limited to one fuel container with a capacity not greater than 40 pounds (18.16 kg) or 340 SCF (9.63 m3) of flammable gas, whichever is less, except that powered industrial trucks used to resurface ice that are designed to operate with more than one such container shall be limited to operating with two such containers. Liquefied gas containers installed in a horizontal position shall be of such a design that the pressure relief valve will discharge vapor properly. [Such powered] Powered industrial trucks that use LPG or other flammable gas as fuel shall not be parked near open flames or other heat or ignition sources, or near open pits, underground entrances, elevator shafts, or similar areas. Such powered industrial trucks shall be stored and used in locations with adequate ventilation. It shall be unlawful to store or use such powered industrial trucks in a basement, cellar or other areas below grade.

§ 2. This local law takes effect immediately.