Int. No. 978

By Council Members Torres, Constantinides, Mendez, Richards, Treyger, Dromm, Gentile, King, Koo, Palma, Rose, Crowley, Miller, Rosenthal, Lancman, Dickens, Wills, Maisel, Lander and the Public Advocate (Ms. James)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to requiring licensure for mold abatement, assessment and remediation work and setting minimum standards for such work

..Body

Be it enacted by the Council as follows:

Section 1. Chapter 2 of title 20 of the administrative code of the city of New York is amended by adding a new subchapter 33 to read as follows:

SUBCHAPTER 33

MOLD INSPECTION, ASSESSMENT AND REMEDIATION SPECIALISTS

§ 20-540 Definitions. As used in this chapter:

Mold. The term “mold” means mold as defined in section 930 of the labor law.

Mold abatement. The term “mold abatement” means mold abatement as defined in section 930 of the labor law.

Mold assessment. The term “mold assessment” means mold assessment as defined in section 930 of the labor law.

Mold remediation. The term “mold remediation” means mold remediation as defined in section 930 of the labor law.

Project. The term “project” means mold abatement, mold assessment or mold remediation, of areas greater than four square feet, but does not include (i) routine cleaning or (ii) construction, maintenance, repair or demolition of buildings, structures or fixtures undertaken for purposes other than mold remediation or mold abatement.

§ 20-541 License. a. No person may:

1. Engage in mold abatement on a project, or advertise or hold themselves out as authorized to perform such work, unless such person has a valid mold abatement license issued by the commissioner pursuant to this subchapter;

2. Engage in mold assessment on a project, or advertise or hold themselves out as authorized to perform such work, unless such person has a valid mold assessment license issued by the commissioner pursuant to this subchapter; or

3. Engage in mold remediation on a project, or advertise or hold themselves out as authorized to perform such work, unless such person has a valid mold remediation license issued by the commissioner pursuant to this subchapter.

b. The following persons shall not be required to obtain a license under this subchapter in order to perform mold abatement, mold assessment or mold remediation:

1. A design professional licensed pursuant to title 8 of the education law who is performing mold abatement, mold assessment or mold remediation while acting within the scope of such person’s practice; and

2. An owner of a building that contains at least one but no more than four dwelling units, as such term is defined in the New York city building code, or an employee of such owner, who is performing mold abatement, mold assessment or mold remediation in one or more of such units.

§ 20-543 Qualifications. a. The commissioner shall by rule establish minimum qualifications for licensing under this subchapter; provided that the commissioner shall not issue or renew a mold abatement license, mold assessment license or mold remediation license to an applicant unless such applicant:

1. Is at least 18 years of age;

2. Has satisfactorily completed course work approved by the commissioner or by the commissioner of the New York state department of labor pursuant to section 930 of the labor law, including training on the appropriate use and care of personal protection equipment;

3. Paid the appropriate fees as provided in subdivision b of this section; and

4. For a mold assessment license or mold remediation license, submitted to the department insurance certificates evidencing workers’ compensation coverage, if required, and liability insurance of at least $50,000 providing coverage for claims arising from licensed activities.

b. The commissioner shall charge and collect a fee of $340 for each initial license application and each renewal of a license except:

1. No such fee shall be charged for an application for or renewal of a mold abatement license to a holder of a mold abatement license issued pursuant to article 32 of the labor law;

2. No such fee shall be charged for an application for or renewal of a mold assessment license to a holder of a mold assessment license issued pursuant to article 32 of the labor law; and

3. No such fee shall be charged for an application for or renewal of a mold remediation license to a holder of a mold remediation license issued pursuant to article 32 of the labor law.

c. The commissioner may provide by rule for a fee to be charged to and collected from each course provider for each course submitted for approval of the commissioner.

§ 20-544 Practice; prohibited activities. a. 1. Before mold abatement or mold remediation begins in connection with a project, a mold assessment licensee shall prepare a plan for such project as described in section 945 of the labor law and provide such plan to the person for whom such work will be performed.

2. Such plan shall specify:

(a) The proposed commencement date of such work;

(b) The rooms or areas where such work will be performed;

(c) The estimated quantities of materials to be cleaned or removed;

(d) The methods to be used for each type of such work in each type of area;

(e) The personal protection equipment to be supplied to the individuals performing such work;

(f) The proposed clearance procedures and criteria for each type of such work in each type of area;

(g) When the project will occur in a building that will be occupied during all or part of such work, how to properly notify the occupants of such building, taking into consideration proper health concerns, including recommendations for notice and posting requirements that are appropriate for the project size, duration and points of entry;

(h) An estimate of cost and an estimated time frame for completion;

(i) Where practicable, the underlying sources of moisture that may be causing the mold and a recommendation as to the type of contractor who could remedy the source of such moisture; and

(j) Such plan may indicate that a disinfectant, biocide or antimicrobial coating will be used on such project, provided that (A) the mold assessment licensee takes into account the potential for occupant sensitivities and (B) such plan may indicate a specific product or brand only if it is registered by the United States environmental protection agency for the intended use and if the use is consistent with the manufacturer’s instructions.

3. At least 14 days before such work commences, such licensee shall provide such plan to the person for whom such work will be performed and to the department.

4. The department shall promptly make each plan it receives pursuant to paragraph 3 of this subdivision publicly available online in a searchable format.

b. A mold remediation licensee who performs or intends to perform mold remediation on a project or, if no mold remediation licensee is engaged in connection with such project, a mold abatement licensee who performs or intends to perform mold abatement on such project, shall:

1. Prepare a work plan providing instructions for the mold remediation or abatement efforts to be performed on the project and provide such plan to the person for whom such work will be performed; provided further that such work plan shall comply with the requirements of the plan prepared for such project pursuant to subdivision a of this section;

2. Ensure that the project complies with such work plan;

3. Maintain a copy of such work plan at the site of such project while such work is being performed;

4. If the plan prepared for such project pursuant to subdivision a of this section specifies that personal protection equipment is required for such project, provide the specified equipment to all workers who engage in such work and who will, or are anticipated to, disturb or remove mold contamination;

5. Post at all entrances to the site of such project signs advising that such project is in progress; and

6. Ensure that no person removes or dismantles any containment structures or materials from the site of such project prior to issuance of a written passed clearance report of a written final status report pursuant to subdivision c of this section.

c. As soon as practicable after mold abatement or mold remediation in connection with a project, a mold assessment licensee shall:

1. Conduct a post-remediation assessment as described in section 947 of the labor law to determine whether the site of the project is free from all visible mold, whether all work at such project has been completed in compliance with the plan prepared pursuant to subdivision d of this section and, to the extent feasible, whether the underlying cause of such mold has been addressed so that it is reasonably certain that such mold will not return to such site;

2. If such licensee determines that the project successfully addressed such mold, such licensee shall issue a written passed clearance report to the person on whose behalf the project was undertaken; provided that, if such licensee determined that the underlying cause of such mold had not been addressed so that it is reasonably certain that such mold would not return to such site, then such licensee shall, together with such clearance report, make a recommendation to the person on whose behalf the mold abatement or remediation was performed as to the type of contractor who could remedy such underlying cause;

3. If such licensee determines that the project has not successfully addressed such mold, such licensee shall issue a written final status report to the person on whose behalf the project was undertaken and to the relevant mold remediation licensee or, if there is no such mold remediation licensee, the relevant mold abatement licensee, and recommend to such person on whose behalf the project was undertaken that either (A) that additional actions be taken to ensure that the plan prepared pursuant to subdivision d of this section be completed, (B) that a new plan be prepared pursuant to subdivision d of this section and implemented or (C) that the underlying causes of such mold be addressed.

d. No licensee shall perform both mold assessment and mold remediation on the same project.

e. No person shall own an interest in both the licensee who performs mold assessment on a project and the licensee who performs mold remediation on such project.

§ 20-545 Recordkeeping. a. A mold assessment licensee shall maintain a record of each mold assessment performed by such licensee in the previous seven years, including a copy of any documents prepared pursuant to section 20-544 of this subchapter.

b. A mold remediation licensee shall maintain a record of each mold remediation performed by such licensee in the previous seven years, including a copy of any documents prepared pursuant to section 20-544 of this subchapter.

c. The owner of a property that is the site of a project shall maintain a record of each project undertaken at such property during the previous seven years, including a copy of any documents prepared pursuant to section 20-544 of this subchapter and provided to such owner.

§ 2. This local law takes effect 120 days after it becomes law, except that the commissioner of consumer affairs may take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS # 1483.1

10/21/15 2:16PM