Int. No. 1743

By Council Member Borelli

..Title

A Local Law to amend the New York city building code, in relation to requiring auxiliary radio communication systems in certain storage buildings

..Body

Be it enacted by the Council as follows:

..Body

Section 1. Section 907.2.13.2 of the New York city building code, as amended by local law number 141 for the year 2013, is amended to read as follows:

907.2.13.2 Fire Department communication system. A Fire Department Auxiliary Radio Communication System (ARCS), which shall be in accordance with Section 917, shall be required in all high-rise buildings, and all storage Group S buildings that are an aggregate of 99,000 cubic feet (2803.36 m3) or more on a single lot.

§ 2. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings may take such measures as are necessary for the implementation of this local law, including the promulgation of rules, prior to such effective date.

GZ

LS 11916

9.19.19 2:07pm