CURRENT INTRODUCTION NUMBER:

Int. No. 271

INITIAL SPONSORS:

By Council Members Brannan, Rivera, Rosenthal, Reynoso, Dromm, Chin and the Public Advocate (Mr. Williams) (by request of the Queens Borough President)

TITLE:

To amend the administrative code of the city of New York in relation to reducing unnecessary illumination in city-owned buildings and city-controlled spaces

BILL SUMMARY:

This plain language summary is for informational purposes only and does not substitute for legal counsel. For more information, you should review the full text of the bill, which is available online at legistar.council.nyc.gov.

This local law would mandate the installation of occupancy sensors to limit illumination in city-owned buildings and city-controlled spaces. This requirement would apply to spaces in at least 50% of city-owned or controlled buildings by 2020; at least 80% of such buildings by 2025; and all such buildings by 2030. This local law would also require periodic reporting concerning energy savings resulting from the occupancy sensor requirements.

CODE SECTIONS AFFECTED:

- Amends Administrative Code title 4, chapter 2 by adding a new section 4-211.

EFFECTIVE DATE:

This local law will be effective immediately.

NOTE: When reading the full text of the bill online at legistar.council.nyc.gov, language that is enclosed by [brackets] is proposed to be removed, and language that is underlined is proposed to be added.

LEGISLATIVE IMPACT:

Please select any of the following which apply to this legislation.

☐ Agency Rulemaking Required: Is City agency rulemaking required?

☒ Report Required: Is a report due to Council required?

☒ Oversight: Are there seemingly clear points for City agency oversight and/or evaluation?

☐Sunset Date Included: Does the legislation have a sunset date?

☐ Grace Period Applies: In the case of fines or other penalties, is a grace period established?

☐ Council Appointment Required: Is an appointment by the Council required?

☐ Other Appointment Required: Are other appointments not by the Council required?

☐ Council Operations: Might this law affect the Council’s own operations?