Proposed Int. No. 1296-A

By Council Members Rivera, Farías, Restler, Louis, Narcisse, Stevens, Cabán and Gutiérrez

..Title

A Local Law to amend the New York city building code, in relation to requiring a solid acceptable color or the display of artwork on temporary protective structures on construction sites

..Body

Be it enacted by the Council as follows:

Section 1. Section 3307.6.4.11 of the New York city building code, as added by local law number 47 for the year 2025, is amended to read as follows:

3307.6.4.11 Color. Sidewalk sheds shall meet the following color requirements:

1.	Parapet frames and braces, [parapet panels,] legs and vertical members, beams, cross bracing, and metallic elements shall be a solid acceptable color.

2.	Parapet panels shall be a solid acceptable color, or display artwork pursuant to Section 3307.11.

3.  Acceptable colors are hunter green, metallic gray, or white. In addition, when the shed is installed for an existing building, other than one undergoing a full demolition or subject to the provisions of Section 28-101.4.5 of the Administrative Code, a color matching the façade, trim, cornice, or roof of the building, if the roof is sloped and visible from the street, is acceptable.

[3] 4.  Where a fence is installed at the site in accordance with Section 3307.7, the fence and shed shall be the same color.

Exceptions: Regardless of the color of the shed:

1. Metallic elements and components of the shed may be painted metallic gray.

2. Mesh elements of parapet panels may be black.

§ 2. This local law takes effect on the same date that section 7 of local law number 47 for the year 2025 takes effect.

APM

LS #18769/18703/17744

6/18/2025 12:30 PM