Int. No. 1278

By Council Member Rivera

..Title

A Local Law to amend the administrative code of the city of New York, in relation to requiring heightened review of tenant protection plans and increased enforcement of building code standards

..Body

Be it enacted by the Council as follows:

Section 1. Section 28-2014.8.4 of the administrative of the city of New York, as amended by local law number 154 for the year 2017, is amended to read as follows:

§ 28-104.8.4 Tenant protection plan. Construction documents for alterations of buildings in which any dwelling unit will be occupied during construction shall include a tenant protection plan. Such plan shall (i) be approved by the commissioner before the issuance of any permit in connection with such construction documents and (ii) contain a statement that the building contains dwelling units that will be occupied during construction and shall indicate in sufficient detail the specific units that are or may be occupied during construction, the means and methods to be employed to safeguard the safety and health of the occupants throughout the construction, including, where applicable, details such as temporary fire-rated assemblies, opening protectives, or dust containment procedures. Such means and methods shall be described with particularity and in no case shall terms such as "code compliant," "approved," "legal," "protected in accordance with law" or similar terms be used as a substitute for such description. The elements of the tenant protection plan may vary depending on the nature and scope of the work but at a minimum shall make detailed and specific provisions for:

1. Egress. At all times in the course of construction provision shall be made for adequate egress as required by this code and the tenant protection plan shall identify the egress that will be provided. Required egress shall not be obstructed at any time except where approved by the commissioner. The commissioner shall review each tenant protection plan and ensure compliance with requirements to maintain ingress and egress routes in accordance with chapter 10 of the New York city building code.

2. Fire safety. All necessary laws and controls, including those with respect to occupied dwellings, as well as additional safety measures necessitated by the construction shall be strictly observed. The commissioner shall review each tenant protection plan and ensure compliance with (i) fire proofing requirements in accordance with the requirements of title 29 and (ii) the electrical code in accordance with the requirements of chapter 3 of title 27.

3. Health requirements. Specification of means and methods to be used for control of dust, disposal of construction debris, pest control and maintenance of sanitary facilities, and limitation of noise to acceptable levels shall be included. The commissioner shall review each tenant protection plan and ensure compliance with debris removal requirements of section 3303.5 of the New York city building code.

3.1. There shall be included a statement of compliance with applicable provisions of law relating to lead and asbestos, and such statement shall describe with particularity what means and methods are being undertaken to meet such compliance.

4. Compliance with housing standards. The requirements of the New York city housing maintenance code, and, where applicable, the New York state multiple dwelling law shall be strictly observed.

5. Structural safety. No structural work shall be done that may endanger the occupants. The commissioner shall review each tenant protection plan and ensure compliance with protective wall, internal wall and retention wall maintenance requirements of sections 420 and 508 of the New York city building code.

6. Noise restrictions. Where hours of the day or the days of the week in which construction work may be undertaken are limited pursuant to the New York city noise control code, such limitations shall be stated.

7. Maintaining essential services. Where heat, hot water, cold water, gas, electricity, or other utility services are provided in such building or in any dwelling unit located therein, the tenant protection plan shall specify the means and methods to be used for maintaining such services during such work in accordance with the requirements of the New York city housing maintenance code. If a disruption of any such service is anticipated during the work, then such plan shall specify the anticipated duration of such disruption and the means and methods to be employed to minimize such disruption, including the provision of sufficient alternatives for such service during such disruption. The commissioner shall review each tenant protection plan and ensure compliance with requirements to maintain gas and water access in accordance with (i) section 107 of the New York city building code and (ii) the New York city plumbing code.

§ 2. Section 3303.10.2 of the New York city building code, as added by local law number 154 for the year 2017, is amended to read as follows:

3303.10.2 Inspections of tenant protection plan. The owner shall notify the department in writing at least 72 hours prior to the commencement of any work requiring a tenant protection plan. The department shall conduct an inspection of [five] 20 percent of such sites within seven days after the commencement of such work to verify compliance with the tenant protection plan. The department shall conduct follow up inspections of such sites every 120 days until such construction is completed to verify compliance with the building code and tenant protection plan. Thereafter, the department shall conduct an inspection [upon the] within 72 hours of receipt of a complaint concerning such work.

§ 3. This local law takes effect 120 days after it becomes law, except that the commissioner of buildings may take such measures as are necessary for its implementation, including the promulgation of rules, before such date.

JG

LS # 7111

10/16/18 12:09pm