Int. No. 264

By Council Members Eugene, Foster, James, Lander, Palma, Mark-Viverito, Nelson, Garodnick, Recchia Jr., Arroyo, Rodriguez, Van Bramer, Gennaro and Lappin

..Title

A Local Law to amend the New York city plumbing code, in relation to drinking fountains.

..Body

Be it enacted by the Council as follows:

Section 1.  Section 410.1 of the New York city plumbing code, as added by local law number 33 for the year 2007, is amended to read as follows:

SECTION PC 410

DRINKING FOUNTAINS

410.1 Approval. Drinking fountains shall dispense potable water that may be drunk without using a cup, and which shall be dispensed at such an angle so as to prevent the mouths and noses of persons drinking from such fountains from coming into contact with the water outlet, and which shall also contain a separate faucet or other outlet suitable for filling a bottle that is at least 10 inches high with potable water. Drinking fountains shall conform to ASME A112.19.1M, ASME A112.19.2M or ASME A112.19.9M, and water coolers shall conform to ARI 1010. Drinking fountains and water coolers shall conform to NSF 61, Section 9. Where water is served in restaurants, drinking fountains shall not be required. In other occupancies, where drinking fountains are required, [bottled water dispensers] where potable water is readily available to all users of a space and may be dispensed for filling cups, or bottles which are at least 10 inches high, through water coolers or faucets, equipment or devices providing purified water, other than such faucets, equipment or devices located in restrooms and equipment or devices that dispense water in individual bottles, one bottle at a time, such water coolers, faucets, equipment or devices shall be permitted to be substituted for not more than 50 percent of the required drinking fountains.

§2.  This local law shall take effect on January 1, 2011, except that the commissioner of buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS # 990

6-7-10 2:15 pm

DB

HT 20