Int. No. 1325

By Council Member Levin

..Title

A Local Law to amend the New York city administrative code, in relation to requiring that the roofs of city-owned buildings be partially covered in source control measures

..Body

Be it enacted by the Council as follows:

Section 1. Chapter 2 of title 4 of the administrative code of the city of New York is amended by adding a new section 4-209 to read as follows:

§ 4-209 Installation of source control measures. The commissioner shall cause to be installed on the roofs of all real property owned by the city, a green roof system, as defined in section 1502 of the New York city building code, or a detention system, as defined in section 202 of the New York city plumbing code, or a combination of both. Such green roof system or detention system, or combination thereof, shall cover at least 50 percent of available roof top space, excluding any space required to be kept open or unobstructed by the New York city fire code or any space occupied by mechanical equipment, and shall be designed and installed in accordance with chapter 15 of the New York city building code.

§ 2. This local law takes effect 180 days after it becomes law, except that the commissioner of citywide administrative services may take such measures as are necessary for its implementation, including the promulgation of rules, prior to its effective date.

EAA/GP

LS 7081/9063

10/12/16 11:25 AM