Staff:    Committee on Housing & Buildings

Meagan Chen, Counsel

Caitlin Fahey, Counsel

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Jeffrey Baker, Legislative Director

Edward Atkin, Deputy Director of Infrastructure

Committee on Housing and Buildings

Hon. Robert E. Cornegy, Jr., Chair

May 7, 2018

PROPOSED INT. NO. 602-A:	By Council Members Borelli, Yeger, Deutsch, Ampry-Samuel, Kallos and Constantinides

TITLE:	To amend the administrative code of the city of New York, in relation to self-closing doors

ADMINISTRATIVE CODE:	Adds new sections 27-2041.1 and 28-315.10

PROPOSED INT. NO. 604-A:	By Council Members Cornegy, Deutsch and Kallos

TITLE:	To amend the administrative code of the city of New York and the New York city building code, in relation to requirements for smoke alarms and smoke detectors in residential and non-residential occupancies

ADMINISTRATIVE CODE:	Adds a new section 28-312.8

BUILDING CODE:	Adds new sections 907.2.11.5 and Q107 to appendix Q

PROPOSED INT. NO. 606-A:	By Council Members Richards, Deutsch, Kallos and Constantinides

TITLE:	To amend the administrative code of the city of New York, in relation to emergency evacuation preparedness for individuals with disabilities or limited mobility

ADMINISTRATIVE CODE:	Adds a new section 15-134

PROPOSED INT. NO. 610-A:	By Council Members Torres, Deutsch, Chin, Ampry-Samuel, Levine and Kallos (by request of the Bronx Borough President)

TITLE:	To amend the administrative code of the city of New York, in relation to stove knob covers

ADMINISTRATIVE CODE:	Adds a new section 27-2046.4

Introduction

On May 7, 2018, the Committee on Housing and Buildings, chaired by Council Member Robert E. Cornegy, Jr., will consider Proposed Introduction No. 602-A, Proposed Introduction No. 604-A, Proposed Introduction No. 606-A and Proposed Introduction No. 610-A.

Proposed Legislation

Below is a brief summary of each of the pieces of legislation being heard by the Committee at this hearing. These summaries are intended for informational purposes only and do not substitute for legal counsel. For more detailed information, you should review the full text of each bill, which is attached below.

Proposed Int. No. 602-A

Currently, the provisions of the Multiple Dwelling Law and the Building Code do not uniformly require that all doors be self-closing. This legislation would require that all doors in residential occupancies be self-closing by July 31, 2021, and also creates a class C violation of the Housing Maintenance Code for failure to keep and maintain self-closing doors. The section that would amend the Building Code takes effect immediately. The section that would create a Housing Maintenance Code violation takes effect after one year.

Proposed Int. No. 604-A

This bill would require that, where a smoke alarm or detector is within an area of 20 feet from a stationary or fixed cooking appliance in all residential buildings, after January 1, 2021, that smoke alarms must be listed in accordance with the 8th edition of UL 217, and smoke detectors must be listed in accordance with the 7th edition of UL 268, which include standards for reduction of nuisance alarms. This legislation takes effect immediately.

Proposed Int. No. 606-A

This bill would require the Fire Department, in consultation with the Office of Emergency Management and the Mayor’s Office for People with Disabilities, to develop a checklist to assist individuals with disabilities or limited mobility in developing individualized emergency evacuation plans.  Such checklist will include information pertaining to evacuation assistance devices, other means of evacuation, and outline recommended measures to be taken to facilitate an individual’s safe evacuation in case of emergency.  The checklist will be distributed to all residents as part of the required emergency preparedness guides distributed in R2 occupancies.  This legislation takes effect 120 days after it becomes law.

Proposed Int. No. 610-A

Stove knob covers are hinged devices that go over a stove knob, and allow the user of the stove to lock the cover in place while the stove is not in use. When the stove is in use, the covers open so that the user does not have to remove the cover entirely. This legislation would require that all landlords provide stove knob covers to tenants of units where children under the age of six reside. Additionally, a tenant may opt-out of receiving such knobs. Under this legislation, landlords would be liable for a class B hazardous violation for not providing a stove knob cover. This legislation takes effect 120 days after it becomes law.

Proposed Int. No. 602-A

By Council Members Borelli, Yeger, Deutsch, Ampry-Samuel, Kallos and Constantinides

A LOCAL LAW

To amend the administrative code of the city of New York, in relation to self-closing doors

Be it enacted by the Council as follows:

Section 1. Article 315 of chapter 3 of title 28 of the administrative code of the city of New York, as amended by local law number 79 for the year 2016, is amended to add a new section 28-315.10 to read as follows:

§ 28-315.10 Self-closing doors. All doors providing access to interior corridors or stairs in occupancy groups R-1 and R-2 shall be self-closing or equipped with a device that will ensure closing after having been opened by July 31, 2021.

§ 2.  Article 11 of chapter 2 of title 27 of the administrative code of the city of New York, is amended to add a new section 27-2041.1 to read as follows:

§ 27-2041.1 Self-closing doors. a. It shall be the duty of the owner of a multiple dwelling, which is required to be equipped with self-closing doors pursuant to section 28-315.10, or any other applicable law, to keep and maintain such doors in good repair.

b. Any owner required to keep and maintain self-closing doors pursuant to subdivision a of this section who fails to keep or maintain such doors shall be liable for a class C immediately hazardous violation. Notwithstanding any other provision of law to the contrary, the time within which to correct such violation shall be twenty-one days after service of the notice of violation.

§ 3. Section one of this local law takes effect immediately. Section two of this local law takes effect one year after it becomes law, except that the commissioner of housing preservation and development may take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

MPC
LS 5496

4/30/18 10:55am

Proposed Int. No. 604-A

By Council Members Cornegy, Deutsch and Kallos

..Title

A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to requirements for smoke alarms and smoke detectors in residential and non-residential occupancies

..Body

Be it enacted by the Council as follows:

Section 1. Article 312 of chapter 3 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-312.8 to read as follows:

§ 28-312.8 Location of smoke alarms and smoke detectors. On or after January 1, 2021, smoke alarms and smoke detectors installed or replaced in group R occupancies shall be installed in accordance with section 907.2.11.5 of the New York city building code.

§ 2.  Chapter 9 of the New York city building code is amended by adding a new section 907.2.11.5 to read as follows:

907.2.11.5 Smoke alarms and smoke detectors in group R occupancies. On and after January 1, 2021, smoke alarms and smoke detectors shall not be installed or replaced in an individual dwelling or sleeping unit, including dwellings or units in prior code buildings, within an area of exclusion determined by a 20 foot (6.0 m) radial distance along a horizontal flow path from a stationary or fixed cooking appliance, unless listed in accordance with the 8th edition of UL 217 for smoke alarms or the 7th edition of UL 268 for smoke detectors.

§ 3. Appendix Q of the New York city building code is amended by adding a new section BC Q107 to read as follows:

SECTION BC Q107

INSTALLATION OF FIRE ALARMS

Q107.1 General. Fire alarms, where required by this code, shall be installed in accordance with NFPA 72, National Fire Alarm and Signaling Code, 2010 edition, modified for New York City as set forth below. Refer to the rules of the department for any other additions, modifications or deletions that may have been made to this standard in accordance with Section 28-103.19 of the Administrative Code.

29.8.3.4(4) Delete and replace with the following: Smoke alarms and smoke detectors shall not be installed within an area of exclusion determined by a 10 ft (3.0 m) radial distance along a horizontal flow path from a stationary or fixed cooking appliance, unless listed for installation in close proximity to cooking appliances. Smoke alarms and smoke detectors installed between 10 ft (3.0 m) and 20 ft (6.1 m) along a horizontal flow path from a stationary or fixed cooking appliance shall be equipped with an alarm-silencing means or use photoelectric detection. On and after January 1, 2021, the requirements of this section shall apply only to occupancy groups other than group R.

Exception: Smoke alarms or smoke detectors that use photoelectric detection shall be permitted for installation at a radial distance greater than 6 ft (1.8 m) from any stationary or fixed cooking appliance when the following conditions are met:

(a) The kitchen or cooking area and adjacent spaces have no clear interior partitions or headers; and

(b) The 10ft (3.0 m) area of exclusion would prohibit the placement of a smoke alarm or smoke detector required by other sections of this code.

§ 4. This local law takes effect immediately.

MPC

LS 5685

5/1/18 4:52pm

Proposed Int. No. 606-A

By Council Members Richards, Deutsch, Kallos and Constantinides

..Title

A Local Law to amend the administrative code of the city of New York, in relation to emergency evacuation preparedness for individuals with disabilities or limited mobility

..Body

Be it enacted by the Council as follows:

Section 1. The administrative code of the city of New York is amended by adding a new section 15-134 to read as follows:

§ 15-134. Emergency evacuation planning for individuals with limited mobility.  By March 1, 2019, the department, in consultation with the office of emergency management and the mayor’s office for people with disabilities, and in conjunction with fire code emergency preparedness requirements for apartment buildings, shall develop a planning checklist to be provided to residents in group R-2 occupancies, including individuals with disabilities or limited mobility, to assist in the development of individualized emergency evacuation plans. Such checklist shall inform residents about the availability of evacuation assistance devices and other means of evacuation, and outline recommended measures that individuals with disabilities or limited mobility can proactively take to prepare to safely evacuate a building in case of emergency, such as identifying neighbors who can provide assistance in an emergency. Such checklist shall be made available on the department’s website and included in the emergency preparedness guides required by the fire code to be distributed to the residents of such buildings.

§ 2. This local law takes effect immediately.

JDK

LS #1995

4/27/18

Proposed Int. No. 610-A

By Council Members Torres, Deutsch, Chin, Ampry-Samuel, Levine and Kallos (by request of the Bronx Borough President)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to stove knob covers

..Body

Be it enacted by the Council as follows:

Section 1. Article 11 of subchapter 2 of chapter 2 of title 27 of the administrative code of the city of New York is amended by adding a new section 27-2046.4 to read as follows:

§ 27-2046.4 Stovetop protection. a. An owner of a unit in a multiple dwelling, other than a dwelling unit in a multiple dwelling owned as a condominium or cooperative and used as the primary residence of such owner, shall provide stove knob covers for each knob located on the front of each gas-powered stove to tenants in each dwelling unit in which the owner knows or reasonably should know a child under six years of age resides, except where such owner has documented proof that there is no available stove knob cover that is compatible with the knobs on such stove. Such stove knob covers shall be  made available within thirty days of such owner providing the notice required in subdivision b of this section unless such owner has previously made such stove knob covers available to the tenant and the tenant has not requested a replacement.

b. 1. Such owner shall provide an annual notice to each tenant of a unit regarding the owner’s obligation to provide stove knob covers pursuant to subdivision a of this section. Such notice  shall  inform the tenant of his or her option to  refuse stove knob covers.

2. Upon being provided with such notice, a tenant may notify such owner, in writing, that such tenant refuses stove knob covers. If the tenant does not notify the owner, in writing, that the tenant refuses stove knob covers, the owner will make the stove knob covers available to the tenant pursuant to subdivision a of this section.

3. An owner will keep a record of: (i) written notifications of refusal of stove knob covers received from a tenant of a dwelling unit, (ii) the owner’s attempts to provide stove knob covers to tenants pursuant to subdivision a of this section, (iii) units for which  stove knob covers were made available, and (iv) tenants who have requested stove knob covers.

c. No owner shall refuse a written request of a tenant of such dwelling unit to provide stove knob covers, regardless of whether making such covers available is required pursuant to this section.

d. Any owner who is required to provide stove knob covers pursuant to this section who fails to do so shall be liable for a class B hazardous violation, provided that it shall be an exception to a violation where (i) the owner provides documented proof that there is no available stove knob cover that is compatible with the knobs on such stove or (ii) the owner has already fulfilled two requests for replacement stove knob covers within the previous year.

§ 2. This local law takes effect 180 days after it becomes law, except that the commissioner of housing preservation and development may take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

LS 5397

MPC

5/1/18 5:29pm