Russell Unger

Legislative Counsel

Donna De Costanzo

Counsel to the Committee

Richard Colon

Legislative Policy Analyst

## THE COUNCIL

Report of the Infrastructure Division

Marcel Van Ooyen, Legislative Director

COMMITTEE ON ENVIRONMENTAL PROTECTION

HON. JAMES GENNARO, CHAIR

## February 15, 2005

INT. NO. 544:	By Council Members Quinn, Gennaro, Barron, Brewer, Clarke, Fidler, Foster, Gerson, Jackson, James, Liu, Lopez, Martinez, Nelson, Palma and Weprin

TITLE:	To amend the administrative code of the city of New York, in relation to the reduction of hazardous substances in products used by the city.

I. INTRODUCTION

On February 15, 2005, the Committee on Environmental Protection, chaired by Council Member James Gennaro, will hold a hearing on Introduction 544, a local law to amend the administrative code of the city of New York, in relation to the reduction of hazardous substances in products used by the City.  Those expected to testify include representatives from the Department of Environmental Protection, the Mayor’s Office of Environmental Coordination, environmental and health organizations, and unions representing city workers.

II. HAZARDOUS MATERIALS

While chemicals naturally occur throughout the environment, an estimated 65,000 synthetic chemicals have been manufactured for commercial use in industrialized countries.  Many synthetic chemicals are beneficial, but some have negative effects on human health and the environment.

The chemicals of greatest health and environmental concern are those that are persistent, bioaccumulative, and toxic (PBTs), meaning they are highly toxic, long-lasting substances that can build up in the food chain to harmful levels.  According to the United States Environmental Protection Agency (“EPA”), such chemicals “are associated with a range of adverse human health effects, including effects on the nervous system, reproductive and developmental problems, cancer, and genetic impacts.”  The most significant concerns about PBTs are “their ability to travel long distances, to transfer rather easily among air, water, and land, and to linger for generations in people and the environment,” including in sediments and the fat reserves of living organisms.

The populations at risk, especially to PBTs such as mercury, dioxins, and polychlorinated biphenyls (PCBs), are children and the developing fetus.  These toxins are increasingly present in fish, and the total number of fish advisories in the United States increased by 80% from 1993 to 1997 and the number of waterbodies under advisory increased from 1,278 to 2,299 during the same period.  The EPA advises that pregnant women and children not to eat any quantities of certain fish due to high levels of mercury, and to only eat limited quantities of many other fish.

A surprising number of common consumer products contain hazardous materials.  When these products are used or improperly stored and disposed of they can release hazardous substances, which contaminate the soil, groundwater and air.  If such a product winds up in a municipal landfill, the chemicals can leach out of the product into the liquid at the bottom of the landfill and potentially be released to ground water or surface water. If the discarded product is incinerated, an amount of the chemical can be emitted as an air pollutant and deposited wherever the wind carries it.

III. E-WASTE AND E-CYCLING

Society’s growing use of electronics products has given rise to a new environmental problem: electronic waste.  In 2005, it is estimated that in the United States 60 million computers and 130 million mobile phones will be discarded.  Accumulated obsolete PCs from 1997 to 2007 will total approximately 500 million.  According to the EPA, in 2000, about 2,124,400 tons of electronic waste was generated, and only about 9% of electronic waste was recovered for reuse or recycling.  Most obsolete electronic goods are stored in warehouses, basements, or closets or are disposed of in municipal landfills, which eventually leak, or incinerators, which release toxins into the atmosphere.

Electronic waste is less a concern for its volume than for its toxicity.  Lead, mercury, cadmium, brominated flame retardants and other hazardous substances can be found in cathode ray tubes, circuit boards, batteries, and other electronic components.  Computer monitors and older TV picture tubes, for example, contain an average of four pounds of lead.  The 500 million obsolete computers generated between 1997 and 2007 translates into enormous quantities of toxic materials: 1.58 billion pounds of lead; 3 million pounds of cadmium; 1.9 million pounds of chromium; and 632,000 million pounds of mercury.  Many major original equipment manufacturers—including Compaq, Dell, Gateway, HP, IBM, and Micron—offer leasing and take back services.  According to the EPA, the development of these services is driven by demand from large corporate customers.  Recycling of electronic waste is anticipated to grow 18 percent annually between 1998 and 2007.

Most recycling of American electronic waste occurs in developing countries, with 80% estimated to be exported to Asia.   An investigation into the practices at electronic waste processing centers in China, Pakistan, and India revealed strikingly unhealthy work conditions and environmental contamination.  Observed practices included de-soldering using blow torches or acid without any ventilation, open burning of circuit boards and wires, dumping of lead-laden monitor glass on open land or rivers, and the employment of children and pregnant woman in the industry.

Electronic waste from the United States could not be shipped to these countries if the United States was a party to the Basel Convention on the Control of the Trans-boundary Movement of Hazardous Wastes and Their Disposal (“the Convention”) and the Basel Ban Amendment.  The Convention was adopted in 1989 to prevent the dumping of hazardous waste from rich to poor countries and calls for national self-sufficiency in the management of hazardous waste.  Under the Basel Ban Amendment to the Convention, members of the Organization for Economic Co-operation and Development (“OECD”) are prohibited from exporting hazardous waste to non-OECD countries.  While the Amendment has not yet come into force it is being honored by all member states of the European Union, Norway, Liechtenstein, Monaco, and Iceland.  Of the OECD countries, the United States is the only country to have not ratified the Convention, and other countries, including Canada, Australia, Japan, and South Korea, while parties to the Convention, oppose the Basel Ban Amendment.

In February 2003, the European Union adopted Directive 2002/95/EC, which mandates the phase-out of certain hazardous materials from any electronic device sold in the European Union.  Under the directive, by July 1, 2006, no new electronic equipment may contain lead, mercury, cadmium, hexavalent chromium, or the flame retardants polybrominated biphenyls and polybrominated diphenyl ethers.  The directive provides exceptions for some uses, such as mercury in fluorescent bulbs, and lead in glass for cathode ray tubes and in solder for computer network infrastructure.  Since major electronic manufactures normally make design changes to all their products, rather than tailor the products to specific markets, most electronic products sold in the United States after July 1, 2006 will meet European Union standards.  Most major electronic manufactures have set their own targets to implement the standards ahead of the directive’s effective date.  Some manufactures, however, that have separate product lines for the United States, or which only sell products in the United States, may not meet the EU standards.  California recently prohibited the sale of any new computer monitor or TV in the state that is prohibited from being sold in the European Union under Directive 2002/95/EC, and limited the export of electronic waste to only countries with environmentally responsible recycling operations.

VI. VOLATILE ORGANIC COMPOUNDS

Volatile organic chemicals (VOCs) are gases that are emitted from a wide array of products commonly found inside buildings.  Such products include paints and lacquers, paint strippers, cleaning supplies, pesticides, building materials and furnishings, office equipment such as copiers and printers, correction fluids and carbonless copy paper, graphics and craft materials including glues and adhesives, permanent markers, and photographic solutions.  In combination with oxides of nitrogen, VOCs are responsible for ground level ozone and smog.  Exposure to VOCs can cause eye, nose, and throat irritation, headaches, loss of coordination, nausea, and damage to liver, kidney, and central nervous system.  Some VOCs can cause cancer in animals and are suspected or known human carcinogens.  Indoor level of several VOCs “average 2 to 5 times higher than outside levels.  During and for several hours immediately after certain activities, such as paint stripping, levels may be 1,000 times background outdoor levels.”

States such as California have enacted laws limiting the VOC content of paints and coatings, and New York, New Jersey, Texas and Arizona have passed similar laws.  The South Coast Air Quality Management District has adopted rules to limit the VOC content of architectural coatings in California.  Section 01350 of the Reference Specifications for Energy and Resource of the California Energy Commission sets VOC limits for a wide range of interior building materials and is a requirement for all major construction by the State of California.  In addition, the Carpet and Rug Institute – the trade association for carpet and rug manufacturers – has established recommendations on the maximum volatile organic compound emissions allowed for carpeting products through its Green Label testing program.

V. MERCURY-ADDED LAMPS

Fluorescent light bulbs typically use 75% less energy than incandescent bulbs and last substantially longer.  However, fluorescent light bulbs have a notable drawback: they contain a small amount of mercury, about 4 mg for compact fluorescent lamps (CFLs).  Fluorescent light is produced by sending a current through mercury vapor to produce ultraviolet energy, which excites a phosphor coating on the inside of the glass tube, producing visible light.  Mercury is a neurotoxin that can damage the developing brain of the fetus and small children, and can also cause substantial medicals problems in adults, including vision problems and damage to organs.

Using fluorescent light bulbs, nonetheless, results in a net reduction in the amount of mercury released into the environment.  The largest source of mercury in the atmosphere is power plants that burn of fossil fuels, especially coal, and since fluorescent light bulbs reduce the need for electricity, they reduce mercury pollution.  According to the EPA, a “power plant will emit 10 mg of mercury to produce the electricity to run an incandescent bulb compared to only 2.4 mg of mercury to run a CFL for the same time.”  As a result, fluorescent light bulbs typically result in approximately a 35% reduction in mercury pollution over incandescent bulbs.

While all fluorescent bulbs contain mercury, there is a significant range in the amount of mercury in lamps of different types and from different manufacturers.  For example, small T5 linear fluorescents may contain as little as 1.4 mg of mercury, and no major manufacturer makes a T5 with more than 5 mg of mercury.  In contrast, other lamps can be used in the same fixtures as T5 lamps can contain as much as 15 mg of mercury.  Similarly the amount of mercury in CFLs ranges from 2 to 15 mg.

VI. ROAD DE-ICING PRODUCTS

In Fiscal Year 2004, the Department of Sanitation used over 350,00 tons of road salt, which is mixed with liquid calcium chloride for de-icing during colder spells.   This salt and calcium chloride eventually find their way into the City’s storm sewers, and into New York harbor during combined sewage overflow, where it can adversely affect water quality and damage wetlands.  Corrosion by these products can damage road infrastructure, bridges, and underground infrastructure, such as electrical cables.  Moreover, salt leaches water and nutrients from the soil and can damage the City’s vegetation and parks.

Calcium chloride, while also corrosive, is a more effective de-icing product than road salt at lower temperatures, and its use by the City thus reduces the volume of de-icing materials applied to roads.  Other de-icing products, such as liquid calcium magnesium acetate (“CMA”) are considered much less harmful to the environment, but can be dramatically more expensive than salt.  Some researchers have suggested that reductions in damage to infrastructure and vegetation, and in the quantity of material required, may offset the higher cost of CMA.

VII. ANALYSIS OF INT. NO. 544

Int. No. 544 adds a new chapter eight to title 24 of the Administrative Code to govern the City’s use of materials that contain hazardous substances.  The bill would prohibit any agency or contractor in the fulfillment of any contract with a City agency from utilizing any product purchased or leased after the effective date of the local law that does not comply with the provision of new chapter eight.

The bill requires that City agencies return any “covered electronic device” to the original device manufacturer or a third party for reuse or recycling, at no cost to the agency, and receive documentation of the device’s disposition.  “Covered electronic device” is defined as “any product that contains a cathode ray tube, as well as any cellular telephone, computer, computer monitor, facsimile machine, handheld personal digital companion, laptop, photocopier, printer or television.”  Int. No. 544 prohibits any processing, refurbishment or recycling of such products from occurring at any federal prison or in any country that is not a member of the OECD.

Any covered electronic device must comply with European Union Directive 2002/95/EC.  The provision applies to any devices purchased after January 1, 2007, or on or after the date on which directive 2002/95/EC takes effect, whichever date is later.

Int. No. 544 requires that carpets, carpet cushions or carpet adhesives not contain certain VOCs above concentrations detailed in the legislation.  Architectural coatings are required to meet the VOC requirements set by Rule 113 of the South Coast Air Quality Management District.  The Commissioner of Environmental Protection, in consultation with the Mayor’s Office of Environmental Coordination, is required to establish standards for chemical emissions from other products that are consistent with Section 01350 of the Reference Specifications for Energy and Resource Efficiency of the California Energy Commission.

City agencies, whenever purchasing mercury-added lamps, must use the most energy-efficient lamp with the lowest amount of mercury, provided such lamp meets all other performance specifications.  Manufacturers bidding for City solicitations are required to provide mercury and performance information regarding their lamps.

Int. No. 544 requires the Commissioner of Environmental Protection, in consultation with the Mayor’s Office of Environmental Coordination, to develop regulations to reduce the City’s purchase of polyvinyl chloride, and to investigate and report to the Council and Mayor on the potential for reducing the use of road de-icing products that contain high levels of chlorides and urea.

The bill provides exceptions to the local law for emergency procurements, when federal or state funding precludes the City from imposing the requirements of the chapter, and for substances required by Underwriters Laboratories, the federal government, or the state to meet consumer, health or safety obligations.   The City is required to submit an annual report to the Council and Mayor that includes a list of any product of service subject to the new chapter, broken down by agency.  For each product or service, the report must identify the applicable provision of the chapter, and whether the product or service complies with the requirements in the chapter or was purchased through an exception to the requirements.

The local law will take effect January 1, 2006.

Int. No. 544

By Council Members Quinn, Gennaro, Barron, Brewer, Clarke, Fidler, Foster, Gerson, Jackson, James, Liu, Lopez, Martinez, Nelson, Palma and Weprin

..Title

A Local Law to amend the administrative code of the city of New York, in relation to the reduction of hazardous substances in products used by the city.

..Body

Be it enacted by the Council as follows:

Section 1. Statement of findings and purpose. In almost every category of goods, there will be some products that are environmentally preferable to others.  In many instances, there is little or no cost associated with the environmentally preferable option; often it is simply a matter of identifying and seeking out such products.

A surprising number of common consumer products contain materials that are toxic to humans and the environment and pose exceptional threats to vulnerable populations.  Some of these materials, like lead and mercury, which can be found in computers and other electronic goods, are persistent bioaccumulative toxins.  When these products are used or improperly stored and disposed of they can release hazardous substances, which contaminate the soil, groundwater and air.  Likewise, many products used in tenant improvements, including carpeting materials and paints, release toxic fumes.  As a result, many city workers are exposed to unhealthy conditions in their work environment and when disposing of products that contain hazardous materials.

In response to the growing, clear evidence of the damage posed by hazardous products to human health and the environment, governments, industry, healthcare professionals and non-profit organizations have supported the establishment of environmental purchasing standards.  The European Union has mandated the phase-out of certain hazardous materials from any electronic device sold in the European Union, and several U.S. states, including California and Maine, have followed with similar legislation.  Section 01350 of the Reference Specifications for Energy and Resource of the California Energy Commission sets chemical emission standards for a wide range of interior building materials and is a requirement for all major construction by the State of California.  Similarly, the Carpet and Rug Institute – the trade association for carpet and rug manufacturers – has established recommendations on the maximum volatile organic compound emissions allowed for carpeting products through its Green Label testing program.

The Council finds that using goods that do not contain hazardous materials, or which meet maximum standards for hazardous material content, will protect the environment and improve the health, safety and welfare of New York City residents and workers.  Accordingly, the Council declares it reasonable and necessary to reduce quantities of hazardous substances in products used by the City.

§2. The administrative code of the city of New York is amended by adding a new chapter 8 to title 24 to read as follows:

Chapter 8

Subchapter 1

Hazardous Materials

§24-8001	Definitions.

§24-8002	Applicability.

§24-8003	Electronic take-back and recycling provisions.

§24-8004	Hazardous content of certain electronic equipment.

§24-8005	Volatile organic compound emissions of carpeting materials and architectural coatings.

§24-8006	Chemical emissions of other building materials.

§24-8007	Mercury-added lamps.

§24-8008	Miscellaneous.

§24-8009	Exceptions.

§24-8010 	Annual Report.

§24-8001 Definitions. For the purposes of this chapter only, the following terms shall have the following meaning:

a. “Architectural coatings” shall mean any coating regulated in rule 1113 of the south coast air quality management district.

b. “Carpet” shall mean any fabric used as a floor covering.

c. “Carpet adhesive” shall mean any substance used to adhere carpet to a floor by surface attachment.

d. “Carpet cushion” shall mean any kind of material placed under carpet to provide softness when it is walked upon.

e. “Cathode ray tube” shall mean any vacuum tube, typically found in computer monitors, televisions and oscilloscopes, in which a beam of electrons is projected on a phosphorescent screen.

f. “Covered electronic device” shall mean any product that contains a cathode ray tube, as well as any cellular telephone, computer, computer monitor, facsimile machine, handheld personal digital companion, laptop, photocopier, printer or television.

g. “Lamp” shall mean any glass envelope with a gas, coating, or filament that glows when electricity is applied.

h. “Volatile organic compounds” shall mean any compound of carbon, excluding carbon monoxide, carbon dioxide, carbonic acid, metallic carbides or carbonates, and ammonium carbonate, which participates in atmospheric photochemical reactions, as specified in part 51.100 of chapter 40 of the United States code of federal regulations.

§24-8002 Applicability.  No agency, nor any contractor in the fulfillment of any contract with any city agency, shall utilize any product or service purchased, leased or for which a contract is entered into after the effective date of this law that does not comply with the provisions of this chapter.

§24-8003 Electronic take-back and recycling. Any covered electronic device shall be returned to the original device manufacturer or a third party for reuse or recycling, at no additional cost to the returning agency, and the agency shall receive documentation of final disposition of such device.  Such documentation shall include the number of devices, the serial or other identifying numbers of such devices, the environmental protection agency identification number of any company brokering, processing, refurbishing, recycling or disposing of such devices, and contact information for any such company.  Any covered electronic device shall not be sent for processing, refurbishment or recycling to any federal prison or to any country that is not a member of the organization of economic cooperation and development.

§24-8004 Hazardous content of electronic devices. Any covered electronic device shall comply with European Union directive 2002/95/EC.  This provision shall apply to any covered electronic device purchased or leased after January 1, 2007, or on or after the date on which directive 2002/95/EC takes effect, whichever date is later.

§24-8005 Volatile organic compound emissions of carpeting materials and architectural coatings.  a. Any carpet, carpet cushion or carpet adhesive shall not contain the following volatile organic compounds in concentrations exceeding those specified below, using testing methods that are permissible under the green label plus program of the carpet and rug institute:

|  | Compound | Maximum concentration |
| --- | --- | --- |
| Carpets | Total volatile organic compounds | 0.50 mg/m2 * hr |
|  | 4-Phenylcyclohexene | 0.05 mg/m2 * hr |
|  | Formaldehyde | 0.05 mg/m2 * hr |
|  | Styrene | 0.40 mg/m2 * hr |
| Carpet Cushions | Total volatile organic compounds | 1.00 mg/m2 * hr |
|  | Butylated hydroxytoluene | 0.30 mg/m2 * hr |
|  | Formaldehyde | 0.05 mg/m2 * hr |
|  | 4-Phenylcyclohexene | 0.05 mg/m2 * hr |
| Carpet Adhesives | Total volatile organic compounds | 10.00 mg/m2 * hr |
|  | Formaldehyde | 0.05 mg/m2 * hr |
|  | 2-Ethyl-1-hexanol | 3.00 mg/m2 * hr |

b. Any architectural coating shall meet the standards for volatile organic compounds of rule 1113 of the south coast air quality management district.

§24-8006 Chemical emissions of other building materials.  The commissioner, in consultation with the mayor’s office of environmental coordination, shall develop regulations, consistent with section 01350 of the reference specifications for energy and resource efficiency of the California energy commission, on the maximum chemical emissions of building materials utilized by any agency, except for any product covered by section 24-8005.

§24-8007 Mercury-added lamps. Any bidder for any solicitation for any lamp containing mercury shall provide the soliciting agency with information, for each lamp type offered, on the amount of mercury per lamp in milligrams, hours of rated life and initial lumens per watt. The agency shall utilize the most energy-efficient lamp with the lowest amount of mercury per rated hour, provided such lamp meets all other performance specifications.

§24-8008 Miscellaneous. a. The commissioner, in consultation with the mayor’s office of environmental coordination, shall develop regulations to reduce the city’s purchase of polyvinyl chloride.

b. The commissioner, in consultation with the mayor’s office of environmental coordination, shall investigate and report to the council and the mayor on the potential for reducing the use of road de-icing products that contain high levels of chlorides and urea.

§24-8009 Exceptions. This chapter shall not apply:

a. to products containing a substance used to comply with any consumer, health, or safety requirements of the underwriters laboratories, the federal government, or the state;

b. where federal or state funding precludes the city from imposing the requirements of this chapter; or

c. to emergency procurements pursuant to section three hundred fifteen of the charter.

§24-8010 Annual Report. The commissioner, in consultation with the mayor’s office of environmental coordination, shall submit an annual report to the council and the mayor by October 1 of each year detailing the city’s progress in meeting the goals and requirements of this chapter, including a list of any product or service subject to this chapter, broken down by agency, with an indication of the following for each product or service:

(1) identification of any provision of this chapter that is applicable to such product or service; and

(2) whether such product or service complies with the provisions in this chapter, or whether such product or service was purchased or leased pursuant to an exception to the provisions of this chapter.

§4. This local law shall take effect January 1, 2006, except that the commissioner of environmental protection, in consultation with the mayor’s office of environmental coordination, shall take all actions necessary, including the promulgation of rules, to implement this local law on or before the date upon which it shall take effect.

RBU

LS#1486
01/12/2005

# Footnotes

D.L. Eaton & E.P. Gallagher, E.P. Introduction to the principles of toxicology, in Comprehensive Toxicology: General Principles (Vol. 1) (I.G. Snipes et al. eds., 1997).

U.S. Environmental Protection Agency, Fact Sheet, Multimedia Strategy For Priority Persistent, Bioaccumulative, and Toxic (PBT) Chemicals, at http://www.epa.gov/opptintr/pbt/fact.htm.

Id.

Id.

National Safety Council, Electronic Product Recovery and Recycling Baseline Report: Recycling of Selected Electronic Products in the United States, 1999.

Id.

U.S. Environmental Protection Agency, Electronics, at http://www.epa.gov/epaoswer/osw/conserve/clusters/ecycle.htm.

The Basel Action Network & Silicon Valley Toxics Coalition, Exporting Harm: The High-Tech Trashing of Asia 6-7 (Feb. 2002).

U.S. Environmental Protection Agency, eCycling, at http://www.epa.gov/epaoswer/hazwaste/recycle/ecycling/index.htm

Exporting Harm, supra note 8, at 6.

U.S. Environmental Protection Agency, Market Trends, at http://www.epa.gov/epaoswer/hazwaste/recycle/ecycling/trends.htm.

Id.

Id.

Exporting Harm, supra note 8, at 7, 11.

Exporting Harm, supra note 8, at 15-26.

Id.

Id. at 33.

Id.

INFORM, Inc., Impact of the RoHS Directive on Electronic Products Sold in the United States (Sept. 2003).

Id.

Electronic Waste Recycling Act of 2003, Cal. Pub. Res. Code § 42460 et seq. (Deering 2004).

U.S. Environmental Protection Agency, Sources of Indoor Air Pollution - Organic Gases (Volatile Organic Compounds - VOCs), at http://www.epa.gov/iaq/voc.html.

Id.

South Coast Air Quality Management District, Rule 113, Architectural Coatings.

U.S. Environmental Protection Agency, FACT SHEET: Mercury in Compact Fluorescent Lamps (CFLs).

Id.

INFORM, Inc., Shedding Light on Mercury in Fluorescents 1.

FACT SHEET: Mercury, supra note 25.

Id.

Shedding Light, supra note 27, at 2.

Id.

Id.

Mayor Michael Bloomberg, Mayor’s Management Report Fiscal 2004 132 (Sept. 2004).

U.S. Environmental Protection Agency, National Management Measures to Control Nonpoint Source Pollution from Urban Areas 193 (July 2002 Draft).

Id.; also Al Guart, Manhole Shocker: More Dangers Are Surfacing, N.Y. Post (Jan. 25, 2004) (describing the electrocution death of a Manhattan woman due to corroded electrical wiring).

E.g. Dispute Renewed Over Use Of Rock Salt On Ice, N.Y. Times (Feb. 7, 1982).

National Management Measures, supra note 34, at 194.

Id.

U.S. Environmental Protection Agency, Guidance Specifying Management Measures for Sources of Nonpoint Pollution in Coastal Waters (Jan. 1993).

See page 6, supra.