Int. No. 1852

Council Members Cornegy, Borelli, Powers, Koslowitz, Cabrera, Kallos, Holden, Ayala, Louis and Rivera

..Title

A Local Law to amend the New York city fire code, in relation to requiring any person permitted for scouting, rigging and production activities to provide film set blueprints in advance of permitted activities to the fire department

..Body

Be it enacted by the Council as follows:

Section 1. Section 202 of the New York city fire code, section FC 202 of chapter 2 of title 29 of the administrative code of the city of New York, as amended by local law number 148 for the year 2013, is amended by adding a new definition of “production location” in appropriate alphabetical order to read as follows:

**PRODUCTION LOCATION.** Any location approved for the purpose of motion picture, television or commercial production by the mayor’s office of media and entertainment.

§ 2. Chapter 3 of the New York city fire code, chapter 2 of title 29 of the administrative code of the city of New York, as amended by local law number 148 for the year 2013, is amended by adding a new section FC 325 to read as follows:

**SECTION FC 325**

**PRODUCTION LOCATIONS**

**325.1 Scope.** This section shall govern the protection of fire safety at production locations.

**325.2 Disclosures and notifications at production locations.** Every holder of a permit required by 43 RCNY § 9-01 shall provide to the commissioner and local firehouse a detailed blueprint of any set, including all non-permanent walls, subdivisions and related exit points, and any use of plywood or polyurethane foam in set design and construction, at least 48 hours before commencing permitted activities. Failure to provide a blueprint that meets the requirements of this section shall result in the revocation of such permits and a civil penalty not to exceed ten thousand dollars.

**325.3 Clearing of violations before permitting.** The commissioner shall promulgate rules requiring that all outstanding health and safety violations with city, state and federal agencies are closed or cleared before a permit required by 43 RCNY § 9-01 may be issued.

§ 3. This local law takes effect 120 days after it becomes law, provided that the fire commissioner may take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

IS

LS # 13008

1/9/20